Estimated cost :- 1,50,000.00

Earnest Money :- 3,000/-

Dated of sale 8.02.2008

Date of opening :- 12.2.2008

DELHI DEVELOPMENT Authority

Electrical DIVISION No. 8

(SCHEDULE OF WORK)

NAME OF WORK : - 	M/o completed schemes of Nazul A/C-I under swz.

(Sh. Annual semi comprehensive maintenance of  lift No.3 & 4 of Block No.4 at Rajendra Bhawan, Rajendra Place)

S.No.	Description of Item	Qty.	Unit	Rate	Amount

1.	Annual semi comprehensive maintenance of olympus						make of following electrics lifts complete with all						accessories and control system at a rated speed of 1.5						meter/second, with steel car having center opening						power operated steel door lift with 6 landing.						a) Lift with 6 landing	2 Nos. for	Per lift			12 months	P. month

ADDITIONAL  SPECIFICATIONS  AND  CONDITIONS

1.	The tenderers are requested to first get acquainted with the proposed site of work & inspect lifts before quoting their rates.

2.	The work of maintenance of lifts shall be carried out as per “General Specifications for electrical works (Part III-lifts)” as amended upto date, relevent BIS codes for maintenace of lifts as applicable to the work and to the entire satisfaction of Engineer-in-charge.

3.	The scope of work of this contract includes the following:-

a.	Supplying and replacement of spare parts, accessories etc. which have gone defevtive due to normal wear and tear i.e. thrust bearing, brakes, magnetic coils, brake shoes, bushes, motor windings, rotating elements, contacts, resistance, guide shoes, floor selection parts, door locks, fans, tube lights ( i/c replacement of sccessories & lamps) indication lamp, sensor, copper wire/lead, are included in the scope of this contract. The parts replaced  as such shall become the property of the agency. Keeping in view the custody of the worn out parts by the agency, rates in the tender may be quoted accordingly.

b.	Attending the lifts installations by the authorized technical staff/representative at regular time intervals on working days to as certain the smooth working of various mechanism of lifts.

c.	Supplying of consumable materials i.e. lubricants, old dhoti’s cotton waste, soap, duster, grease etc. for carrying out preventive maintenance in lifts.

d.	Maintenance/up keeping of records such as log book for servicing, minor and major maintenance of lifts in proper performa as agreed in between the Engineer-in-charge and the contractor & enteries shall be signed by the JE(E)/AE(E)/Engineer-in-carge as required.

e.	The preventive maintenance work of lifts shall be carried out in the presence of Engineer-in-charge or his authorized representative i.e. J.E./A.E. in charge of the work. The safety checks shall be carried out as per the time schedule specified in CPWD specifications for lifts for their satisfactory working by the respective officer of the department i.e J.E./A.E./Engineer-in-charge. The safety checks includes checking of landing gate protection, car gate protection, top and bottom saftey limit switch, protection for elevators with motorized door. over speed protection & ropes etc. in order ensure safe and trouble free working of the lifts.

f.	Availability of responsible trained person all the time during working hours in the lifts machine room to interact and Co-ordinate with the department or user in case of braked own/failure in lifts.

4.	The repairs,rectifications,servicing,preventive maintenance etc. of all items/components of lifts shall be carried out by the agency within the scope of this contract.In case the agency observes its inability to repair the above items and any other item(s) not covered within the scope of this contract the same shall be intimated to the department in writing,so that timely action can be taken by the department.

5.	Rates quoted by the agency shall be firm & inclusive of all taxes,duties,cartage etc.The department shall pay nothing extra in this regard.

6.	For checking,fault finding etc,the agency shall have to arrange all T&P items,magger,any type of testing equipment,tripod,welding machine etc. within the scope of this contract.

7.	The agreement of this work can be terminated by the Engineer-in-charge at any time without serving any notice to the agency during the  contract period & the agency shall have no claim what-so-ever on this account.

8.	In case of any fault/breakdown in the lifts, the agency will be intimated either on phone or inwritten to attend the fault/breakdown.If the agency fails to take any action to rectify the fault/breakdown within 24 hours from the time of  complaint made to the agency, a recovery of Rs 500/- (Rs.Five hundred only) per  day per lift shall be made from the contractor bill.The amount of the above recovery in a month for one lift in no case shall exceed the amount payable to the agency for the lift per month.

9.	The agency will arrange the inspection for getting the licence of lifts and will be  responsible for issuing of licence from the concerned Government department.However the inspection fees for issue of licence will be borne by the department.

10.	Spray painting work of lifts once in contract period (both out side & inside the lift) is included in the scope of work of this contract.Before taking up painting work,the agency shall have to get make, Colour/Shade of paint approved from Engineer-in-charge.The work includes numbering & entire painting work shall be  carried to the satisfaction of Engineer-in-charge.