REVISED SCHEDULE OF WROK

NAME OF WORK:- C/o DDA Zonal Office Building at Madhuban Chowk, Rohini.

[SH:-Providing & Installation of Solar A.C. Hybrid Building Integrated Photo Voltaic System.)

| Description of Item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |
| 1. Supply, and putting into operation 6.4 Kwp Solar A.C. Hybrid Building, Integrated photo voltaic system suitable for mounting over skylight at terrace including providing SPV array for BIPV application, power conditioning unit with good interactive inverter & data logger, battery bank, distribution technical specification attached etc. as required. 2. Installation, Testing and commission of above, included service Tax. | 1 Set 1 Set | Rs. 36,00,000/- Rs. 50,000/- | Set | Rs. 36,00,000/- (Rupees Thirty Six Lakh Only) Rs. 50,000/- (Rupees Fifty Thousand Only) |
|  |  |  | Total | 36,50,000/- |