OFFICE OF THE SECRETARY

SIRI FORT SPORTS COMPLEX

KHEL GAON MARG, NEW DELHI.

No. SFSC /DDA/NIQ/2007-2008/	             		                  Date: 15.01.2008

NOTICE INVITING QUOTATION NO. 100

Sealed item rate quotations are invited on behalf of DDA by the Secretary (SFSC) for the following works.  The quotation should reach the office of Secretary (SFSC), DDA on or before 23.01.2008 upto 3:00 P.M. and will be opened on the same day at 3:30 P.M. in the presence of intending quotationers.

Name of Work:- Maintenance of Siri Fort Sports Complex.

SH :-Filling, Filteration and cleaning of water of Swimming Pool at Siri Fort Sports Complex.

| S.N | Description of Item | Qty. |
| --- | --- | --- |
| 1 | Chemically cleaning of water body of Swimming Pool of size 21m x 50 m i/c Toddler Pool, Channel and balancing tank etc. as complete as required | One Job |
| 2. | Water filling and filtration of water with the help of existing filtration plant of capacity 80,000 gallon per hour (both fillers) for treating the water of Swimming Pool and dose of chemicals required to achieve the result as per IS:3328-1993 and their relevant codes. The above chemicals will also i/c the supply of chlorine gas as and when required to make the quality of water as per above standard and operation of D.G. Set when required. | On Job |

Conditions :

1.	The Work  should be carried out as per specification and direction of in-charge.

2.	Nothing extra shall be paid to the Agency against cartage.

3.	The work should be completed within 30 days after issue of Work  Order.

4.	The payment will be made after entire satisfaction of Secretary (SFSC).

5.	No T & P will be issued by the Deptt.

6.	The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender/NIQ or to attach the same along with the quotation as the case may be.  In case the quotationer / tenderer registered with the VAT Department, he may give an undertaking stating therein the registration no., date of registration, period for which the return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same.  In case, the quotationer / tenderer is not registered with the VAT Deptt.  then he will require to submit an undertaking.

# Secretary (SFSC), DDA

###### Copy to:-

| 1. | Director (Sports) for Inf., Please |  | 2. | Sr. A.O. (Sports) DDA |
| --- | --- | --- | --- | --- |
| 3. | The Secy., DDA contractor’s Welfare Association Vikas Kuteer, N.D |  | 4. | The Secy., DDA Builders E-18, Vikas Kuteer, N.D |
| 5. | All Secy.,/Sports Complexes, DDA |  | 6. | AAO (SFSC) DDA |
| 7. | JE (E ), SFSC/DDA |  | 8. | Asstt. Cashier (SFSC) DDA |
| 9. | Notice Board (SFSC) |  | 10. | Dir.(System) through E-Mail |

# Secretary (SFSC), DDA