DELHI DEVELOPMENT AUTHORITY

DWARKA SPORTS COMPLEX

QUOTATION NOTICE

NIQ NO. –40 / 2007– 08

Sealed quotationes are hereby invited by the Secretary/DSC, Dwarka, Delhi-75 on behalf of Delhi Development Authority (Sports Wing) for the following works from the eligible contractor / agencies. The quotation should reach in the office of the undersigned on or before 2/2/2008 upto 3.00PM and the same shall be opened on the same date at 3.30PM in the office of the Secretary/DSC of the complex in the presence of the quotationer or there authorized representatives.

Name of Work  - Maintenance of Dwarka Sports Complex.

SH		   - Providing & Fixing Aluminium Door, Aluminium door, Aluminium

window, Blinds & Over head at Dwarka Sports Complex.

| S. No. | Description | Qty. |
| --- | --- | --- |
| 1. | Aluminium Door made of 2.5’’ x 1.5’’ rectangular 16 gauge Anodized Aluminum Section with 12mm thick pre lamented particle board as per I.S. 3087 and 4mm thick transparent glass, 4’’ x 1.5’’ powder coated section to be used as a middle section in door. Complete in all the manners with lcok, handle & etc. of door size: 7’-0’’ x 3’-0’’. (21 sq.ft x @ 330 per sq.ft=6,930/- each door) | 1 No. |
| 2. | Providing & Fixing of the Aluminium Window of Anodized & Powder coated 16 gauge 21/2’’ x 1 ¾’’ Aluminium section frame with 6mm glass will be fixed in the window of each window size:6’-0’’ x 4’-0’’ complete as per the direction of Engineer in charge. (24 sq.ft. x @ 350 per sq.ft.=8,400/- each window) | 2 No. |
| 3. | Vertical Venation Blinds for two windows in 4’’ wide strips with imported channel of size 6.75’ x 4.75’ x 2Nos.=64 sq.ft. | 5.5. sq.mtr. |
| 4. | Wooden over head with lockable door’s having two shelve making three compartments. Made in 19mm thick ISI commercial board & 0.8mm thick laminate pasting on it. All lipping & molding in 1st class teak wood polished with lacquer finish of size:- 4’-0’’ x 1’-6’’ x 4’-0’’ | 3 Nos. |

TERMS & CONDITIONS :-

- The work shall be carried out as per specification of work order / satisfaction of Secretary/DSC & JE(C).

- All material used at Site shall be got approved before execute the work at site from Secretary/DSC & JE (C ).

- Prices quoted shall be firm and inclusive of all taxes.

- The payment will be made after entire satisfaction of JE(C )/Secretary/DSC,DDA.

- No T & P will be issued by Department.

- No advance payment will be made to the agency.

- Nothing extra will be paid to the agency.

- Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any season.

- Conditional quotation will not be accepted.

- Necessary statutory deductions as applicable will be made.

- Debarred agency / or individual shall not be permitted to particulars in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies should be taken into account rather than invidules incorporated with the agency, which does not include proprietorship.

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCT Delhi and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the some along with the quotation as the case may be. The quotationer / tenderer should also submit and undertaking or proof of filing the return  / proof of last payment made to the Department of Trade  & Taxes. The quotationer / tenderer will be solely responsible for making any outstanding payment payable to the Deptt of trade & Taxes and DDA shall not be responsible.

- Time allowed is 15 days for the completion of work.

Col.(Retd) I.K. Bedi

Secretary

Dwarka Sports Complex, DDA

No.F10(326)/DSC/DDA/2004/06					Dt.25/1/08

Copy to :-

- Director (Sports)/DDA.

- Director (System)/DDA through E.Mail.

- Sr. A. O. (Sports), DDA.

- All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

- The Secretary, DDA Contractor’s Welfare Association, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor’s Welfare Association, F-18, Vikas Kutir, New Delhi.

- AAO/DSC/DDA.

- Manager/DSC/DDA.

- Notice Board.

Secretary

Dwarka Sports Complex, DDA