DELHI DEVELOPMENT AUTHORITY

DWARKA SPORTS COMPLEX

Sector-11, Dwarka, New Delhi-75

NOTICE INVITING QUOTATION NO.79/2007-08

Sealed quotationes are hereby invited by the Secretary/DSC, Dwarka, Delhi-75 on behalf of Delhi Development Authority (Sports Wing) for the followimg works from the eligible contractor / agencies. The quotation should reach in the office of the undersigned on or before 12/4/2008 upto 3.00PM and the same shall be opened on the same date at 3.30PM in the office of the Secretary/DSC of the complex in the presence of the quotationer or their authorized representatives.

Name of Work : - M/o. Dwarka Sports Complex, DDA.

SH                   : - Painting of plant room installation of swimming pool at DSC.

| S.No | Description of item | Qty |
| --- | --- | --- |
| 1. | Painting of following items with two coat of synthetic enamel pairs of approved shade & make including rubbing, etc as reqd. - 100mm dia CI/MS pipe i/c valve - 150mm dia CI/MS pipe i/c valve - 200mm dia CI/MS pipe i/c valve - 250mm dia CI/MS pipe i/c valve | 11.00 mtr 78.10 mtr 10.00 mtr 33.00 mtr |
| 2. | Painting of MS pressure filter (outer surface only) | 2Nos. |
| 3. | Painting of MS cable tray following sizes - 50x150x50mm - 50x300x50mm | 45mtr 27mtr |
| 4. | Painting of pump set, air blower with approved shade & make of synthetic enamel paint i/c cleaning rubbing etc as reqd. - 2HP pump set - 5HP pump set/suction sweeper - 15HP pump set - 10HP air blower | 1No 4Nos. 3Nos. 2Nos. |
| 5. | Painting of following size of DG set canopy with fuel & channel with approved shade & make of synthetic enamel paint i/c cleaning, rubbing etc as reqd 1) 3.40x1.60mx1.20m | 1No |
| 6. | Painting of 50 KVA DG set with approved shade & make of synthetic enamel paint i/c cleaning etc as reqd | 1No. |
| 7. | Painting of oil immersed star delta starter i/c angle iron frame with approved shade & make of synthetic enamel paint i/c cleaning etc as reqd | 3Nos. |
| 8. | Supply & installation of chequered/corrugated red/black rubber make shut (ISI amrked) suitable for 1.1 KV grade of size 200mmx100mmx10mm thick suitable for 415 valt protection as reqd | 1No |

TERMS & CONDITIONS:-

- The work shall be carried out as per specification of work order / satisfaction of Secretary/DSC & JE(E).

- All material used at Site shall be got approved before execute the work at site from Secretary/DSC & JE (E).

- Prices quoted shall be firm and inclusive of all taxes.

- The payment will be made after entire satisfaction of JE(E)/Secretary/DSC,DDA.

- No T & P will be issued by Department.

- No advance payment will be made to the agency.

- Nothing extra will be paid to the agency.

- Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any season.

- Conditional quotation will not be accepted.

- Necessary statutory deductions as applicable will be made.

- Debarred agency / or individual shall not be permitted to particulars in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The fittings shall be provide only Philips make.

- The fixing of fittings suitable arrangement shall be done by agency within quoted rates.

- No cartage shall be paid extra to agency.

- Time allowed 7 days for completion of work after issued of work order.

- The agency shall be professional.

- GI pipe shall be used ISI’B’ class & copper wire FRPVC insulated.

Col. (Retd.) I. K. Bedi

Secretary

Dwarka Sports Complex, DDA

No.F13(10)/DSC/DDA/Elect/07-08/608	                         Dt. 2/4/2008

Copy to :-

- Director (Sports)/DDA.

- Director (System)/DDA through E.Mail.

- Sr. A. O. (Sports), DDA.

- All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

- The Secretary, DDA Contractor’s Welfare Association, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor’s Welfare Association, F-18, Vikas Kutir, New Delhi.

- AAO/DSC/DDA.

- JE (E)/DSC/DDA.

- Notice Board.

Secretary

Dwarka Sports Complex, DDA