DELHI DEVELOPMENT AUTHORITY

SIRI FORT SPORTS COMPLEX

KHEL GAON MARG, NEW DELHI.

No. SFSC /DDA/NIQ/2007-2008/	             		                  Date:  07.01.2008

NOTICE INVITING QUOTATION NO.94

Sealed item rate quotations are invited on behalf of DDA by the Secretary (SFSC) for the following works.  The quotation should reach the office of Secretary (SFSC), DDA on or before 15.01.2008 upto 3:00 P.M. and will be opened on the same day at 3:30 P.M. in the presence of intending quotationers.

Name of Work:- Maintenance of Siri Fort Sports Complex.

SH :- Requirement of Al. Conductor cable from Electrical panel to Cricket net practice

Court & Cricket Score Board at SFSC/DDA.

| S.N | Description of Item | Qty. |
| --- | --- | --- |
| 1. | Supply of P.V.C insulated, P.V.C Sheathed Al. conductor armound power cable for working voltage up to & including 1100 volts IS:1554-1988 of following size at SFSC, DDA. a) 4x16 sq.mm b) 2x10 sq.mm | 140 metrs. 155 metrs. |
| 2. | Supply of 8 SWG. GI wire for loop earthing | 290 metrs. |
| 3. | Supply of outdoor electrical panel double door of following size and made from 16 SWG M.S Sheet including bus bar, locking system 6” long kg & cannopy and 40 AMP TPMCB, DPMCB etc., are required at SFSC/DDA. a) 2’x 1 ½ ’ x 9 ” b) 1 ½’ x 1 ½’ x 9” | 1 no. 1 no. |

Conditions :

1.	The Supply shall be made as per specification.

2.	Nothing extra shall be paid to the Agency against cartage.

3.	The Supply should be completed within 10 days after issue of Supply  Order.

4.	The payment will be made after entire satisfaction of Secretary (SFSC).

5.	No T & P will be issued by the Deptt.

6.         The cable shall be supplied Kalinga, Pymren & Havells make & ISI Mark.

7.         The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender/NIQ or to attach the same along with the quotation as the case may be.  In case the quotationer / tenderer registered with the VAT Department, he may give an undertaking stating therein the registration no., date of registration, period for which the return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same.  In case, the quotationer / tenderer is not registered with the VAT Deptt.  then he will require to submit an undertaking

# Secretary (SFSC), DDA

###### Copy to:-

| 1. | Director (Sports) for Inf., Please |  | 2. | Sr. A.O. (Sports) DDA |
| --- | --- | --- | --- | --- |
| 3. | The Secy., DDA contractor’s Welfare Association Vikas Kuteer, N.D |  | 4. | The Secy., DDA Builders E-18, Vikas Kuteer, N.D |
| 5. | All Secy.,/Sports Complexes, DDA |  | 6. | AAO (SFSC) DDA |
| 7. | JE (E ), (SFSC),DDA |  | 8. | Asstt. Cashier (SFSC) DDA |
| 9. | Notice Board (SFSC) |  | 10. | Dir.(System) through E-Mail |

# Secretary (SFSC) DDA