- DELHI DEVELOPMENT AUTHORITY

- ELECTRICAL DIVISION NO.11

PRESS BUILDING: VIKAS SADAN: INA: NEW DELHI

- NIT No. 69, 70 & 71/EE/Elect.Div.No.11/DDA/07-08

- NOTICE INVITING TENDER

Sealed Item Rate Tenders are invited for the following works from the approved and eligible contractors of DDA, CPWD, MES, P&T & Railway up to 3.00 P.M. which shall be opened on the same day at 3.30 P.M. at Vikas Minar, ITO New Delhi on the details indicated below:

The tender documents can be obtained on any working day from CAU (SEZ)/Sale Counter Vikas Minar between 11.00 A.M. to 3.00 P.M. on payment of cost of tender (non refundable) as well as amount of earnest money mentioned against each work in the prescribed manner on production of valid Enlistment Certificate. Sale of Tender Forms will be stopped 4 days (including the date of opening) before the date fixed for the opening of tender documents.

The earnest money shall be submitted along with application in the form of CDR/ Demand Draft of scheduled bank guaranteed by Reserve Bank of India in favor of Accounts Officer/CAU (SEZ), DDA.

| Sl. No. | Name of work | ## Estt. Cost Earnest money | ## Cost of Tender Time allowed | ## Last dt. of sale Dt. of opening |
| --- | --- | --- | --- | --- |

- M/o Scheme under Nazul A/C-II (SEZ) SH: Servicing Repairing of Desert Coolers at Various offices of CE (SEZ) at Shahpurat.

NIT No.69 /EE/ED-XI/DDA/07-08                Rs.61,956/-  	      Rs.150/-        	     24.3.08

Rs.1,239/-            One  month          	     28.3.08

- M/O Competed Scheme finishing and furnishing Vikas Sadan. SH: M/O E.I. & fans – Repairing and cleaning of Ceiling and exhaust fans.

NIT No.70/EE/ED.11/DDA/07-08		Rs.1,77,350/-	       Rs.500/-	                   24.3.08

Rs.3,547/-	       8 months		    28.3.08

- M/O Competed Scheme finishing and furnishing Vikas Sadan. SH: M/O E.I. & fans – Supplying and fixing cable and light fittings at computer cell, Commissioner Plg. Room Vikas Sadan.

NIT No.71/EE/ED.11/DDA/07-08		Rs.1,34,558/-	      Rs.500/-		    24.3.08

Rs.2,691/-	     One month		     28.3.08

- Sd/-

- Executive Engineer (E)

- Elect. Divn.No.11/DDA

NOTE: - Please note that Schedule of quantity along with terms and conditions also available on DDA web site.

NIT NO.69				SCHEDULE OF QUANTITIES

NAME OF WORK:		M/o Scheme under Nazul A/c-II (SEZ).

SH: Servicing/Repainting of Desert coolers of various offices of CE (SEZ) at Shahpurjat.

| S.NO. | DESCRIPDTION OF ITEM | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Servicing, repainting of 18”/20” desert cooler i/c removing the existing paint/rust and repainting all part of cooler and front grill, but inside of tank with black Japan paint) supplying and replacement of suitable wood wool pads (3 Nos.) set with wire mesh re-installation of cooler at window after greasing, oiling the fan motor water pump, connection testing etc. as required. | 61 Nos. | Each |  |  |
| 2. | Supplying and replacement of front grill made out of 22 SWG G.I. sheet suitable for 18”/20” size desert cooler i/c nuts bolts, screws and removing the existing grill testing etc. as required. | 10 Nos. | Each |  |  |
| 3. | Rewinding and repainting of desert cooler pumps motor i/c supplying and replacement of part like M.S. bush-2 Nos. PVC pump base (water body) PVC cap M.S. shaft, connection testing etc. complete as required. | 10 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 4. | Rewinding and repairing of 18”/20” desert cooler fan motor of 900/1400 r.p.m. of different make i/c connection, testing etc. complete as required. | 4Nos. | Each |  |  |
| 5. | Supplying and fixing 450/500 sweep 1400 r.p.m. (apprx.) industrial fan (3 speed) complete with motor blade and mounting accessories suitable for 18”/20” desert cooler, G.I. nuts, bolts of suitable size, legs, connection testing etc. complete as required. | 7 Nos. | Each |  |  |
| 6. | Supplying and fixing electric driven cooler pump 1350 r.p.m. (appx.) having one mtr. lead suitable to discharge 5.5 ltr. P/minute (appx.) i/c nuts bolts, connections, testing etc. complete as required. | 20 Nos. | Each |  |  |
| 7. | Supplying and replacement of desert cooler connection cord 23/76 three core and flexible copper wire of 2 mtrs. Length with 15 Amp top connection testing etc. complete as required. | 25 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 8. | Supplying and fixing 4 mfd. Capacitor for 18”/20” cooler fan motor i/c connection testing etc. as required. | 10 Nos. | Each |  |  |
| 9. | Numbering of following letters on water cooler body etc. as required DDA/D.C./C.E.(SEZ)-1 to 66 | 66 Nos. | Each |  |  |
| 10. | Supplying and replacement of 18”/20” desert cooler body of size H-86, W-86 and D-65mm (+_ 3%) made out of18 SWG G.I. sheet (Tank legs) and 22 SWG G.I. sheet grill top and front and side louvers, with distributor PVC pipe 1/2 ” dia, wood wool control plate with2 Nos. 5 Amp switch numbering etc. as required. | 5 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 11. | Providing and fixing desert cooler stand fabricated with M.S. angle iron of size 30mmX30mmX3mm thick and size of stand according to requirement at site, and size of cooler painting etc. complete as required. | 8 Nos. | Each |  |  |
| Total |  |  |  |  |  |

Sd/-

- EXECUTIVE ENGINEER

- ELECTRICAL DIVISION NO.11

- ADDITIONAL CONDITIONS & SPECIFICATIONS:-

- The work shall be carried out as per specification to the entire satisfaction of Engineer-in-charge.

- All the material shall be got approved from Engineer-in-charge before use at site.

- 15 Amp 6 pin plug top and 5 Amp. Switch shall be ISI marked.

- Pump & motor shall be ISI marked only.

- The material used for other parts shall confirm to relevant IS specification if ISI marked material is not available.

- No T & P shall be issued by the department.

- The agency shall furnished guarantee for six months for the repair/work carried out by them from the date of completion of work or completion of the equipment whichever is later.

- Any damage caused to the desert coolers, building shall be made good by contractor free of cost.

- Set of wood pads (3 Nos. of 20” size desert cooler will weight 300 gms. (approx.)

- Coolers after repairing/painting & testing shall be placed on the window pan position & nothing extra shall be paid on this account.

- ISI marked paint shall be used at site.

- The firm shall clean all the tanks/desert coolers remove the existing paint before painting for which nothing extra shall be paid.

- Rewinding of the fan motor shall be that of single/three speed as per the original winding/requirement & nothing extra shall be paid on this account.

- Condenser/capacitor shall be any of the following make:

- USHA

- ASIAN

- NIPPON

- ZEMAR

- 23x76 3 core copper wire shall be of any of the following make.

- National

- ECKO

- NICCO

- SKY TONE

- Dismantle material shall be returned to the department except burnt winding wire.

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

NIT NO.70			SCHEDULE OF QUANTITIES

Name of Work:		M/O Completed Scheme finishing and furnishing Vikas Sadan.

SH: M/O E.I. & Fans – Repairing and cleaning of ceiling and exhaust fans.

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Cleaning the surface of ceiling fans 1400/1200 mm sweep in installed position twice in a year with detergent powder etc. as required | 1450 Nos. | Each |  |  |
| 2. | Cleaning the surface of exhaust fans & louvers in the installed position with detergent powder i/c checking the nuts and bolts etc. as required. | 150 Nos. | Each |  |  |
| 3. | Cleaning of switch board sheet i/c 5/15 amps. Switch and socket in the installed position with thinner/detergent powder etc. as required. | 1100 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 4. | Cleaning Fl. Tube light fittings i/c fluorescent tubes in installed position etc. As required. | 2000 Nos. | Each |  |  |
| 5. | Rewinding of exhaust fan of the following size i/c greasing oiling, testing etc. as required. - 380mm | 30 Nos. | Each |  |  |
| 6. | Rewinding of ceiling fans of the size 1400/1200mm sweep i/c greasing, oiling, testing etc. as required. | 100 Nos. | Each |  |  |
| 7. | Supplying and replacement of ball bearing of following sizes in the ceiling/exhaust fans of different make etc. as required. - 6201 - 6202 - 6203 | 40 Nos. 45 Nos. 40 Nos. | Each Each Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 8. | Supplying and replacement of gunmetal bush of ceiling fans i/c oiling etc. as required. | 25 Nos. | Each |  |  |
| 9. | Supplying of oil filled capacitor of following capacity i/c testing etc. as required. - 2.5 m.f.d. - 3.15 m.f.d. | 200 Nos. 200 Nos. | Each Each |  |  |
| TOTAL |  |  |  |  |  |

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

TERMS AND CONDITIONS

- The work shall be carried out as per specification& to the satisfaction of Engineer-in-charge.

- No T & P shall be issued by the department.

- The burnt ceiling fans/exhaust fans shall be collected from the site and returned to the site by the contractor.  Nothing extra shall be paid on a/c of cartage etc.

- Ball bearing to be replaced should be SKF/TATA/NBC make only.

- Dismantle material except burnt winding wire shall be returned back to the department.

- Capacitor shall be control/Nippon/Bajaj make only.

- The contractor shall stand guarantee for a period of six months for the work done by him.

- Any damaged caused to the existing installation / building during execution of the work the same shall be made good by the contractor within the quoted rates.

- The exhaust fans shall be rewinded for the same r.p.m. as of the original winding.

- Cleaning of switchboard & tube light fittings exhaust fans shall be completed within one month from the date of start.

- The contractor shall have to provide missing check nuts/cotier pin of suitable size in the quoted rates.

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

NIT NO.71			SCHEDULE OF QUANTITIES

NAME OF WORK:-	M/o Completed Scheme finishing and furnishing Vikas Sadan.

M/O E.I. & fans – Supplying and fixing cable and light fitting  at Computer Cell, Commissioner Plg. Room Vikas Sadan.

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying of 4x10 Sq.mm. PVC insulated and PVC sheathed unarmoured XPLE Al. conductor cable of 1.1 KV grade etc. | 100 Mtr. | P/Mtr. |  |  |
| 2. | Laying and fixing of one number PVC insulated and PVC sheathed XLPE Al. Conductor cable of 1.1 KV grade of size not exceeding 25 Sq/mm. on surface as required. | 80 Mtrs. | P/Mtr |  |  |
| 3. | Providing and fixing 6 SWG dia G.I. wire on surface or recess for loop earthing existing surface/ recess conduit/submain wiring/ cable as required. | 160 Mtrs. | P/Mtr |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 4. | Supplying and fixing 63Amp., 4 pole MCCB having 25 KA Breaking capacity, working on 415 volt, 3 phase A.C. supply, 50HZ i/c connection testing etc. as required. | 4 Nos. | Each |  |  |
| 5. | Supplying and fixing of 350mmx 300mmx150mm M.S. box of 18 SWG i/c earth stud etc. as required. | 4 Nos. | Each |  |  |
| 6. | Supplying and fixing 40 amp., 240 volts, MCB in existing MCB DB complete with connection, testing etc. as required. | 6 Nos. | Each |  |  |
| 7. | Supplying and fixing 12 way single pole and neutral, sheet steel, MCB distribution board, 240 volts on surface/recess complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, detachable gland plate, inter connections, phospatised and powder painting i/c earthing etc. as required. | 2 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 8. | Wiring for light point/fan points/exhaust fan point / call bell point with 1.5 sq.m. F.R. PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, with piano type switch, phenolic laminated sheet suitable size M.S. box and earthing the point with 1.5 sq.mm F.R.PVC insulated copper conductor single core cable etc. as required. (Gr.’C’) | 30 Points | P/point |  |  |
| 9. | Wiring circuit/submain wiring alongwith earth wire with 2x1.5 sq.mm + 1X1.5 sq.mm earth wire of PVC insulated copper conductor, single core cable in surface/recessed PVC conduit as required. | 200 Mtrs. | P/Mtr |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 10. | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface/ recessed/ PVC PVC conduit as required. - 1X1.5 Sq.mm. - 2X1.5 Sq.mm | 200 Mtrs. 200 Mtrs. | P/Mtr. P/Mtr. |  |  |
| 11. | Providing and fixing 25mm x 10mm of PVC casing & copping on surface as required. | 200 Mtrs | P/Mtr. |  |  |
| 12. | Supplying and fixing metal box of 150mmX75mmX60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front i/c P/F 3 pin 5/6 amps. Socket outlet and 5/6 amps. Piano type switch connection, painting etc. as required. | 15 Nos. | Each |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 13. | Supplying and fixing following piano type switch/socket on the existing switch box/cover i/c connections etc. as required. - 5/6 amps. Switch. | 500 Nos. | Each |  |  |
| 14. | Supplying and fixing stepped type electronic fan regular on Rotary step 120/280 V on the existing switch box/cover i/c connection, testing etc. as required. | 100 Nos. | Each |  |  |
| 15. | Supplying and fixing 3mm thick phenolic laminated sheet i/c switch cutting etc. As required. | 5000 Sq.inch | P/Sq.inch |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 16. | Supplying and installation 2x28 watt T-5, surface mounted lumainaire with mirror optic and2 Nos. 28 watt T-5 lamp i/c connection, testing etc. as required. | 6 Nos. | Each |  |  |
| TOTAL |  |  |  |  |  |

Sd/-

EXECUTIVE ENGINEER

ELECTRICAL DIVISION NO.11

TERMS AND CONDITIONS

- The work shall be carried out as per CPWD specification internal part-1 2005, pt-II external & to the entire satisfaction of Engineer-in-charge.

- No T & P shall be issued by the department.

- The material shall be got approved from Engineer-in-charge before used at site.

- PVC pipe shall be of AKG, BBC, Precision make.

- Copper wire shall be ISI marked and Skkytone, National/ECKO, Havells make.

- Piano type switch shall be ISI make and Anchor/CPL, precision Cona make.

- Tube fitting shall be made of phillips, Asian, Cropton, Greaves.

- Any damage done during the execution shall be made good within the quoted rates.

- The material dismantled & stored and made good the surface area. The dismantled material shall be returned and stored at DDA site in Vikas Sadan.

- Rate quoted shall be firm and inclusive of all taxes cartage etc. & nothing extra shall be paid on this account.

- All thimbles ferrules, glands, flexible pipe etc. required at  site shall be provided at site within the quoted rates and nothing etc. on this account shall be paid.

Sd/-

EXECUTIVE ENGIENER

ELECTRICAL DIVISON NO.11