Estimated Cost:  62160/-

Earnest Money:-  1243/-

Date of Sale :- 02.05.2008

Date of Opening :- 06.05.2008

SCHEDULE OF WORK

| Name of work | : | M/o Office Building Vikas Minar SH : Supply and Installation of Waste Water Pump Set and repair of existing defective waste water pump set. |
| --- | --- | --- |

| S.NO. | DESCRIPTION OF ITEMS |  | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Repairing and rewinding of 1.00 HP 3 phase darling make portable dewatering submersible pump set including supply and replacement of following parts, i/c dismentalling, reassembling, commissioning & testing etc. complete as required. |  |  |  |  |  |
|  | i) | Rewinding Kit – 1 No. |  |  |  |  |
|  | ii) | Mechanical Seal pump side – 1 No. |  |  |  |  |
|  | iii) | Neck Ring – 1 No. |  |  |  |  |
|  | iv) | Impeller Key – 1 No. |  |  |  |  |
|  | v) | Oil – L/S |  |  |  |  |
|  | vi) | ‘O’ Ring Set – 1 Set |  |  |  |  |
|  | vii) | Top Bearing – 1 No. |  |  |  |  |
|  | viii) | Bottom Bearing – 1 No. | One Job | P. Job |  |  |

| 2. | Supplying, installation, testing and commissioning of waste water pump set having following duties with C.I. impeller operated on A.C. supply in the existing pit complete with Auto Start and Auto Stop pane, suitable size of water proof conductor cable etc. complete as required. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | i) | Head – 9 mtr. |  |  |  |  |
|  | ii) | Discharge – 250 LPM |  |  |  |  |
|  | iii) | HP – 1.00 HP |  |  |  |  |
|  | iv) | Solid Handling – 40 MM |  |  |  |  |
|  | v) | RPM – 2900 RPM |  |  |  |  |
|  | vi) | Phase – 3 Phase | 1 Set | Each |  |  |
|  |  |  |  |  | Total |  |

ADDITIONAL SPECIFICATION & CONDITION

1.	The work shall be carried out to the entire satisfaction of Engineer-in-charge.

2.	No T&P shall be issued to the contractor.

3.	Ball bearing shall be of SKF/NBC make only.

4.	Contractor shall submit the guarantee letter for six month for the smooth operation of pump set.

5.	The rates quoted shall be inclusive of all taxes and duties etc.

6.	Dismentalled material shall be returned back to the department.

7.	Nothing extra shall be paid on account of cartage.

8.	Parts to be replaced shall be of the original make.

9.	The submersible waste water pump set shall be of Darling/KSB make.