DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## NOTICE INVITING TENDER NO. 23/EE/ED-4/DDA/2007-08

(In Lieu of Form PWD 6)

Sealed Item rate tenders are invited for the following work(s) by the Executive Engineer (E), Electrical Division No. IV, DDA, Rohini, Delhi - 85 upto 3.00 p.m. on date mentioned below on behalf of DDA approved contractors of appropriate class of DDA, CPWD, MES, Civil Wing of P&T and Railways in the field of job who satisfy the following conditions :-

- The annual financial turnover (gross) in one of the preceding 3 financial years shall not be less than 100% of the estimated cost (gross) value of the work duly audited by Chartered Accountant on annualized basis depending upon the time allowed for the completion i.e. total estimate value divided by time of completion.

- Satisfactory completion of atleast two works of similar nature / class costing not less than 50% of the estimates cost (gross) in Central / State govt. Deptt./ Public Sector Undertaking / Govt. Autonomous bodies during the last five years.

The tender shall be opened on the same day at 3.30 p.m. at Ground Floor, Vikas Minar, D.D.A. office, I.P. Estate, New Delhi in the presence of intending tenderers or their authorized representatives.

The tender documents can be had on any working day from the Sr. A.O. / CAU/ Rohini zone / DDA after verification of documents from EE(E)/ED-4 between 11.00 a.m. to 3.00 p.m. on payment of cost of tender (non refundable) as well as amount of earnest money in the prescribed manner as mentioned against each work i.e. in cash (upto Rs. 10,000/-), Receipt treasury challan / deposit at call receipt / fixed deposit receipt / demand draft of a schedule bank issued in favour of Sr. A.O. /CAU/Rohini/DDA on production of registration certificate & No dues certificate issued from work contract cell under Delhi Value Added Tax of work contract Act 2004 & VAT Rules 2005. Sale of tender forms will be stopped 4 (Four) days including date of opening before the date fixed for the opening of tender.

The manner of submission of tender, opening of the same and entry of contractor’s / their authorized representatives to the place of opening shall be as provided in clause 3(a)(b) & (c) of PWD-6 forming part of the tender documents.

| # S.No | NIT No. | Name of work | Estt. Cost / Earnest money / Cost of tender | Time Allowed | Date of Sale Date of opening of tender |
| --- | --- | --- | --- | --- | --- |
| 1 | 23. | M/o various colonies under Rohini Zone. SH : RMO clear water supply pump sets and D.G. Sets at 250 / 252 LIG (incremental) houses in Pkt. 8 and 9 Sector-25, Rohini on annual contract basis. | ##### Rs. 1,66,913/- ##### Rs. 3,338/- ##### Rs. 500/- | 12 Months (Twelve Months) | 06.08.2007 10.08.2007 |

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

Rohini, Delhi – 110085

###### DELHI DEVELOPMENT AUTHORITY

###### ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## SCHEDULE OF WORK

# Name of Work	 :-	M/o various colonies under Rohini Zone.

SH. 	 : -	RMO clear water supply pump sets and D.G. sets at 250/252 LIG (Incremental) houses in Pkt 8 & 9, Sector-25, Rohini on annual contract basis.

| S.No. | Description of items | Qty. | Rate | Unit | ### Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Operation of pumps / D.G. Set as per inventory and terms and conditions attached. | 1 Job for 12 months |  | Per Month |  |
| 2. | Supplying and replacement of the following items - HPMV Lamps 125 Watt - Copper wound polyester filled ballast for 125 Watt HPMV lamp | 1 Nos. 1 Nos. |  | Each Each |  |
|  |  |  |  | ##### Total |  |

## TERMS  & CONDITIONS

- The work comprises of running and operation of pump sets, D.G. set and general lighting as per the inventory attached.

- The contractor shall depute the following staff under the contract –

(a)	Operator  -  1 No. operator for operation of pumps & D.G. Sets in one shift of 8 hours as per direction of Engineer in charge.

(b)	Khallasi – 2 Nos. Khallasi cum Chowkidar i.e. 1 no. each per shift of 8 hours for two shifts other then shift in which operation of pump & D.G. sets has to be made.

(c)	Wiremen Gr. I shall attend the site of work between 9 a.m. to 5 p.m. stleast once in a fortnight & as and when required.

- The contractor shall employ trained and competent staff to the satisfaction of Engineer-in-charge having two years experience on operation of pump / D.G. set.

- The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer-in-charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity card by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone no., site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer-in-charge within 15 days of award of work.

- The contractor shall employ staff throughout the period of contract including Saturdays, Sundays, Gazetted Holidays and National Holidays.

- Following records are to be kept at site of work.

  - Printed log book for recording operation.

  - Attendance register for staff deployed.

  - Complaint /Inspection register.

Note – The contractor shall get the registers authenticated from Engineer in Charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the logbook.

  - Servicing and greasing of pumps / motors once in 3 months.

  - Replacement of rubber packings of valves and work out nuts and bolts etc.

  - Replacement of gland dori as and when required.

  - Replacement of HRC fuses, incandescent lamps and starters. Fl. Tubes as and when required.

  - Adjustment, alignment / tightening of nuts & bolts as and when required.

  - Replacement of burn out thimbles, wire terminals etc.

  - Top up of battery water.

  - Daily cleaning of equipments / pump house.

Note – The material required for carrying out above shall be supplied by the contractor within quoted rates.

- The D.G. set shall be operated in case of electricity failure or as and when desired by Engineer in Charge. However P.O.L. shall be supplied by the Department.

- Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation in voltage.

- The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of electric supply in time.

- Watch and Ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor.

- The payment to the contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- Proper handing / taking over of all the E & M installations shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after award of work / before start of work.

- The Engineer-in-charge, if so desire may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate  to per shift shall be recovered from the contractor’s bill.

- All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor. The contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor.

- The contractor shall keep all the necessary spares and T&P at site required for operation and maintenance to be carried under his contract.

- In case of any disobidnece or misbehaviour by the operational staff of the contractor, the Engineer –in-charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

- The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc.

- Pumping installation shall be painted (excluding control panel) once during the contract period.

- Any injury to the operational staff, in case of any mishap, during duty hours will be the liability of contractor.

- Make of lamp shall be Philips / Osram ; copper ballast shall be as per fitment of manufacturer of existing luminaire.

## Executive Engineer (E)

Electrical Division No.4 / DDA

INVENTORY

Part –A

- Booster pumps 	Centrifugal

  - 10 HP Horizontal centrifugal pump set 		2 nos.

  - 5 H.P. vaccum pump set 		1 no.

  - Control panel

  - Sluice valve, non return valve and foot valve

Part – B

(i)	D.G. SET

(a)	Capacity 15 KVA    415 Volts 	1 No.

Part – C

(i)	Water Level Indicator		1 no.

Part – D

- Internal Electrical installation 		3 Nos.

Comprising fluorescent tubes 40 Watt

(Incondescent Lamps)		3 Nos.

(b)	External Electrical installation		1 No.

(HPMV 125 Watt Fitting)