OFFICE OF THE SECRETARY

SIRI FORT SPORTS COMPLEX

KHEL GAON MARG, NEW DELHI.

No. SFSC /DDA/NIQ/2008-2009/	             		                	       Date: - 01.07.2008

NOTICE INVITING QUOTATION NO. 38

Sealed item rate quotations are invited on behalf of DDA by the Secretary (SFSC) for the following works.  The quotation should reach the office of Secretary (SFSC), DDA on or before 08.07.2008 upto 3:00 P.M. and will be opened on the same day at 3:30 P.M. in the presence of intending quotationers.

Name of Work:- Maintenance of Siri Fort Sports Complex.

SH :- Annual maintenance  contract of water Cooler & Ac’s  at SFSC/DDA

| S.N | Description of Item | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | As Per Schedule Attached |  |  |

Conditions :

- The work should be carried out as per specification and direction of in-charge.

- Nothing extra shall be paid to the Agency against cartage.

- Periodical service of the AC’s shall be made four time in a year .

- payment  of  annual charges shall be made in four equal installments after completing the quarter.

- The unit will be attended to when called upon during normal working hours .

- Necessary invoice for payment shall be raised after completion of the quarter

- The annual maintenance contract shall be for a period of one year commencing from the date of signing of contract / agreement

- Repair / replacement shall be made free of cost as compressor , starting component, gas charges, thermostali , I.C. electric switch , fan motor etc. during  the contract period .

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and supposed to furnish a copy of VAT registration at the time of making the request for issue of tender/NIQ or to attach the same along with the quotation as the case may be.  In case the quotationer / tenderer registered with the VAT Department, he may give an undertaking stating therein the registration no., date of registration, period for which the return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same.  In case, the quotationer / tenderer is not registered with the VAT Deptt.  then he will require to submit an undertaking .

# Secretary (SFSC)

###### Copy to:-

| 1. | Director (Sports) for Inf., Please |  | 2. | Sr. A.O. (Sports) DDA |
| --- | --- | --- | --- | --- |
| 3. | The Secy., DDA contractor’s Welfare Association Vikas Kuteer, N.D |  | 4. | The Secy., DDA Builders E-18, Vikas Kuteer, N.D |
| 5. | All Secy.,/Sports Complexes, DDA |  | 6. | AAO (SFSC) DDA |
| 7. | J.E. (E) ,DDA |  | 8. | Cashier (SFSC) DDA |
| 9. | Notice Board (SFSC) |  | 10. | Dir.(System) through E-Mail |

Secretary (SFSC)

Sechdule of Quantity

Name of Work: - M/o Siri Fort Sports Complex

SH: - Annual maintenance contract of Water Cooler & AC’s  at SFSC/DDA

| SL. | Description of Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Maintenance of window types Air condition 1.5 ton to 2.0 ton including quarterly servicing of machine (including Replacement of parts & spares) and Voltage Stabilizer. | 14 Nos. | Each |  |  |
| 2. | Maintenance of split types Air condition 1.5 to 2.0 ton including of quarterly servicing of the machine (including Replacement of parts & spares) and Voltage stabilizer. | 9 Nos | Each |  |  |
| 3. | Maintenance of Water Cooler of capacity 120 liters including quarterly servicing of the machine (including replacement of parts & spares) etc. as required. | 9 Nos | Each |  |  |

Secretary ( SFSC)