DELHI DEVELOPMENT AUTHORITY

CHILLA SPORTS COMPLEX

NIQ No.     27/CSC/DDA/2008-09

No. F5 (56) CSC/DDA/2008/247							Date. 07.07.2008

Sealed quotations are invited from the experienced agencies up to 3:00 PM on dt. 18.07.2008 on behalf of DDA. Quotation will be opened on the same day in the presence of agencies/representatives of the agencies at 3:30 PM in the room of Secretary/Chilla Sports Complex, Dallupura, Delhi. The schedule can be obtained from Assistant Cashier, Chilla Sports Complex Main office on any working day.

Name of Work   :   	Maintenance of Chilla Sports Complex

SH		:	Renovation of Ladies Toilet at Multigym at CSC.

General Terms & Conditions:-

- The agency should have valid D-VAT clearance certificate/copy of the latest Challan deposited the D-VAT.  (Copy enclosed with the quotation )

- The rate should be inclusive of all overhead charges.

- The work should be completed within 10 days after issue of Work Order.

- No Tools and Plants will be issued to the agency.

- Nothing extra will be paid.

- The payment shall be released after the work has been executed as per specification given in work order and satisfaction of engineer in charge and Secretary/CSC about the quality in regards.

- Conditional quotation will not be accepted.

- Statutory deduction will made as per Act.

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case the quotationer / tenderer registered with the VAT department, he may give an undertaking stating therein the registration no., date of registration, period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same. In case, the quotationer / tenderer is not registered with the VAT Department, then he will require to submit an undertaking in the specified Performa.

-Sd-

(J. Kaushik)

Lt. Col. (Retd.)

Secretary/CSC

Copy to:

- Director (Sports), DDA

- Director (System), DDA (through email to dirsystem@dda.org.in)

- Sr. A.O. (Sports), DDA

- All Secretary of the DDA Sports Complexes i/c Secretary (Coordn.)

- The Secretary, DDA Contractor’s welfare Association, Barrack No. 1, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor Association, E-18 Vikas Kutir New Delhi..

- AAO/CSC/DDA.

- J.E. (Civil)/CSC/DDA

- Asstt. Cashier/CSC/DDA

- Notice Board

- Guard File.

- www.dda.org.in (through email to ddatender@dda.org.in)

-Sd-

Secretary/CSC

NIQ No.     27/CSC/DDA/2008-09

Schedule of Quantities

Name of Work	: 	M/o Chilla Sports Complex.

SH			:	Renovation of Ladies Toilet at Multigym at CSC.

| S. No. | Description Items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 26.00 | Sqm. |  |  |
| 2. | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer) of approved make in all colours, shades except begundy, bottle green, black of any size as approved by Engineer Incharge in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm. including pointing in white cement mixed with pigment of matching shade complete. | 35.00 | Sqm. |  |  |
| 3. | Providing and laying ceramic glazed floor tiles 300 x 300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS: 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with white cement and matching pigment etc., complete. | 8.00 | Sqm. |  |  |
| 4. | Removing white or colour wash by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 12.00 | Sqm. |  |  |
| 5. | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade: New work (two or more coats) over and including priming coat with cement primer. | 12.00 | Sqm. |  |  |
| 6. | Providing and fixing water closet squatting pan (Indian type W.C. Pan) with 100 mm sand cast iron P or S Trap, 10 Ltr. Low level white PVC flushing cistern with manually controlled device (Handle lever) conforming to IS: 7231 with all fittings & fixtures complete including cutting and making good the walls and floors wherever required: White colour Vitreous China Orissa pattern W.C. Pan of size 580 x 440 mm with integral type foot rests. | 1 No. | Each |  |  |