OFFICE OF THE  EXECUTI VE ENGINEER

SOUTH EASTERN DIVISION NO.4

SARITA VIHAR NEW DELHI:-76

…….

NIQ No.01/EE/SED-4/DDA/08-09

“ NOTICE INVITING QUOTATION  “

Sealed item rate quotations are invited for the work of “M/o.Various scheme  under East Zone. SH: “Repair and maintenance of flat No.71-T in Sector-8 at Jasola. The quotation shall be received upto 3.00 P.M. on 28.07.08 and shall be opened at 3.30 P.M. on the same day in the office of EE/SED-4/DDA office complex, Near Fly over, Mathura Road,Sarita Vihar,New Delhi-76, in the presence of contractor/their authorized representative.

Schedule of quantity can be have on any working day from the date of issue of this notice to the date of opening between 10.00 A.M. TO 3.00 p.m. from the office of EE/SED-4/DDA.

-sd-

Executive Engineer

South Eastern Division No.-4

No.F.5(6)A/SED-4/DDA/08-09/896                                               Dtd.21.07.08

No.F.5(6)A/SED-4/DDA/08-09/896                                               Dtd.21.07.08

SCHEDULE OF QUANTITY

Name of work:-  M/O Various completed scheme under East Zone.

SH:- Repair and maintenance of flat No.71-T in Sector-8 at Jasola.

| Sl. No. | Description of items. | Qty. | Unit. |
| --- | --- | --- | --- |
| 1. | Providing and fixing paneled or paneled and glazed shutters for doors, windows and clerestory windows including ISI marked black enameled M.S. butt hinges with necessary screws excluding paneling which will be paid for separately. - Kiln seasoned and chemically treated Hollock wood. i) 35mm thick shutters. | 4.94 M2 | Sqm. |
| 2. | Providing and fixing paneling or paneling and glazing in paneled or paneled and glazed shutters for doors, windows, and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Paneling for paneled or paneled and glazed shutters 25mm to 40mm thick. - Particle Board 12mm thick. i) Plain particle board flat pressed, 3 layer or graded wood particle board medium density grade I, Is: 3087 marked. | 4.00 M2 | Sqm. |
| 3. | Providing and fixing ISI marked flush door shutters conforming to IS 2202 (Part-I) non decorative type, core of block board construction with frame of Ist class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 35mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 5.16 M2 | Sqm. |
| 4. | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. all complete. a) Fixed to steel windows by welding. | 31 kg. | Kg. |
| 5. | Providing and fixing ISI marked 85x42mm oxidized M.S. pull bolt lock conforming to IS: 7534 with necessary screws bolts, nuts and washers etc. complete. | 04 Nos. | Each. |
| 7. | Providing and fixing aluminum sliding door bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete. a) 300x16mm. | 05 Nos. | Each. |
| 8. | Providing and fixing aluminum tower bolts ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868), transparent or dyed to required colour of shade with necessary screws etc. complete. - 300x10mm. - 150x10mm. | 11 Nos. 09 Nos. | Each. Each. |
| 9. | Providing and fixing aluminum handles ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete. a) 125mm. | 07 Nos. | Each. |
| 10. | Providing and fixing aluminum handing floor door stopper ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. a) Single rubber stopper. | 05 Nos. | Each. |
| 11. | Providing and fixing oxidized M.S. casement stays ( straight peg type) with necessary screws etc. complete. a) 300mm weighing not less than 200 gms. | 04 Nos. | Each. |
| 12. | Providing and fixing factory made ISI marked steel glazed doors windows and ventilators side/top/centre hung with beading and all members such as K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted with 15x3mm lugs, 10cm. long embedded in cement concrete blocks 15x10x10cm of 1:3:6 (1cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required including providing and fixing of hinges, pivots, flat glass panes with glazing clips and special metal sash putty of approved make and a priming coat of approved steel primer excluding the cost of metal beading and other fittings except necessary hinges or pivots complete as per approved design. | 100kg. | Kg. |
| 13. | Providing and fixing pressed steel door framed confirming to IS 4351 manufactured from commercial mild steel sheet of 1.25mm thickness including hinges jambs, lock jamb, bead and if reqd. angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 2.5mm thick with mortar guards, lock strike plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge. a) Profile B. | 16.00 M | Metre. |
| 14. | Finishing walls with water proofing cement paint of required shade. a) Old work ( one or more coats applied @ 2.20kg./10m2) over priming coat of primer applied @ 0.80 liters/ 10m2 complete including cost of priming coat. | 106.00M2 | Sqm. |
| 15. | Applying priming coat : with ready mixed pink or grey primer of approved brand and manufacture on wood work(hard and soft wood). | 39.00 M2 | Sqm. |
| 16. | Painting with synthetic enamel paint of approved brand and manufacture to give and even shade. a) Two or more coats on new work. | 39.00 M2 | Sqm. |
| 17. | Repairs to plasters of thickness 12mm to 20mm in patches of area 2.5 sqm. and under including cutting the patch in proper shade, raking out joints and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 meters lead: a) With cement mortar 1 : 4 (1 cement : 4 fine sand). | 24.00 M2 | Sqm. |
| 18. | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts embedding hold fasts in cement concrete blocks with cement concrete 1 : 3 : 6 (1 cement : 3 coarse sand : 6 graded stone agg. 20mm nominal size) painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete including disposal of rubbish to the dumping ground within 50 meters lead: a) Door chowkhats. | 03 Nos. | Each. |
| 19. | Renewing glass panes, with putty and nails wherever necessary: a) Float glass panes of thickness 04mm. | 8.00 M2 | Sqm. |
| 20. | Renewal of old putty of glass panes(length) | 20.00 M. | Meter. |
| 21. | Regarding terracing of mud phaska covered with tiles or brick, in cement by dismantling tiles or bricks, removing mud plaster preparing the surface of mud phaska to proper slope relaying mud plaster gobri leaping and tiles or brick grouted in cement mortar 1 : 3 (1 cement : 3 fine sand) including replacing serviceable material to the dumping ground(the cost of the new tiles or brick excluded within 50 meters lead | 50.00M2 | Sqm |
| 22. | White washing with limt eot give an evenshad a)Old work(two or more coats) | 262.00M2 | Sqm |
| 23. | Painting with synthetic enamel paint of approved brand and manufacture of required colour to given an even shad a)One of more coats on old | 56.00 M2 | Sqm |
| 24. | Demolishing cement concrete including disposal of material a)1:3:6 or richer mix | 0.50 M3 | Cum |
| 25. | Providing fand fixing white vitreous Chine pedestal type water (European type) with seat and lid.10 litre low level flushing cistern with fittings & C.I /M.S brackets 40mm flush bend overflow arrangement with special of standard make and mosquito proof coupling of approved municipal design complete including painting of fittings and brackets, cutting and making good the walls and floors wherever required. a) W. C. with ISI marked white solid plastic seat and lid with white vitreous china flushing cistern & C.P. flush bend. | 1 NO. | Each |
| 26. | Providing and fixing wash basin with CI/MS brackets 15mm C.I brass pillar taps, kingstone /Gem/ /parko,32 mm CP brass waste of standard pattern, including painting of fittings and brackets, cuttings and making good the walls wherever required. a) white vitreous China Wash basin size 550x400mm with a pair of 15 mm C.P. Brass pillar taps. | 2 Nos | Each |
| 27. | Providing and fixing 600x450 beveled edge mirror of superior glass(of approved quality complete with 6mm thick hard board ground fixed to wooden cleats with CP brass crews and washers complete. | 2 Nos | Each |
| 28. | Providing and fixing soil waste and vent pipes a)100mm diameter sand cast iron S & S pipe as per I.S.1729 b)75mm diameter sand cast iron S & S pipe as per I.S.1729 | 5.50 M 3.60M | Metre metre |
| 29. | Providing and fixing anodized aluminum towel rail complete with brackets fixed to wooden cleats with C.P. brass screws with anodized brackets fixed to wooden cleats and stainless steel screws a)600x20mm | 2 Nos. | Each |
| 30. | Providing and fixing P.V. waste pipe for xink of wah basin including PVC waste fittings complete a)Semi regid pipe 32 mm dia | 2 Nos. | Each |

| 31. | Providing and fixing G.I. pies complete with G.I. fittings and clamps including cutting making good the walls etc,(internal work). - Exposed on wall i) 15mm dia nominal bore ii) 20mm dia nominal bore | 14.00 M 12.00 M | Metre Metre |
| --- | --- | --- | --- |
| 32. | Providing and fixing brass stop cock of approved quality a)20mm nominal bore | 4 nos. | Each |
| 33. | Providing and fixing unplasticised PVC connection pipe with brass unions(a)45mm length 15mm nominal bore | A8 Nos. | Each |
| 34. | Providing and fixing C.P.Brass shower rose with 15 to 20mm inlet. | 2 Nos | Each |
| 35. | Providing and fixing G.I. union in G.I.Pipes including cutting and threading the pipe and making long screws etc. complete(new work) - 15mm nominal bore - 20mm nominal bore | 2Nos 2 Nos | Each eacj |
| 36. | Providing and placing on terrace(at all floor levels) polyethylene water storage tank ISI 12701 marked indicating the BIS License No. with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank.(sintex, Electroplast), star, lotus or equivalent having valid ISI License | 500 Lt. | P/litre |
| 37. | Providing and fixing C.P.brass long body bib cock of approved quality conforming toIS standards and weighing not less than 690 gms. a) 15mm nominal bore. | 9 Nos. | Each |
| 38. | Providing and fixing C.P. brass angle valve for basin mixer and gyser points of approved quality conforming to IS: 8931. a) 15mm nominal bore. | 6 Nos. | Each |
| 39. | Dismantling door, windows and clerestory window(steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 meters lead. a) Of area 3 sqm. and below. | 5 Nos. | Each |
| 40. | Providing and fixing Ist quality ceramic glazed tiles conforming to I.S. 13753 or minimum thickness 5mm of approved make like NITCO, ORIENT, SOMANY, KAJARIA or equivalent make in all colours, shades except begudmy, bottle green, black of any size as approved by Engineer-in-charge in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1 : 3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.30kg./sqm. Including pointing in white cement mixed with pigment of matching shade complete. | 4.30 M2 | Sqm . |
| 41. | P/F kitchen sink with C.I. brackets, C.P. brass chain with rubber plug 40mm C.P. brass waste complete including painting the fittings and brackets cutting and making good the walls wherever required. a) White glazed fire clay kitchen sink of size 600x450x250mm. | 1 No. | Each |
| 42. | Painting G.I. pipes and fittings with synthetic enamel white paint over a ready mixed priming coat of approved quality for new work. - 15mm dia pipe. - 20mm dia pipe. | 14.00 M 22.00 M | Metre Metre. |
| 43. | P/F PVC low level flushing cistern with manually controlled device (handle lever) confirming to IS: 7231, Parryware /Hindware/Seabird/ Orient(Coral) complete. a) 10 litre capacity-White. | 1 No. | Each |
| 44. | Rubbing and polishing marble chips flooring ,kota flooring,skirting and dado etc. complete including all labour and material as per direction of Engineer-in-charge. | 65.00 M2 | Sqm |
| 45. | Providing and fixing ball valves (brass) of approved quality complete. a) 20mm nominal bore | 1 No. | Each |
| 46. | Disposal of malba, building rubbish by mechanical transport including loading, unloading and stacking for all leads and lifts as per direction of Engineer-in-charge. | 7.00 M3 | Cum |

Sd/-	Sd/-	Sd/-

J.E(T)				AE(P)/SED-4				EE/SED-4