INVENTORY

Name of Work :	Maintenance of completed closed schemes houses of Dwarka

Zone.

SH:  Annual Operation & Maintenance for clear water booster pumpset & DG set at 328 DU’s at Isolated Pkt 6, Site 2, Nasirpur, Dwarka.

Detail of electrical installation at above noted site.

| (a) | 15 HP Centrifugal pump set | 2 Nos. |
| --- | --- | --- |
| (b) | 6 HP Submersible pump set | 1 No. |
| (c) | 5 HP Vacuum pump | 1 No. |
| (d) | 25 KVA DG set | 1 No. |
| (e) | 1 HP Dewatering pump set | 1 No. |
| (f) | LT Panel comprising of following electrical accessories |  |
|  | 125 AMP 415 V, 50 HZ Main Switch | 1 No. |
|  | 63 AMP 415 V, 50 HZ Main Switch | 1 No. |
|  | Star Delta Starter suitable for 15 HP 415 V, 50 HZ motor | 2 Nos. |
|  | DOL starter suitable for 5/6 HP, 415V, 50 HZ | 2 Nos. |
|  | Capacitor | 1 No. |

Along with all other allied electrical items i/c controlling & protective devices