In Lieu of PWD-8

OFFICE OF THE EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO. 4/DDA

ROHINI OFFICE COMPLEX, OLD BARRACKS

NEAR SARASWATI VIHAR, ROOM NO. 110

DELHI – 110085

Issued to M/s : __________________________________

Date of Sale of Tender : ___________________________

Name of Work : M/o completed Scheme of N/A-II under SWZ.

SH : R/M/O  of fountains and park lights at Parshuram Park, Hari Nagar (on Annual Contract basis)

Estimated Cost Rs. 98,652/- 			 	Earnest  Money Rs. 1,973/-

Cost of Tender Rs. 150/- 				Time Allowed 12 Months

Last date for receipt of tender   10.07.2007   upto 3.00 p.m.

I /We have seen and studied the NIT in the office of the Executive Engineer (E), Electrical Division 4 on form PWD-8 with correct slips and conditions attached with it. I / We are counting our item rates on the basis of these terms and conditions and if my / our offer is accepted the regular agreement with all terms and conditions  as contained in the N.I.T. will be a part of the agreement to be executed for the due performance of the work.

Tendered amount Rs. ____________________

Date the _____________________ day of ___________________ 2007.

# Signature of Contractor

Signature of witness to contractor’s

Signature

Address :

Occupation

Note : Earnest money should be deposited in the form of call deposit receipt or Demand draft drawn on a Scheduled Bank guaranteed by the Reserve Bank of India, in favour of AO/CAU(R)/DDA. Earnest Money in cash will not be accepted.

A –

C –

D –

OW – O

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

## Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 4, ROHINI, DELHI – 110085

## NOTICE INVITING TENDER NO. 17 & 18/EE/ED-4/DDA/2007-08

(In Lieu of Form PWD 6)

Sealed Item rate tenders are re-invited / invited for the following works by the Executive Engineer(E), Electrical Division No. IV, DDA, Rohini, Delhi - 85 upto 3.00 p.m. on behalf of DDA approved contractors of appropriate class of DDA, CPWD, MES, Civil Wing of P&T and Railways which shall be opened on the same day at 3.30 p.m. at Ground Floor, Vikas Minar, D.D.A. office, I.P. Estate, New Delhi in the presence of intending purchasers or their authorized representatives.

The documents can be had on any working day from CAU Rohini / Sales Counter, Ground Floor, Vikas Minar, New Delhi between 10.00 a.m. to 3.00 p.m. on payment of amount mentioned against each work (non refundable) on production of valid ITCC and registration certificate. Contractor must produce valid certificate of registration with works contract cell of sales tax deptt. of GNTCD and the Tax clearance certificate in Form XI (under rule 8(2) of Delhi Sales Tax of works contracts rule (1999) issued by the said cell. Sale of tender forms will be stopped Four days (including date of opening) before the date fixed for the opening of tenders.

The manner of submission of tender, opening of same and entry of contractor’s / their authorized representatives to the place of opening shall be provided in clause three 3(a)(b) and (c) of PWD-6 forming part of the tender documents.

The earnest money should accompany the application form of call of deposit receipt or demand draft of schedule bank Guaranteed by the Reserve Bank of India in favour of Sr. A.O. / CAU (Rohini)/DDA.

| # S.No. | NIT No. | Name of work | Estt. Cost / Earnest money / Cost of tender | Time Allowed | Date of Sale Date of opening of tender |
| --- | --- | --- | --- | --- | --- |
| 1. | 17 | M/o completed Scheme of N/A-II under SWZ. SH : R/M/O of fountains and park lights at Parshuram Park, Hari Nagar (on Annual Contract basis) | ##### Rs. 98,652.00 ##### Rs. 1,973.00 ##### Rs. 150.00 | 12 Months (Twelve Months) | 06.07.2007 10.07.2007 |
| 2 | 18 | M/o completed Scheme of N/A-II under SWZ. SH : R/M/O of P/Sets and park lights at Distt. park of LIG & MIG Housing in Rajouri Garden (on Annual Contract basis) | ##### Rs. 1,35,605.00 ##### Rs. 2,712.00 ##### Rs. 500.00 | 12 Months (Twelve Months) | 06.07.2007 10.07.2007 |

EXECUTIVE ENGINEER (El.)

Electrical Division No. IV, DDA,

Rohini, Delhi – 110085

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. – 4 / ROHINI, DELHI.

## SCHEDULE OF WORK

Name of Work 	:  -	M/o Completed scheme of  N/A – II under S.W.Z.

SH. 	 : - 	R/M/O of P/Sets, Fountains and Park Lights at Parshuram Park, Hari Nagar.

on annual contract basis.

| S.No. | Description of items | Qty. | Rate | # Unit | ### Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Maintenance & Operation of park / path lighting & pumps sets, fountains etc. as per inventory & terms & conditions attached. | One job for 12Months |  | # P/Month |  |
| 2. | Supplying and replacement of the following items : |  |  |  |  |
|  | - 150 Watt MHNT lamp | 2 Nos. |  | # Each |  |
|  | b) 125 Watt HPMV Lamp | 6 Nos. |  | # Each |  |
|  | c) 125 Watt copper wound choke / Ballast for HPMV Fitting | 5 Nos. |  | # Each |  |
|  | d) 150 Watt copper wound choke / Ballast for MHN-T Lamp. | 2 Nos. |  | # Each |  |
|  | - 10 MFD electronic capacitor | 5 Nos. |  | # Each |  |
|  | - 20 MFD Electronic capacitor | 2 Nos. |  | # Each |  |
|  | - Ignitor for 150 Watt MHN-T Fitting | 2 Nos. |  | # Each |  |
|  | - 160Watt MLL Lamp | 7 Nos. |  | # Each |  |
| 3. | Painting & Numbering of following sizes of Street Lighting poles i/c its overhangs, connector boxes etc. with double coat of aluminum / enamel paint of approved shade after cleaning the surface etc. as required. - 3 mtr. Height - 6 Mtr. Height - 9 mtr. Height | 7 Nos. 9 Nos. 1 No. |  | # Each # Each # Each |  |
| 4. | Spray painting & numbering of feeder pillar with enamel paint of approved shade after cleaning the surface etc. as reqd. | 3 Nos. |  | # Each |  |
| 5. | Supply of the following sizes of XLPE armoured power cable, aluminum conductor cable of 1.1 Kv grade, testing & connection etc. as reqd. (i) 2 core x 10 sq.mm. | 100 Mtr. |  | # Mtr. |  |
| 6 | Laying of one number PVC insulated and PVC sheathed / XPLE armoured power cable of 1.1 KV grade of size not exceeding 25 sq.mm direct in ground i/c excavation and refelling the trench etc. as reqd. but excluding sand cushioning and protective covering. | 150 Mtr. |  | # Mtr. |  |
| 7. | Supplying and Replacement of following types of damaged street light fitting suitable for 125 Watt HPMV Lamp complete with control gear, reflector, protection glass cover, protection wire mesh / Jali made from suitable guage M.S. wire along with lamp i/c earthing the body, connections, testing etc. as reqd. - HID Lamp Roadway lighting luminaries / Sheet Al. Lamp Housing and die cast Al. Alloy control gear housing in grey hammer tone, stove enameled finish, side reflector with acrylic bowl and accessories / 125 watt HPMV Fitting | 2 Nos. |  | # Each |  |
| # Total |  |  |  |  |  |

Executive Engineer (E)

#### Electrical Division No. 4/ DDA

Name of Work 	:  -	M/o Completed scheme of  N/A – II under S.W.Z.

SH. 	 : - 	R/M/O of P/Sets, Fountains and Park Lights at Parshuram Park, Hari Nagar.

on annual contract basis.

##### DETAIL OF INSTALLATION

| S.No. | Name /Location of Park | Fountain | Sub.P/Set upto 7.5 HP for Hort. Purpose | 125 Watt HPMV Light Fitting | 150 Watt MHN-T Light Fitting | Poles |  |  | 160 W | Feeder Pillar | Water Fall |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 3 mtr. | 6 mtr. | 9 mtr. |  |  |  |
| 1 | Parshu Ram, Park, Hari Nagar | 1 Set | 2 Set | 12 Nos. | 4 Nos. | 7 Nos. | 12 Nos. | 1 No. | 7 Nos. | 3 Nos. | 1 Set |
|  | TOTAL | 1 Set | 2 Set | 12 Nos. | 4 Nos. | 7 Nos. | 12 Nos. | 1 No. | 7 Nos. | 3 Nos. | 1 Set |

## DELHI DEVELOPMENT AUTHORITY

## PERFORMA OF LOG SHEET

# Name of Work :-   M/o completed scheme of Nazul A/c-II under S.W.Z.

SH. 	 : -  R.M.O. of P/sets & Park Lights at Parshuram Park, Hari Nagar.

| S.No. | Details of street lighting points | No. of points functional | No. of points not functional | Location / details of non functional points |
| --- | --- | --- | --- | --- |
| 1. | - …………………… watts - …………………… watts - …………………… watts |  |  |  |

## Remarks :

## Signature of contractor or his

## Authorized representative

#### TERMS & CONDITIONS

  - The work comprises of running, maintenance & operation of pump sets & street lighting as per inventory attached.

  - Scope of work is as under :-

- To keep all street lighting points and all allied installations in working order.

- To keep the street lighting functional during the timings fixed by the Engineer-in-charge.

- Street lighting should be switched ON/OFF at appropriate time fixed by the department.

- Running maintenance and operation submersible P/Set & its allied installation

  - 90 % of the street lighting should remain in working order & functional through out the period of contract failing which proportionate recovery shall be made from the contractor’s bill.

  - No park/path points should remain out of order for more than 3 days. Beyond 3 days, a recovery of Rs.50/- per point, per day, shall be made from the contractor’s bill.

  - For laying of cable and removing of existing damaged/defective cable, payment will be made as per item No. 5 of schedule of work and no extra payment shall be made on this account.

  - Proper handing/taking over of all the E&M installation, shall be carried out by JE (E)/ AE (E) in-charge of the work and the contractor in writing immediately after award of work and before start of work. The same shall be handed over to the department in proper working condition after expiry of the contract.

  - The contractor shall depute the following staff under the contract.

(a) Pump Operator Gd- II  	1 Nos. in General shift (9 a.m. to 5 p.m.) on all working days except Sundays & Holidays.

(b) Wiremen Gd- I  	1 No. twice in a week (from 2 p.m. to 10 p.m.) for maintenance of path / park lighting and its allied installation.

(c) Wireman Gd – I 	1 No. twice in a month for maintenance of pump sets & its allied installation.

(d) Khallasi 	1 No. twice a week (from 2 p.m. to 10 p.m.) for maintenance of park / path lighting as helper with wiremen Gd-I mentioned at 7(b)

  - The duty timings of the staff can be changed as and when required by the Engineer-in-Charge.

  - The contractor shall deploy trained and competent staff to the satisfaction of the Engineer-in-Charge.

  - The contractor shall supply the list of staff along with details i.e. Name, Father’s Name, Date of Birth, Experience Certificate to be engaged on the installation within 7 days of award of work. Engineer – in – Charge shall have the right to reject any staff deployed by the contractor.

  - The staff deployed by the contractor shall wear proper uniform and badges displaying their name and designation.

  - The contractor shall deploy staff throughout the period of contract as mentioned in additional condition No.7 and shall maintain attendance register which shall be kept at the office of J.E. (E) concerned.

  - The contractor shall submit the log sheet as per the performa for each and every park/site enclosed regarding the status of street lighting points and other allied installations of the proceeding day, periodically as per perdios decided by Engineerin charge in the division office, duly signed by him or his authorized representative whose particulars shall be furnished by the successful tenderer within 7 days after award of work. The contractor shall also keep printed log book at the site of work for recording operation of pumps and  complaint / inspection register. The registers shall be the duly authenticated  from Engineer in charge before use at site.

  - If any staff deployed by the contractor is found absent on a particular time and date, an amount equal to minimum wages fixed by Delhi Administration from time to time shall be recovered from the contractor’s bill.

  - In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer – in – Charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

  - The contractor shall take all safety measures at site during maintenance of the installation.

  - Any injury/mishap to the maintenance staff during duty hours will solely be the liability of the contractor.

  - Contractor shall stand guarantee for 12 (Twelve) months from the date of successful completion for the items executed under this contract.

  - Co-ordination and follow up action with Electric Supply Agency shall be done by the contractor in case of failure/fault in supply.

  - The contractor shall intimate the Engineer-in-Charge about the major breakdown or failure of electric supply immediately.

  - The following minor maintenance i/c preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the register.

      - Supply and replacement of defective worn outs and burnt parts / accessories of electric pump starter, i.e. starter, contacts, over loads relays, contactor no volt coil, timer for pump set single phase preventors (current rising type) indications lamps, push button, PVC wires, volt meter, part of main switches.

      - Supplying and replacement of kit kats MCB’s connector, neutal link as when required.

      - Supplying and replacement of thimbles and ferrules as and when required.

      - Supplying and replacement of copper wire of size 1.5 mm 2 & 2.5 mm2 as and when required.

      - Supplying and replacement of HRC fuses as and when required.

      - Cable jointing upto 10 sqmm size of cable.

      - Adjustment, Alignment / tightening of nuts & bolts as and when required.

Note – The material required for carrying out above jobs shall be supplied by the contractor within  the quoted rates.

  - All electric connections shall be checked at least once in a month and set right, if required.

  - Painting of poles shall be done by using brush or by spray painting.

  - The contractor has to return the dismetalled material to the department after replacing the defective items at site for which separate payments are being made by the department.

  - All allied accessories/ installations shall be kept in working order and in case any damages/loss is done to the installations during the contract period, the contractor shall have to make good the damages/loss at his own cost except the damages to the installations by accident. In case the contractor fails to rectify the damages/loss within reasonable time, the same shall be got rectified/replaced by the department at the risk and cost of the contractor.

  - If at any stage, the timer switch provided in the feeder pillar does not function ON/OFF operation manually till the timer switch is got repaired/replaced. Nothing extra shall be paid on this account.

  - Items at SI. No. 2,5,6 & 7 shall be executed as and when required and these shall be executed in the presence of authorized representative of the Engineer – in – Charge.]

  - The following makes of the materials are acceptable :

a) HPSV Lamp		Philips/Osram

b) Ballast		As per fitment of manufacturer of existing luminarie.

c) Ignitor 		As per fitment of manufacturer of existing luminairie.

d) MCBs 		MDS/Standard/ Action/L&T / Indokopp

e) Copper wire 		National/ Ecko/ Havelles/Skytone (ISI marked to IS:694)

Paint

i) Enamel/ Aluminum 		Berger/Nerolac/Asian/Dulux

g) XPLE Armoured cable	Asian Cable/Unistar/Ecko/ Nicco/ Skytone

(ISI marked to IS:7098)

h) Starter / accessories 	L&T / Siemens / Cutler Hammer / Bentex

of starters

  - The Contractor shall also be responsible for removal of unauthorized hoardings, banners, if any, on the poles during the contract period for which the Engineer – in – charge/Authorized representative shall render their assistance, if required.

  - Testing of earth continuity and earth electrodes shall be carried out once in a year by the contractor in the presence of authorized representative of the Engineer-in-Charge.

  - The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc.

  - The Engineer-in-Charges, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice for which no compensation shall be paid.

  - Watch and Ward of the Installation during operating hours and during the period while carrying out maintenance shall be the responsibility of the contractor. Any loss due to the theft or pilferage during the above timings shall be the responsibility of the contractor.

  - The payment to the contractor shall be made bi-monthly or at other suitable intervals as desired by the contractor but not less than one month.

  - The contractor shall arrange all necessary spares and T&P required for operation & maintenance to be carried out under this contract.

EXECUTIVE ENGINEER (Elect)

ELECTRICAL DIVISION NO. 4

# DELHI DEVELOPMENT AUTHORITY