Estimated Cost: 1,01,016/-

Earnest Money :- 2020/-

Date of Sale :- 27.06.2008

Date of opening :- 01.07.2008

SCHEDULE OF WORK

NIT NO. 13

Name of Work :	M/o Office Building Vikas Minar

SH: EI & Fans – supply and installation of Fire Extinguisher

| S.No. | Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply and installation of water CO2 Fire Extinguisher with G.M. cap hose, gas cartridge of following capacity. 9 Liter | 25 Nos. | Each |  |  |
| 2. | Supply and installation of ISI marked dry chemical powder (store pressure ABC Type) of following capacity etc. complete as required. (a) 2 kg (b) 5 kg | 4 Nos. 5 Nos. | Each Each |  |  |

: 2 :

| S.No. | Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 3. | Refilling of ABC powder (stored pressure type) fire extinguisher of following capacity. (a) 1 kg (b) 2 kg (c) 5 kg | 5 Nos. 15 Nos. 20 Nos. | Each Each Each |  |  |
| 4. | Refilling of mechanical foam type (AFFF) Fire Extinguisher of 9 Liter capacity. | 4 Nos. | Each |  |  |

ADDITIONAL SPECIFICATION & CONDITIONS

1.	The work shall be carried out as per specification and satisfaction of Engineer-in-charge.

2.	The rate quoted by agency shall be inclusive of all taxes and Govt. levies, nothing extra shall be paid on this account.

3.	Fire Extinguisher shall be ISI marked.

4.	Any damage caused to the building on the existing installation during the execution of work shall be made good by the agency without any extra charges.

5.	Nothing extra on A/c of cartage shall be paid by the Department.

6.	No T&P shall be paid by the Department.

7.	The firm shall stand guarantee for a period of one year of fire extinguisher.

8.	The material shall be got approved from the Engineer-in-charge before use at site.