DELHI DEVELOPMENT AUTHORITY

# HARI NAGAR SPORTS COMPLEX

No.F.7(151)08/HNSC/DDA/494							Dt. : 11.06.08

# NOTICE  INVITING QUOTATION No.2

Sealed item rate quotations are hereby invited on behalf of DDA by the Secretary, HNSC. The quotation should reach in the office of the undersigned on or before 20-06-08 up to 3.00 p.m. and the same shall be opened on the same day at 3.30 p.m. in the presence of the intending quotationers & their representatives.

### Name of work : H/O Hari Nagar Sports Complex

### Sub.:- Repair/ rewinding  of 5 H.P. submersible pump  set, supply and replacement of starter coil, and relay and providing fixing of accessories.

| Sr. No. | Description | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | Repair and rewinding of 3 Phase, 415 volts, Electric submersible pump set and supply and replacement of following defective / burnt out Parts of motor and Pump etc re-assembling painting cartage, fitting etc complete as required. (A) (i) Rewinding of Kit 1 Kit. (ii) G.M. bearing bush 4 Nos. (iii) Water Seal 2 Nos. (iv) Neck Ring 7 Nos. (v) Guide Bush 7 Nos. (vi) Distance Bush 7 Nos. (vii) Upper Bush 1 Nos. (viii)Upper Sleave 1 Nos. (ix) Impeller Key 7 Nos. (B) (i) Rotar sleave turning & grinding 1 Job (ii) Labour Charge 1 Job | 1 Job | Job |
| 2. | Supplying and replacement of starter relay and coil including connection, testing as required. | 1 Set | Set |

Conditions:

- The work shall be carried out to the entire satisfaction of Engineer-in-charge / Secy HNSC.

- No T & P shall be issued to the contractor by this department

- Rates are inclusive of all taxes, duties, cartage and transportation etc & nothing extra shall be paid in this regard.

- The Contractor after successful completion of the above work shall submit guarantee certificate of six months for satisfactory working of this repairs work carried out under the scope of this contract.

- The contractor shall quote and give suitable rebate for dismental material in the NIQ.

- Time allowed 5 days.

Secretary (HNSC)

CC:

- Director(Sports).

- Director (System) with the request to bring the NIQ on DDA’s Web-site through Email – ddatender@dda.org.in.

- Sr. A.O (Sports).

- Secretary all sports complexes.

- DDA Contractor Association, Vikas Kutir Room no. 12, Bkno.1, New Delhi.

- The Secy., DDA Builders Association F-18, Vikas Minar, ITO, New Delhi.

- DDA Contractor Association E-18 Vikas Kutir, ITO, New Delhi.

- Notice Board.

- Guard file

Secretary (HNSC)