DELHI DEVELOPMENT AUTHORITY

South Eastern Division – 11

Vikas Sadan, I.N.A., New Delhi

NIQ NO. 03/SED-11/DDA/13-14

No. F. 5(530)SED-11/DDA/2013-14/						Date. 03.06.13

Sealed quotations are invited from the experienced agencies up to 3:00 PM on dt. 10.06.13 on behalf of DDA. Quotation will be opened on the same day in the presence of agencies/representatives of the agencies at 3:30 PM in the room of Executive Engineer, SED-11, DDA, Vikas Sadan  New Delhi.

Estimated Cost:    	Rs. 76.465/-				Time Allowed: 15(fifteen)days

Name of Work:  D/o Millennium Park along Ring Road Between Sarai Kale Khan and Bhairon Road.

SH                   :   Soil Investigation of alternate area selected for Viewing Gallery at Millennium Park.

| S.No.; Desc. of items; Qty.; Unit; Rate.; Amount.. 1.; Making 150 mm dia bore hole for soil investigation in all type of soil using shell and augur method upto a depth of 25 mtr. performing standard penetration test as per IS 2131-1981 i/c transportation assembly of plant & machinery for drilling hole at various location collection of sample at every 1.5m depth intervals or as required, transportation of collected soil sample to the lab and conducting all necessary lab test and compilation of test results in order to analyses the safe bearing capacity of soil and details of foundation etc. and as per requirements and given in the preliminary basic datas required for soil investigation preliminary bars datas required for investigation detailed, soil investigation reports containing all details graphs, test results conclusion and recommendation etc. and to intract with the department before the final depth of foundation is decided for odification/clarification in the reports as & when required as per direction of Engineer-in-Charge. a) Boring through all kinds of soil up to depth of 25 mtr.; 75.00; Mtr.. b) Conducting dynamic cone penetration test upto a depth of 25m as per IS 4968-Pt. 1.; 3.00; Each. |  |
| --- | --- |

General Terms & Conditions:-

- a) Work order documents shall  be issued/ to those agencies /firm who have necessarily completed  similar nature of work under a Govt. / Semi Govt./PSU / Local Body /private sector during the last 7 (Seven) Financial years previous to one in which the quotations are invited.

b)   One work costing not less than 80% of the estimated cost put to the work order/tender.

c)   Two work costing not less than 50% of the estimated cost put to the work order/tender.

d)   Three work costing not less than 40% of the estimated cost put to the work order/tender.

List of Documents are to be deposited in this office along with quotation.

- Certificates of work experience

- Certificate of registration for Sales Tax / Vat and service tax and acknowledgement of upto date filed return.

Executive Engineer