DELHI DEVELOPMENT AUTHORITY

ROHINI SPORTS COMPLEX

# NOTICE INVITING QUOTATIONS NO. 66/2006-07

The Secretary, Rohini Sports Complex, DDA invites sealed quotations from Contractors for following work. The quotations should reach in the office of the undersigned on or before 3.00 P.M. on 28/02/07. The sealed quotations shall be opened on the same day at 3.30 P.M. in the presence of intending quotationers or their Authorized Representatives. The schedule of quantity is as under:-

Name of Work: - M/O Rohini Sports Complex

SH: - Repairing/Rewinding of 7.5 HP Submersible Pump Set.

| S.No. | Description of Work | Qty. | Unit |
| --- | --- | --- | --- |
| 1. (a) (a) (b) (c) 2. 3. 4. 5. 6. | Repairing and rewinding of 7.5 HP/4 stage submersible Pump Set suitable for operation on 3 phase, 415 volts, 50 HZ, AC supply complete including re-assembling of motor and pump, testing and as per details follows etc. as required. Supply and replacement of the following parts:- 1. Rewinding kit 7.5HP submersible pump motor 2. G.M. bearing bush 3. Watar Seal - Neck Ring - Guide bush 6. Distance bush 7. Upper bush 8. Upper sleeve 9. Impeller key 1. Rotor sleeve turning & grinding - Impeller remetalling & turning Labour charges for replacement of parts in pump and motor including re-assembling, painting and testing etc. as required. Installation lowering, testing and commissioning i/c electric connection etc. as required. Supplying and fixing of M.S. bore corner suitable for 12” bore i/c nuts, bolts, washers, painting etc. as required. Supplying and replacement of nut bolts, washers in jointing of 65mm G.I. pipe etc. as required. Cutting, threading of 65 mm G.I. Pipe and fixing with pump set i/c cartage etc. as required. Dismenteling of 65mm sluice valve from delivery line and greasing, filling the gland dori and re-fixing from the delivery line, testing etc. as required. | 1 job 4 Nos. 2 Nos. 4 Nos. 4 Nos. 4 Nos. 1 No. 1 No. 4 Nos. 1 job 1 job 1 job 1 job 1 Set 48 Nos. 1 job 2 Nos. | job Each Each Each Each Each Each Each Each Job Job Job Job Each Each Job Each |

Conditions:-

- The work should be carried out as per CPWD specifications for Electrical Work 1994 (Internal) & 1994 (External) Part II with correction slips upto date of quotation.

- The work shall be carried out in 5 days from date of issue of work order.

- No minor labour will be engaged.

P.T.O.

:- 2 -:

- No T & P shall be issued.

- Nothing extra shall be paid on a/c of cartage etc.

- The payment shall be released as per actual measurement.

- The agency shall be responsible for any damages at the time of lowering of submersible pump.

- The contractor after successful completion of the above work shall submit guarantee certificate of 6 month on the non-judicial stamp paper for satisfactory working of the repair work carried out under the scope of this contract.

- The work shall be carried out as per direction of JE (E) /Secy/RSC.

- The contractor should be professional & the experience of agencies should be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

- Agency should be registered with Trade & Taxes GNCT of Delhi &  Supposed to furnish a copy of TIN and clearance certificate on Quarterly basis otherwise Quotation may not be considered.

12.     Debarred agency / individual will not be permitted to participate in the tendering process.

- Validity of Quotation is 60 days from the date of opening.

- Rates are inclusive of all taxes, duties, cartage and transportation etc. and nothing extra shall

be paid in this regard.

15.    The contractor has to quote the suitable rebate for dismental material.

Col. (Retd.) J. P. Bhagatjee

Secy/RSC/DDA

F4 (23) Elect/RSC/DDA/2006-07/						Dt. ___________

Copy to:-

- Director (Sports)/DDA - for information please.

- Sr. A. O. (Sports)/DDA.

- All Secretaries of the DDA Sports Complexes and The Secretary (Coordn.) with request.

- The Secretary, DDA Contractors Welfare Association, Barrack No.1, Block – A, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractors Welfare Association, E-18, Vikas Kutir, New Delhi.

- AAO/RSC./DDA

- Manager /RSC.

- Cashier / RSC

- JE (Civil) / JE (Elect.) / S.O.(Hort.)

- Guard file

- Notice Board, RSC./DDA

Secretary / RSC