DELHI DEVELOPMENT AUTMORITY

ELECTRICAL DIVISION NO.07

KESHAV PURAM , DELHI

PRESS TENDER NOTICE No. 04/EE/ED-7/DDA/2007-08

Sealed Item Rate Tender are invited for the following works by the Ex. Engineer, Electrical Divn.No.7, Keshavpuram, Delhi-110035 upto 3:00 P.M on behalf of DDA from the approved contractor’s of appropriate class of DDA, CPWD, MES & P & T/Railway which shall be opened on the same day at 3:30 P.M at Ground floor, Vikas Minar, DDA office, I.P. Estate, New Delhi in the presence of intending purchaser of their authorized representative.

The tender documents can be had on any working day from the office of CAU/North Zone/DDA Ashok Vihar Sales Counter Vikas Minar between the 11:00 A.M on payment of amount mentioned against each work (non-refundable) on production of Enlistment registration certificate and valid registration with works contract cell of Sale Tax deptt. Of GNCTD and Tax clearance certificate issued by the works contract cell in form XI as well as the amount of earnest money as the shape of in cash receipt treasury challan / deposit as call receipt of scheduled bank / fixed deposit receipt of a scheduled bank/ DD of scheduled bank in favour of Sr AO (CAU) NZ DDA. Sales of tender forms will be stopped four days (including the date of opening) before the date fixed for opening of tender document.

The manner of submission of tenders opening of the same and entry of contractor’s/their authorized representative of the place of opening shall be provided in clause 3(a), (b) & (c) of PWD-6 forming part of the tenders.

S.No.	Name of Work		NIT	Esstt.cost		Tender cost		Dt of Sale

Earnest money		Time allowed		Dt. of opening.

1.	Maintenance of park	(18)	Rs.1,94,220/-		Rs.500/-		14.05.2007

Plantation , trucks		Rs. 3884/-		one)month.		18.5.2007

And other equipment

In Horti. Wing NA II

SH : Providing / installation of post top lantern of the gate of Ashoka Garden

And Bodawala Bagh, Ashok Vihar.

EXECUTIVE ENGINEER (ELECT)

ELECTRICAL DIVISION No. – 07

SCHDULE OF WORK FOR ABOVE NIT

NAME OF WORK	:	MAINTENANCE of Park, Plantation, Trucks and other 						equipment in Hort Wing under NA II.

SH :			:	Providing / installation of post top lantern on the gate of 					Ashoka garden and Bodewala bagh, Ashok Vihar

| S.No. | DESCRIPTION | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and erection of 50 mm dia GI pipe (B Class) pole of 4.50 mtr. Height duly welded with MS base plate of size (200x200x3) thick in cement concrete foundation 1:3:6 (one cement : three C sand : 6 graded stone agg. 20mm n.s. ) i/c CC color of 300mm height i/c testing and commissioning etc complete as reqd. | 6 No. | Each |  |  |
| 2. | Supply installation testing and commissioning of post top and lantern luminaries suitable for 70 W lamp on the existing GI pole for operation on 220 V AC Supply of Model No. SPC-106/70 (A) HPF Philips make or similar superior make and providing & fixing of 70 W. HPSV (E) lamp including connection and testing etc as reqd. | 6 No. | Each |  |  |
| 3. | Supply , installation testing and commissioning of street light luminaries suitable for 70 W. SON I HPSV single piece dia cast al. alloy housing with step pot optics reflector and toughened clear glass cover for lamp and gear compartment of model no. SSGN 1107 IH//FG of Philips make or similar superior make with providing and fixing of 70 W HPSV (T) lamp on the existing PCC Pole all i/c suitable GI bracket clamp etc. complete as reqd. | 2 Nos. | Each |  |  |
| 4 | Supply of following size PVC Sheathed XLPE al. cont. armoured power cable 1 : 1 KV grade i/c testing etc as reqd. - 2 x 10 sq. mm. - 2 x 16 sq. mm - 4 x 25 sq. mm | 200 mtr. 200 mtr 250 Mtr | Mtr Mtr Mtr |  |  |
| 5. | Laying of one number PVC Insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of size not exceeding 25 sq mm direct in ground i/c excretion, sand cushioning , protective covering and refilling the trench etc. as reqd. | 600 mtr | Mtr. |  |  |
| 6 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable 1.1 KV GRADE of size not exceeding 25 sq mm in the existing RCC/HUME /sont ware / metal pipe as reqd. | 20mtr | Mtr |  |  |
| 7 | Laying of one number addnl. PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV GRADE of size not exceeding 25 sq mm direct in ground in the same trench in one tier horizontal formation i/c excretion / sand cushioning / protective covering and refilling the trench as reqd. | 30 mtr | Mtr |  |  |
| 8. | Providing and fixing of 6 SWG GI wire on surface or in recessed for loop earthing alongwith surface conduit submain cable etc as reqd. | 650 mtr | Mtr |  |  |
| 9 | Supplying and drawing of following size of PVC Insulated copper cond. Single core cable in the excisting surface/recessed / PVC - 3 x 2.5 sq mm - 4 x 2.5 sq mm | 20 mtr 5 mtr | Mtr mtr |  |  |
| 10 | Supply and fixing of 250 mm x 200 mm x 100 mm deep MS Box made out of 16 SWG MS sheet comprising of 6 AMP. SP MCB neutral link 2 way on backlingh sheet i/c rocking arrangement, painting, testing and clamping etc. as reqd. | 5 Nos. | Each |  |  |
| 11 | Supply and fixing 63 amp for 4 pole 415W isolator in the existing MCB DB / in feeder pillar with connection , testing and commissioning etc. as reqd. | 3 Nos. | Each |  |  |
| 12 | Supply and fixing of following size of steel conduit alongwith accessories in the surface / recess i/c painting in case of surface conduit or cutting the wall and making good the same in case of recess conduit etc . as reqd. a. 20 mm | 5 mtr. | mtr |  |  |
| 13 | Supplying and replacement of DOL starter MK I type on existing panel board i/c connection and testing etc as reqd. | 4 Nos. | Each |  |  |
| 14 | Supplying and fixing of 32 mm dia GI Pipe (B Class) 1.5 mtr long of reqd. shape bending for cable entry upto the connection box etc. as reqd. | 6 job | Job |  |  |
| 15 | Providing & fixing of following metal clad TP & N switch fuse unit 415 /500 V with HRC fuses i/c drilling halls on the board connection , earthing the body etc as reqd. (cat.-A) - 36 amp - 32 amp | 3 Nos. 3nos | Each each |  |  |
| 16 | Supplying / erection , testing commissioning of LT treader pillar fabricated out of 14 SWG(2 MM THICK) nominal CRCA MS SHEET with size of 600 mm x 600 mm x 300 mm deep with 40 mm x 40 mm x 6mm angle iron legs as per drawing attached and suitable to accommodate and supply/fixing following accessoring mounting therein i/c connection interconnection with suitable size of copper wire earth connection spray painting after applying a coat of primer complete as reqd. - Timer switch – FM / 1 QT one daily dial AC-1 - Power contractor – ML II – 1 No. | ONE JOB | JOB |  |  |
| 17 | Supplying and fixing of 5 amp to 32 amp rating 240 Volt (G Series) miniature circuit breaker of following poles in the existing MCB DB complete with connection testing and commissioning etc as reqd. (cat - B) - ) single pole and neutral | 6 Nos. | Each |  |  |

Additional conditions and specifications

- The rate quoted by the contractor shall be firm and should be inclusive of central/state govt. taxes  duties and levies. Concessional sales tax forms C/D shall not be issued by the deptt.

- Nothing extra shall be paid on account of cartage.

- No T & P shall be issued to the agency by the deptt. For the execution of work.

- Water and electricity for the execution of work shall be arranged by the firm through their own arrangements and charges if any shall be borne by them.

- Testing of the installation shall be done by the contractor with the quoted rates. The arrangement of labour / material reqd . for testing shall be arranged by the firm with the quoted rates.

- Time allowed for carrying out the work shall be one month.

- End termination of cable in T P & M switch / MCB isolator shall be done by the contractor within the quoted rates.

- The contractor has to return the dismantled materials to the department after replacing the defective items at the site / suitable rebate for dismantle material may be offered separately.

- For laying of cable in pacca portion / removing of existing damage cable payment will be paid as per DSR and actual requirement at site and no extra payment made on this account.

- The contractor shall stand guarantee for a period of 6 months for materials supplied / installed against manufacturing defects/satisfactory performance from the date of completion/ handing over which ever is later on a non judicial stamp paper of Rs.50.

- The clause 10 C or 10 CC shall not be applicable in this contract.

- The contractor has to return the dismantle material to the department after replacing the defective items at site.

- The following makes  are acceptable for the following :-

a.) DOL starter 	-	LT /LK, Siemens, G.E.

b)  MCB		-	as per IS : 8828  with the following makes – standard ,

L & T , MDS, Indokopp, Action , minimum breaking

Capacity 10 KA at 240/415 Volts.

- PVC sheathed , PVC insulated flat submersible , copper – as per IS:  694, FINOLEX, SAFEX, PLAZA

- G.I. Pipe		-	as per IS:1239 – JINDAL (HISAR), SURYA , TATA

- Starter and accessories 	-	L & T , SIEMENS , G.E.

- Ammeter Volt meter 		-	as per IS 1248 : AE / HAVELLS / UEL, IMP

- MS Conduit 			-	Vikas, NIC , BEC

- PVC insulated 		-	copper wire – as per IS:694 – skytone, national 					ecko, havells ,

- PVC insulated / XLPE are mould cable – IS:7098 , Asian Cable  , Unistar , Echo, NICOO, SKYTONE

- Flood light luminaries 	-	M/s Philips , Bajaj, & Crompton Greaves

- Testing of the insulation shall be done be the contractor within the quoted rates. The arrangement for labour/material required for testing shall be arranged by the contractor within the quoted rates

- The contractor has to submit the test certificate of all items in the schedule of work (if reqd.)

EE / ED -7

DDA