DELHI DEVELOPMENT AUTHORITY

RASHTRIYA SWABHIMAAN KHEL PARISAR

PITAMPURA, DELHI-110088

###### SHORT TERM QUOTATION

## NOTICE INVITING QUOTATION

# N I Q NO. 04/2007-2008

Secretary, Rashtriya Swabhimaan Khel Parisar, Pitampura Sports Complex, Delhi Development Authority invites sealed quotations from Manufacturers/Authorized Dealers/Reputed Firms/Suppliers for the supply of the following items. The quotations should reach in the office of the undersigned on or before 3.00 P.M. on 24.05.2007.  The sealed quotations shall be opened on the same day at 3.30 P.M. in the presence of intending Quotationers or their Authorized Representatives.

Name of Work – M/o Rashtriya Swabhimaan Khel Parisar, Pitampura

SH – Supply of Mono block Pump Set for Bore Near Admn. Block

|  | S.N | Description of Item | Qty. | Unit |  |
| --- | --- | --- | --- | --- | --- |
|  | 1. | Supply of horizontal centrifugal monoblock pump set capable to deliver 11 ltrs. / sec. at a head of 11 mtr and have a motor of minimum 7.5 HP suitable to operate on 3 phase, 50 hz, AC supply etc as required. | 1 set | Set |  |
| ##### TERMS & CONDITIONS:- - The Work shall be carried out as per CPWD specifications. - The supply of material shall have to be made in one lot and got approved before fixing at site from JE (Elect.) / Secretary / RSKP. - Prices quoted shall be firm and inclusive of all Taxes. - The Agency shall stand guarantee for period of six months for the work executed. 5. The payment will be made after entire satisfaction of JE (Elect)/ Secretary/RSKP,DDA. 6. No T& P will be issued by Department. 7. No advance payment will be made to the agency. 8. Nothing extra will be paid to the agency. 9. The quotation can be rejected without assigning any reason by the competent authority. 10. Conditional quotation will not be accepted. 11. Necessary statutory deductions as applicable will be made. 12. The tenderers / contractors hereby acknowledge, having read and understand various statutory provisions as amended upto date including but not limited to Minimum Wages Act 1948, Contract Labour (Regulation and Abolition) Act 1970, Employees Provident Fund and Miscellaneous Provision Act 1952 alongwith EPF Scheme, payment of Bonus Act 1965, payment of gratuity act 1972 etc and undertaking to ensure compliance of all the statutory provisions of the aforesaid statutes and all other statutes for the time being in force governing the employer, employees relationship between the tenderers / contractors on the one hand and their employees on the other hand. The parties hereto have clearly understood and acknowledges that DDA shall not be liable in any manner under any circumstances for non compliance of the aforesaid statutory provisions or otherwise and the tenderers / contractors shall be exclusively responsible and liable for all the consequences for non compliance of the aforesaid statutory provisions and other relevant provisions governing the tenderers / contractors and his / their employees and there shall be no obligation of DDA and DDA shall not have any privy with the employees of the tendereres / contractors for endorsement for aforesaid statutes or otherwise. 13. The quotationer / contractor will furnish a copy of the Service Tax Registration Certificate alongwith the “Technical Bid” of the tender failing which the same is liable to be rejected the rates quoted by the tenderer / contractors should be inclusive of Service Tax and DDA shall not assume any obligation for payment / sharing of the service tax. The service tax would have to be paid by the agency, therefore the rate should be inclusive of service tax. 14. In case of rates of different quotationers / contractors are at par then DDA may select any agency based on the criteria like its reputation, turnover etc. 15. Debarred agency/ or individual shall not be permitted to participate in the tendering process. 16. Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring. 17. The experience of agencies should be taken into account rather than individuals incorporated with the agency, which does not include proprietorship. 18. Time allowed is within 7 days from the date of issue of award letter. 19. The pump set have suction and delivery port of 80 mm & 65mm respectively and shall be of Kiloskar make model KOS 830 ++ or any equivalent model of Becon, Crompton make only. 20. The TEFC motor shall have IP-44 protection & ‘F’ class insulation. 21. Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any reason. 22. In case of rates of different quotationers / contractors are at par then DDA may select any agency based on the criteria like its reputation, turnover etc. (R. MOHLA) SECRETARY/RSKP/DDA No. F 7(37)Elect./ RSKP/2007/DDA/446 Dated :15-05-2007 Copy to:- - Director,(Sports), DDA. - Sr. AO,(Sports). - All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.). - Secretary, DDA Contractors Welfare Association (Regd.), Vikas Kuteer, New Delhi. - Secretary, DDA Contractors Association, F-18, Vikas Kuteer, New Delhi. - Accountant/RSKP,DDA. - J.E.(Elect.)/RSKP, DDA. - Notice Board. SECRETARY/RSKP/DDA |  |  |  |  |  |