DELHI DEVELOPMENT AUTHORITY

RASHTRIYA SWABHIMAAN KHEL PARISAR

PITAMPURA, DELHI-110088

###### SHORT TERM QUOTATION

## NOTICE INVITING QUOTATION

# N I Q NO. 05/2007-2008

Sealed Item rate quotations are hereby re-invited on behalf of Delhi Development Authority by the Secretary, RSKP, Pitampura, Delhi for the following Works from the eligible contractors / agencies.  The quotation should reach in the office of the undersigned on or before  24.05.2007 upto 3.00 PM and the same shall be opened on the same day at 3.30 PM in the office of the Secretary of the Complex in the presence of quotationers or their authorized representatives.

Name of Work – M/o Rashtriya Swabhimaan Khel Parisar, Pitampura

SH – Supplying and fixing of metal halide fitting in Swimming Pool

| S.N | Description of Item | Qty. | Unit |
| --- | --- | --- | --- |
| 1. | Supply, installation, testing & commissioning of 400 watt integral type metal halide fitting suitable for operation on 220/240V, 50hz, AC supply. IP-65 degree of protection complete with ballast, lamp & mounted on MS angle frame to be fixed on existing 13 mtr MS tubular pole etc as required. | 4 nos. | Each |

### Terms and Conditions-

- The works shall be carried out as per CPWD specifications amended upto date & to the entire satisfaction of Secy. / JE(E) (RSKP).

- The metal halide fitting shall be from any of make from Philips, Crompton.   The lamp shall be single ended (Tubular).

- The MS angle frame shall be of 40x40x5 mm of welded construction suitable to accommodate 4 nos fittings to be mounted on 13mtr MS swaged pipe pole.

- All material used at Site shall be got approved before fixing at site from Secretary / RSKP JE (Elect).

- Prices quoted shall be firm and inclusive of all Taxes.

- The payment will be made after entire satisfaction of JE(Elect) / Secretary / RSKP, DDA

- No T & P will be issued by Department except the tower ladder.

- No advance payment will be made to the agency

- Nothing extra will be paid to the agency

- No minor shall be engaged at site.

- The quotation can be rejected without assigning any reason by the competent authority.

- Conditional quotation will not be accepted.

- Necessary statutory deductions as applicable will be made.

- The tenderers / contractors hereby acknowledge, having read and understand various statutory provisions as amended upto date including but not limited to Minimum Wages Act 1948, Contract Labour (Regulation and Abolition) Act 1970, Employees Provident Fund and Miscellaneous Provision Act 1952 alongwith EPF Scheme, payment of Bonus Act 1965, payment of gratuity act 1972 etc and undertaking to ensure compliance of all the statutory provisions of the aforesaid statutes and all other statutes for the time being in force governing the employer, employees relationship between the tenderers /  contractors on the one hand and their employees on the other hand.    The parties hereto have clearly understood and acknowledges that DDA shall not be liable in any manner under any circumstances for non compliance of the aforesaid statutory provisions or otherwise  and the tenderers / contractors shall be exclusively responsible and liable for all the consequences for non compliance of the aforesaid statutory provisions and other relevant provisions governing the tenderers / contractors and his / their employees and there shall be no obligation of DDA and DDA shall not have any privy with the employees of the tendereres / contractors for endorsement for aforesaid statutes or otherwise.

- The quotationer / contractor will furnish a copy of the Service Tax Registration Certificate alongwith the “Technical Bid” of the tender failing which the same is liable to be rejected the rates quoted by the tenderer / contractors should be inclusive of Service Tax and DDA shall not assume any obligation for payment / sharing of the service tax.   The service tax would have to be paid by the agency, therefore the rate should be inclusive of service tax.

- In case of rates of different quotationers / contractors are at par then DDA may select any agency based on the criteria like its reputation, turnover etc.

- Debarred agency / or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies should be taken into account rather than individuals incorporated with the agency, which does not include proprietorship.

- Time allowed is 5 days for the completion of work.

- Director (Sports) reserves the right to accept or reject any bid / quotation without assigning any reason.

(R.MOHLA)

#### Secretary / RSKP

No. F. 7(35)2007/RSKP/DDA/447					Dated :15.05.2007

Copy to:

- Director (Sports) DDA.

- Sr. AO (Sports) DDA.

- All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

- The Secretary, Contractor’s Welfare Association, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor’s Welfare Association, F-18, Vikas Kutir, New Delhi

- Accountant /RSKP, DDA.

- J.E. (Elect) RSKP, DDA

- Notice Board.

##### SECRETARY / RSKP/DDA