Notice No 02/EE/ED7/ DDA 07 - 08

N.I.T.No :-13

SCHEDULE OF WORK

Name of work :- M/o park , plantation trucks & other equipment in Hort. Wing under N. A.II

Sub Head	:- Supplying of power cable & other Electric installation at Nepal wala 				bagh Lawrence Road.

| S.No. | Description of items. | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Supplying of following size of XLPE PVC sheathed 1.1 KV grade, armoured aluminium conductor cable i/c testing etc.as reqd. | 160mtr. | Mtr. |  |  |
|  | Laying of 1 No. PVC insulated & PVC sheathed /XLPE cable 1.1 KV grade of size not exceeding 2.5sq. mm. direct in ground i/c excavation ,send cushioning protective , covering ,& refilling the trench etc. as reqd. | 150Mtr. | Mtr. |  |  |
|  | Laying & fixing of one No. PVC insulated and PVC sheated XLPE A1. conductor cable of 1.1 KV grade of size not exceeding 2.5sq.mm. on as reqd. | 10M | Mtr. |  |  |
|  | Supplying & replacement of DOL starter of MK -1 type in the existing feeder pillar i/c testing etc. as reqd. | 2Nos | Each |  |  |
|  | Supplying & replacement of 63 amp. four pole isolator in the existing panel board i/c connection testing etc. as reqd. | 2Nos | Each |  |  |
|  | Supplying & replacement of single phase preventor in the existing panel board i/c connecting testing as reqd. | 2Nos | Each |  |  |
|  | Supplying & replacement of shunt capacitor of 3 KVAR in the existing panel board i/c connection testing as reqd. | 2Nos | Each |  |  |
|  | Supplying & drawing of 8 SWG GI wire along with cable i/c connection testing etc. as reqd. | 160M | Mtr. |  |  |

ADDITIONAL CONDITONS

- The work as indicated in the schedule of work attached here  with i/c any modification / alterations ordered subsequently shall be carried out as per the specification indicated below:-

  - CPWD Specification for electrical works (part –I) Internaal -94 part –II External -94 with correction slips upto the date of tender.

  - Relevant BIS modified upto the date wherever BIS code do not exist the British standard should be followed .

  - Indian electricity rules 1966 and amended upto date. In case of any discrepancy in the description of any item given in the schedule of quantities and specification given above the formal shall prevail.

- The Engineer –in – charge reserves the right to make any modification at any stage during execution of work.

- All the material shall be got approved from the Engineer – in – charge before installation at site.

- The rates quotes by the contractor shall be firm and should be inclusive  of  all central / state  Govt. taxes duties and levies. Concessional sales tax from C/D shall be issued by the Department.

- Nothing extra shall be paid on account of cartage.

- No T& P shall be issued to the agency by the Department for the execution of work.

- Watch & ward of installation till handing over to the Deptt. Shall be with the contractor within the quoted rates.

- Water and electricity for the execution of work shall be arranged by the firm through their own arrangement and charges if any shall be borne by them.

- Testing of the installation shall be done by the contractor within the quoted rates. The arrangement of labour/ material required for testing shall be arranged by them firm within the quoted rates.

- End termination of DISCOM service cable in TP&N  switch /Isolator shall be done by the contractor.

- Responsibility of material during execution/completed install tic shall remain with the agency till the completed installation/ equipment is handed over to competent authority after successful testing and commissioning. The agency shall be responsible for losses/theft if any.

- The contractor may offer suitable rebate for dismantled materials separately.

- The contractor shall stand guarantee for a period of six/12 months for material supplied/ installed against manufacturing defects/satisfactory performance from the date of completion/ handing over whichever is latter on a non judicial stamp paper of Rs. 50/-

- For laying of cable in pacca portion and removing of existing damaged / defective cable payment will be made as per item No. 2 of schedule of work and no extra payment shall be made on this account.

- Proper handing / taking over of all the E & M installation shall be carried out by J.E. (E)/ AE (E) incharge of the work and the contractor in writhing immediately after award of work and before start of work. The same shall be handed over to the department in proper working condition after expiry of the contract.

- After the award of work, the contractor shall get all the materials approved for the Engineer in charge before use in the work. The contractor shall also produce test certificate for conformity with relevant I. S. Specification if required by the Engineer in charge.

- The following makes of the materials are acceptable.

  - PVC she athed/XLPE Armoured cable Is-7098-Asian /Unistar/ECKO/NICCO/SKYTONE/

  - MCB’s (loka)	Isolator os 8829 indocopp/L&T/MDS/Standard.

  - Single phase preventor L&T/ Minilac.

  - Shunt Capacitor G.E./L&T/Crompton Greaves.

Executive Engineer

Electrical Division 7

DDA