SHORT INVITING TENDER NO. 5/EE/ED7/ 07-08

N.I.T NO. :-19

SCHDULE OF WORK

NAME OF WORK	: M/o park, plantation trucks & other equipment in Hort. Wing 	Sub Head	: Repairing of 20 mtr. High mast at Ashoka Garden Ashok Vihar.

| S.No. | Description of items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Supply & replace ment of flood light luminare suitable for 2 X 400 watt. HPSV lamp SON-T lamp i/c connection testing commissioning complete as reqd. | 6Nos | Each |  |  |
|  | Supply & fixing of steel wire rope of 6mm dia(2 X 42 m) i/c testing commissioning etc. complete as reqd. | 42Mtr. | Mtr. |  |  |
|  | Supply & fixing of copper conductor control cable of size 5 core X 2.5 sq.mm. along with high mast i/c testing etc. complete as reqd. | 22Mtr. | Mtr. |  |  |
|  | Supplying & fixing of junction box on the existing high mast of 20Mtr. Height for feeding ofsupply to the light fitting etc. complete as reqd. | 1No. | Each |  |  |
|  | Supplying and fixing of small control box fixed inside the high mast body i/c sheet, MBC connection and testing etc.complete as reqd. | 1No | Each |  |  |
|  | Overhauling & repairing of the duble drum winch of 750 Kg. capacity along with gear box of Bajaj make, Model DD type 35/6reassembling,lowering,lifting of brackets, commissioning, testing as reqd.as per details given below:- - Repairing as reqd. as per details i/c replacement of gear 2 Nos. - Repairing of CU gear box- - Replacement of shaft in the CU type gear box -2 Nos. - Repair of gear i/c replacement of two side pinion. - Supply & replacement of oil seal in the winch - Supply & replacement of high viscosity oil of winch | 2NOs 2NOs 2NOs 1set 4Nos 1No | Each Each Each Each Each Each |  |  |
|  | Repairing of Head frame consisting of six rope pully i/c testing of high mast etc. complete as reqd. | 1Jole | Jole |  |  |
|  | Labour charge for dismentalling & re- assembling of complete high mast with all accessories i/c re- installation of the same connections, testing & commissioning etc. as reqd. | 1Jole | Jole |  |  |

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.07

ADDITIONAL CONDITIONS & SPECIFICATIONS

- The work as indicted in the schedules of work attached have with i/c any 	modification / alterations ordered subsequently shall be carried out as per the 	specification indicated  below:-

  - C.P.W.D. specification for electrical works (part  -I ) Internal 1994 part II External 1994 with correction slips upto date of tender.

  - Relevant BIS as modified upto the date wherever BIS code do not exist the British standard should be followed.

- The rate quoted by the contractor shall be firm and should be inclusive of all 	central /state Govt. taxes duties and Levies. Confessional sales tax from C/D 	shall not be issued by the Deptt.

- Nothing extra shall be paid on account of cartage.

- No. T & P shall be issued to the agency by the Deptt. for the execution of 	work.

- Water and electricity for the execution of work shall be arranged by the firm 	through their own arrangement and charges if any shall be borne by them.

- Testing of the installation shall be done by the contractor within the quoted 	rates. The arrangement of labour /material required for testing shall be 	arranged by the firm within the quotes rates.

- Time allowed for carrying out of the work shall be 15 days.

- End termination of cable in TPEN switch/ MCD 1 isolator shall be done by the 	contractor, with in the quoted rates.

- The contractor shall stand guarantee for a period of 12 months for material 	supplied /installed against manufacturing defects/satisfactory performance 	 	completion /handing over which ever is later on a non judicial stamp paper of 	Rs. 50/-

- The clause 10C or 10CC shall be applicable in this contract.

- The contractor will be fully responsible for any mishappening /accident incurred 	etc. at site.

- The contractor shall be fully responsible for watch & word of the material  	brought /work executed at site till the same is complete and taken over by the 	department.

- The agency has to submit the test certificate of  all items in the schedule of work.

- The tenders are requested to visit the site before quoting the rate.

- The following makes are acceptable for the following.

  - Flood light luminaries m/s Philips /Bajaj / Crompton Greaves.

  - MCB – IS 8828 10 KAcapacity 240/415 Volts standard /L & T /M.D.S. /Indokopp /Action

  - Double rubber steathed copper conductor cable –M/S Manfiele/C.C.I/ Siemens

Executive Engineer

Electrical Division 7

DDA