NOTICE NO. 2/EE/ED7/DDA/0708

N.I.T. NO.12

SCHEDULEOF WORK

Name of work : M/o park plantation trucks & other equipment in Hort.wing under 				N.A.II

Sub Head	: Supplying /laying of cable in mote wala bagh at Shalimar bagh.

| S.No. | Description of items | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Supplying of PVC sheathed XLCE aluminium conductor armoured cable of 1.1 KV grade of following size i/c testing etc. as reqd. a) 4X 25 sq.mm. | 350M | Mtr |  |  |
|  | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of size not exceeding 25sq.mm. direct in ground i/c excavation , sand cushioning, protective covering | 300M | Mtr. |  |  |
|  | Laying of one no. PVC insulated and PVC sheathed /XlPE power cable of 1.1 KV grade of size not exceeding 25sq.mm. with in the existing RCC/ HUME/STONE/ WARE/METAL pipe as reqd. | 50M | Mtr. |  |  |

MAKES OF MATERTALS

| S.NO | ITEM | GOVERNING SPECIFICATION | MAKES |
| --- | --- | --- | --- |
| 1 | PVC sheathed XLPE Armoured cable. | IS-7098 | Asion cable /Unistar/ESCKO/NICCO/ Skytone |

ADDITIONAL CONDITION

- The contractor must get aquatinted with the proposed site for  the work and study specifications and conditions carefully before tendering . the work shall be executed as  per progarmme approved by the Engineer –in – charge. No claim for any idle labour or compensation except as provided under clause 10C/10CC as applicable  in the printed conditions of contract ,shall be entertained.

- The contractor shall submit completion certificate as per appendix ‘E’ of the general specifications for electrical work (part II) external 1994 within one month after actual date of completion , failing which on amount of @1% of the tendered cost subject to minimum of Rs. 5000/- shall be deducted from any amount due to the contractor from DDA

- The contractor shall issue test report from duly filled and singed for obtaining electric meter connection from DISOOM if required by Engineer- in – charge.

- After the award of work, the contractor shall produce samples of all the materials to be used in the work for approval of the Engineer – in – charge. The contractor shall also produce test certificate for conformity with relevant IS specification, if required by the Engineer – in – charge. Only materials conforming to the approved sample shall be used in the work.

- Whenever required by the Engineer – in – charge the contractor shall for the purpose of testing, supply the samples of any materials proposed to be used in the work. Suitable package of contain the samples shall be borne by the deptt.The contractor shall be fully responsible for watch & ward of the material brought/ work executed at size till the same is completed and taken over by the deptt.

- The contractor shall be fully responsible for the watch & ward of the material brought / work executed at site till the same is completed and taken over by the deptt.

- The rates quoted by the contractor shall be firm and should be inclusive of all central /state Govt. taxes duties and levies. Concessional sales tax from C/D shall not be issued by the Deptt.

- Nothing extra shall be paid on account of cartage.

- No. T & P shall be issued to the agency by the deptt. For the execution of work.

- Testing of the installation shall be done by the agency within the quoted rates. The arrangement of labour /material required for testing shall be arranged by the

firm within the quoted rates.

- End termination of DISCOME service cable in MCB /Isolator shall be done by the contractor.

- The contractor shall stand guarantee for a period of 12 months for  material supplied /installed against manufacturing defects /satisfactory performance from the date of completion /handing over which ever is letter on a non – judicial stamp paper of Rs.50/-Only.

SPECIFICATIONS :-

- The work as indicated in the schedule of quantities attached here with including any modifications, additions alterations ordered subsequently shall be carried out  as per specifications given below:

  - CPWD specifications for Electrical works Part – II (External) 1994 with amendments upto the date of opening to tenders.

  - Indian Electricity Rules 1956 as amended upto date.

  - A table indicating the makes, governing specifications and other details in respect of some of the important materials to be used in the work is aattached. These specifications shall have precedence over those indicated in

1.3(a) Only material bearing ISI/BIS certification mark shall be used in the work. Where articles of different designs makes bearing ISI/BIS certification mark are available, the decision of Engineer – in – charge about the design /make to be used in the work shall be final and binding on the contractor.

1.2(b) Where material bearing ISI/BSI certification marks are not available, material conforming ro relevant BIS/ISI shall be used with period approval of Engineer – in – charge

1.3(c) If the specification of any item are not available then the design of the Engineer in charge regarding quality shall be final and binding on the contractor.

2.	In case of any discrepancy in the description of any item given in the schedule of 	quantities and the specification, the former shall prevail.

3.	In case any damages /loss in done to the installations during the contract period, 	the contract period, the contractor shall have to make god the damages /loss at his 	own cost except he damages to the installations by accident. In case the contractor 	fails to rectify the damages /loss within reasonable time, the same shall be got 	rectified /replaced by the department at the risk and cost of the contractor

4. The existing damaged foundation and the foundation which may be damaged while 	executing the work shall be made good the same as required within the quoted 	cost.

5. Fly ash bricks shall be used for laying of cables.

Executive Engineer

Electrical Division

DDA