Notice No  02/EE/ED7/DDA/07-08

NIT No. 7

SCHEDULE OF WORK

Name of work: M/O Park, Plantation trucks & other equipment in Hort. Wing under 		M.A II

Sub Head 	:Repair& maintenance of path lights installed in park/green at 			Lawrence Road & Ashok vihar Ph. I,II, III & IV

| S.No. | Description of items. | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Repair & maintenance of 226Nos.path /park lights existing on 4.5m/6.0m and 9.0m high poles i/c its accessories as per additional conditions and specifications attached etc. complete as reqd. | 12mont. | Pl |  |  |
|  | Supplying and replacement of following electrical spare parts for Luminaries i /c testing etc.as reqd. a)125 watt.HPMV lamp (DC/ES) b) 150 Watt. Metal halide D /E lamp (Tubular type) c) Copper ballast for 150 watt. Metal halide lamp Son-T d) Copper ballast for 125 watt. HPMV lamp. e) Capacitor suitable for 125 watt. HPMV /150 metal halide lamp /HPSV lamp. f) Halogen lamp 500 watt. g) 150 watt. HPSV Son –T lamp. h) 200 watt. GLS lamp. | 25Nos 16NOs 30Nos 23Nos 60Nos 15Nos 25Nos 20Nos | Each Each Each Each Each Each Each Each |  |  |
|  | Electric Igniter suitable for 70 watt. Son / 125 HPMV 150 watt. Metal halide lamp /150 watt. Son –T lamp. | 70Nos | Each |  |  |
|  | 6 amp. to 32 amp. SP & N MCB(C- Series) | 16Nos | Each |  |  |
|  | Painting of 7.20m high from ground level, steel tubular pole with MS ring i/c rubbing the moisture, rust /corrosion from the pole and ring with approved colour of enamel paint, numbering etc. complete as regd. | 26Nos | Each |  |  |
|  | Supplying of 2X 16 sq. mm pvc sheathed XLPE armoud power cable of 1.0KV grade i/c testing etc. as reqd. | 200Mtr. | Mtr. |  |  |
|  | Laying of PVC insulated and PVC sheeted /XLPE al. conductor around power cable of 1.1KV grade of size not exceeding 25 sq.mm direct in ground i/c excavation and refilling but without send cushioning and protective covering etc. as reqd. | 200Mtr. | Mtr. |  |  |
|  | Supplying and making straight though joint with cast resin compound i/c feffules and other jointing materials for following size of PVC insulated and PVC sheathed /XLPE al.a)2X 16 sq.mm. | 4 set | Set |  |  |
|  | Painting of GI poles and monnting box fixed on GI pole of 3 mtr. /4.5 m /6m high complete with two or more coats with enamel paint i/c cleaning of surface & numbering etc. as reqd. | 27Nos | Each |  |  |
|  | Providing & fixing 6 SNG dia GI wire on surface or in recess for loop earthing along with the existing surface recessed conduit / submain wiring /cable as reqd. | 200Mtr. | Mtr. |  |  |
|  | Supplying & drawing of following size of PV cin sulated copper conductor single core cable in the existing surface /recessed a) 2 X 2.5 sq.mm. | 200Mtr. | Mtr. |  |  |
|  | Supplying and fixing of CRCA MS cover of the connection box of size (200mmX 250mm X 150 mm ) of 16 SNG i/c welding hinges etc. as reqd. | 40Nos | Each |  |  |
|  | Supplying and replacement of following accessories on existing panel board / feeder pillar i/c inter connection with suitable size of copper wire, thimble lugs, providing of dinchannel and making space for fitting etc. complete as reqd. - 40 amp. 4 pole 415 volt isolator. - Timer switch FM /1 OT one daily; dial 240 V.A,C. - Power contactorMD-2 | 4Nos. 4Nos. 4Nos. | Each Each Each |  |  |

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION -7

DETAILS OF ELECTRICAL INSTALLATION IN PARK /GREEN

| S.No | Location | SON-T 150W | MV-150V | HPSV125W | GLS CLEAR LAMP 200w | HALLOZEN500w |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Maharushi Day anand park Lawrence Road | 12 | 11 | 16 | -- | 10 |
| 2. | Nepak wala Bagh L.Road | -- | -- | -- | -- | 4 |
| 3. | Rose Garden L.Road | 4 | -- | 18 | -- | 2 |
| 4. | Mazdoor parkL.Road | 4 | 8 | 31 | - | -- |
| 5. | C-1 Pahari L.Road | -- | -- | 6 | -- | -- |
| 6. | Near Rly. Line Ashok vihar Phase –I | 16 | -- | -- | -- | -- |
| 7. | Ashok Vihar I-Block | 12 | -- | -- | -- | -- |
| 8. | Ashok Vihar Blk. G & E | 16 | 4 | 3 | -- | 2 |
| 9. | Nursery Ashok Vihar Ph.I | - | 4 | 1 | -- | -- |
| 10. | Orchad Ashok Vihar Ph.II | 4 | -- | -- | -- | -- |
| 11. | Picnic Hut Ashok Vihar Phase-III | -- | 8 | 3 | 5 | 4 |
| 12. | Zonal green Ashok Vihar Phase-IV | 4 | -- | -- | -- | 14 |
|  | Total | 72 | 35 | 78 | 5 | 36 |

ADITIONAL CONDITIONS

.

- The rate quoted by the contractor shall be firm and should be inclusive of all 	Central / State Govt. taxes duties and levies. Concessional sales tax form C /D 	shall not be issued by the Deptt.

- Nothing extra shall be paid on account of cartage.

- No T & P shall be issued to the agency by the Deptt. For the execution of work.

- The work comprises of maintenance of path /park lights as per the inventory attached .

- proper handing / taking over of all the E & M  installation shall be carried out by JE(E) / AE (E) in charge  of the work and the contractor in writing immediately after award of work and before start of work. The same shall be handed over to the Deptt. In proper working condition after expiry of the contractor.

- The contractor shall deploy trained competent staff to the satisfaction of Engineer – in – Charge.

- The contractor shall take all safety measures at site during maintenance of the installation.

- Any in jury / mishap to the maintenance staff during duty hours will solely be the liability of the contractor.

- Water & electricity for the execution of work shall be arranged by the firm through their own arrangement and charges if shall  be borne by them.

- Testing of the installation shall be done by the contractor within the quoted rates. The arrangement of labour /material required for testing shall be arrange by the firm within the quoted rates.

- Time allowed for carrying out of the work shall be 12 Months.

- End termination of DISCOME-A-1 cable in TP& N switch Isolator shall be done by the contractor.

- Responsibility of material during execution /completed installation / equipment shall remain with the agency till the completed installation /equipment is handed over to competent authority after successful testing and commissioning. The agency shall be responsible for losses / theft if any.

- The following makes are acceptable for the following :-

  - DOL starter and its accessories: M/s LT / LK, M/s Standard ,M/s 		Bhartia Cutler Hammer.

  - MCB : As per IS :8828 with the following makes: M/s standard  , M/s MDS m/s Indokopp, M/s Action minimum breaking capacity 10KA at 240 /415 Volts.

- The contractor shall stand Guarantee for a period 12 months for materials supplied / installed against manufacturing defects / satisfactory performance from the date of completion / handing over which ever is later on a non  judicial stamp paper  of Rs. 50/-

- PVC insulated copper wire – As per IS:694- Sky tone /National /ECKO / HAVELL’S

- PVC sheathed / XLPE insulated armoured  cable ; IS 7098 M/s Asian cable / Unistor / ECKOpNICCO, M/s Skytone .

- Fly ash bricks shall be used for laying of cable(if reqd.)

- The clause 10 –C or 10 CC shall not be applicable in this contract.

- The contractor has to return the dismentalled material to the Deptt. After replacing the the defective items at site for which separate payments are being made by the Deptt.

- Lamp shall be of the following :

(a) M/s Philips   b) Oshram.

- Make of Ballast / Ignitor / Capacitor to be used /replaced shall be as per fitment of manufacturer of existing Luminaires.

- Painting of GI pole  / steel tubular ploe shall be done by the following makes of paints.

(a) Berger	(b) Nerolac	(c) Asian	(d) Dulux

Executive Engineer

Electrical Division

DDA