Press Notice No. 4/EE/ED-7/DDA/07-08

N.I.T No. 2

Est. Cost :- Rx 2,85,561

Schedule of Work

Name of work : M/o pump set at various places under N.Z.

Sub Head	   : A/R/M/O booster pumpsets, DG Set at pkt. 4 & 5, Sub. 					     Pumpset in pkt. 2,3,4,5, & 7 Sector A – 10, Narela.

| S. No. | Description of items. | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Operation of pumps / D. G. Set as per the inventory and terms and conditions attached. | 1 Job of 12 months | p/month |  |  |
| 2. | Supplying and replacement of the following items. - HPSV lamp – 70 watt. - Copper wound polyester filled ballast – 70 Watt. | 3 Nos. 3 Nos. | Each Each |  |  |

INVENTORY

Part – A

- Booster pumps

(a)		___75____ HP Centrifugal pumpset 					2 Nos.

(b)		____5____ HP Vacuum pump for priming of above pumpset 		1 Nos.

(c) 		Control panel comprising of 250 A  T P & N 1 No.200A TP FSU – 1 No. Oil immerged starter – 2 Nos., DOL starter 1 No., Single Phase preventor

(d)		Details of valves 350mm  sluice valve				3 Nos. etc

2 Nos, 250mm sluce valve – 3 Nos., NRV – 2 Nos.

Part - B

(i)		D.G.Set

(a)		Capacity 100 KVA

(b)		Control panel comprising of 200 amp. 4 pole change – over, battery charge 			and 200 amp. TP & N FSU

Part – C

- Submersible pumps

- 5 HP Submersible pumpset.

- Control panel comprising of starter, MBCs, single phase preventor, Voltmeter, Ammeter.

Part – D

- Water level indicator – 1 No

Part –E

- Internal Electrical installation fluorescent Fitting, 40, W ceiling fan = 2 NOs.

- External Electrical installation 	6Nos. (70 watt. SON Type )

(Compound lighting etc.)

TERMS OF CONDITION

The work comprises of running and operation of pump sets, D.G set and general lighting as per the inventory attached.

The contractor shall depute the following staff under the contact

- Operator – 2Nos. one in each shift i. e. from 6.00 AM to 2.00 PM and from 2.00PM to 10.00PM

- Khallasi – 1 No. from 10.00 AM to ^.00 PM

- Wireman Guard – I shall attend the site of work between  9.00AM to 5.00 PM at least once in a week and as and when required.

The contractor shall employ trained and competent staff to the satisfaction of Engineer – in – charge having two years experience on operation of pump /D.G set.

The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer – in charge shall have the right to reject any staff employed by the contractor.

The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name. father’s name, address, date of birth, name of the agency with address and telephone No. site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer in Charge within 15 days of award of work.

The contractor shall employ staff throughout the period of contract including Saturdays, Saturdays, Sundays, Gazetted holidays and National holidays.

Following records are to be kept at site of work.

  - Printed log book for recording operation.

  - Attendance register for staff deployed.

  - Complaint / Inspection register

Note : The contractor shall get the registers authenticated from Engineer in Charge before use at site.

The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book :

  - Servicing and greasing of pumps / motors once in 3 months.

  - Replacement of rubber packing of valves and worn out nuts and bolts etc.

  - Replacement of gland dori as and when required

  - Replacement of HRC fuses as and when required

  - Replacement of FI Tubes, incandescent lamps and starters

  - Adjustment, alignment / tightening of nuts and bolts as and when required

  - Replacement of burnt out thimbles, wire terminals etc.

  - Top up of battery water

  - Daily cleaning of equipments / pump house

Note:- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

To keep all st. lighting .points and all allied installations in working order during the timings / fixed by the Engineer in charge.

Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply  / fluctuation in voltage.

The contractor shall intimate the Engineer in charge about the major break down or failure of electric supply in time.

All Electric connections shall be checked at least once in a month & set right, if required.

The payment to he contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

Proper handing/taking over of all the E&M installations shall be carried out by JE (E) in charge of the work and the contractor in writing immediately after award of work / before start of work.

The Engineer in charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered from the contractor’s bill.

All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deplored by the contractor, the contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor.

The contractor shall keep all the necessary spares and T & P at site required for operatic and maintenance to be carried under his contract.

In case of any disobedience or misbehavior by the operational staff of the contractor, the engineer in charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc.

Pumping installation shall be painted (exuding control panel) once during the contract period.

Any injury to the operational staff, in case of any mishap, during duty hours will be the liability of contractor.

The D.G.Set shall be operated in case of electricity failure or as & when desired by the Engineer in Charge. How ever  POL shall be supplied by the Department.

Watch & ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor.

The following makes are the materials are acceptable.

a.	HPSV lamp	:	Philips / Osram

b.	Ballast 	:	As per fitment of manufacturer of existing Luminary.

c.	Ignitor		:	-do-