OFFICE OF THE EX. ENGINEER

ELECT. DIVN. NO. 7.

KESHAV PURAM- DELHI

PRESS NOTICE NO. 03 /EE/DE7/ DDA/0708

N.I.T.NO.03

SCHEDULE OF WORK

Name of work :- M/o park plantation trucks & other equipment in Hort. Wing under N.A 			II

Sub Head 	:- A/R/M of sub. Pump set monoblock panel board /feeder pillar and other E/M installation at Norela.

| S.NO. | Description of work | Qty. | Unit. | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Lifting of the submersible pump set from the existing borewell along with the GI pipe band, submersible cable and other accessories i/c dismantling the GI pipe and pump set etc. complete as reqd. | 20 Job | Jab |  |  |
|  | Lowering of submersible pump set in the existing borewell along with the GI pipe submersible cable wire rope upto reqd. depth. i/c making water proof cable joint connection testing etc. as reqd. | 20 Job | Job |  |  |
|  | Repairing of submersible pump set (6” dia) /4” dia 3 phase 415 volt i/c supplying and replacement of the following defective parts of motor & pump ipc replacement painting testing etc. complete as reqd. - MOTOR SIDE - Rewinding of submersible motor of 6” dia 5HP - I- Rewinding of sub. Motor of 6”n dia 7.5HP II- Rewinding of sub motor of 4” dia. 1.5HP - Rotor sleeve - Gun metal bearing bush. - Water seal. - Thrust bearing - Thrust plate. - Sand Guard. - Coupling sleeve with key - Balancing of rotor. - Rotor sleeve turning& grinding. - Rotor and repairing key way making PUMP SIDE:- - Gun metal impeller - Remetalling of gun metal impeller. - Guide bush. - Distance sleeve. - Neck ring. - Sand guard - Pump shaft for 6” dia pump set - Pump shaft for 4” dia pump set - NRV body - NRV body 4’ dia pump set - NRV repairing. - Stage bowl C.I - Suction chamber of 6” - Suction chamber of 4” - E. P impeller - E. P Stage bowl. - Upper bush 6” - Upper bush 4” | 12 Nos. 3 Nos. 1 No. 18 Nos. 30 Nos. 30 Nos. 15 Nos. 15 Nos. 15 Nos. 12 Nos. 8 Nos. 14 Nos. 14 Nos. 28 Nos. 5 Nos. 40 Nos. 40 Nos. 40 Nos. 16 Nos. 10 Nos. 1 No. 1 Nos. 1 No. 6 Nos. 9 Nos. 6 Nos. 6 Nos. 7 Nos. 7 Nos. 9 Nos. 10 Nos. | Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each |  |  |
|  | Supply & replacement of DOL starter Mk -1 type suitable for /upto 7.5 HP pump set on the exiting panel board / feeder pillar i/c connection testing etc, complete as reqd. | 10 No. | Each |  |  |
|  | Supply and replacement of water proof submersible copper cond cable of size 1 X 3X1.5 sq. mm. i/c S/F cable clips making connection cable jointing and testing etc. complete as reqd. | 200M | Mtr. |  |  |
|  | Supplying and fixing of the following size of GI pipe B- Class flanged type with necessary pipe fittings bend etc. as reqd. - 65 mm. dia - 50 mm. dia | 6 mtr. 12 mtr. | Mtr. Mtr. |  |  |
|  | Supply & replacement of the following spare parts and material in the existing panel board i/c connection , testing etc. complete as reqd. - over load relav(9 to 14 amp.) - Operating coil 400/440 volts - Contact kit (DOL Starter ) - Voltmeter (0-600) volt sq. type (96 mm. X 96 mm.) - Ammeter (0-30) amp. Sq. type (96 mm X 96 mm.) - 32 amp. TP N ( C- Series ) - 32 amp. TP MBC(C-Series ) - 16 amp. DP MBC (C- Series) | 10 Nos. 8 Nos. 6 Nos. 5 Nos. 5 Nos. 10 Nos. 10 Nos. 3 Nos. | Each Each Each Each Each Each Each Each |  |  |
|  | Dismentalling of sub. Pump set upto 10HP capacity for checking and assessment of parts to be replacement /repaired i/c cartage etc. as reqd. - motor side - Pump set | 20 Job 20 Job | Job Job |  |  |
|  | Rewinding of Induction motor of KIRLOSKAR MAKE of mono block pump set of the following capacity operated on 3 phase 400/440 volts 50 A.C. supply i/c testing etc. as reqd. a) 7.5 HP 2800/ RPM | 1 Job | Job |  |  |
|  | Repairing of monoblock pump set of Kirloskar make of 7.5 HP capacity i/c replacement of the following worn out parts testing etc. as reqd. - Gun metal bush. - Ball bearing 6305. - Ball bearing 6308. - Impeller key. - C. I. Impeller. | 1 No. 1 No. 1 No. 1 No. 1 No. | Each Each Each Each Each |  |  |
|  | Dismantling of monoblock pump set up to grease etc. | 1 Job | Job |  |  |
|  | Supply of following size of PVC sheathed al cond armoured cable of 1.1 grade i/c testing as reqd. - 4 X 25 sq. mm. - 4 X 16 sq. mm. | 300mtr. 150mtr. | Mtr. Mtr. |  |  |
|  | Fixing of 1 No. PVC sheathed /XLPE cable of 1.1 KV grade of size not exceeding 25 sqm. mm from pole to pole with binding wire etc. complete as reqd.. | 100Mtr. | Mtr. |  |  |
|  | Laying of 1 No. PVC insulated and PV C sheathed /XPLE power cable of 1.1KV grade of size not exceeding 25sqm .mm. direct in ground i/c excavation sand cushioning protective covering and refilling the trench etc, complete as reqd | 210Mtr. | Mtr. |  |  |
|  | Laying of one 1 No. PVC insulated and PVC sheathed /XPLE power cable of 1.1 KV grade of size not exceeding 25sqm. Mm direct in ground i/c excavation and refilling the trench etc. as reqd. but excluding sand cushioning and protective covering. | 140Mtr. | Mtr. |  |  |
|  | Dismentalling, rewiring and fixing of control panel board of 3 HP /5HP / 7.5HP submersible pump set with suitable size of copper wire, thimble, connection testing etc. complete as reqd. | 6Job | Job |  |  |
|  | Supplying and making straight through joint with cast resin compound including feffules and other joint with materials for following size of PVC insulated and PVC sheathed / XlPE aluminium cond. Cable of 1.1Kv grade as reqd. - 4 X 16 sq.mm - 4 X 25 sq.mm. | 2Nos. 3Nos. | Each Each |  |  |

INVENTORY

PART – A

(i) Booster pumps

(a) NIL HP Centrifugal pump set 			 NIL. Nos

(b) NIL HP  Vacuum pump for priming of above pump set 		NIL Nos.

(c) Control panel comprising of NIL

(d) Details of values NIL

PART-B

- D.G. Set

- Capacity NIL KVA

- Control panel comprising of NIL

PART-C

- Submersible pumps = 42 Nos.]

(a) 1.5 HP to 7.5 HP submersible pump set 		42Nos.

(b) Control panel comprising of switch gears i.e. 100 A TP & N,32 amp .TP & N 32 N TP amp. D.P DOL starter ,Volt meter and ammeter etc.

PART- D

  - Internal Electrical installation ---------

  - External Electrical installation -------

(compound lighting etc.)

ADITIONAL CONDITIONS AND SPECIFICATIONS

- The work as indicated in the schedule of work attached her with i/c any modification / alternation ordered subsequently shall be carried out as per the specification indicated below:-

- CPWD specification for electrical works (part –I) internal -1994 (Part II) External -1994 with correction slips up to the date of tender.

- Relevant BIS as modified upto the date wherever BIS code do not exist the  British standard should be followed

- The rates quoted by the contractor shall be inclusive of all taxes ,duties and Govt. Levies etc.

- Nothing extra shall be paid on account of cartage

- Water and electricity for the  execution of work shall be arranged by the firm through their own arrangement and charges if  any shall be arranged by the firm through their  own arrangement and charges if any shall be borne by them.

- The contractor shall deploy trained and competent staff to the satisfaction of Engineer in charge

- the contractor shall supply the list of staff alongwith details i. e .Name Father’s name, Date of Birth, Experience Certificate to be engaged on the installations with in seven days of award of work Engineer in charge shall have the right to reject any staff deployed by the contractor

- The contractor shall be take all safety measures  at site during maintenance of the installations

- Any injury /mishap to the staff during duty hours will solely to the liability of the contractor

- The Engineer in charge if so desire may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice for which no compensation shall  be paid

- All electric connections shall be checked atleast  once in a month and set right if required.

- Testing of the installation shall be shall be done by the contractor within the quoted rates. The arrangement of labour /material required for testing shall be arranged by the contractor within quoted rates.

- The contractor shall stand guarantee for a period of six months for material supplied /installed against manufacturing defects satisfactory performed with the date of completion rewinding over which ever is later on a non judicial stamp paper of Rs.50/-

- The clause 10C or 10 CC shall not be applicable in this contract

- Time allowed for carrying out of the work shall be four months.

- The contractor has to return the dismentalled materials to the department after replacing the defective items at site /suitable rebate  for dismentalled materials may be offered (if required)

- The contractor has to submit the test certificate of all items in the schedule of work (if required)

- Responsibility of material during execution /completed installation /equipment shall remain with the agency till the completed installation is handed over to competent authority after successful testing and commissioning. The agency shall be responsible for losses /theft if any.

- Proper handing /taking over of all the E& M installation shall be carried out by J.E. (E) /AE(E) in charge of the work and the  contractor writing immediately after award of work and before start of work. The same shall be handed over to the department is proper working condition after expiry  of the contract

- The worn out parts of submersible pump set /monoblock /pump set to be replaced shall be of the same make as that of pump set

- The following makes of the materials are acceptable .

  - GI  pipe –SI -1237 –Jindal (Hissar) /TATA/Surya.

  - PVC sheathed PVC insulated flat submersible; copper cable IS -694 –Plaza/Finolex, Safex.

  - Starter and accessories : L&T /Siemens/Outler. Hammer

  - Ammeter /Voltmeter : IS -1248 –AE/Havells /UEL/ IMP

  - MCB ; IS -8828 –Standard /L & T /MDS /Indokopp/Action with 10 KA-capacity

  - PVC insulated copper wire –IS :694 Sky tone/ National /Ecko/ Havell’s

  - PVC sheathed XPLE insulated armaoued cable ;IS 7098- Asian cable /unistar /ECKO / NICCI /Skytone

  - Ball bearing TATA SKF, NBC,

  - Paint –a)Enamel /aluminiam- Berger /Narolac/Asian /Dulux.

21. Fly ash shall be used for laying of cables (if required)

Executive Engineer

ELECTRICAL DIVISION

DDA