DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 07

KESHAV PURAM : DELHI : 110035

NOTICE INVITING TENDER NO. 6/EE/ED-7/DDA/2007 – 08

Sealed Item Rate Tender are invited for the following works by the Ex. Engineer (Elect) Divn. No. 7, DDA, Keshav Puram, Delhi – 110035 upto 3:00P.M. on behalf of DDA from the approved contractor of appropriate class of DDA, CPWD, MES P&T & Railway which shall be opened on the same day at 3:30P.M. at Ground floor, Vikas Minar, DDA Office, I.P. Estate, New Delhi in the Presence of intending purchaser of their authorized representative.

The tender documents can be had on any working day form the office of CAJ / North Zone / DDA, Ashok Vihar, Sales Counter / Vikas Minar between the 11:00 A.M. to 3: 00 P.M. on payment of amount of amount mentioned against each work (non - refundable) on production of enlistment registration certificate and valid registration with works contract cell of sales tax deptt. Of GNCTD and tax clearance certificate issued by the works contract cell in Form – XI. As well as the amount of earnest money the shape of cash receipt treasury challan/deposit as call receipt of scheduled bank/Fixed deposit receipt of a scheduled receipt of scheduled bank/ Fixed deposit receipt of a scheduled bank/demand draft of schedule bank in favour of Sr. A. O/CAJ/N.Zone/DDA. Sales of tender form will be stopped four days (including the date of opening) before the date fixed for the opening of tender documents.

The manner of submission of tenders opening of the same and entry of contractor’s / their authorized representative to the place of opening shall be as provided in clause 3(a), (b) & (c) of PWD – 6 forming part of tender.

S.No.	Name of work		NIT	Estimated Cost	Tender cost	Dt.of Sale

Earnest Money	Time Allowed	Dt. of opening

- M/o pump set at 		Rs. 167782.00		Rs. 500.00	28.5.07

various places under		Rs. 3356.00		12 (Twelve)	1.07.2007

North Zone. SH: A/R/M/O				month

Of clear water booster pump

Set for 608 Janta houses in

Sector A – 6 Pkt – II Narela.

- M/o pump set at various 	Rs.171402.00		Rs. 500.00	28.5.2007

Places under North Zone.	Rs. 3428.00		12(Twelve)	1.6.2007

SH: R/M/O of submersible.				month

Pump set at Transit Camp

Near Gautam Colony Narela.(21)

Executive Engineer (E)

Electrical division No. 7

NOTICE NO. 06/EE/ED-7/DDA /0708

N.I.T.NO.16

SCHEDULE OF WORK

NAME OF WORK	:-M/o  pump set at various places under North Zone

SUB HEAD		:- A/R/M/O of clear water booster pump set for OB Janta houses in 			Sector A-6 pkt, Narela

| S.NO. | DESCRIPTION OF ITEMS | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Operation of pumps / D.G. set as per the inventory & | 12 months | p/month |  |  |
| 2. | Supply & replacement of the following items - HPSV lamp 70 watt. - Copper wound polyster filled ballast 70 watt. | 2 Nos. 2 Nos. | Each Each |  |  |

INVENTORY

PART –A

- Booster pumps

(a) 20 HP Centrifugal pump set					2 Nos.

(b) 5 HP  Vacuum pump for priming of above pump set 	1 Nos.

(c) Control panel comprising of main switch 125 amp. &  63 amp

(d) Details of valves 8 Nos.

PART – B

D.G. set

(a) Capacity ……..KVA

(b) Control panel comprising of ……….

PART – C

- Submersible pumps

- …….HP Submersible pumpset 			……. Nos.

- Control panel comprising of

PART – D

(i) Water level indicator 	1No.

PART – E

(a) Internal Electrical installation 		5 Nos. tube fittings.

(b) Extrenal Electrical installation 	4 Nos. HPSV -70 watt. Fitting

TERMS AND CONDITIONS

- The work comprises of running and operation of pump sets, D.G. set and general lighting as per the inventory attached

- The contractor shall depute the following staff under the contract

- Operator – 2 Nos. one in each shift i.e.from 6 .00 AM to 2.00PM and from 					2.00PM to 10.00PM

- Khallasi – 2.00 PM to 6.00 PM

- Wireman Grade – I shall attend the site of work between 9.00 AM to 5.00 PM at least once in a forntnight and as and when required

- The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work Engineer in charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given  photo identity cards by the contractor displaying their name, father’s name address date of birth, name of the agency with address and telephone No. site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer in charge within 15 days of award of work.

- The contractor shall employ staff throughout the period of contract including Saturday Sunday Gazetted holidays and National holidays

- Following records are to be kept at site of work

  - Printed log book for recording operation

  - Attendance register for staff deployed

  - Complaint / Ispection register

Note:- The contractor shall get the registers authenticated from Engineer in charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book.

  - Servicing and greasing of pumps /motors once in 3 months.

  - Replacement of rubber packing of valves and worn out nuts and bolts etc

  - Replacement of gland dori as and when required

  - Replacement of HRC fuses as and when required

  - Replacement of FI Tubes incandescent lamps and starters

  - Adjustment alignment /tightening of nuts and bolts as and when required

  - Replacement of burnt out thimbles wire terminals etc.

  - Top up of battery water

  - Daily cleaning of equipments /pumps house.

Note:- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure /fault in supply / fluctuation in voltage.

- The contractor shall intimate the Engineer in charge about the major breakdown of failure of electric supply in time

- Watch and ward shall be the responsibility of contractor. Any loss due to theft of pilferage etc. shall be borne by the contractor.

- The payment to the contractor shall be made bi- monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- Proper handing /taking over of  all the E&M installations shall be carried out by JE (E) in charge of the work and the contractor in writing immediately after award of work / before start of work.

- The Engineer in charge, if so desire, may extend the contract upto 2 month or terminate the contract  at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time and date an amount proportionate to per shift shall be recovered from the contractor’s bill.

- All allied accessories / installations shall be kept  in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor the contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time the same shall be got rectified /replaced by the department at the risk and cost of the contractor.

- The contractor shall keep all the necessary spares and T& P at site required for operation and maintenance to be carried under his contract.

- In case of any disobedience or misbehavior  by the operational staff of the contractor the Engineer in charge may ask  the contractor to contractor shall provided suitable simultaneously

- The rates quoted by the contractor shall be inclusive of all taxes duties and Govt. levies etc.

- Pumping installation shall be painted ( excluding control panel ) once during the contract period

- Any injury to the operational staff in case of any mishap during duty hours will be the liability of contractor.

EE

ED-7

Notice No. 06/EE/ED7/DDA/0708

N.I.T.No. 21

SCHEDULE  OF WORK

NAME OF WORK 	:- M/O Pump set at various places under North Zone.

SUB HEAD 		:- R/M/O of submersible pump set at Transit Camp. Near 				Gautam colony Narela.

| S.NO. | DESCRIPTION OF ITEMS | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | Operation of pumps as per the inventory and terms and condition attached | 12 months | p/months |  |  |
|  | Supplying and replacement of the following items - a) HPSV lamp 70 watt.(E) b) Copper wound polyster filled ballast 70 watt. | 2 Nos. 2 Nos. | Each Each |  |  |

INVENTORY

PART – A

(i) Booster pumps		N.A

(a) ………….HP Centrifugal pump set 				……Nos.

(b)………….HP Vacuum pump for priming of above pump set 	…….Nos.

(c) Control panel comprising of …………..

(d) Details of valves …………….

PART – B

(i)  D. G. Set			N.A

- Capacity ………KVA

- Control panel comprising of …….

PART –C

- Submersible pumps

- 7.5 HP Submersible pump set.

- Control panel comprising of DOL starter Voltmeter, Ammeter, 40 amp. Isolator, 20 amp. MCB – in 10 amp. SP& N

PART – D

(i) Water level indicator 	-NIL

PART – E

- Internal Electrical installation (6+6) light points and light plug (1+1)

- External Electrical installation  (compound lighting etc.) 	Four

TERMS AND CONDITIONS

  - The work comprises of running and operation of pump set D.G set and general 	lighting as per the inventory attached.

  - The contractor shall depute the following staff under the contract

- Operator – 2 Nos. one in each shift i.e. from 6.00 AM to 2.00 PM  and 	from 2.00 PM to 10.00 PM

(b)	Khallasi – 1 No from 10.00AM to 6.00 PM

- Wireman Grade – I shall attend the site of work between 9.00 AM  to 5.00n 	PM at least once in a week and as and when require

- The contractor shall employ trained and competent staff to the satisfaction of 	Engineer – in – charge having two years experience on operation of pump.

- The contractor shall supply the list of staff along with experience certificates 	to be engaged on the installation within 7 days of award of work. Engineer – 	in – charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear 	badges displaying their name and designation. The staff shall also be given 	photo identity cards by the contractor displaying their name father’s name 	address date of birth , name of the agency with address and telephone no. site 	for which employed and period of validity. A copy of the identity card shall be 	given to the Engineer –in – charge within  15 days of award of work.

- The contractor shall employ staff throughout the period of contract including 	Saturdays, Sunday Gazetted holidays and National holidays .

- Following records are  to be kept at site of work.

    - Printed log book for  recording operation

    - Attendance register for staff deployed.

    - Complaint /Inspection register

Note:- The contractor shall get the registers authenticated from  Engineer – in- 	charge before use at site

- The following minor maintenance including preventive maintenance shall be 	carried out by the contractor . the details of work carried out shall  be recorded 	in the log book.

    - Servicing and greasing of pumps / motors once in 3 months.

    - Replacement of rubber packings of valves and worn out nuts  and bolts 	etc.

    - Replacement of gland dori as and when required

    - Replacement of Tubes , incandescent lamps and starters.

    - Replacement of Gl. Tubes, incandescent lamps and starters.

    - Adjustment, alignment / tightening of nuts and bolts as and when 	required.

    - Replacement of burnt out thimbles, wire terminals etc

    - .Daily cleaning of equipments /pump house.

Note : The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- Testing of earth continuity and earth electrode shall be carried out once in a 	year by the agency in the presence of authorized representative of the Engineer – in – Charge.

- Co- ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation in voltage.

- The contractor shall intimate the Engineer – in – Charge about the major 	breakdown or failure of electric supply in time.

- Watch and ward shall be the responsibility of the contractor Any loss due to 	theft or pilferage etc. shall be borne by the contractor.

- The payment to the contractor shall be made bi-monthly or at other suitable 	intervals desired by the contractor but not less than one calendar month.

- Proper handing / taking over of all the E & M installations shall be carried out by JE 	(E) in charge of the work and the contractor in writing immediately after 	award of work / before start of work.

- The Engineer – in – charge, if so desire, may extend the contract up to 2 	months or terminate the contract at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time  and date, an amount proportionate to per shift shall be recovered from the 	contractor’s bill.

- All allied accessories / installations shall be kept in working order and in case 	any damages / loss is done to the pumping installations due to the negligence 	of the operational staff deployed by the contractor, the contractor shall have to 	make good the damages / loss at his own cost. In case the contractor fails to 	rectify the damages / loss within reasonable time, the same shall be got 	rectified / replaced by the department at the risk and cost of the contractor.

- The contractor shall keep all the necessary spares and T & P at site required for operation and maintenance to be carried under his contract.

- In case of any disobedience or misbehaviors by the operational staff of the 	contractor, the Engineer in charge may ask the contractor to dispense with the 	services of such staff with immediate effect. The contractor shall provide 	suitable substitute simultaneously.

- The rates quoted by the contractor shall be inclusive of all taxes  duties and 	Govt. levies etc.

- Pumping installation shall be painted (excluding control panel) once during the 	contract period.

- Any injury to the operational staff, in case of any mishap, during duty ours 	will be the liability of contractor.

- The contractor has to return the disentailed materials  to Deptt. after replacing 	the defective items at site rebate for the dismantalled material may be offered 	(if required.)

- The contractor shall replace the material as per fitment of Manufacturer of 	existing luminaire.

  - Scope of work is as under :-

  - To keep all it. 1tg. Points and all allied installation in working order

  - St. Ltg. Should be switched on/off at appropriate time fixed by the Deptt.

Executive Engineer (E)

Electrical Division No.7