DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 07

KESHAV PURAM : DELHI : 110035

NOTICE INVITING TENDER NO. 7/EE/ED-7/DDA/2007 – 08

Sealed Item Rate Tender are invited for the following works by the Ex. Engineer (Elect) Divn. No. 7, DDA, Keshav Puram, Delhi – 110035 upto 3:00P.M. on behalf of DDA from the approved contractor of appropriate class of DDA, CPWD, MES P&T & Railway which shall be opened on the same day at 3:30P.M. at Ground floor, Vikas Minar, DDA Office, I.P. Estate, New Delhi in the Presence of intending purchaser of their authorized representative.

The annual financial turn over gross of the preceding 3 financial year shall not be less than 100% of the estimated cost gross value of the work duly audited by Chartered Accounted on annualized basis depending upon the time allowed for completion.

Satisfactory completion of at least the works of similar nature class costing not less than 50 % of the estimates cost gross in  Central / state Govt. department of the Public sector undertaking / Govt. Autonomous bodies during the last five years.

The tender documents can be had on any working day form the office of CAJ / North Zone / DDA, Ashok Vihar, Sales Counter / Vikas Minar between the 11:00 A.M. to 3: 00 P.M. on payment of amount of amount mentioned against each work (non - refundable) on production of enlistment registration certificate and valid registration with works contract cell of sales tax deptt. Of GNCTD and tax clearance certificate issued by the works contract cell in Form–XI. As well as the amount of earnest money the shape of cash receipt treasury challan/deposit as call receipt of scheduled bank/Fixed deposit receipt of a scheduled receipt of scheduled bank/ Fixed deposit receipt of a scheduled bank/demand draft of schedule bank in favour of Sr. A. O/CAJ/N.Zone/DDA. Sales of tender form will be stopped four days (including the date of opening) before the date fixed for the opening of tender documents.

The manner of submission of tenders opening of the same and entry of contractor’s / their authorized representative to the place of opening shall be as provided in clause 3(a), (b) & (c) of PWD – 6 forming part of tender.

| S.No. | Name of work | NIT | Estimated cost Earnest money | Tender cost Time allowed | Dt of sale Date of opening |
| --- | --- | --- | --- | --- | --- |
| 1 | D/o land for yamuna biodiversity park at jhanoda mazara wazirabad. S:H : A/R/M/O of 10 KVA D.G. set and lighting arrangement of internal & external electrification. | 15 | Rs. 199375.00 Rs. 3988.00 | Rs. 500.00 12 months | 28-5-07 1-6-07 |
| 2 | M/o pump set at various places under N.Z. S/H : R/M/O booster pump set & DG set in Pkt. 2 sector A-9, and tube well No 1,2, 7 & 8 in Pkt. 1 & 3 sector A-9, Narela | 20 | Rs. 190588.00 Rs. 3812.00 | Rs. 500 12 months | 28-5-07 1-6-07 |

Executive Engineer (E)

Electrical division No. 7

NOTICE NO.07//EE/ ED-7/ DDA/0708

N.I.T. NO. 20.

SCHEDULE OF WORK

NAME OF WORK :- M/o pump set at various places under North Zone.

SUB HEAD		:- R/M/O of  booster pump set & d.G. set in pkt. 2 sector A -9 and tube well no. 1,2,7, & 8 in pkt. & 3 Sector A – 9 Narela.

| S.NO | DESCRIPTION OF ITEMS | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Operation of pumps / D.G. set as per the inventory and terms and conditions attached | 12 Mon. | p/month |  |  |
| 2. | Supplying and replacement of the following items a) HPVS lamp 70watt. b) Copper wound polyster filled ballast 70watt. c) Ignitor- 70watt. | 4Nos. 4Nos. 4Nos. | Each Each Each |  |  |

INVENTORY

Part –A

- Booster pumps

- 30 HP Centrifugal pump set 					2Nos.

- 5 HP Vacuum pump for priming of above pump set		1Nos.

- Control  panel comprising of meter Ammeter MCB indicting lamp

- Details of valves as under :

150 mm saluice valve- 2 Nos. 200 mm saluice valve – 2Nos.

Part –B

- D. G. set

- Capacity 40 KVA

- Control panel comprising of voltmeter, selector switch

Part – C

- Submersible pumps

3HP 	2 Nos.

(a)	7.5 HP 2 Nos.HP submersible pump set 			4Nos.

(b) Control panel comprising of DOL starter voltmeter –Ammeter MCB

indicating lamp

Part – D

- Water level indication  1No.

Part – E

(a) Internal Electrical installation 		5Nos. florescent tube ceiling fan – 2No.

(b) External Electrical installation  	6 Nos.

(Compound lighting etc.)		4 Nos.

TERMS AND CONDITIONS

- The work comprises of running and operation of pump sets. D.G set and general lighting as per the inventory attached.

- The contractor shall depute the following staff under the contract

  - Operator  - 2 Nos. one in each shft i.e. from 6.00 AM to 2.00PM and from 2.00 PM to 10.00 PM

  - Khallasi – 1 No. from 10.00 AM to 6.00 PM

  - Wireman  Grade -  I shall attend the site3 of work between 9.00 AM  to 5.00 PM at least once in a fortnight and as and when  required.

- The contractor shall employ trained and competent staff to the satisfaction of  Engineer in charge having two years experience on operation of pump /D.G. set.

- The contractor shall supply the list of staff along with  experience certificates to be engaged on the installation within 7 days of award of work. Engineer – in – charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name ,address date of birth , name of the agency with address and telephoneNo. Site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer in charge within 15 days of awards of work.

- The contractor shall employ staff throughout the period of contract including Saturdays ,Dundays .Gazetted holidays and National holidays.

- Following records are to be kept at site of work.

    - Printed log book for recording operation

    - Attendance register for staff deployed

    - Complaint /Inspection register

Note:- The contractor shall get the registers authenticated with Engineer in charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book;

  - Servicing and greasing of pumps / motors once in 3 months.

  - Replacement of rubber packings of valves and worn out nuts and bolts etc.

  - Replacement of gland dori as and when required

  - Replacement of HRC fuses as and required.

  - Replacement of FI. Tubes incandescent lamps and starters.

  - Adjustment, alignment / tightening of nuts and bolts as and when required

  - Replacement of burnt out thimbles, wire terminals etc.

  - Top up of battery water.

  - Daily cleaning of equipments / pumps house.

Note:- The material required for carrying out above jobs shall be supplied by the contractor within quotes rates.

- The D.G set shall be operated in case of electricity failure or as and when desired by the Engineer in charge. However P.O.L shall be supplied by the department.

- Co – ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply / fluctuation  in voltage.

- The contractor shall intimate the Engineer in charge about the major breakdown or failure of electric supply in time.

- Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne  by the contractor.

- The payment to the contractor shall be made bi- monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- Proper handing / taking over of  all the E& M installations shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after award of work / before start of work.

- The Engineer in charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

- If  any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered  from the contractor’s bill.

- All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor the contractor shall have to make good the damages / loss at his own cost. In case the contractor fails to rectify the damages / loss within reasonable time the same shall be got rectified by the department at the risk and cost of the contractor.

The contractor shall keep all the necessary spares and T& P at site required for operation and maintenance to be carried under his contract. In case of any disobedience or misbehaviour by the operational staff of the contractor, the Engineer in charge may ask the contractor to dispence with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously

The rates quoted by the contractor shall be inclusive of all taxesduties and Govt. levies etc.

Pumping installations shall be painted(excluding control panel) once during the contract period.

Any injury to the operational staff in case of an7 mishap during duty hours will be the liability of contractor.

- The contractor has to return the dismentalled material to the Deptt. After replacing the defective items at site for which suitable rebate may be offered separately (if required)

- Testing of earth continuity and earth electrode shall be carried out once in a year by the agency in the presence of authorized representative of the Engineer in charge

- Scope of work is as under  :-

- To keep all lighting points and all allied installations in working order

- St.Ltg. should be switched on / off at appropriate time fixed by the Deptt.

EE

ED-7

NOTICE No. 07/EE/ED 7 / DDA / 07-08

NIT No 15

SCHEDULED OF WORK

Name of work : D/o land for Yamuna Bio diversity park at Jharda Mazara, Wazirabad.

S/H : A/R/M/O of 10 KVA D.G.Set and lighting arrangement of internal 			& External electrification

| S.No | Description of item | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Operation of pumps, D.G. set as per the inventory and terms and conditions attached | 1 job 12 months | p/month |  |  |
| 2 | Supplying and replacement of the following items a) 35 watt 12 volt halogen lamp. b) holder/base for 35 watt 12 volt halogen fitting c ) 18 w CFL d) 9/11 watt CFL e ) copper wound ballst for 9/11 watt CFL. f) 40 watt flourecent tube. g) copper wound ballast for 40 wattt Fl. tube | 100 Nos 100 Nos 20 Nos 20 Nos 15 Nos 30 Nos 20 Nos | Each Each Each Each Each Each Each |  |  |

MAKES OF MATERIAL AND GOVERNING SPECIFICATIONS

| SNo | ITEM | Make |
| --- | --- | --- |
| 1 | 35 watt 12 watt Halogen lamp | As per fitment of manufacturer of existing luminaire. |
| 2 | Holder / base | -- do -- |
| 3 | Ballast. | -- do -- |
| 4 | CFL Lamps / flourscent tube | M/s Phillips / Osram |

PART - A

- D.G. Set

a) Capacity 10 KVA 	-	1 No

b) Control panel comprising of 125 amp. TP & N main switch 100 amp change over switch, voltmeter, ammeter indicating lamp etc.

PART – B

- Submersible pumps

- 1.5 HP monoblock sb. Pump set 1 No 5 HP – 2 Nos. control panel comprising of DOL Starter main switch Voltmeter ammeter (125 amp., 63 amp. 32 amp.)

PART – C

- Internal Electrical installation.

1) 12 V. 35 watt. Pandent St. Ltg.	217 Nos.

2) 300 watt. Dewn transformer		31 Nos.

3) 150 watt. Strip down 12 volt transformer – 17 Nos.

4) Ceiling fan.				10 Nos.

5) 2 x 40 fitting				18 Nos.

6) 70 watt. St. ltg. 			7 Nos.

PART – D

- External Electrification

- 18 Watt. CFL – GI pole		23 Nos.

- 9 watt. CFL – Rullard 		38 Nos.

TERMS AND CONDITIONS

- The work comprises of running and operation of pump sets, D.G. set and general lighting as per the inventory attached.

- The contractor shall depute the following staff under the contract –

  - Operator – 2Nos., one in each shift i.e. from 6 :00am to 2 :00pm and from 2 :00pm to 10 :00pm.

  - Khallasi – 1 No. from 10:00pm to 6:00pm.

  - Wireman Grade – 1 shall attend the site of work between 9:00am to 5:00pm at least once in a week and as and when required.

- The contractor shall employ trained and competent staff to the satisfaction of Engineer – in – charge having two years experience on operation of pump. /D. G. set.

- The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer – in – charge shall have the right to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone No., site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer–in–charge within 15 days of award of work.

- The contractor shall employ staff throughout the period of contract including Saturdays, Sundays, Gazetted holidays and National holidays.

- Following records are to be kept at site of work

    - Printed log book for recording operation

    - Attendance register for staff deployed

    - Complaining / Inspection register.

Note. The contractor shall get the registers authenticated from Engineer – in – charge before us at site.

- The following minor maintenance including preventive maintenance shall be carred out by the contractor The details of work carried out shall be recorded in the log book.

    - Servicing and greasing of pumps / motors once in 3 months.

    - Replacement of rubber packing of valves and worn out nuts and bolts 	etc.

    - Replacement of gland dori as and when required

    - Replacement of HRC fuses as and when required

    - Replacement of FI Tubes incandescent lamps and starters.

    - Adjustment, alignment /tightening of nuts and bolts as and when required.

    - Replacement of burnt out thimbles wire terminals etc.

    - Top up of battery water

    - Daily cleaning of equipments / pump house

Note :- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- The D.G. set shall be operated in case of electricity failure or as and when desire by the Engineer in charge. However P.O.L shall be supplied by the department

- Co-ordination and follow up action with electric supply agency shall be done by the contractor incase of failure / fault in supply / fluctuation in voltage.

- The contractor shall intimate the Engineer in charge about the major breakdown or failure of electric supply in time.

- Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be  borne by the contractor

- The payment to the contractor shall be made bi – monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

- proper handing / taking over of all the E& M installation shall be carried out by JE (E) in charge of the work and the contractor in writing immediately after award work / before start of work.

- The Engineer in charge if so desire may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

- If any staff employed by the contractor is found absent on a particular time and date an amount proportionate to per shift shall be recovered from the contractor’s bill.

- All allied accessories / installations shall be kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor the contractor shall have to make good the damages / loss within in case the contractor fails to rectify the damages / loss within reasonable time the same shall be got rectified   / replaced by the department at the risk and cost of the contractor

- The contractor shall kept all the necessary spares and T& P at site required for operation and maintenance to be carried under his contract

- In case of any disobedience or misbehavior by  the operational staff of the contractor the Engineer in charge may ask the contractor to dispense with the services of such staff with immediate effect. The  contractor shall be provided suitable substitute simultaneously

- The rates quotes by the contractor shall be inclusive of all taxes duties and Govt. levies etc.

- Pumping installation shall be painted (excluding control panel )once during the contract period.

- Any injury to the operational staff in case of any mishap during duty hours will be the liability of contractor.

EE

ED-7