NOTICE INVITING TENDER NO. 03/EE/ED7/ DDA/07-08

N.I.T.NO.9

SCHEDULE OF WORK

NAME OF WORK	: M/o pump set at various places under North Zone.

SUB  HEAD		: A/R/M/O of booster pump set, sub set and DG set at 768 Janta 				houses in Sector B-4,Pkt. 3 Narela.

| S.No. | Description of items. | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Operation of pump / D.G set as per the inventory and terms and conditions attached. | 12Months | P/month |  |  |
|  | Supply and replacement of the following item - HPSV – 70 watt (Elliptical ) - Copper wound polyster filled Ballast 70 watt. | 3Nos 3 Nos | Each Each |  |  |

INVENTORY

PART- A

- Booster pumps

- 40  HP Centrifugal pump set         			2Nos

- 5 HP Vacuum pump for priming of above pump set 	1Nos.

- Control panel comprising of main switch 125-A, 63 amp, 4 pole MBC IS ,Voltmeter & amp .meter etc.

- Details of valves  					8NOs

PART- B

- D.G. Set

- Capacity 62.5 KVA-1No.

- Control panel comprising of MCB& S Voltmeter ,amp.

PART-C

- Submersible pumps

- 6 HP Submersible pump set

- Control panel comprising of Starter, MCB’s

PART-D

- Water level indicator – 1 No.

PART-E

- Internal Electrical installation 5 Nos., tube fitting.

- External Electrical installation 4 Nos., HPSV, 70 watt.

TERMS AND CONDITION

The work comprises of running and operation of pump set, D.G set and general lighting as per the inventory attached

- Operator- 2 Nos., one in each shift i. e. from 6.00 AM to 2.00Pm to and 	from 	2.00PM to 10.00PM

- Khallasi – 1No. from 10.00AM to 6.00PM

- Wireman Grade – I shall attend the site of work between 9.00AM to 5.00PM at 	least once in a fortnight and as and when required.

The contractor shall employ trained and competent staff to the satisfaction of 	Engineer – in – charge having two years experience on operation of pump /D.G. 	set

(4)The contractor shall supply the list of staff along with experience certificates ti be engaged on the installation within 7 days of award of work. Engineer –in – charge  shall have the right to reject any staff employed by the contractor.

(5) The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name address date of birth, name of the agency with  address and telephone No. site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer – in – charge within 15 days of award of work.

(6) The contractor shall employ staff throughout the period of contract including Saturday, Sunday Gazetted holidays and National holidays.

(7) Following records are to be kept at site of work.

- printed log book for recording operation.

- Attendance register for staff operation.

- Complaint /  Inspection register.

NOTE:- The contarctor shall get the registers authenticated from Engineer – in – charge before use at site.

The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book :

- Servicing and greasing of pumps /motors once in 3 months.

- Replacement of rubber packing of  values and worn out nuts and bolts.

- Replacement of gland dori as and when required

- replacement of HRC fuses as and  when required

- replacement of FI Tubes incandescent lamps and starters.

- Adjustment alignment / tightening of nuts and bolts as and when required.

- Replacement of burnt out thimbles, wire terminals etc.

- Top up of battery water.

- Daily cleaning of equipments /pump house

NOTE:- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

  - The D.G set shall be operated in case of electricity failure or as and when desired by the Engineer – in – charge. However P.O.L shall be supplied by the department

  - Co –ordination and follow up action with electric supply agency shall be done by the contractor in case of failure / fault in supply /fluctuation in voltage.

  - The contractor shall intimate the Engineer – in – charge about the major breakdown or failure of electric supply in time.

  - Watch and ward shall be the responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor.

  - The payment to the contractor shall be made bi- monthly or at other suitable intervals desired by the contractor but not less than one calendar month.

  - Proper handing /taking over of all the E& M installations shall be carried out by JE (E) in charge of the work and the contractor in writing immediately after award of work /before start of work.

  - The Engineer – in – charge if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice.

  - If any staff employed by the contractor is found absent on particular  time and date an amount proportionate to per shift shall be recovered from the contractor’s bill.

  - All allied accessories/ installations shall be kept in working order and in case any damage / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages/ loss at his own cost. In case the contractor fails to rectify the damages /loss within reasonable time , the same shall be got rectified /replaced by the department at the risk and cost of the contractor.

  - The contractor shall  keep all the necessary spares and T&P at site required for operation and maintenance to be carried under his contract

  - In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer – in – charge may ask the contractor to dispense with the service of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously

  - The rates quotes by the contractor shall be inclusive of all taxes, duties and Govt. levies etc.

  - Pumping installation shall be painted (excluding control panel ) once during the contract period.

  - Any injury to the operational staff, in case of any mishap during duty hours will be the liability of contractor

  - All the materials shall be got approved from the Engineer – in  - charge before installation at site.

  - Testing of the installation shall be done by the contractor within the quoted rates. The arrangement of labour /material required for testing shall be arranged by the firm within the quoted rates.

  - All electric connections shall be checked at least once in a month & set right , if required

  - The following makes of the martial are acceptable; a) HPSV Lamp b) Philips & osram

Ballast – As per fitment of manufacturer

Executive Engineer (Elect)/

Electrical Divn. No. 7/DDA.