DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.07

KESHAV PURAM: DELHI 110035.

NOTICE INVITED TENDER NO. 8/EE/ ED-7 /DDA/ 2007-08

Sealed Item Rate Tender are invited for the following works by the Ex. Engineer (Elect) Division No. 7 DDA Keshav puram Delhi 110035 upto 3.00 P.M on behalf of DDA from the approved contractor of appropriate class of DDA, CPWD, MES P&T & Railway which shall be opened on the same day at 3.30 P.M. at Ground floor Vikas Minar, DDA office , L. P. Estate, New Delhi in the presence of intending purchaser of their authorized representative .

The tender documents can be had on any working day from the office of CAJ/North Zone /DDA Ashok vihar sales Counter / vikas minar between the 11.00 A.M to 3.00 P.M. on payment of amount mentioned against each work (non- refundable ) on production of enlistment registration certificate and valid registeration with works contract cell of sales tax deptt. of GNCTD and tax clearance certificate issued by the works contract cell in Form –XI as well as the amount of earnest money the shape of cash receipt treasury challan / deposite as call receipt of scheduled bank / Fixed deposite receipt of a scheduled bank/ demand draft of schedule bank in favour of Sr. A-D /CAJ / N. Zone /DDA sales of tender forms will be stopped four days (including the date of opening ) before the date fixed for the opening of tender documents.

The manner  of submission of tenders opening of the same and entry of contractor’s / their authorized representative to the place of opening shall be as provided inclause 3(a), (b)& (c) of PWD -6 forming part of tender.

| S.No. | Name of work | NIT | Estimated cost Earnest money | Tender cost Time Allowed | Dt.of sale Dt. Of opening |
| --- | --- | --- | --- | --- | --- |
| 1 | M/O park plantation trucks and other equipment in Hort. Wing under N.A I I SH: Providing and installation of park / path lighting in park /green at mutan Nagar. | 24 | Rs. 195,030.00 Rs. 3917.00 | Rs. 500.00 15 (fifteen days) | 1.6.2007 5.6.2007 |
| 2. | M/O park plantation trucks and other equipment in Hort. Ing under N.A I I SH: providing & Installation of timer with accessories in park / green at pitam pura under Hort. Divin. II | 23 | Rs. 66,707.00 Rs. 1334.00 | Rs. 150.00 15 (fifteen days) | 1.6.2007 5.6.2007 |

Executive Engineer (E)

Electrical Division No.7

NOTICE NO. 8/EE/ED-7 /DDA/0708

N.I.T. 23

SCHEDULE OF WORK

NAME OF WORK:-	M/o park plantation trucks & other equipment in Hort. 			Wing under  N.A I I

SUB HEAD		:- Providing & installation of Timer accessories in park/ 			green at Pitampura under Hort. Division No I I

| S.No. | Description of items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing of adopter box of size 300mm x 300mm x 250mm (deep) nominal size made of CRCA MS sheet of 1.60mm thick duly painted after applying a coat of red oxide primer with 2mm thick bakelite sheet having the following accessories with the existing feeder pillar/ panel board/ for inter connection the accessories with 7/ 22 standard PVC insulated copper conductor single core cable thimbling earthing and testing etc. as reqd. - Timer switch FM / 1 QT one dail 240 V AC-1 No. - Power contractor M- 2 | 11 Nos. | Each |  |  |
| 2. | Supplying and fixing following accessories on existing panel board/ feeder pillar i/c inter connection with suitable size of wire / thimble, lugs, providing of dinchannel and making space for fitting etc. complete as reqd. - 32 amp. TP&N 415 volt MCB - 16 amp. /32 amp. SP&N MBc (C- Series) | 11 Nos. 17 Nos. |  |  |  |
| 3. | Supply of following size of PVC sheathed XLPE al cond. armoured cable of 1.1 KV grade i/c testing etc. as reqd. a) 2 x 16 sq. mm. | 60 M.. | Mtr. |  |  |
| 4. | Laying of one number PVC insulted and PVC sheathed /XLPE power able of 1.1 grade of size not exceeding 25sq.mm direct in ground i/c excavation sand cushioning protective covering and refilling the trench etc. as reqd. | 50 mtr. | Mtr. |  |  |
| 5. | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE al. cond.cable of 1.1KV graded of size not exceeding 25sq. mm on surface as reqd. | 10 mtr. | Mtr. |  |  |

ADDITIONAL CONDITONS SPECIFICATIONS:-

- The contractor must get acquainted with the proposed site of work and study specification and conditions carefully before tendering. The work shall be executed as per programme approved by the Engineer in charge.

- The work as indicated in the schedule of work attached here with i/c any modification / alternation ordered subsequently shall be carried out as per the specification indicated below:-

  - CPWD specification for electrical works (Part I) internal 94 part II external -94 with correction slips upto the date of tender

  - Relevant BIS as modified upto the date wherever BIS code do not exist the British standard should be followed

  - Indian Electricity rules 1956 and amended upto date. In case of any discrepancy in the description of any item given  in the schedule of quantities and specification given above the formal shall prevail.

- The Engineer in charge reserves the right to make any modification at any stage 	during execution of work.

- After the award of work the contractor shall get the materials approved from the 	Engineer – in  charge ;before use in the work. The contractor shall also provide test 	certificate for conformity with relevant IS specification if required by the Engineer in 	charge

- contractor shall provide the manufacturer test certificate in respect of all major items.

- The contactor shall be fully responsible for watch & ward of the materials brought / 	work executed at site till the same is complete and taken over by the deptt.

- proper handing /taking over of all the E& M installations shall be carried out by J.E. 	(E) /AE (E) in charge of the work and the contractor in writing immediately  after 	award of work and before start of work the same shall be handed over to the 	department in proper working conditions after expiry of the contract.

- The contractor shall deploy  trained competent staff to the satisfaction of Engineer in 	charge.

- water & electricity for the execution of work shall be arranged by the firm through 	their own arranged by the firm though their own arrangement and charged if any shall 	be borne by them.

- testing of the installation shall be done by the contractor within the quoted rates. The 	arraignment of labour / material required for testing shall be arranged by the firm 	within the quoted rates.

- Responsibility of material during execution /completed installation equipment shall 	remains with the agency till the competed installation /equipment is handed over to 	the completed installation / equipment is handed over to competent authority after 	successful testing & commissioning the agency shall be responsible for losses /theft 	if any.

- The contactor shall stand guantatee for a period of 12 months for material supplied / 	installed against manufacturing defects/ satisfactory performance from the date 	of 	completion/ handing over which over is later on anon judicial stamp paper of Rs. 50/- 	only.

- nothing extra shall be paid on account for cartage.

- No.T& P shall  be issued to the agency by the deptt, for the execution of work.

- The rates quotes by the contractor shall be firm and should be inclusive of all central / 	sates Govt. taxes duties and levies etc.

- Connectors to be used any where in the installations shall be of porcelain type

- The contractor would have to; make his own arrangement for cartage and 	transportation of the materials and nothing extra would be payable on this account.

- Fly ash bricks shall be used in the work wherever reqd.

- Concessional sales tax form C/D shall not be issued by the deptt.

- The following makes of the materials are acceptable.

- Paint Enamel :- Aluminium Berger, Narelac,Asian Dulax iil poly Atherene :MRF

- PVC sheathed XLPE /AL : IS 7098: Asian /Unistar, Ecko, Nicc, Sky tone

- MCB: IS-8829: (10KA,240/415V) :M/S MDS/ Standard Acric L&T / Indi copp

- GI pipe :- IS -1239 : M/s Jindal (Hissar) Surya, TATA

- PVC insulated copper wire :IS -694- M/S sky tone National ECKO, Havell’s.

NOTICE No. 8 / EE / DE-7/ DDA / 0708

N.I.T. No.24

SCHEDULE OF WORK

NAME OF WORK :- M/o park plantation trucks & other equipment in Hort. Wing 				under N.A  I I

SUB HEAD 		:- providing and installation of additional park / path lighting in 				park green at multan Nagar.

| S.No. | Description of items | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply, erection, testing & commissioning of steel tubular pole of 9 mtr. Hight as per 410 –SP- 28 conforming to IS : 2713(1980) & having circular ring of 40mm. dia MS pipe and sleeve of 300 mm length luminaries having a welded base plate of size 300 mm x 300 mm x 6 mm in cement concrete foundation in 1:3: 6 (l cement : 3 coarse sand :6 graded stone aggregate ) as per drawing attached i/c excavation refilling painting and numbering etc. complete as reqd. | 4Nos. | Each |  |  |
| 2. | Supplying installation testing and commission of flood lighting luminaire of model no. SWF 230 SK / 150 (sym) of Philips make or similar superior make suitable for 150 watt. HPSV lamp i/c providing and fixing 150watt. SON –T lamp making connection & testing complete as reqd. | 16Nos. | Each |  |  |
| 3 | Supply of following size of XLPE PVC sheathed aluminium conductor armoured cable of 1.1KV grades i/c testing etc. as reqd. a) 2 x 16 sq. mm. | 325 mtr. | Mtr. |  |  |
| 4. | Laying of 1 no PVC insulated and PVC sheathed XLPE power cable of 1.1 grade of size not exceeding 25 sq. mm. direct in ground i/c excavation sand cushioning protective covering and refilling the trench etc. as reqd. | 315 mtr. | Mtr. |  |  |
| 5. | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade of size not exceeding 25 sq.mm. on surface as reqd. | 4mtr. | Mtr. |  |  |
| 6. | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 sq.mm. through the existing RCC/ HUME /STONE/ WARE/ Metal pipe as reqd. | 6 mtr. | Mtr. |  |  |
| 7. | Supplying & laying 6 SWG GI wire at 0.50 m. ;below ground level for conductor earth electrode i/c soldering etc. as reqd. | 325 mtr. | Mtr. |  |  |
| 8. | Supplying and fixing pole mounting box with top hinged cover made out of 1.60 mm. thick CRCA MS sheet of size 300mm x 250mm. x 120mm (minimum)i/c providing and fixing following accessories there on 2mm. thick bakelite sheet and MS flat clamps 25 mm x 3mm. section for fixing to the pole 6mm.dia earth stud casted knob locking arrangement painting inter connection testing etc. as reqd. - 6 amp. SP. MBC - 32 amp. 4/6 way strip link screw type - 32 amp. 4/6 way strip connector - 32 amp. DP MBC - 20 amp. Industrial type socket | 4Nos. 4 Nos. 1 Nos. 1 Nos. 1 Nos. 1 Nos. | Each |  |  |
| 9. | Providing and fixing of 40 amp. Mm. dia pipe medium class with check nut for cable entry, 1.50 mtr. Long i/c bending to the reqd. shape for cable entry in the existing Ms. Tubular poles and connector boxed complete as reqd. | 4 Nos. | Each |  |  |
| 10. | Supplying and drawing of following sizes of PVC copper conductor single core cable existing surface recessed PVC /steel conduit /PVC casing and capping (a) 2 x 2.5 sq.mm. | 128 M/ | Mtr. |  |  |
| 11. | Supplying & drawing 2.24 mm. dia bare copper conductor wire for loop earthing in the existing surface / recessed / steel / PVC conduit PVC casing and capping / wood batten along with other wires as reqd. | 40 mtr. | Mtr. |  |  |
| 12. | Supplying and fixing 5 amp. To 32 amp. Rating 240.Volts c- series a miniature circuit breaker of following poles in the existing MCB DB complete with connections testing and commissioning etc. as reqd. Cat.B a) single pole and neutral. | 4 Nos. | Each |  |  |
| 13. | Earthing with GI earth pipe 4.5 long 40mm. dia i/c accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc.(but without charcoal or coke and salt ) complete as reqd. | 2 set | Set |  |  |
| 14. | Extra for using salt and charcoal for pipe earth electrode as required | 2 set | Set |  |  |
| 15. | Providing and fixing 25mm x 5 mm GI strip on surface in recess for connections etc. as reqd. | 4Mtr. | Mtr. |  |  |
| 16. | Supplying & fixing of galvanized barbed wire on the existing street light poles from middle to top end (fitting ) with suitable size of clamps on both end etc. complete as reqd. | 30 mtr. | Mtr. |  |  |

ADDITIONAL CONDITIONS & SPECIFICATAION

- The contractor must get acquainted with the proposed site of work and study specifications and conditions carefully before tendering. The work shall be executed as per programme approved by the Engineer in charge.

- The work as indicated in the schedule of work attached here with i/c any modification / alternation ordered subsequently shall be carried out as per the specification indicated below :-

  - CPWD II external – 94 with correction slips upto the date of tender

  - Relevant BIS s modified up to the date wherever BIS code do not exist the British standard should be followed.

  - Indian Electricity ;rules 1956 and amended upto date. In case of any discrepancy in the description of any item given in the schedule of quantities and specification given above the formal shall prevail.

- The Engineer in charge reserves the right to make any modification  at any stage during execution of work.

- after the award of work the contractor shall get the materials  approved from the Engineer in charge before use in the work. The contractor shall also  provided test certificate for conformity with  relevant IS specification if required by the Engineer in charge.

- contractor shall  provided the manufacturer test certificate in respect of all major items

- The contractor shall be fully responsible for watch & ward of the materials brought /work executed site till the same is compete and taken over by the deptt.

- Proper handing / taking over of all the E& M installations shall be carried out by J.E. (E) /AE (E) incharge of the work and the contractor in within immediately after award of work and before start of work. The same shall be hand over to the department in proper working conditions after expiry of the contract.

- The contractor shall deploy ---- trained competent staff to the satisfaction of Engineer in charge

- Water & electricity for the execution of work shall be arranged by the firm through their own arrangement and charges if any shall be borne by them.

- Testing of the installation shall be done by the contractor within the quoted rates. The arrangement of labour / material required for testing shall be arranged by the firm within the quoted rates.

- Responsibility of material during execution / completed installation; equipment shall remains with the agency till the completed installation /equipment is handed over to competent authority after successful testing & commissioning the agency shall be responsible for losses / theft if any

- The contractor shall stand guantatee for a period of 12 month for material supplied /installed against manufacturing defects / satisfactory performance from the date of completion / hading over which is later on a non judicial stamp paper of Rs. 50/- only

- nothing extra shall be paid on account of cartage.

- no T& P shall be issued to the agency by the deptt. For the execution of work.

- The rates quotes by the contractor shall be firm and should be inclusive of all central; / states Govt. taxes duties and levies etc.

- Connectors to be used any where in the installations shall be of porcelain type.

- The contractor would have to make his own arrangement for cartage and transportation of the materials and nothing extra would be payable on this account.

- Fly ash bricks shall be used in the work wherever reqd.

- Earthing work i. e. embedding of earth electrode and testing of installations shall be carried out in the presence of the Asstt. Engineer (E)

The following makes of the materials are acceptable.

| 1. | Steel tubular pole | 410-SP-28 |
| --- | --- | --- |
| 2. | Flood light luminare | M/S Philips, M/s crompton Greaves, M/s Bajaj Electrical |
| 3. | PVC sheathed XLPE /AL armoured cable IS-7098 : | Asian /Unistar Ecko ,Nicco sky tone |
| 4. | MBC: (10KA 240/415V): | M/S MDS / Standard, Action L&T /Indo copp. |
| 5. | GI pipe : IS-1239: | M/s Jindal (Hissar), surya, TATA |
| 6. | PVC insulated copper wire : IS-694- | M/s sky tone National ECKO, Havell’s |
| 7. | Paint :i) Enamel, Aluminium ii) poly atherene: MRE |  |