DELHI DEVELOPMENT AUTHORITY

OFFICE OF EXECUTIVE ENGINEER (E)

ELECT.DIVISION No.1, SHAKARPUR DELHI-92

TENDER NOTICE

The Executive Engineer, Electrical Division-I, DDA on behalf of Delhi Development Authority reinvite online item rate  tenders from approved and eligible contractors of DDA, CPWD and those of appropriate list of M.E.S., BSNL, Railway the following for the following work’s:-

| 1. | NIT No. | : | 87 /EE/ELD-I/DDA/2012-13 |
| --- | --- | --- | --- |
| 2. | Name of work & location | : | M/O Various scheme in East Zone under NA-II. ( SH:-ARMO street light, clear water p/set & sub. p/set at LSC automobile service centre and training centre at Gazipur |
| 3. | Estimated Cost put of Tender (in Rs.) | : | Rs. 4,12,332.00 |
| 4. | Earnest Money (in Rs.) | : | Rs. 8,247.00 |
| 5. | Period of Completion | : | Twelve Months |
| 6. | Last date & Time for submission of Tender | : | 13.05.2013 upto 3.00 PM |
| 7. | Period during which EMD, cost of tender document E-tender, processing fee and other documents shall be submitted | : | 14 .05.2013 upto 3.00 PM |
| 8. | Time & Date of opening of Tender | : | 16.05.2013 upto 3.30 PM |

-2-

- The tender document consisting of plans, specification, the schedule of quantities of various type of items to be executed and the set of terms and condition of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org. in free of cost.

- The enlistment of the contractors should be valid on the last date of submission of tenders. In case only the last date of submission of tender is extended, the enlistment of contractors should be valid on the original date of submission of tenders.

- Those contractors not registered on the website mentioned above, are required to get registered beforehand. The intending bidder must have valid class-II digital signature to submit the bid.

- Earnest money and cost of tender shall be deposited separately through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ) having account No. 90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-110092 branch (IFSC.SYNB0009050 (CBS) code.

A Part of earnest money is acceptable in the form of bank guarantee also. Earnest Money upto Rs.20.00 lacs will have to be deposited through RTGS/NEFT mode. If the amount of E.M is more than Rs.20.00 lacs then the amount of EM beyond Rs.20.00 Lacs can be deposited in the form of Bank Guarantee also such Bank Guarantee is to be scanned and uploaded to the E-tendering website within the period of tender submission.

- Cost of Tender Document Rs…525/-…

- E-Tendering Process Fee Rs.562/-(To be deposit through E-mode of in Favour of M/s ITI Ltd. Payable at Delhi)

The unique transaction reference of RTGS/NEFT against EMD Cost of Tender Document and Bank Guarantee shall be placed in single sealed envelope superscripted as “Earnest money Cost of Tender Document” with name of work and due date of opening of the bid mentioned thereon and will submit to tender opening Authority by  14.05.2013

-3-

Copy of Enlistment order and certificate of work experience as required shall be scanned and uploaded  to the E-tendering website within the period of tender submission and certified copy of each shall be deposited in a separate envelop marked as “other documents”

Both the envelopes shall be placed in another envelope with due mention of Name of work, date & time of opening of tenders and to be submitted in the office of Executive Engineer during the period mentioned above

5)  	 Online tender document submitted by intending bidders shall be opened only of those bidders, whose Earnest Money deposit, cost of tender document and E-Tender processing fee and other documents placed in the envelope are found in order.

6)	 List of Documents to be scanned and uploaded within the period of  tender submission:

i)	Documents  of earnest money deposited through RTGS/NEFT mode.

ii)	Documents of tender cost deposited through RTGS/NEFT mode

iii)	 E-tendering processing fee deposited through ‘E’ mode in favour of ITI.

iv)	Enlistment order of the contractor.

7)	Certificate of  Registration for Sale Tax/Vat and Service Tax and   acknowledgement of upto date filed return .

EXECUTIVEENGINEER(E)

ELECTRICAL DIVISIO NO.1

DDA

-4-

F.No.ELD- I/13(37) A/C’s/DDA/789                                                                                          Date:-  07.05.2013

Copy to:-

- Chief Engineer (E) DDA

- AO (CAU) EZ, DDA

- AO works-III/DDA

- S.E.(E) Circle-3/DDA

- EE/Elect.Divn.-2 to 12/DDA

- FO to CE(E)/DDA

- AE (P) Elect. Divn-I/DDA

- Head Clerk/Electrical Division No-I/DDA

- A Cashier/Electrical Division No-I/DDA

- Notice Board

- DDA web site i.e. ddatender@dda.org.in

- Agreement copy

- The association Elect, Contractor (Regd.) Chamber No. 103, Laxmi Complex, B-6 Subash Chowk, Laxmi Nagar, Delhi-110092.

- DDA Contractor Association (Regd.) E-18, Vikas Kuteer, New Delhi.

- DDA Builders Associations (Regd.), C-29 Panchsheel Enclave, Delhi.

- Elect. Engg. & Contractors Association 2362 Maharaja Complex Main Road Patel Nagar, Dlehi-18

- Trans Yamuna DDA Contractor Association (Regd,) 11-12 Vir Savarkar Marg (Budh Bazar) Gandhi Nagar, Delhi-31.

- Delhi Contractor and Builders Association (Regd.) H No, 5503 Choudhary Prem Raj Bhavan, New Chandrawal Ch, Bhim Singh, Delhi-07.

- Delhi Contractor Welfare Association (Regd.) Kali Masjid, Delhi.

- The Director (System) DDA Vikas Sadan, New Delhi.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

SCHEDULE OF WORK

Name of work :- M/o various scheme in East Zone under NA-II

(SH :- ARMO street light, clear water pump set and sub p/set at LSC automobile service centre and training centre at Gazipur)

| S.No | Description of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Running operation and maintenance of submersible set, clear water pump set and street lighting as per inventory and terms and conditions attached. | 12 |  | p/month |  |
| 2. | Supplying and replacement of the following items i/c testing etc. complete as required . |  |  |  |  |
| a) | HPSV Lamp 150 watt. | 7 |  | Each |  |
| b) | Electronic iginator suitable for 150 watt. | 7 |  | Each |  |
| c) | Copper wound choke/ ballast 150 watt. | 7 |  | Each |  |

ADDITIONAL SPECIFICATION & CONDITION

- The work Comprises of running and operation of clear water pump sets, submersible pump set, E.I  and fans , as per the inventory attached.

- The contractor shall depute the following staff under  the contract :-

- Operator (E & M) -3 Nos.,  one in each shift i.e. from 6.00 AM to 2.00 PM and from 2.00 PM to 10.00 PM and 10.00 PM  to 6.00 AM.

- Khallasi – 1 No. shall attend the Sitel alongwith  wireman once in a fort night and as and when reqd.

- Wireman shall attend the site of work between 9.00 AM to 5.00 PM at least once in a fort night  and as  and when required.

- The contractor shall employ trained and competent staff to the satisfaction of Engineer-in-charge having two years experience on operation of pump .

- The contractor shall supply the list of staff along with experience certificate  to be engaged on the installation  within 7 days of award of work. Engineer-in-charge shall have the right  to reject any staff employed by the contractor.

- The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth , name of the agency with address and telephone no.,  site for which employed  and period of validity. A copy of the identity cards shall be given to the Engineer-in-charge within  15 days of award of work.

- The contractor shall employ staff throughout the period of contract including Saturdays and Sundays, Gazetted holidays and national holidays.

- Following records are to be kept at site work. These records have to be returned back to the department after completion of work :-

- Printed log book for recording operation i.e C/w p/set , sub. p/set etc.

- Attendance register for staff deployed .

- Complaint / inspection register .

Note :- the contractor shall get the register authenticated from Engineer-in-Charge before use at site.

- The following minor maintenance including preventive maintenance shall be carried out by the contractor . The details of work carried out shall be recorded in the maintenance register :-

- Servicing and greasing of pumps/motors once in 3 months .

- Replacement of rubber packing of valves and worn out nuts and bolt etc. as when required.

- Replacement of gland dori as and when required.

- Replacement of HRC fuses as and when required.

- Adjustment, alignment /tightening of nuts and bolts as when required.

- Replacement of burnt out thimbles, wire terminals, push buttons etc.

- Daily cleaning of equipment / pump house & control room etc. will be responsibility of the agency.

Note :- The material required for carrying out above jobs shall be supplied by the contractor within quoted rates.

- The maintenance of internal elect. installation i/c street lighting shall be carried out within the quoted rates except item no.2 of schedule of work.

- Co- ordination and follow up action with electric supply agency shall be done by the contractor in case of failure/fault in supply / fluctuation in voltage .

- The contractor shall intimate the Engineer-in-charge about the major breakdown or failure of electric supply in time.

- Watch & ward shall be responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor.

- The payment to the contractor shall be made bi- monthly.

- Proper handing / taking over of all the E & M installations shall be carried out by JE(E) in charge of the work.

- The Engineer-in-charge, if so desire, terminate the contract the contract at any time after giving 15 days notice.

- if any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered from the contractor’s bill.

- All allied accessories / installations shall kept in working order and in case any damages / loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages/ loss at his own cost. In case the contractor fails to rectify the damages /loss within reasonable time, the same shall be got rectified/ replaced by the department at the risk and cost of the contractor.

- The contractor shall keep all the necessary spares and T & P at site required for operation and maintenance to be carried under the contract.

- In case of any disobedience or misbehavior by the operational staff of the contractor, The Engineer-in-charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

- The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies and rebats in dismantled material used at site.

- Pumping installation shall be painted (excluding control panel) once during the contract period.

- Any injury to the operational staff, in case of any mishappening during duty hours will be the liability of contractor.

FOR  STREET  LIGHTING

- The work comprises of operation and maintenance of lighting as per the inventory attached .

- Scope of work is as under :

- To keep all lighting points & all allied installations in working order.

- To keep all lighting functional during the timings fixed by the Engineer-in-charge.

- Lighting should be switched ON/OFF at appropriate time fixed by the department.

- 90% of the lighting should remain in working order & functional throughout the period of contract failing which proportionate recovery shall be made from the contractor’s bill.

- No Lighting points should remain out of order for more than three days. Beyond three days, a recovery of Rs. 50/- per point, per day, shall be made from the contractor’s bill.

- For laying of cable in pacca portion & removing of existing damaged/ defective cable, payment will be made as per item of schedule of work and no extra payment shall be made on this account.

- The following minor maintenance i/c preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the register.

- Supplying & replacement of kit kats and MCBs as & when required.

- Supplying & replacement of thimbles & ferrules as & when required.

- Supplying & replacement of copper wire of size 2.5 sq. m as & when required.

- Supplying & replacement of HRC fuses as & when required.

- Cleaning of globes of light fittings as & when required.

- The contractor shall also be responsible for removal of unauthorized hoardings, banners, if any, on the poles during the contract period for which the Engineer-in-charge/ authorized representative shall render their assistance, if required.

- Testing of earth continuity and earth electrodes shall be carried out once in a year by the contract in the presence of authorized representative of the Engineer-in-charge .

- The contractor shall take all safely measures at site during maintenance of the installations.

- All electric connections  shall be checked at least once in a month & set right, if required.

- Painting of poles shall be done by using brush or by spray painting.

- If at any stage, the timer switch provided in the feeder pillar does not function, the contractor shall make immediate arrangement for ON/OFF operation manually till the timer switch is got repaired /replaced , nothing extra shall be paid on this account.

- In case of any damages /loss is done to the installations during the contract period, the contractor shall have to make good the damages /loss at his own cost except the damages to the installations by accident. In case the contractor fails to rectify the damages/ Loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of contractor.

- Items at S. No. 2 shall be executed as & when required & these shall be executed in the presence of authorized representative of the engineer-in-charge.

- The contractor shall fill up the log sheet attached daily and submit to concerned JE(E) in charge of the site.

- The following makes of the materials are acceptable :

- Ballast 			As per fitment of manufacturer of existing luminaire.

- Electronic ballast 		Philips/ Bajaj / Crompton / Surya.

For FTL.

- MCB’s 			MDS/ Standard / Action / L & T / Indokopp.

- Copper Wire 		National / Ecko/ Havells / skytone.

- Enamel Paint 		Berger/ Nerolac /Asian / Dulux.

- HPSV/HPMV/Metal

Halide lamp.		Philips /OSRAM/Crompton/ Surya.

- Ignitor 			As per fitment of manufacturer of existing luminaire.

- Fluorescent Tube light	Philips /Bajaj / Crompton/ Surya.

- The contractor shall maintenance the street lighting luminaries with wheel ladder / motorized ladder only.

- The contractor shall maintain the street lighting luminaries with wheel ladder /motorized ladder only.

INVENTORY

- PUMP HOUSE

- 4 HP Crompton make submersible pump installed with 80mm

Dia GI pipe accessories (3 stage)						:	1 Set.

- CI NRV									:	1 No.

- CI sluice valve								:	1 No.

- Pressure gauge 								:	1 No.

- Main connection from panel connected with 4 x 25sq.mm

Armoured cable 								:	1 Lot

- Earthing set								:	2 Set

- Tube light (1 x 40 watt) fitting 						:	2 Nos.

- Bulb holder with bulb							:	2 Nos.

- Cubical type panel along with all accessories 				:	1 Set

- STREET LIGHTING

- MS tubular poles 6 mtrs. Height with din bar & MCB complete 	:	22 Nos.

- 150 watt HPSV (SON  T) street light limunaire (complete )

Installed on existing 6 mtr. MS pole.					:	22 Nos.

- Cable of size 2 x 10sq.mm armoured cable laid for connection

Pole to pole cable in underground in DWC pipe 				:	1 Lot

- Main connection from BSES panel connected with 4 x 25 sq.mm

Armoured cable.								:	1 Lot

- Cubical type panel along  with all accessories with BSES 3 phase

Energy meter.								:	2 Set.

- Earthing set								 :	2 Nos.

- TOILET BLOCK

Ladies & Gents Toilet

- 1 x 40 watt tube light fitting 						:	5 Nos.

- Bulb Holder with bulb						:	4 Nos.

- BOOSTER PUMP PART-A

- 15 HP centrifugal pump set						:	3 Nos.

- 1 Hp self priming dewatering mono block pump set			:	1 Set

- Control panel (main LT Panel)						:	3 Nos.

- 63 Amp. TP & N 							:	3 Nos.

- 40 Amp. TP								:	1 No.

- 20 Amp. TP & N							:	1 No.

- 16 Amp. TP, MCB							: 	1 No.

- 16 Amp. DP MCB							:	1 No.

- Shunt capacitor 							:	1 No.

- 20 Amp. SP MCB							:	3 Nos.

- Star Delta starter LT/LK						:	5 Nos.

- Single phase preventer						:	3 Nos.

- Volmeter (0-500V)							:	1 No.

- Ampere meter (0-60 A)

- Indicating lamp set							:	1 Set

- CT meter box with energy meter 					:	1 Set

- Details of valve

- 80 mm sluice valve						:	2 Nos.

- 100 mm sluice valve 						:	6 Nos.

- 80 mm NRV							:	1 No.

- 100 mm NRV							:	3 Nos.

- Pressure Gauge							:	3 Nos.

- SUBMERSIBLE PUMP SET (PART-B)

- 7.5 HP submersible pump set						:	1 No.

- Control panel

- 100 Amp. TP & N 							:	1 No.

- Star Delta Starter 							:	2 Nos.

- 32 Amp. TP switch 							:	2 Nos.

- 40 Amp/ TP isolator							:	1 No.

- 10 Amp. SP N & MCB						:	1 No.

- Shunt Capacitor 							:	1 No.

- Ammeter								:	1 No.

- Volmeter 								:	1 No.

- PART-C

- Water level Indicator							:	1 Set

- PART – D

- External / Internal Electrical Installation

- 1 x 40 watt tube fitting 						:	8 Nos.

- 500 watt halogen fitting						:	2 Nos.

- Bulb holder with 100 watt lamp					:	5 Nos.

- 1200 mm ceiling fan						:	1 No.

- PART- E

- Fire Buckets								:	3 Nos.

- Fire  Extinguisher							:	1 No.