DELHI DEVELOPMENT AUTHORITY

OFFICE OF THE EXECUTIVE ENGINEER

ELECTRICAL DIVISION No.1 SEED BED PARK

SCHOOL BLOCK SHAKARPUR DELHI-92

Email ID :- eeeld01dda@gmail.com

Ph- 011-22485735, 9999396339

Notice Inviting Tender (For General Works)

The Executive Engineer(E), Elect. Division,NO-1  on behalf of Delhi Development Authority invites online Item rate tenders from approved and eligible contractors of DDA, CPWD and those of enlisted contractors of appropriate class of M.E.S., BSNL, Railway dealing with E/M works  for  the following work.

| NIT No. | : | 02/EE/ELD-1/DDA/2013-14 |
| --- | --- | --- |
| Name of Work | : | D/o Parks & Green for providing lighting under East Zone. # (SH: Providing path & gate lights in the park under HD-IX (part-II ) |
| Estimated Cost put to tender | : | Rs. 97,21,570/- |
| Earnest Money | : | Rs. 1,94,431 |
| Period of Completion | : | 3 months |
| Date of Commencement of e-tender | : | 13.05.2013 |
| Late date & time of requisition of application of e-tender | : | 20.05.2013 at 3.00 PM |
| Late date & time for scanning & uploading of EMD, Cost of Tender Document , E-Tender processing Fee & other Documents | : | 20.05.2013 at 3.00 PM |
| Late date & time for submission of certified hard copies of EMD, Cost of Tender Document , E-Tender processing Fee & other Documents to Executive Engineer | : | 21.05.2013 at 3.00 PM |
| Last date & time for submission of e-tender | : | 20.05.2013 at 3.00 PM |
| Time & date of Opening of tender. | : | 23.05.2013 at 3.30 PM |

Pre-Bid Conference shall be held in the chamber of SE(E)-3 / DDA 19th floor , Vikas Minar , IP Estate New Delhi -110002 at 3.00 PM on 16.05.2013 to clear the doubts of intending tenderes.

1.	The tender document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org.in free of cost.

2	The enlistment of the contractors should be valid on the last date of submission of tenders. In case only the last date of submission of tender is extended, the enlistment of contractor should be valid on the original date of submission of tenders.

3	Those contractors not registered on the website mentioned above, are required to get registered beforehand. The intending bidder must have valid class-II  digital signature to submit the bid.

4	Earnest money and cost of tender shall be deposited separately through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ), DDA having account No. 90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-110092 branch (IFSC.SYNB0009050 (CBS) code. The bidder will use one UTR for one work only. In case it is found that he has used one UTR number for different tenders, all the tenders submitted by him will be rejected and he will be debarred from further tendering in DDA in future.

The unique transaction reference of RTGS / NEFT shall have to be uploaded by the tenderer  in the e-tendering system by the prescribed date. The Executive Engineer concerned will get tender cost/earnest money verified from CAU based on the uni-                                                                                                                                                                                                                                                        que transaction reference number against each RTGS / NEFT payment before the tenders are opened.

A part of earnest money is acceptable in the form of bank guarantee also.   Earnest Money up to  Rs.20.00 lacs,  will have to be deposited through RTGS//NEFT mode. If the amount of E.M. is more than Rs.20.00 lacs then the amount of E.M. beyond Rs.20.00 lacs can be deposited in the form of Bank Guarantee  also. Such Bank Guarantee is to be scanned and uploaded to the e-tendering website within the period of tender submission.

5	Earnest Money and cost of tender have to be deposited through separate transactions.

i)	Cost of Tender Document: Rs. 1000/- + 5% VAT (to be deposited through RTGS/NEFT in the account of the Sr. A.O.(C.A.U.) East Zone ).

ii)	e-Tender Processing Fee : As Applicable (to be deposited through E/Mode of ITI Limited) in favour of  M/s ITI Limited payable at Delhi).

6	The unique transaction reference of RTGS/NEFT against EMD , Cost of Tender Document and bank  Guarantee shall be placed in single sealed envelope superscripted as “ "Earnest Money, Cost of Tender Document and Cost of Tender Processing Fee" with name of work and due date of opening of the bid also mentioned thereon.

Copy of Enlistment Order and other documents as specified in the press notice shall be scanned and uploaded to the e-tendering website within the period of tender submission and certified copy of each shall be deposited in a separate envelope marked as "Other Documents".

Both the envelopes shall be placed in another envelope with due mention of Name of work, date & time of opening of tenders and to be submitted in the office of Executive Engineer during the period mentioned above.

7		Online tender documents submitted by intending bidders shall be opened only of those bidders, whose proof of submission of Earnest Money Deposit, Cost of Tender Document and e-Tender Processing Fee and other documents placed in one envelope ( containing envelopes of (Earnest Money, Cost of Tender Document and Cost of Tender Processing Fee & Other Documents ) have been submitted to EE and are found in order.

8	       List of Documents to be “scanned and uploaded” within the period of tender  submission:

- The unique transaction reference of RTGS/NEFT towards (a ) EMD,  (b) Cost of Tender document and (c) cost of  processing fee.

- Enlistment order of the contractor.

- Valid Certificate of Registration for Sales Tax /Vat and service Tax.

- The site for work is  available .

- Intending Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract document.  Submission of a tender by tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc will be issued to him by the government and local conditions and other factors having a bearing on the execution of the work.

- The competent authority on behalf of DDA does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all the tenders received without assigning any reason. All tenders in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected.

- The tender for the work shall remain open for acceptance for a period of ninety (90) days from the date of opening of financial bid . If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of tender which are not acceptable to the department, then the DDA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the re tendering process of the work.

- In case any discrepancy is noticed between the document as uploaded at the time of submission of the bid online and hard copies as submitted physically in the office of Executive Engineer, then the bid submitted shall become invalid and the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.  Further the tenderer shall not be allowed to participate in the retendering process of the work.

- Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

- The competent authority on behalf of DDA reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

No.F. ELD- I/13(37) A/C’s/DDA/826                                                           	   Date:-  13.05.2013

Copy to:-

- S.E.(E) Circle-3/DDA.

- FO to CE(E)/DDA

- EE/Elect.Divn.-2 to 12/DDA

- Sr.AO (CAU) EZ, DDA

- All AE ‘s /Elect. Divn-I/DDA

- Head Clerk/Electrical Division No-I/DDA

- AAO /Electrical Division No-I/DDA

- Notice Board/ELD-1/DDA.

- DDA web site i.e. ddatender@dda.org.in

- Agreement copy

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISION NO.1

DDA

GENERAL GUIDELINES

1.     	This standard document is applicable to Item rate tenders.

2	NIT Form, Schedules A to F, special conditions/specifications and drawings only will be uploaded on website. The standard document will not be uploaded along with the Tender Documents but the same shall form part of the agreement to be drawn and signed by both parties after acceptance of tender.

3.  	All blanks are confined to Notice Inviting Tender (NIT) Form and Schedules A to F.

4     	Authority approving the Notice Inviting Tenders (NIT) shall fill up all the blanks in NIT Form and in Schedules B to F before issue.

5     	The intending bidders will quote their rates in Schedule A.

6.    	 The proforma for registers and Schedules A to F are only for information and guidance. These are not to be filled in the Standard Form. The Schedules with all blanks, duly filled, shall be separately uploaded on website.

7.       Base price of all materials covered under Clause 10 CA is to be mentioned at the time of approval of NIT.

Note: 	This page shall not form part of the tender document and not to be uploaded on website.

NOTICE INVITING TENDER For General Works

(E – TENDERING MODE)

Item rate tenders are invited on behalf of Delhi Development Authority from approved and eligible contractors of DDA & CPWD and those of enlisted contractors of appropriate class of MES, BSNL, Railway (strike out as the case may be) dealing with E/M works for the following work :-

| Name of Work | : | # D/O Parks & Greens for providing lighting under East Zone. |
| --- | --- | --- |
| SH | : | SH: Providing path & gate lights in the park under HD-IX(Pt.-2) |

1	The enlistment of the contractors should be valid on the last date of submission of tenders. In case the last date of submission of tender is extended, the enlistment of contractor should be valid on the original date of submission of tenders.

2	 The work is estimated to cost Rs. 97,21,570.00 This estimate, however, is given merely as rough guide.

3      	Intending tenderer is eligible to submit the bid provided he has definite proof from the

appropriate authority, which shall be to the satisfaction of the competent authority.

4	Agreement shall be drawn with successful tenderer on prescribed form attached. Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

5	The time allowed for carrying out the work will be Three months from the date of  start as defined in Schedule F or from the first date of handing over the site, Which ever is later, in accordance with the phasing, if any, indicated in the tender documents.

6	The site for the work is available or as specified in the additional conditions attached.

7	The tender document consisting of specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents except standard general conditions of contract form can be seen from website www.tenderwizard.com/DDA or www.dda.org.in.

8 	Earnest money and cost of tender shall be deposited separately through RTGS/NEFT mode only in the Bank Account of Sr. A.O. CAU (EZ), DDA having account No. 90502010071527 with Syndicate Bank E-355 opp. Laxmi Nagar Distt. Centre Delhi-110092 branch (IFSC.SYNB0009050 (CBS) code. The bidder will use one UTR for one work only. In case it is found that he has used one UTR number for different tenders, all the tenders submitted by him will be rejected and he will be debarred from further tendering in DDA in future.

The unique transaction reference of RTGS / NEFT shall have to be uploaded by the tenderer  in the e-tendering system by the prescribed date. The Executive Engineer concerned will get tender cost/earnest money verified from CAU based on the uni-                                                                                                                                                                                                                                                        que transaction reference number against each RTGS / NEFT payment before the tenders are opened.

A part of earnest money is acceptable in the form of bank guarantee also.   Earnest Money up to  Rs.20.00  lacs,  will have to be deposited through RTGS//NEFT mode. If the amount of E.M. is more than Rs.20.00 lacs then the amount of E.M. beyond Rs.20.00 lacs can be deposited in the form of Bank Guarantee  also. Such Bank Guarantee is to be scanned and uploaded to the e-tendering website within the period of tender submission.

Earnest Money and cost of tender have to be deposited through separate transactions.

i)	Cost of Tender Document: Rs. 1000/- + 5% VAT (to be deposited through RTGS/NEFT in the account of the Sr. A.O.(C.A.U.) of concerned Zone).

ii)	e-Tender Processing Fee As Applicable (to be deposited through E/Mode of ITI Limited) in favour of  M/s ITI Limited payable at Delhi).

9.   The unique transaction reference of RTGS/NEFT against EMD Cost of Tender Document and bank  Guarantee shall be placed in single sealed envelope superscripted as “

"Earnest Money, Cost of Tender Document and Cost of Tender Processing Fee" with name of work and due date of opening of the bid also mentioned thereon.

10	Copy of Enlistment Order and other documents as specified in the press notice shall be scanned and uploaded to the e-tendering website within the period of tender submission and certified copy of each shall be deposited in a separate envelope marked as "Other Documents".

11	Both the envelopes shall be placed in another envelope with due mention of Name of work, date & time of opening of tenders and to be submitted in the office of Executive Engineer during the period mentioned above.

12	Online tender documents submitted by intending bidders shall be opened only of those bidders, whose Earnest Money Deposit, Cost of Tender Document and e-Tender Processing Fee and other documents placed in the envelope are found in order.

The bid submitted shall be opened at 03:30 pm on ____*______ .

13	The contractor, whose tender is accepted, will be required to furnish performance guarantee of 5 % (Five percent) of the tendered amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or Deposit at call receipt of any scheduled bank/Banker’s Cheque of any scheduled bank/Demand draft of any scheduled bank/Pay order of any scheduled bank (in case guarantee amount is less than Rs. 1, 00,000) or Government securities or fixed Deposit Receipts or Guarantee Bonds of any Scheduled bank or the State Bank of India in accordance with the prescribed form.

14	Intending Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract document.  Submission of a tender by tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc will be issued to him by the government and local conditions and other factors having a bearing on the execution of the work.

15	The competent authority on behalf of DDA does not bind itself to accept the lowest or any other tender and reserves to itself the authority to reject any or all the tenders received without assigning any reason. All tenders in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer shall be summarily rejected

16   	Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection.

17 	The competent authority on behalf of DDA reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

18    	The contractor shall not be permitted to tender for works in the DDA Circle (Division  in case of contractors of Horticulture/Nursery category) responsible for award and execution of contracts in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Superintending Engineer and Junior Engineer (both inclusive).  He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives of any Gazetted officer in DDA or in the Ministry of Urban development. Any breach of this condition by the contractor would render him liable to be removed from approved list of contractors of this department.

19    	No Engineer of Gazetted rank or other Gazetted officer employed in engineering or Administrative duties in an Engineering department of the Government of India is allowed to work as a contractor for a period of one year after his retirement from the Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found anytime to be such a person who had not obtained the permission of the DDA as aforesaid before submission of the tender or engagement in the contractor’s service.

20	The tender for the work shall remain open for acceptance for a period of ninety (90) days from the date of opening of tender/ninety days from the date of opening of financial bid(strike out as the case may be). If any tenderer withdraws his tender before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of tender which are not acceptable to the department, then the DDA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the tenderer shall not be allowed to participate in the re tendering process of the work.

21	This ‘Notice Inviting Tender’ shall form part of the contract document. The successful   tenderer/contractor on acceptance of his tender by the Accepting Authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of :-

a)	The Notice inviting tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

b)	Standard NIT Form 8 or other Standard DDA Form as mentioned.

22	In case any discrepancy is noticed between the document as uploaded at the time of submission of the bid online and hard copies as submitted physically in the office of Executive Engineer, then the bid submitted shall become invalid and the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.  Further the tenderer shall not be allowed to participate in the retendering process of the work.

Item rate tender and Contract Form

(for general works)

| Name of Work | : | D/o Parks & Green for providing lighting under East Zone. |
| --- | --- | --- |
| SH | : | Providing path & gate lights in the park under HD-IX (Part-II) |

- To be submitted through E-Tendering up to 3.00 pm on _____*______ to Executive Engineer, Division No.-1

- To be opened through E-Tendering at 3.30 pm on ______*______by the Executive Engineer, Division No.-1

##### T E N D E R

I/ We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F.  Specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, special condition, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified for the DDA within the time specified in Schedule ‘F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the clauses of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for ninety (90) days from the due date of its opening / Ninety days from the date of opening of financial bid (strike out as the case may be) and not to make any modifications in its terms & conditions.

A sum of Rs. 1,94,431.00 deposited in the account of Sr. A.O.(CAU) is hereby forwarded  in the form of UTR of RTGS/NEFT/bank guarantee beyond 20 lacs issued by a scheduled bank as earnest money.  If  I / we,  fail  to  furnish  the  prescribed   performance   guarantee   within prescribed period, I/We agree that the said DDA or his successors in office shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely.  Further, if I/we fail to commence work as specified, I/we agree that DDA or its successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, up to maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

Further, I/We agree that in case of forfeiture of earnest money or both Earnest Money & Performance Guarantee as aforesaid, I/We shall be debarred for participation in the re tendering process of the work.

I/we hereby declare that I/we shall treat the tender documents drawings and other records connected with the work as secret/ confidential documents and shall not communicate information derived there from to any person other than a person to whom I/we am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

Signature of witness                                                    Signature of contactor

Name:                                                                          Name:

Address:                                                                     Address:

Occupation:

##### A C C E P T A N C E

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the DDA for a sum of Rs.__________*______________ (Rupees ___________*____________________ _________________________________________________________________)

The letters referred to below shall form part of this contract Agreement:

i)

ii)

iii)

For & on behalf of Delhi Development Authority

Signature __________________________

Designation:    Executive Engineer

Division_____*______

GENERAL RULES AND DIRECTIONS

1.	All work proposed for execution by contract will be notified in a form of invitation to tender pasted in public places & signed by the officer inviting tender or by publication in News paper as the case may be.

This form will state the work to be carried out, as well as the date for submitting and opening tenders and the time allowed for carrying out the work, also the amount of earnest money to be deposited along with tender, the Performance Guarantee to be deposited by the successful agency / contractor and the amount of security deposit to be deducted from bills.  Copies of the specifications, designs and drawings and any other documents required in connection with the work signed for the purpose of identification by the officer inviting tender shall also be open for inspection by the contractor at the office of officer inviting tender during office hours.

2.	In the event of the tender being submitted by a firm, it must be signed separately by each partner thereof or in the event of the absence of any partner, it must be signed on his behalf by a person holding a power of attorney authorizing him to do so, such power of attorney to be produced with the tender, and it must disclose that the firm is duly registered under the Indian Partnership Act, 1952.

3.	Receipts for payment made on account of work, when executed by a firm, must also be signed by all the partners, except where contractors are described in their tender as a firm, in which case the receipts must be signed in the name of the firm by one of the partners, or by some other person having due authority to give effectual receipts for the firm.

4.	Any person who submits a tender shall fill up the Schedule of Quantities, stating at what rate he is willing to undertake each item of the work.  Tenders, which propose any alteration in the work specified in the said form of invitation to tender, or in the time allowed for carrying out the work, or which contain any other conditions of any sort, including conditional rebates, will be summarily rejected. No single tender shall include more than one work, but contractors who wish to tender for two or more works shall submit separate tender for each. Tender shall have the name and number of the works which they refer, written on the envelopes.

5.	The officer inviting tender or his duly authorized representatives will open tenders and will enter the amounts of the several tenders in a comparative statement in a suitable form.  In the event of a tender being accepted, a receipt for the earnest money shall be thereupon be given to the contractor who shall thereupon for the purpose of identification of copies of the specifications and other documents mentioned in Rule-1 In the event of a tender being rejected, the earnest money shall thereupon be returned to the contractor remitting the same, without any interest.

6.	The officer inviting tenders shall have the right of rejecting all or any of the tenders and will not be bound to accept the lowest or any other tender.

7.        The receipt of an accountant or clerk for any money paid by the contractor will not be considered as any acknowledgement or payment to the officer inviting tender and the   contractor shall be responsible for seeing that he procures a receipt signed by the   officer inviting tender or a duly authorized Cashier.

8.	The memorandum of work tendered for and the schedule of materials to be supplied by the department and their issue-rates, shall be filled and completed in the office of the officer inviting tender before the tender form is uploaded. If a form is uploaded on website without having been so filled in and incomplete, he shall request the officer to have this done before he completes his tender.

- The tenderers shall sign a declaration under the officials Secret Act 1923, for maintaining secrecy of the tender documents, drawings or other records connected with the work given to them. The unsuccessful tenderer(s) shall return all the drawings given to them.

- In the Item Rate Tenders only rates quoted shall be considered.  Any tender containing percentage below/ above the rates quoted is liable to be rejected.  Rates quoted by the contractor in item rate tender in figures and words shall be accurately filled in so that there is no discrepancy in the rates written in figures and words.  However, if a discrepancy is found, the rates which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct.  If the amount of an item is not worked out by the contractor or it does not correspond with the rates written either in figures or in words, then the rates quoted by the contractor in words shall be taken as correct.  Where the rates quoted by the contractor in figures and in words tally but the amount is not worked out correctly, the rates quoted by the contractor will unless otherwise proved be taken as correct and not the amount.  In event no rate has been quoted for any item(s), leaving space both in figure(s), word(s), and amount blank, it will be presumed that the contractor has included the cost of this/these item(s) in other items and rate for such item(s) will be considered as zero and work will be required to be executed accordingly.

11.	In the case of any tender where unit rate of any item/ items appear unrealistic, such tender will be considered as unbalanced and in case the tenderer is unable to provide satisfactory explanation, such a tender is liable to be disqualified and rejected.

12.	All rates shall be filled in tender form.  The amount for each item should be worked out and requisite totals given.  Special care should be taken to write the rates in figures as well as in words and the amount in figures only, in such a way that interpolation is not possible.  The total amount should be written both in figures and in words.  In case of figures, the word ‘Rs.’ should be written before the figure of rupees and word ‘P’ after the decimal figures, e.g. ‘Rs.2.15 P’ and in case of words, the word, ‘Rupees’ should precede and the word ‘Paise’ should be written at the end.  Unless the rate is in whole rupees and followed by the word ‘only’ it should invariably be up to two decimal places.  While quoting the rate in schedule of quantities, the word ‘only’ should be written closely following the amount and it should not be written in the next line.

13(i) 	The contractor whose tender is accepted will be required to furnish performance guarantee of 5% (five percent) of the tendered amount within the period specified scheduled F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs 10,000/-) or deposit at call received of any scheduled bank/Banker’s cheque of any scheduled bank/ Demand Draft of any scheduled bank/pay order of any scheduled any bank (in case guarantee amount than Rs 1,00,000/-) or  Govt. securities fixed deposit receipts or guarantee bonds of any scheduled bank or the state Bank of India in accordance with the prescribed form.

(ii) 	The contractor whose tender is accepted, will also be required to furnish by way of security Deposit for the fulfillment of his contract, an amount equal to 5% of the   tendered value of work. The security deposit will be collected by deductions from the running bills of the contractor at the rates mentioned above and the earnest money  deposited at the time of the tenders , will be treated as part of the security deposit . The  security deposit will also accepted in cash or in the shape of government securities.   Fixed deposit receipt of a Scheduled bank or State Bank of India will also be accepted  for this purpose provided conformity advice is enclosed.

14.	On acceptance of the tender, the name of the accredited representative(s) of the contractor who would be responsible for taking instructions from the Engineer-in-Charge shall be communicated in writing to the Engineer-in-Charge.

15.	Sales-Tax / VAT (Except Service Tax) Purchase Tax, Turnover Tax or any other tax on material in respect of this contract shall be payable by the Contractor and DDA will not entertain any claim whatsoever in respect of the same. However, in respect of service tax, same shall be paid by the contractor to the concerned department on demand and it will be reimbursed to him by the Engineer-in-Charge after satisfying that it has been actually and genuinely paid by the contractor.

16.	The contractor shall give a list of both gazetted and non-gazetted DDA employees related to him.

- The tender for the work shall not be witnessed by a contractor or contractors who himself/ themselves have/ have tendered or who may has/ have tendered for the same work.  Failure to observe this condition would render, tenders of the contractors tendering, as well as witnessing the tender, liable to summary rejection.

- The contractor shall comply with the provisions of the Apprentices Act 1961, and the rules and orders issued there under from time to time.  If he fails to do so, his failure will be a breach of the contract and the DDA may in his discretion, without prejudice to any other right or remedy available in law, cancel the contract.  The contractor shall also be liable for any pecuniary liability arising on account of any violation by him of the provisions of the said Act.

- Security Deposit of the succesful bidder shall be retained for a period of one year after the date of completion to cover the warrantee period.

- Rectification of defects and failure during warantee period of one year shall be the responsibility of the tenderer. Complaint / intimation given to the tenderer about failure of equipment or non  functioning of the installation shall be attended within 24 hours of registration.

Important Instructions for Executive Engineers for E-Tendering

1.   	All the Executive Engineers in Divisions, AE(P) in Divisions and Divisional Accountant shall have to obtain digital signature from authorized certifying authorities viz. NIC, MTNL, e-Mudhra, TCS, Safescrypt, GNFC etc.

2.   	Any intending bidder has to get himself registered with the ITI Limited through their website    www.tenderwizard.com/DDA before submission of bid.

3.   	All the documents such as NIT including Information and Instructions for contractors, all the conditions of NIT, Schedule of Quantities, Drawings and other documents shall be uploaded at onetime.

4.   	The Tender Document as uploaded can be viewed by intending bidder free of cost. But the bid can only be submitted after uploading the mandatory scanned documents such as RTGS / NEFT receipt / Bank Guarantee of any Scheduled Bank towards cost of tender document, and EMD in favour of respective A.O.(CAU) of Zone and Bank Guarantee in favour of respective Executive Engineer, if any, and Processing Fee in favour of ITI Limited.

5.   	NIT approving authority has to categorically specify the period during which EMD; cost of tender document, e-tender processing fee and other documents shall be submitted in the office of Executive Engineer by the intending bidder after submission of his/their bid. The documents mentioned above should be submitted up to the time and date as mentioned in the NIT for which time of 1 working day may be allowed after last time and date of submission of bid for the purpose of verification of documents and to determine eligibility of contractors before opening of bids. This period may be increased by NIT approving authority as per requirement.

6.   	NIT approving authority has also to specify the time and date of opening of tender. Generally a time of 3 working days after last date and time of submission of bid would be enough to receive and verify the documents submitted by the intending bidder. However NIT approving authority may vary this period of 3 days as per requirement.

7.   	The list of documents to be scanned and uploaded by the intending bidder shall be clearly mentioned under Information and Instructions for contractors.

8.   	The sample Press Notice to be published in newspapers and the Information and Instructions for contractors to be attached in NIT are annexed separately. The Information and Instructions for contractors to be attached in NIT may be modified suitably as per requirement if found necessary by the NIT approving authority.

9.   	Executive Engineer will send soft copy of the upcoming tender regularly on respective E-mail ID Zone-wise for processing as per details given below:

ddasouthzone@gmail.com

ddaeastzone@gmail.com

ddanorthzone@gmail.com

ddarohinizone@gmail.com

ddadwarkazone@gmail.com

ddahortzone@gmail.com

10. 	Time limit for publicity of tenders shall be as per the provisions of Para 17.5 of CPWD Works Manual 2010.

11. 	To draw agreement EE shall download the tender document as uploaded with duly filled schedule of quantities. Contractor's negotiation letter and other relevant letters written by the contractor such as extending the validity of tenders etc. and Standard GCC for DDA works - 2010 (Form 7 or Form 8) or other Standard GCC on Form 9,10,11,11A and 12 etc. as the case may be, shall form part of agreement.

12 	Hard copies of documents as submitted physically by the contractor shall be compared with the documents uploaded at the time of submission of bid. In case of any discrepancy noticed, the tender shall become invalid and further necessary action to be taken as per the provisions contained in e-Tendering NIT.

13. 	NIT approving authority may issue any specific instructions to the Executive Engineer as per requirement.

.

Instructions to the Executive Engineer by NIT approving authority forming part of NIT & not to be posted on website

The Executive Engineer shall attend to the following points before uploading the tender document on website.

(i)	Any discrepancy in the approved NIT, if noticed, shall immediately be brought to the notice of the Officer preparing NIT for necessary decision of the officer approving    the NIT.

(ii)	All blanks marked as ‘*’ shall be filled in by the Executive Engineer/Deputy Director (Horticulture) before uploading the tender on the website.

(iii)	The tender documents should properly be page numbered by the Executive Engineer/Deputy Director (Horticulture) before uploading the tender on website.

(iv)	The Executive Engineer/Deputy Director (Horticulture) to ensure that tender document is clearly readable.

(v)	The references to Standing Order numbers indicated in the correction slips and cross- references shall not appear in the tender uploaded on the website.

(vi)	The drawings relating to work shall be made available to the contractors for their study and understanding the scope of work covered by this tender.

- Executive Engineer/ Deputy Director (Horticulture) shall delete clause 31A regarding water supply, if so required.

- Requirement of registration and other eligibility criteria shall be suitably incorporated in the Press Notice by the Executive Engineer/Deputy Director (Horticulture) / NIT approving authority before issue.

- All codal provisions may be attended to before call of tenders.

INFORMATION AND INSTRUCTIONS FOR CONTRACTORS FOR                                     e- TENDERING FORMING PART OF NIT AND TO BE POSTED ON WEBSITE

- In case of e-tendering the entire NIT along with all necessary documents is to be uploaded which can be viewed by the intending bidder free of cost. Therefore, the existing form of Press Notice has been modified since it is no more to be published in news papers and named as information and instructions for Contractors which will form part of NIT and to be uploaded on ITI website.

- Draft information and instructions for Contractors for e-tendering inviting open tenders is enclosed as Annexure - I. ( for general work)

- The Draft information and instructions to Contractors may be modified suitably by NIT approving authority as per requirement.

ADDITIONAL TERMS AND CONDITIONS

General Works

- GENERAL

1.1	The contractor must get acquainted with the proposed site for the work and study specifications, conditions and drawings carefully. The work shall be executed in close coordination with the progress of building work.

1.2	 The work, as indicated in the schedule of work with specification attached herewith including any modification/addition/alteration ordered subsequently, shall be carried out as per the specification indicated below and in the following order of preference.

- Indian Electricity rules 2005 amended up to date.

- Technical specifications attached.

- Relevant BIS standards as modified up to date.

- General specifications for Electrical works Part I & II.

1.3	 In case of any conflict - the schedule of work, additional terms and conditions, standard specification & clauses of agreement shall prevail in the preceding order

1.4	 All equipments shall be delivered with (i) manufacturer’s test certificate, (ii) manufacturer’s technical catalogues, and instruction (O&M) manuals.

1.5	 Scaffolding & any other T & P required for execution of work shall be arranged by the tenderers.

1.6	 For item/equipment requiring initial inspection at manufacturer’s works, the contractor will intimate the date of testing of equipments at the manufacturer’s works before dispatch. The successful tenderer shall give sufficient advance notice regarding the dates proposed or such tests to the department’s representatives to facilitate his presence during testing. The Engineer-in-Charge at his discretion may witness such testing. Equipments will be inspected at the Manufacturer/Authorized Dealers premises, before dispatch to the site by the contractor. The department also reserves the right to inspect the fabrication job at factory and the successful tenderer has to make the arrangements for the same.

1.7 	Security Deposit of the succesful bidder shall be retained for a period of one year after the date of completion to cover the warrantee period.

1.8	Rectification of defects and failure during warantee period of one year shall be the responsibility of the tenderer. Complaint / intimation given to the tenderer about failure of equipment or non  functioning of the installation shall be attended within 24 hours of registration.

2.	SCOPE OF WORK

The following shall be deemed to be included within the scope of work.

- All minor building work i/c foundation necessary for installation of equipment, making of opening in walls/floors either RCC or brick masonry and restoring them to original condition and finish.

- Responsibility to ensure safety of materials against pilferage and damage till the installation are handed over to the department.

- WORKS TO BE ARRANGED BY DEPARTMENT

The departments shall be responsible for the following works only and these are excluded from the responsibility of the contractor.

a)	Free power for installation, testing & commissioning of equipments.

b)	Site for installation.

- SUBMISSION AND OPENING  OF TENDERS

4.1	Pre-bid Conference

It is proposed to hold a pre-bid conference with the prospective tenderers to enable them to seek clarification in the technical specification and in tender documents that they may consider necessary for submission of tenders. All clarification sought for will be finalized during the per-bid conference and confirmatory minutes for the pre-bid conference will be circulated among all tenderers who have been issued the tender documents. The date and time of pre-bid conference will be informed to the tenderers at the time of issue of the tenders. It is upto the prospective tenderers to take part in the Pre-bid conference. Non attendance of pre bid conference does not debar the prospective tenderer from participating and submission of tender.

4.2	 The tenderers are advised not to deviate from the technical specifications / item, commercial terms and conditions of NIT like terms of payment, guarantee, inspection, arbitration clause, escalation etc.

5.		INSPECTION BEFORE DISPATCH

All routine tests shall be conducted before dispatch of equipments. No equipment shall be dispatched from the manufacture’s premises without such tests being conducted and test result recorded. These test certificates shall be given along with the supply of equipments. The Engineer In-charge shall, if he so desires inspect and witness the pre-delivery tests. For this purpose, the contractor shall give 15 days advance information Agency shall arrange for inspection by the department. Department shall bear expenses for inspection as far as traveling and boarding/lodging is concerned .However , waiver if any for inspection shall be at the discretion of the department without any cost implication but  TYPE TEST Certificates shall have to be submitted for equipments .

Prior to dispatch, all equipments shall be adequately protected for the whole period of

transit,  storage and erection against corrosion and incidental damages etc. from the effect of

vermin,  sunlight, rain, heat and humid climate.

6. 	    INSURANCE

The contractor shall include storage cum erection including third party insurance right from the storage to commissioning of various equipment. All insurance which the contractor is required to enter into under the contract shall be affected with any authorized general insurance company and the contractor shall produce the policies of insurance.

7. 	REMEDY OF FAILURE TO INSURE

If the contractor fails to effect and keep in force the insurance referred to in the preceding sub-clause the department may effect and keep in force any such insurance and pay such premium as may be necessary for that purpose and from time to time deduct the amount, so paid by the department, from any money due or which may become due to successful tenderer or recover the same as debit from the successful tenderer bill.

8. 		SUPPLY OF MATERIAL

Supply of material shall be phased in such a manner that erection work is not hampered for want of material.

- All tools and tackles required for unloading of equipment and erection at site shall be the responsibility of sub-contractor.

- The acceptable makes of various equipments/components/ accessories have been indicated. The alternative makes are not acceptable. Other than these the materials to be used in the site of works shall be ISI marked, where material bearing ISI marked, are not available, material conforming to ISI shall be used with prior approval of the Engineer In-charge.

- Suitable and open storage accommodation shall be provided by the department free of cost to the agency. However, temporary structure if any required by the contractor for safe and lockable storage of material shall be allowed at his own cost.

- The department will not be liable for any damage, losses and compensation payable at law in respect of or in consequence of any accident or injury to any person.

Schedule of procurement of material/equipment shall be submitted by successful tenderer within 15 days from the date of award of work. Procurement of material shall be as per the approval of Engineer- in-charge.

9. 		QUALITY OF MATERIAL AND WORKMANSHIP

All parts of the equipment shall be of such design, size and material so as to function satisfactorily under all rated conditions of operation. All components of the equipments shall have adequate factor of safety. The work of fabrication and assembly shall conform to sound engineering practice and on the basis of “Fail Safe Design”. The mechanical parts subject to wear and tear shall be easily replaceable type. The construction of the equipments shall be such as to facilitate easy operation, inspection, maintenance and repairs. All connections and contacts shall be designed to minimize risk of accidental short circuits caused by animals, birds and vermin etc. All identical items and their component parts should be completely, interchangeable including spare parts.

10.	INSPECTION AND TESTING AT SITE

i)	The installation shall be subject to necessary inspection during every stage of erection, by the Engineer In-charge or his authorized representative. The successful tenderer shall provide all facilities and assistance for the purpose.

ii)	The completed installation shall be inspected and tested by the Engineer-in-charge in the manner as will be laid down by him, in consultation with the contractor.

iii)	All instruments and facilities necessary for the tests shall be provided by the contractor.

11. 	COMPLETENESS OF TENDER

All fittings, equipments, accessories, hardware, foundation bolts, terminal lugs for electric connections, cable glands and items which are necessary for efficient assembly, shall deemed to have been included in the scope of work. The installation shall be completed in all details even where such details have not been mentioned in these specifications.

12. 	GUARANTEE

All equipments shall be guaranteed for a period of 12 months from the date of acceptance and taking over of the installation by the Department against un-satisfactory performance and/or breakdown due to defective design, material, manufacture, workmanship or installation. The equipment or component or any part thereof so found defective during the guarantee period shall be repaired or replaced free of cost to the satisfaction of the Engineer in-charge. In case it is felt by the department that undue delay is being caused by the contractor in doing this, the same will be got done by the department at the risk and cost of the contractor. The decision of Engineer-in-charge in this regard shall be final.

13. 	COMPLETION PLAN & DATA:

i)	The contractor shall give three copies of completion plans & data as per details below within one month after actual date of completion failing which as amount @ 2.5% of tendered cost subject to maximum of Rs.15,000/- shall be deducted from any amount due to the contractor.

ii)	The contractor shall submit completion certificate as per Appendix –E of the General Specification for Electrical Works Part-1 (Internal) within one month after actual date of completion failing which an amount @ 1% of tendered cost subject to maximum of Rs.10,000/- shall be deducted from any amount due to the contractor

- Security / Safety of installation shall be the responsibility of agency.

- EPF & ESI

EPF &ESI contribution paid to the contract workers shall be reimbursed on actual basis.

TECHNICAL SPECIFICATIONS

1.	FEEDER PILLAR

Working drawing of the feeder Pillars, detailed drawing for foundation of Poles shall be submitted for approval from Engineer in Charge.

- Feeder pillar shall be of floor mounting, free standing cubical type suitable for outdoor installation and shall be dust, vermin and weather proof construction and as per drawing conforming to IP-54.

- This shall be suitable for continuous operation on 415 Volts (Nominal) 3 Phase, 4-Wire, 50Hz.

- The outer enclosure shall be fabricated from CRCA MS. sheet. All load bearing members shall be fabricated from 2 mm CRCA sheet.

- Hinged double door of the same material shall be provided on the front and rear sides, with necessary handles and in built locks with double keys. Neoprene gasket shall be provided for the doors.

- Suitable M.S. top cover with suitable slop, overhang shall be provided for protection against rain/weather etc.

- Detachable cable gland plates shall be provided at the bottom having suitable knock out for compression glands. Adequate space shall be provided below the same for safe bending & termination of cables.

- The enclosure shall be provided with ventilation louvers covered with the wire mesh, lifting hooks, supporting legs, double earth terminals with double nuts & washers.

- The internal arrangement shall be compartmentalized for incoming, outgoing switch gears/bus bars & design shall be such as to permit suitable arrangement for incoming & outgoing cables.

- Provision shall be made for lighting inside the feeder pillar.

- All incoming and outgoing switch gears shall be properly marked, indicating the connected load, cable sizes, and outgoing connections etc as required.

- The feeder pillar shall be provided with a danger notice plate as per CPWD specification for electrical works part-1 (Internal) 2007

- Interconnection of the various mountings on the feeder pillar shall be done using PVC insulated conductor or solid strips with PVC taping / sleeving of appropriate sizes. Termination shall be made such that local heating is avoided.

xiii)	Feeder pillar shall be fabricated from the vender having type test certificate from CPRI for 31MVA short circuit rating.

xiv)	Foundation:	The coarse sand and stone aggregate for pole foundation should be sound quality, containing siliceous material, clean shape free from earth, organic material and slat, Mixture of concrete shall be stiff & such as to produce sound & compact water proof concrete. It should be free from grit & dirt. After installation of pole & fitting gap between base plate and foundation shall be filled in with grouting.

The firm shall have to provide GI foundation bolts with nuts and wasters manufactured from the pole manufacturing company only.

2.	SMC JUNCTION BOX

i)	The junction box shall withstand harsh weather, external hazards and internal hazards, having anti-corrosive, dust proof, rust proof, shock proof, vermin and water proofs, U.V. stabilized and pilfer proof features, resistant to high heat and should not deform by flame.

ii)	Junction Box will comply to requirements as given in enclosed drawing.

iii)	Junction Box should be suitable for outdoor use.

iv)	Junction Box should not melt at high temperature.

v)	Material of construction of junction box shall be THERMOSETTING PLASTIC i.e. Glass Reinforced Polyester Sheet Moulding Compound (SMC) as per IS: 13410-1992 and conforming to the requirements of this specification.

vi)	All M.S. parts should be zinc passivated.

vii)	Hinges Shall be made out Anticorrosive Material.

viii)	Junction Box shall comprise of a moulded base and moulded door.

ix)	Thickness of SMC Door / base will be minimum 2 mm.

x)	The door in closed position should be overlapped on collar of base such as to protect electrical item from ingress of external solid, dust and liquid object.

xi)	All the corners of the junction box should be round and not pointed ones.

xii)	Mounting arrangement in side box has to be made as per requirement of electrical item.

- Guaranteed technical particular of junction box

| 1. | Material | Thermosetting Plastic |
| --- | --- | --- |
| 2. | Grade of Material | SMC Ref. Standard IS: 13410-1992 Grade 1 |
| 3. | Thickness of base / door (Min) | 2 mm. |

xiv)	T-Spanner of suitable size for every 30 no. junction boxes shall be supplied for which nothing extra shall be paid.

3.       Poles :

(i)   The makes  of those manufacturers shall be acceptable onlu if they have in house facility of galvanizing 4 mtr. Pole with 300 mm x 300mm base plate.

(ii)	Successful tenderer shall got the poles fabricated from MS pipe and MS base plate. After fabrication of pole as per specification, complete unit with base plate shall be single dip galvanized in the tank, Manufacturer of the poles should have in-house facility for galvanizing  4Mtr. Pole with 300mmx300mmx10mm thick base plate. Inspection shall be carried out at the manufacturer works before dispatch as decided by Engineer-in-Charge. Contractor/Manufacturer will offer a lot of least 500units at one time unless the quantity of poles in the tender is lesser.

(iii)	Casting of suitable foundation for pole having nominal concrete mix 1:2:4(1 cement: 2 coarse sand: 4 coarse agregate) with pedestal size 400mmx400mmx1200mm deep. The tor steel (Grade Fe 415) used in pedestal shall be as below:

Pedestal:12mm dia, 8 nos. Vertical with 10mm rings at 200mm C/c as binders complete with digging, shuttering, centering and back filling etc. as required.

(Note:- 2Nos., 50mm dia PVC pipes for incoming and outgoing cables shall also be embedded in the foundation with no extra cost)

4.    Technical specification of the raw material to be used for making Polycarbonate Globe shall be as under and material supplied at  site shall  also be supplied with test certificate / undertaking of the raw material.

| S.No. | Name of test | Test method | Unit | Minimum value |
| --- | --- | --- | --- | --- |
| 1. | MVR (Melt Volume Rate at 300 Deg.C / 1.2 kg) | ISO 1133 | Cm sq. / 10min | 8 |
| 2. | Tensile Stress, yield | ISO 527 | Mpa | 55 |
| 3. | Tensile strain, yield | ISO527 | % | 5 |
| 4. | Tensile strain, break | ISO527 | % | 100 |
| 5. | Charpy notched impact at 23 Deg.C | ISO179 | Kj / m sq. | 60 |
| 6. | Temperature of deflection under load 0.45 Mpa | ISO75 | Degree C | 125 |
| 7. | Temperatrure of deflection under load 1.8 Mpa | ISO75 | Degree C | 115 |
| 8. | Light transmission, 2.5mm (plain) | ASTM D1003 | % | 87 |

5.    In order to ensure that material of construction of the globe is Polycarbonate. Five pieces of each type of globe / diffuser shall be chosen randomly from the entire quantity of globes / diffusers covered in the tender by the Engineer-in-charge of the work. (In addition to this, office of the Chief Engineer (E) may also choose the sample of globe / diffuser randomly from thee executed work at site) One piece of each type of globe / diffuser will be  sent to the Authorized testing laboratory. The result of the laboratory will be binding on the contractor. Testing cost of laboratory will be borne by DDA. The second piece will be kept as sample for later day testing. The balance 3 pieces shall be subjected to drop test by the department to ensure that these withstand the impact when dropped on hard floor from the height of 8 ft. This test will be repeated for each selected globe / diffuser three times. None of the globe / diffuser should break. If any of the globes / diffuser break or develop crack, entiure supply of material of that particular globe / diffuser  shall be rejected. Delay in work  due to failure of sample fittings will be responsibility of the contractor.

Further, in order to ensure that globes are of Polycarbonate, the contractor will       provide.

- Copy of unpriced invoice (including entire quantity of globes / diffuser covered in the

tender) from the globe / diffuser manufacturer duly stamped and signed by the                   manufacturer, fitting manufacturer and the contractor.

- An undertaking from the globe manufacturer that the raw material used meets the minimum parameters of Polycarbonate as specified in the 8 tests as mentioned at serial no. 7 above duly stamped and signed by the manufacturer, fitting manufacturer and the contractor

6. 	  No service tax will be reimbursed by DDA to the contractor.

7.     After execution of the work, numbering of the poles in each park shall be done by the agency

as per the direction of Engineer-in-charge.

8.      In order to address the issue of theft / watch and ward of the installations, it is clarified that :

- Individual park in which installation will be tested & commissioned satisfactorily and Completely shall be handed over to be department without waiting for actual       completion of the complete work as per agreement. Photo / video of completion of each park shall be made and  recorded.

ii)     Copy of the handing over individual park / parks shall be endorsed to the concerned

Superintending Engineer.

Iii)  Warranty period of one year shall be applicable after recording actual date of completion of the  complete work as per agreement and not of individual park.

- Approximate 8 to 10 poles shall be fed from one circuit(pole to pole) and  cable size

of 2x10 sq.mm XLPE insulated, PVC sheathed, aluminium conductor, armoured cable

shall be used in the work.

- A hole of suitable size shall be made in the MS pole to provide entry/exist to the

supply cable/looping cable /wire, at a height of one meter above the base plate.

Chamfered edges of the pole shall be properly finished. Pole shall be galvanized after

making of the hole.

- A hole of the same size as that made in the pole, shall be made/punched on the back

of the Junction  Box for bringing the cable inside the junction box. A knock out may

be provided in the Junction Box accordingly.

- Load will be equally distributed in all phases as far as possible. The design of the

feeder pillar shall be made to facilitate the same.

- All equipments and installations shall be under warrantee / guarantee of one year. If any equipment is having warrantee of manufacturer more than one year, the same shall be provided to DDA.

- Rectification of defects and failure during warrantee period of one year shall be the responsibility of the contractor. Complaint / intimation given to the contractor about non functional of the installation / equipment shall be attended within 24 Hours of registration.

LIST OF APPROVED MAKES

| S.No. | ITEM | MANUFACTURER ( BRAND NAME) |
| --- | --- | --- |
| 1. | G.I Pole | Valmont, Paruti, BPP Calcutta, Callcutta Poles, Uttkal, Mastech Technologies Pvt. Ltd, Surya , Vipin ST Poles, Bajaj Note:- MS pipe to be used for fabrication of pole shall be amongst the following makes. i) Jindal (Hisar / Star) ii) Tata iii) Prakash Surya |
| 2. | MINIATURE CIRCUIT BREAKER (MCB) 10 KA RATING / ELCB | LEGRAND ( LEXIC) |
|  |  | SCHENEIDER ( M.G ) MULTI-9 |
|  |  | L&T – HAGER |
|  |  | A.B.B. |
|  |  | SIEMENS ( BETA GUARD) |
| 3. | LED TYPE INDICATING LAMPS | SIEMENS |
|  |  | C&S |
|  |  | A.E |
|  |  | KAYCEE |
| 4. | L.T.CABLES XLPE INSULATED / FR PVC INSULATED COPPER CONDUCTOR CABLES | UNIVERSAL |
|  |  | POLYCAB |
|  |  | KEI |
|  |  | SKYTONE |
|  |  | RALLISON |
| 5. | TIMER | L&T (GIC) |
|  |  | LEGRAND |
|  |  | ABB |
|  |  | SCHNEIDER ELECTRIC |
| 6. | A.C CONTACTOR | L&T |
|  |  | SIEMENS |
|  |  | AREVA |
|  |  | ABB |
|  |  | GE |
|  |  | C&S |
| 7. | FEEDER PILLAR | CONTROL WEL SWITCHGEARS |
|  |  | RISHA Control Engineers Pvt. Ltd. |
|  |  | SPC ELECTROTECH PVT. LTD. |
|  |  | Adance Panels & Switchgears (P) Ltd. |
|  |  | Tricolite |
|  |  | Milestone |
|  |  | Assosciated Switch Gear & Projects Ltd. |
|  |  | Adlec Systems Pvt. Ltd. |
|  |  | Ambit |
| 8. | POLY CARBONATE GLOBE FITING / GATE LIGHT FITTING |  |
|  |  | Havells |
|  |  | Lord Jyoti |
|  |  | Twinkle |
|  |  | Halomax |
|  |  | Decon |
|  |  | Make of polycarbonate globe / diffuser is not specified in the tender. As such polycarbonate globe manufactured indigenously or imported will be accepted as per specification. Metallic portion / base of the lighting fixture shall be supplied with identification mark “DDA” engraved / screen printed / embossed on it. Sticker will not be acceptable. |
| 9. | CFL LAMP | OSRAM |
|  |  | SURYA |
|  |  | HAVELLS |
| 10. | SMC Junction Box | SINTEX |
|  |  | BOXMANN |
|  |  | SIMPEX |

Inventory for luminaire                                               Part-II

Name of work: D/o Parks & Greens for providing lighting under East Zone.

SH: Providing path & gate lights in the Parks under HD-9(Part-2)

| S.No. | Name of Park & Location | Qty./Drg. No. for fixtures |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | 5 | 5A | 5B | 6 |
| 1. | Distt. Park at Shastri Park under HD-IX. | 29 | - | - | 6 |
| 2. | Distt. Park at Nand Nagari Nursery Phase-I under HD-IX. | - | 23 | - | 4 |
| 3. | DDA Park and NHP at Manak Vihar under HD-IX. | - | - | 20 | 4 |
| 4. | DDA Park & Deer Park at Children Park Vivek Vihar under HD-IX. | 51 | - | - | 8 |
| 5. | NHP at A & D Block Dilshad Colony under HD-IX. | - | 10 | - | 2 |
| 6. | DDA Park at Gyan Kunj under HD-IX. | - | - | 7 | 2 |
| 7. | NHP Kishan Kunj under HD IX. | 10 | - | - | 4 |
| 8. | DDA Park at Ramesh Park under HD IX. | - | 5 | - | 2 |
| 9. | DDA Park at Panchvati Ghonda under HD IX. | - | - | 13 | 2 |
| 10. | DDA Park at Vishwakarma Park under HD IX. | 8 | - | - | 2 |
| 11. | Ambedkar Park Rani Garden under HD IX. | - | 8 | - | 2 |
| 12. | DDA Park at Taj Enclave & green belt under HD IX. | - | - | 11 | 2 |
| 13. | DDA Park at Block 12/125 Geeta Colony under HD IX. | 6 | - | - | 2 |
| 14. | DDA Park at Block No.4/8 Geeta Colony under HD IX. | - | 3 | - | 2 |
| 15. | DDa Park at Block-5 Geeta Colony under HD IX. | - | - | 4 | 2 |
| 16. | DDA Ambedkar Park Karkardooma under HD IX. | 13 | - | - | 4 |
| 17. | DDA Park BD-22 Loni Road under HD IX. | - | 10 | - | 2 |
| 18. | DDA Ambedkar Park New Seema Puri under HD IX. | - | - | 11 | 2 |
| 19. | DDA Park at Lalita Park under HD IX. | 11 | - | - | 4 |
| 20. | DDA Park at K L Rathi Mill Loni Road Shahadara under H D-IX. | - | 16 | - | 2 |
| 21. | DDA Par at Bhajanpura,Near Police Station undef H D-IX. | - | - | 6 | 2 |
| 22. | DDA Park between Vigyan Lok & DDA flat Anand Vihar under H D-IX. | 28 | - | - | 2 |
|  | TOTAL: | 156 | 75 | 72 | 64 |

| DELHI DEVELOPMENT AUTHORITY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of Work:- D/O Parks & Greens for providing lighting under East Zone |  |  |  |  |  |  |
| SH: Providing path & gate lights in the park under HD-IX(Pt.-2) |  |  |  |  |  |  |
| SCHEDULE OF WORK |  |  |  |  |  |  |
|  | S.No. | Description of Item | Quantity | Rate | Unit | Amount |
|  | 1 | Fabrication & installation of 4 meter high pole made out of 65 mm dia NB 'B' class MS pipe ISI marked (IS:1161) duly welded with MS base plate of size 300mm x 300 mm x10mm thick with suitable earth stud as per drawing No.1&2 enclosed. The pole including base plate shall be hot dip galvanized as per IS:2629 after completion of fabrication (Average thickness of galvanizing shall be 65 Microne or more ). | 367 |  | Each |  |
|  | 2 | Casting of suitable foundation for pole of overall size 400 mm X 400 mm X 1200 mm deep( both above & below ground level) , having concrete mix 1:2:4 (1 Cement:2 Coarse Sand: 4 graded stone aggregate ) including supplying & fixing of one set compring of 4 nos. of 16 mm dia. 600 mm long 'J' type MS bolts (threaded portion shall be galvanized) along with 3 nos. GI nuts and 2nos GI washers per bolt. Two nos. PVC pipes of 32 mm dia., medium class, of suitable length shall be embedded in above foundation for drawing of incoming and outgoing cables.The tor steel used in pedstal shall be 12mm dia 8nos. vertical with 10mm dia. rings for @200 c/c as binders complete with digging,shuttering &back filling etc. as required. Tor steel shall be ISI marked. | 367 |  | Each |  |
|  | 3 | Supplying & fixing of pole connector box made out of Glass Reinforced Polyester Sheet Moulding Compound conforming to IS: 13410-1992 Grade S-1 of nominal inside dimensions 195mm (H) x 135mm (W) x 90mm (D) ( all the corners of the box should be round ) Suitable to mount on 65 mm dia GI pole with following accessories in box complete as per drawing No. 3 enclosed. | 367 |  | Each |  |
|  | i) | 2 Nos. clamps made out of 19mm x3mm GI strip of suitable length for mounting box on the pole. |  |  |  |  |
|  | ii) | Water tight front cover with 2nos. Stainless steel hinges & 2nos. Screws for tightening &GI U clamp for closing the cover alongwith ABS panel lock. |  |  |  |  |
|  | iii) | 4way,220V,30A, dough moulded connector(SMC) with stainless steel inserts. |  |  |  |  |
|  | iv) | 16amps,Moulded SMC rewirable Kit-Kat-1No. |  |  |  |  |
|  | v) | Suitable size hole at suitable location on rear wall for cable & wire entry. |  |  |  |  |
|  | vi) | Earthing bolts M6x20mm. |  |  |  |  |
|  | 4 | Supplying, installation, testing and commissioning of Integral type post top luminaries provided with polycarbonate prismatic/frosted globe of following type and having die cast aluminium body duly PU painted and with 1 x 65 W CFL lamp of SCREW/PIN type with retrofit ballast (ballast and lamp in one unit) with suitable mounting arrangement on 65 mm dia. (nominal) GI pole etc. complete as required.Light fitting shall be provided with louvers around the lamp. |  |  |  |  |
|  |  | Matalic portion /base of the lighting fixture shall be supplied with identification mark "DDA"engraved/screen printed/embossed on it. Sticker will not be acceptable. |  |  |  |  |
|  | i) | As per Drg. No.5 | 156 |  | Each |  |
|  | ii) | As per Drg. No.5A | 75 |  | Each |  |
|  | iii) | As per Drg. No.5B | 72 |  | Each |  |
|  | 5 | Supplying, installation, testing and commissioning of Integral type post top luminaires with prismatic polycarbonate conical globe with non- metallic cap & ribs and having die cast aluminium body duly PU painted &having high quality anodized aluminium diffuser as per drawing no. 6 attached with 1x 65 W CFL lamp of SCREW/PIN type with retrofit ballast(ballast & lamp in one unit) with suitable mounting arrangement at entrance gate / entrance plaza etc. complete as required. | 64 |  | Each |  |
|  |  | Matalic portion /base of the lighting fixiure shall be supplied with identification mark "DDA"engraved/screen printed/embossed on it. Sticker will not be acceptable. |  |  |  |  |
|  | 6 | Supplying, installation, testing and commissioning of floor mounted outdoor type,conforming to IP-54, totally enclosed LT cubical Service Feeder Pillar double door duly compartmentalized of size as per drawing No. 7, made out of 2.00 mm thick M.S CRCA sheet, mounted on angle iron frame of size 50 mm x 50 mm x 6 mm thick suitable for operation on 415 volts, 50 Hz, AC supply including supplying, fixing, making connection and interconnections of the accessories mounted thereon with suitable size of copper wire , Aluminium strip duly sleeved or tapped with thimbles/ lugs and earthing the body of the Feeder Pillar and other details shall be as per technical specifications:- | 3 |  | Each |  |
|  | (i). | Incomer |  |  |  |  |
|  | a. | 1 No. 40 Amps, 30 KA, 4 Pole MCCB |  |  |  |  |
|  | b. | 1 No. (0-500 V) 96 mm x 96 mm voltmeter with selector switch. |  |  |  |  |
|  | c. | 1 No. (0-15A) 96 mm x 96 mm Ammeter with selector switch. |  |  |  |  |
|  | d. | 1 No. Timer Switch along suitable contactor and MCB, toggle switch for auto/ manual |  |  |  |  |
|  | e. | Phase Indicating Lamps--- 1 Set |  |  |  |  |
|  | f. | 6 mm ( minimum) thick Bakelite board of suitable size for mounting energy meter |  |  |  |  |
|  | (ii). | Bus Bar |  |  |  |  |
|  | a. | 100 A Four strip Aluminium Bus Bar |  |  |  |  |
|  | (iii). | Outgoing Feeders |  |  |  |  |
|  | a. | 6 Nos. 16 Amps, 10 KA DPMCB |  |  |  |  |
|  | b. | 1 No. 20 Amp., TPN Industrial Socket with 20 Amp TP MCB |  |  |  |  |
|  | c. | 40 Amp 4 pole ELCB of 100 m amp. |  |  |  |  |
|  | 7 | Supplying and Installation of timer box of size 400mm x 300mm x 250mm of 1.6mm thick CRCA M S sheet on the existing wall/panel with suitable arrangement for fixing the following accessories,connection, painting ,testing etc. complete as reqd. | 19 |  | Each |  |
|  | a. | Reset synchronous timer(440v, 24Hrs.)-1No. |  |  |  |  |
|  | b. | 32 Amp. Contactor block -1NO. |  |  |  |  |
|  | c. | Toggle switch 6 Amps. (For Bypass arrangement)-1No. |  |  |  |  |
|  | 8 | Supplying and fixing following way prewired SP&N MCB distribution board of sheet steel for 240 volts on surface /recess,complete with loose wire box, terminal connectors for all incoming &outgoing circuits,duly prewired with suitable size FR PVC insulated copper conductor up to terminal block tinned copper busbar,neutral busbar,earth bar, din bar,detachable gland plate, interconnections, powder painted including earthing etc. as required(But without MCB/RCCB/Isolater). | 19 |  | Each |  |
|  | a. | 2+ 4 way single door |  |  |  |  |
|  | 9 | Supplying of following sizes of XLPE insulated & PVC sheathed armoured Aluminium LT cable of 1.1 KV grade etc. as required. |  |  |  |  |
|  | (i). | 2 C X 10 sq. mm | 15000 |  | meter |  |
|  | (ii). | 4 C X 25 sq. mm | 200 |  | meter |  |
|  | 10 | Supplying and drawing of 3 x 1.5 sq. mm FR PVC insulated copper conductor, single core cable in the existing pole etc. as required. | 1100 |  | meter |  |
|  | 11 | Laying of one no. PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. |  |  |  |  |
|  | a. | Upto 35 sq.mm | 11000 |  | meter |  |
|  | 12 | Laying of one no. additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. |  |  |  |  |
|  | a. | Upto 35 sq.mm | 2000 |  | meter |  |
|  | 13 | Laying of one no. PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in existing RCC/ Hume / Stoneware / DWC pipe / metal pipe as required. |  |  |  |  |
|  | a. | Upto 35 sq.mm | 2000 |  | meter |  |
|  | 14 | Providing laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required. |  |  |  |  |
|  | a | 100 mm dia. | 100 |  | meter |  |
|  | 15 | Supplying and making indoor end termination with brass compression gland and Aluminium lugs for following size of PVC insulated & PVC sheathed / XLPE Al. conductor cable of 1.1 KV grade as required. |  |  |  |  |
|  | (i) | 2 C X 10 sq. mm | 12 |  | Each |  |
|  | (ii) | 4 C X 25 sq. mm | 6 |  | Each |  |
|  | 16 | Earthing with G.I earth pipe 4.5 Mtr. long 40 mm dia. including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal / coke and salt as required. | 30 |  | Each |  |
|  | 17 | Providing and fixing 6 SWG dia. G.I Wire on surface or in recess for loop earthing alongwith the existing surface/ recessed conduit/ sub-main wiring / cable as required. | 15000 |  | meter |  |
|  | 18 | Providing and fixing 25 mm x 5 mm G.I strip in 40 mm dia. G.I pipe from earth electrode as required. | 60 |  | meter |  |
|  | 19 | Providing and fixing 25 mm x 5 mm G.I strip on surface or in recess for loop earthing etc. as required. | 60 |  | meter |  |
|  | 20 | Supplying & fixing 5 amps to 32 amps rating,240/415 volts,"C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  |  |
|  | a | Single pole | 76 |  | Each |  |
|  | b | Double pole | 19 |  | Each |  |
|  |  | Total |  |  |  |  |