Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

No. F 8 (6) / NSSC / S. Pool / DDA / 03-04 / 						Date:

NOTICE INVITING QUOTATION

Sealed quotation are invited by the undersigned from authorized Agencies on behalf of DDA for the items noted below. The quotations should reach the undersigned on or before 17/12/04 By 3.00 P.M. & which shall be opened on the same day at 3.30 P.M.

Name of Work: - 	M/o Netaji Subhash Sports Complex at Jasola.

SH: - Repair of Floor and wall Tiles, Painting of Channel Grill of Swimming Pool at Netaji Subhash Sports Complex, Jasola.

| S. No. | Description of Item | Qty | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | Painting of channel grills with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade (a one or more coats on old work). | 49.59 | Sqm |  |  |
| 2. | Applying Primer coat with ready mixed red oxide zinc chromate primer to channel grills of approved brand and manufacture on steel galvanised iron / steel works. | 49.59 | Sqm |  |  |
| 3. | Painting of boundary grills with Synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. | 99.44 | Sqm |  |  |
| 4. | Dismantling glazed tiles and old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 meters lead. | 56.82 | Sqm |  |  |
| 5. | Providing and laying ceramic glazed floor tiles 300 x 300 mm (thickness to be specified by the manufacture) of 1st quality conforming to ISI : 13755 of NITCO, ORIENT, KAJARIA, SOMANY or equivalent make / colours, such as white, Ivory, Grey, Fume Red Brown laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigment etc. complete. | 19.86 | Sqm |  |  |
| 6. | Providing & fixing Ist quality ceramic glazed floor tiles conforming to ISI : 13753 of minimum thickness 5 mm of approved make like NITCO, ORIENT, KAJARIA, SOMANY or equivalent make in all colours, shades except begundy, bottle green, of any size as approved by Engineer-in-charge in skirting, risers of steps and dados over 12 mm thick bed Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3 Kg per sqm including pointing in white cement mixed with pigment of matching shade complete | 41.22 | Sqm |  |  |
| 7. | Providing and placing SFRC (perforated) cover of size 610 x 500mm without frame | 4 Nos | Each |  |  |

P.T.O.

Terms & Conditions: -

- The work shall carried out as per CPWD specification.

- No T & P will be issued to the contractor by department.

- No minor labour shall engaged at site.

- The contractor shall be fully responsible during execution of work & if any damage done at site during execution same shall be made good and free of cost within the quoted rates.

- No extra payment shall be made on a/c of octroi, cartage etc.

- Work shall be completed within 15 days after issue of work order.

Secretary / NSSC / DDA