# Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

##### NOTICE INVITING QUOTATION NO. 38

No. F 2 (16) / NSSC / Civ. Works / 2008 – 09 / 493					Date: 03 Nov. 08

The Delhi Development Authority invites sealed quotations from Professional Agencies having an experience of executed at least two similar types of works, mentioned herein below. The quotations should reach the Office of the Secretary of Netaji Subhash Sports Complex, by 3 PM on 10.11.08. The sealed quotation will be opened on the same day at 3.30 P.M. in the office of the Secretary of the Complex. The Quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.

Name of Work: Up-gradation / renovation of different facilities at NSSC, Jasola.

(SH : Renovation of toilets of Multi gym at NSSC, Jasola.)

| S. N | Description of Item | Qty | ### Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and laying in position cement concrete of specified grade excluding the cost of concrete and shuttering – All work upto plinth level. - 1 : 2 : 4 (1cement : 2 Coarse sand : 4 graded stone Agg. 20 mm n. s.) - 1 : 5 : 10 (1cement : 5 Coarse sand : 10 graded stone Agg. 40mm n. s.) | 0.40 0.50 | Cum Cum |  |  |
| 2. | Brick work with F P S bricks of class designation 75 in foundation and plinth in : a) Cement mortar 1 : 6 ( 1 Cement : 6 Coarse Sand) | 1.00 | Cum |  |  |
| 3. | Half brick masonry with bricks of class designation 75 in foundation and plinth in : (a) Cement mortar 1 : 4(Cement : 4 Coarse sand) | 1.50 | Sqm. |  |  |
| 4. | Providing and fixing 18 mm thick gang saw cut mirror polished pre-moulded and pre-polished) machine cut for kitchen platforms, vanity counters, windows sills, facias and similar locations of required size of approved shade, colour and texture laid over 320 mm thick base cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) with joints treated with white cement, mixed with machine pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. a) Raj Nagar Plain white marble / Udaipur green marble / Zebra black marble. | 4.50 | Sqm |  |  |
| 5. | Extra for providing edge moulding to 18 mm thick marble stone counters, vanities etc. over item no.8.2 including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-charge: (a) Marble work. | 10.00 | Mtr. |  |  |
| 6. | Providing and fixing ISI marked flush door shutters confirming to IS : 2202 (Part – I) non decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. - 35 mm thick including ISI marked stainless steel butt hinges with necessary screws. | 6.30 | Sqm |  |  |
| 7. | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with gray cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 Cement : 4 Coarsa Sand) a) 25 mm thick. | - | Sqm |  |  |
| 8. | Kota stone slabs 25 mm (average) thick in risers of steps, skirting, dado and pillar laid on 12 mm (average) thick cement mortar 1 : 3 (1 Cement : 3 Coarsa Sand) and jointed with gray cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | - | Sqm |  |  |
| 9. | Providing & fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacture) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-charge in skirting, risers of steps and dados over 12 mm thick bed Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3 Kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 78.00 | Sqm |  |  |
| 10. | Providing & fixing vitrified floor tiles in different sizes (thickness to be specified by the manufacture) with water absorption’s less than 0.08% and confirming to IS : 15622 of approved make in all colours, shades laid on 20 mm thick Cement Mortar 1 : 4 (1 Cement : 4 Coarse sand) including grouting the joints with white cement and matching pigments etc. complete. a) Size of tile 60 X 60 cm. | 22.00 | Sqm |  |  |
| 11. | Deduct for not using 20 mm thick cement mortar 1 : 4 (1 cement : 4 coarsa sand) bedding in laying of floor tiles. | 22.00 | Sqm |  |  |
| 12. | Fixing glazed / Ceramic / Vitrified tiles with cement based high polymer modified quick-set tile adhesive (water based) confirming to IS : 15477, usinf 5 kgs adhesive per sqm of tile area, in average 3 mm thickness. | 22.00 | Sqm |  |  |
| 13. | 12 mm cement plaster of mix : - 1 : 6 (1 Cement : 6 fine Sand) | 6.00 | Sqm |  |  |
| 14. | 15 mm cement plaster on the rough side of single or half brick wall of mix: - 1 : 6 (1 Cement : 6 fine Sand) | 4.00 | Sqm |  |  |
| 15. | Renewing glass panes with putty and nails where ever necessary - Float Glass panes of thickness 4 mm. | 5.00 | Sqm |  |  |
| 16. | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 m lead. - For thickness of tiles 10 mm to 25 mm. | 78.00 | Sqm |  |  |
| 17. | Providing & fixing water closet squatting pan (Indian type WC pan) with 100 mm sand cast Iron P or S trap, 10 liters low level white PVC flushing cistern with manually controlled device (handle lever) confirming to IS : 7231 Parryware / Hindware / Seabird / Orient (Coral) with all fittings and fixtures complete including cutting and making good the walls and floors whenever required. a) White Vitreous china Orrisa pattern WC pan of size 580 X 440 mm with integrated type foot rests. | 1 No | Each |  |  |
| 18. | Providing & fixing white viterous china pedestal type water closet (European type) with seat and lid, 10 liter low level white PVC Flushing cistern with manually controlled device (handle lever) confirming to IS : 7231 Parryware / Hindware / Seabird / Orient (Coral) with all fittings and fixtures complete including cutting and making good the walls and floors whenever required. - W C pan with ISI marked white solid seat and lid. | 1 No | Each |  |  |
| 19. | Providing & fixing white vitreous china flat back half stall urinal of 580 X 380 X 350 mm with PVC automatic flushing cistern, Parryware / Hindware / Seabird / Orient (Coral) with fittings, standard size C P Brass flush pipe, spreaders with unions and clamps (all in C P brass) with waste fitting as per IS : 2556, C I Trap with outlet grating and other couplings in C P Brass including painting of fittings and cutting and making good the walls and floors whenever required. - Range of two half stall urinals with 5 liters PVC automatic flushing cistern. | 1 No | Each |  |  |
| 20. | Providing and fixing wash basin with C I brackets, 15 mm C P Brass pillar taps, 32 mm C P brass waste of standard pattern, including painting of fittings and brackets cutting and making good the walls wherever require: - White Vitreous China Flat back Wash basin size 550 X 400 mm with single 15 mm C P brass pillar tap. | 2 Nos | Each |  |  |
| 21. | Extra for using coloured WC pan instead of white WC pan. a) Orissa pattern WC pan 580 X 440 mm. | 1 No. | Each |  |  |
| 22. | Extra for using coloured pedestal type WC pan (European type) with low level cistern of same colour instead of white vitreous china WC pan and cistern. | 1 No | Each |  |  |
| 23. | Providing & fixing 600 X 450 mm beveled edge mirror of superior glass (of approved quality) complete with 60 mm thick hard board ground fixed to wooden cleats with C P Brass screws and washers complete. | 2 Nos | Each |  |  |
| 24. | Providing and fixing soil, waste and vet pipes : a) Sand cast iron S & S pipe as per IS : 1729. | 5.00 | Mtr. |  |  |
| 25. | Providing and fixing bend of required degree with access door, insertion rubbing washer 3 mm thick, bolts and nuts complete : - Sand cast iron S & S as per IS – 1729. | 2 Nos | Each |  |  |
| 26. | Providing and fixing coller : a) Sand cast iron S &S as per IS – 1729. | 3 Nos. | Each |  |  |
| 27. | Providing & fixing PTMT Bottle Trap for Wash basin and sink (Prayag or equivalent) (a) Bottle trap 31 mm single piece moulded with height of 270 mm, effective length of tail pipe 260 mm from the center of the waste coupling 77 mm breadth with 25 minimum water seal, weighting not less that 260 grms. | 3 Nos. | Each |  |  |
| 28. | Providing & fixing G I Pipes complete with G I fittings and clamps, including cutting and making good the walls etc. (internal work). - 15 mm dia nominal bore. - 20 mm dia nominal bore. | 15.00 10.00 | Mtr. Mtr. |  |  |
| 29 | Providing & fixing CP Brass bib cock of approved quality confirming to IS : 8931. (a) 15 mm nominal bore. | 4 Nos. | Each |  |  |
| 30. | Providing & fixing CP Brass angle valve for basin mixer and gyser points of approved quality confirming to IS : 8931. (a) 15 mm nominal bore. | 5 Nos. | Each |  |  |
| 31. | Providing & fixing G I Union in existing G I Pipes line cutting and threading the pipes and making long screws including excavation, refilling the earth or cutting of wall and making good the same complete whenever required. - 15 mm dia nominal bore. - 20 mm dia nominal bore. | 2 Nos. 2 Nos. | Each Each |  |  |
| 32. | Providing and fixing uplasticised connection pipe with brass union : (a) 15 mm nominal bore. | 5 Nos. | Each |  |  |
| 33. | Making chases up to 7.5 X 7.5 cm in walls i/c making good and finishing with matching surface after housing G I Pipe etc. | 10.00 | Mtr. |  |  |
| 34. | Providing and fixing poly carbonate 6 mm thick sheet coloured of required shade roofing and fixing with J & L hooks bolts and nuts and washer etc. complete. | 16.00 | Sqm |  |  |
|  | Total |  |  |  |  |

General Terms and Conditions: -

- Work shall be carried out as per CPWD specification vol – I to VI.

- No T & P shall be issued.

- No minor labour shall be engaged at site.

- Any loss / damage / theft caused during the execution of work shall be the responsibility of the agency and the Delhi Development Authority shall be entitled to recover the amount from the agency. All payments to the agency shall be made through cheque only.

- Validity of quotation is 60 days from the date of the opening of the sealed quotations.

- No extra payment shall be made on a/c of octroi, cartage etc.

- The work shall be completed within 10 days.

- Necessary statutory deductions will be made as applicable.

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case the quotationer / tenderer is registered with the VAT department, he may give an undertaking stating therein the registration no., date of registration, period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same. In case, the quotationer / tenderer is not registered with the VAT Department, then he will require to submit an undertaking in the specified Performa (available with Cashier / NSSC).

- The Debarred agency/ or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent any agency even if he holds the power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies will be taken into account rather than individuals incorporated with the agencies, which does not include proprietorship.

- No advance payment will be made to the agency.

- The payment will be made only on completion of work and satisfaction of engineer in charge & Secretary NSSC.

- Any lapse on the part of the agency, the Director (Sports) can take such action as he may deem appropriate and the decision of the Director (Sports) in that behalf shall be final and binding upon the quotationers / agency and shall not be called in question before any forum.

- Any conditional quotations shall be summarily rejected.

Lt. Col (Retd) P.B. Pathak

Secretary / NSSC / DDA

Copy to: -

1.   Dir. (System) through E-mail (dirsystem@dda.org.in)

- PA to Director (Sports), DDA

- Secy. Coordn. / DDA

- Sr. A.O. (Sports), DDA

- The Secretary, DDA Contract Welfare’s Association, Branch No. 1, Black ‘A’ Vikas Kuteer, New Delhi.

- The Secretary, DDA Builder’s Association, E-18 Vikas Kuteer, New Delhi.

- The Secretaries, all sports complexes, DDA with the request to display the NIQ at Notice Board of their respective Complexes.

- AAO / NSSC / DDA

- JE (Civil) / NSSC / DDA

- Cashier / NSSC

- Guard file.

- www.dda.org.in through E-mail (ddatender@dda.org.in.)

Secretary / NSSC / DDA

Delhi Development Authority

Netaji Subhash Sports Complex

Jasola, New Delhi-110025

NOTICE INVITING QUOTATION No. 37

No. F 2 (69) / NSSC / DDA / Elect. Maint. / 08 - 09 / 492				      Date: 03 Nov. 08

The Delhi Development Authority invites sealed quotations from Professional Agencies having an experience of executed at least two similar types of works, mentioned herein below. The quotations should reach the Office of the Secretary of Netaji Subhash Sports Complex, by 3 PM on 10.11.08. The sealed quotation will be opened on the same day at 3.30 P.M. in the office of the Secretary of the Complex. The Quotationers or their authorized representatives may be present at the time of the opening of the sealed quotations.

Name of Work : M/o Netaji Subhash Sports Complex at Jasola.

##### (SH: Supply of 15 / 20 ltrs, 40 ltrs and 80 ltrs storage capacity Water Cooler at NSSC, Jasola.)

| Sl. | Description of Item | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of Water Cooler in stainless steel body with locking arrangement of storage tank of the following storage capacity (Voltas, Blue star or Sidhwal make) - 15 or 20 ltrs. - 40 ltrs. - 80 ltrs. | 1 no 1 no 1 no | Each Each Each |  |  |

General Terms & Conditions is enclosed

- Work shall be carried out as per CPWD specification vol – I to VI.

- No extra charges shall be paid on any account.

- No T & P will be issued.

- The contractor will arrange to display with in the quoted rates.

- The Water Cooler shall be of Voltas, Blue star or Sidhwal make only.

- The contractor shall stand Guarantee for 1 year for satisfactory running of water cooler.

- The Supply shall be completed within 7 days from the date of issue of the order.

- Sales Tax shall be paid extra as applicable if not already included in the rates.

- Payment shall be made only after the satisfactory testing of water cooler to the JE (Elect.) / Secretary of the Complex.

- The entire material ordered shall have to be supplied in one lot at Netaji Subhash Sports Complex and no part supply shall be accepted.

- THAT the decision of the Secretary of the Complex respecting the Quality or the supplies received shall be final and binding on the supplier and shall not be called in question before any Forum.

- If the desired item is not supplied within the stimulated time of 3 days from the date of issue of the order, the order shall automatically lapse and it shall be sole discretion of the Secretary of Netaji Subhash Sports Complex to accept the supply on such terms as the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any Forum.

- Necessary statutory deductions will be made as applicable.

- The tenderer / quotationer should be registered with the Department of Trade & Taxes, Govt. of NCTD and suppose to furnish a copy of VAT registration at the time of making the request for issue of tender or to attach the same along with the quotation as the case may be. In case the quotationer / tenderer is registered with the VAT department, he may give an undertaking stating therein the registration no., date of registration, period for which return has been filed, date of filing and the demand outstanding, if any, and liable to pay the same. In case, the quotationer / tenderer  is not registered with the VAT Department, then he will require to submit an undertaking in the specified Performa (available with Cashier / NSSC).

- Debarred agency/or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if the holds a poor of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies shall be taken into account rather than individuals incorporated with the agencies which does not include proprietorship.

#### Lt. Col (Retd) P.B. Pathak

Secretary / NSSC / DDA

Copy to: -

1.	Director (Sports), DDA

2.	Dir. (System through E-mail (dirsystem@dda.org.in)

- Sr. A.O. (Sports), DDA

- The Secretary, DDA Contract Welfare’s Association, Branch No. 1, Black ‘A’ Vikas Kuteer, New Delhi.

- The Secretary, DDA Contractor Welfare Association, E-18 Vikas Kuteer, New Delhi.

- The Secretaries, all sports complexes, DDA with the request to display the NIQ at Notice Board of their respective Complexes.

- AAO / NSSC / DDA

- JE (Elect.) / NSSC / DDA

- Notice Board

- www.dda.org.in through E-mail (ddatender@dda.org.in).

Secretary / NSSC / DDA