OFFICE OF THE  EXECUTI VE ENGINEER

SOUTH EASTERN DIVISION NO.1

SARITA VIHAR NEW DELHI:-76

…….

NIQ No.03/EE/SED-4/DDA/08-09

“ NOTICE INVITING QUOTATION  “

Sealed item rate quotations are invited for the work of “M/o various schemes under N/A-II/EZ.   SH: M/o temp. transit accommodation at M.P. Khadar, Ph.II. Repair of R/O            plants building of pkt.-A, Ph.II. & pkt.A-1, Ph.I, at M.P. Khadar. The quotation shall be received upto 3.00 P.M. on 13.10.08 and shall be opened at 3.30 P.M. on the same day in the office of EE/SED-4/DDA office complex, Near Fly over, Mathura Road,Sarita Vihar,New Delhi-76, in the presence of contractor/their authorized representative.

Schedule of quantity can be have on any working day from the date of issue of this notice to the date of opening between 10.00 A.M. TO 3.00 p.m. from the office of EE/SED-1/DDA.

-sd-

Executive Engineer

South Eastern Division No.-1

No.F.5(6)A/SED-4/DDA/08-09/1233                                          Dtd.6.10.08

SCHEDULE OF QUANTITY

Name of work:-  M/o various schemes under Nazul A/C-II/East Zone.

SH:- M/o Temp. Transit accommodation at Madanpur Khadar,Phase-II.

Repair of R.O. plants building of Pkt. ‘A’,Phase-II and Pkt. A-1,

Phase-I at Madanpur Khadar.

| Sl. No. | Description of items. | Qty. | Unit. |
| --- | --- | --- | --- |
| 1. | Repair to plaster of thickness 12mm to 20mm in patches of area 2.5sqm. and under including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50meter lead with cement mortar 1 : 4 ( 1cement : 4 coarse sand). | 322.00 M2 | Sqm. |
| 2. | Renewing glass panes, with putty and nails wherever necessary float glass panes of thickness 4mm. | 7.00 M2 | Sqm. |
| 3. | White washing with lime to give an even shade. a) Old work (Two or more coats). | 468.00 M2 | Sqm. |
| 4. | Finishing walls with water proofing cement paint of required shade. a) Old work (One or more coats applied @ 2.20kg./10sqm. complete including cost of priming coat. | 7.00 M2 | Sqm. |
| 5. | Providing and fixing ISI marked flush door shutter’s conforming to IS 2202(Part I ) non decorative type, core of block board construction with frame of Ist. Class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bend and face veneers on both faces of shutter:- a) 35mm thick including ISI marked stainless steel butt hinges with necessary screws. | 4.00 M2 | Sqm. |
| 6. | Providing and fixing ISI marked 85x42mm oxidized M.S. pull bolt lock conforming to IS 7534 with necessary screws, nut and washer’s etc. complete. | 5.00 Nos. | Each. |
| 7. | Providing & fixing ISI marked oxidized M.S. sliding door bolts with nuts and screws etc. complete. a) 250x16mm. | 4 Nos. | Each. |

| 8. | Providing and fixing ISI marked oxidized M.S. tower bolt black finish (Barrel type) with necessary screws etc. complete. - 150x10mm. - 100x10mm | 10 Nos. 10 N0s. | Each. Each. |
| --- | --- | --- | --- |
| 9. | Providing & fixing ISI marked oxidized M.S. handles conforming to IS 4992 with necessary screws etc. complete. a) 100mm. | 10 Nos. | Each. |
| 10. | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6mm angel iron and 3mm M.S. gusset plates at the junction and corners, all necessary fittings complete including applying a priming coat of approved steel primer. a) Using M.S. angle 40x40x6mm for diagonal braces. | 7.90 M2 | Sqm. |
| 11. | Steel work welded in built up section/framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 129.00 kg. | Kg. |
| 12. | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade. - One or more coats on old work. - Two or more coats on new work. | 100.00 M2 22.00 M2 | Sqm. Sqm. |
| 13. | Providing and placing on terrace (at all floor levels ) polyethylene water storage tank ISI 12801 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without filling and bass support for tank. | 40000.00 Ltrs. | Ltrs, |
| 14. | Deduct for salvage of old tanks as per I No.(13). | 8.00 Nos. | Each tank of 5000 Ltrs. |

Sd/-                                          Sd/-                                            Sd/-

JE(T)                                 AE(P)/SED-4                         EE/SED-4/DDA