Schedule of Quantity

NOW:- Up-gradation of RSKP, Pitampura.

SH:- Supplying & laying of cable from feeder pillar near multi-gym to feeder pillar of sub pump set at RSKP.

| S.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying of aluminium armoured pre insulated PVC sheathed/XLPE power cable of grade 1.1KV - 4 x 35 sqm | 225 mtr. | Per mtr. |  |  |
| 2. | Supplying of following size DWC pipe i/c. cartage etc. as reqd. - 90mm dia | 200 mtr. | Per mtr |  |  |
| 3. | Laying of one no. DWC pie direct in ground i/c. excavator and refilling the trench etc. as required excluding sand cushioning and protective covering. | 200 mtr. | Per mtr. |  |  |
| 4. | Laying of one no. PVC insulated and PVC sheathed/ XLPE power cable of 1.1KV grade of following size in the existing RCC/Hume/metal pipe as reqd. | 200 mtr. | Per mtr. |  |  |
| 5. | Laying & fixing of one no. PVC insulated and PVC sheathed/XLPE power cable of 1.1KV grade of following size on wall surface as reqd. | 200 mtr. | Per mtr. |  |  |
| 6. | Supplying and making in door end termination with brass compression of land and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1KV grade as reqd. | 2 nos. | Each |  |  |
| 7. | Providing & fixing of 6SWG dia G.I. wires on surface or in recess for loop earthing as reqd. | 225 mtr. | Per mtr. |  |  |
| 8 | Supplying & fixing of Handhi frame & cover on the existing Handhi i/c. making of brick measmary Handhi of size 1’x1’x1’ dep etc. as reqd. | 6 nos. | each |  |  |
| Total |  |  |  |  |  |