NIT No. 06/EE/Electrical Divn.-10/DDA/2007-2008

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVN.-NO. 10

## SCHEDULE OF WORK

# Name of work:	M/o various scheme in East Zone under NA-II

SH:		Provision of Lighting and PA System on Hire charges for immersion of godess Durga at Geeta Ghat & other 				Ghat & nera ISBT on 21.10.2007.

| S.No. | ### Description of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Hire charge of 65mmdia 10 mtrs. long GI pipe pole i/c erection dismentling, cartage, loading & unloading as per terms and condition attached etc. complete as required. | 80nos. |  | Each |  |
| 2. | Hire charge of following electric lighting fittings including bulbs & accessories, erection, dismentling, loading & unloading as per terms & condition attached etc. complete as required. |  |  |  |  |
|  | a) 400watt metal halide flood light fittings | 81nos. |  | Each |  |
|  | b) 500 watt halogen flood light fittings | 70nos. |  | Each |  |
|  | c) 200 watt flood light fitting | 440nos. |  | Each |  |
| 3. | Hire charges of suitable distribution boards along with all necessary accessories for distribution of circuit over the entire area for control at one place, suitable switch, (TP & N), Kit Kat, Fuses, fuse wire i/c erection, dismentling, cartage, loading & unloading as per terms and condition attached etc. complete as required. | 2jobs |  | P/job |  |
| 4. | Hire charges of PA system comprising the 4nos. horn 2nos. mike batteries connecting wires i/c erection dismentaling, cartage, loading & unloading as per terms and condition attached etc. complete as required. | 6jobs |  | P/job |  |
| 5. | Hire charges of portable type DG set of following capacity including installation, dismentling, diesel, oil cartage, loading & unloading as per terms and conditions attached etc. as required. |  |  |  |  |
|  | a) 10 KVA DG set | 2jobs |  | P/job |  |
|  | b) 62.5 KVA DG set | 2jobs |  | P/job |  |
|  | c) 125 KVA DG set | 2jobs |  | P/job |  |
| 6. | Hire charges of wiring of following size i/c laying, connection, dismentaling, cartage, loading and unloading, testing as per terms and condition etc. complete as required |  |  |  |  |
|  | a) 4x16sqmm. | 190mtr. |  | Meter |  |
|  | b) 2x16sq.mm | 1250mtr. |  | Meter |  |
|  | c) 4x50sq.mm | 150mtr. |  | Meter |  |
| 7. | Hire charges of wooden ballies 6mtrs. long i/c erection, dismantling, loading & unloading, cartage as per terms & conditions etc. complete as required. | 80nos. |  | Each |  |

ADDITIONAL CONDITIONS

- Item is inclusive of installation, operation dismentaling cartage etc.

- Diesel and operational staff for the operation of DG sets shall be of the agency.

- Entire installation including DG set shall be completed by afternoon of 20.10.2007 and  the illumination and testing shall be shown in the evening on 201.10.2007.

- Nothing extra shall be paid to the contractor for any taxes and levies theft or loss/ damage of material etc.

- Entire installation shall be earthed by suitable method required safety precaution shall be taken by the agency.

- During the period of function i.e. from afternoon onwards of 21.10.2007 sufficient maintenance staff and spare material should be available at site to meet the emergency requirement. The cost of which is inclusive in the individual items.

- The rates per job and per meter in the schedule of work is inclusive of the erection of entire installation in the evening i/c testing on 20.10.2007 and for the ceremony to be held on 21.10.2007.

- During the period of the contract any loss or damages to property/ person shall be responsibility of the contractor.

- No T & P shall be issued to agency by department.

- Before quoting rates ‘site of work’ may be inspected by the agency along with staff.

#### Sd/-

Executive Engineer (E)

Electrical Division No-I

DDA