DELHI DEVELOPMENT AUTHORITY

## SCHEDULE OF WORK

# Name of work:	M/o various scheme in South East Zone

SH:		Providing of Temporary Lighting and PA System at Kalandi Kunj, Yamuna River for Durga Puja Celebration.

| S.No. | ### Description of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Hire charge of MS pole 40mmdia 18 ft. height i/c erection dismentling, cartage, loading & unloading as per terms and condition attached etc. complete as required. | 190nos. |  | Each |  |
| 2. | Hire charge of following electric lighting fitting including bulbs & accessories, erection, dismentling loading & unloading as per terms & condition attached etc. complete as required. |  |  |  |  |
|  | a) 400watt metal halide flood light fittings | 100nos. |  | Each |  |
|  | b) 500 watt halogen flood light fittings | 90nos. |  | Each |  |
| 3. | Hire charges of suitable distribution boards for distribution of circuit over the entire area for controlling light sound system and DG set etc. complete as required. | 3jobs |  | P/job |  |
| 4. | Hire charges of PA system comprising the 10nos. horn 3nos. mike batteries connecting wires i/c erection dismentaling, cartage, loading & unloading as per terms and condition attached etc. complete as required. | 1job |  | P/job |  |
| 5. | Hire charges of portable type DG set of following capacity including installation, dismentling, diesel, oil cartage, loading & unloading as per terms and conditions attached etc. as required. |  |  |  |  |
|  | a) 62.5 KVA DG set | 3nos. |  | Each |  |
| 6. | Hire charges of wiring for operation the complete installation spreaded over 2000m (aprox) including laying connection, dismentaling, cartage, loading and unloading,, testing as per terms and condition etc. complete as required (2000x8=16000m) | 1job |  | P/job |  |

ADDITIONAL CONDITIONS

- Item is inclusive of installation, operation dismentaling cartage etc.

- Diesel and operational staff for the operation of DG sets shall be of the agency.

- Entire installation including DG set shall be completed by evening of 20.10.2007 and  the illumination and testing shall be shown in the evening.

- Nothing extra shall be paid to the contractor for any taxes and levies theft or loss/ damage of material etc.

- Entire installation shall be earthed and safety precaution shall be taken by the agency.

- During the period of function i.e. from evening onwards of 20.10.2007 till function is complete sufficient maintenance staff and spare material should be available at site to meet the emergency requirement for which nothing extra shall be paid.

- During the period of the contract any loss or damages to property/ person shall be responsibility of the contractor.

- No T & P shall be issued to agency by department.

- Before quoting rates ‘site of work’ may be inspected by the agency along with staff.

- Time allowed one day only.

#### Sd/-

Executive Engineer (E)

Electrical Division No-I

DDA