SCHEDULE OF QUANTITY

Name of Work – M/o Rashtriya Swabhimaan Khel Parisar, Pitampura

SH – Repair & Servicing of 125 KVA D.G Set

Name of Agency – M/s. Ishaan Enterprises

W.O. No. – 20/RSKP/DDA/2007-08 dt – 5th Oct.’2007

Time Allowed – 10 days

Tendered Cost – Rs. 25,700/-

| S.N | ### Description of Item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Repair & servicing of 125 KVA Cummins DG Set including replacement of following parts and jobs etc as required. i) B Check kit 1 set ii) Air cleaner Element outer 1 no. iii) Air cleaner element inner 1 no. iv) Fuel connection 4 nos. v) Ferrule 4 nos. vi) Connection rubber 8 nos. vii) Copper washer 8 nos. viii) Throttle shaft 1 no. ix) Barrel Sleeve 1 no. x) Coolant inhibitor corrosion 5 ltr xi) Engine oil ( 20 w 40) 30 ltr xii) Injector calibration 4 jobs xiii) Fuel pump calibration 1 job xiv) Self repairing and service 1 job xv) Labour charges for repair of D.G. Set 1 job | 1 job | Per job | 25,700/- | Rs. 25,700/- |

#### Terms and Conditions –

- The works shall be carried out as per CPWD specifications amended upto date & to the entire satisfaction of Secy. / J.E(Elect ) /RSKP.

- All material used at Site shall be got approved before fixing at site from Secretary / RSKP JE (Elect).

- The payment will be made after entire satisfaction of J.E (Elect) / Secretary / RSKP, DDA

- No T & P will be issued by Department.

- No advance payment will be made to the agency.

- Nothing extra will be paid to the agency.

- No minor labour shall be engaged at site.

- Necessary statutory deductions as applicable will be made.

- Time allowed is 10 days for the completion of work.

- The repair and servicing of D.G. set shall be carried as per maintenance manual of Cummins make engine.

- All the parts shall be of Cummins make.

- Engine oil shall be from any make –HP, BP, Indian Oil.

(S.C. Gupta)

Secretary/ RSKP.