DELHI DEVELOPMET AUTHORITY

SOUTH WESTERN DIVISION NO.5

SARITA VIHAR     :     NEW DELHI.

No:-SWD-5/12(01)DDA/A/cs/2007-08/945                Dated: 5.10.07

# NOTICE INVITING TENDER

Sealed item rate tender are invited for the following works on behalf of DDA from the approved contractor of appropriate class of DDA, CPWD, MES, P&T  and Railways on the date mentioned below upto 3.00 P.M., which shall be opened on the same day at 3.30 P.M. at Vikas Sadan, (Press Building), DDA Office, INA, New Delhi by Executive Engineer, South Western Division No.5/DDA, Sarita Vihar, New Delhi in the presence of the intending purchaser or their authorized representatives.

Tender documents can be obtained on any working day from the date of publication between 11.00 A.M. to 3.00 P.M. on payment of cost of tender (Non-refundable) as well as amount of earnest money mentioned against each work on production of valid enlistment certificate, registration with works contract cell of Sales Tax Department of GNCTD and Tax Clearance Certificate issued by works contract cell on form XI, from Sr.A.O.(CAU)SEZ/DDA at  Shahpur Jat, New Delhi and Centralised Tender Office at Vikas Sadan.

| S.No. | NIT No. /Name of work | Estt. Cost | Last date of sale |
| --- | --- | --- | --- |
|  |  | Earnest Money | Date of opening |
|  |  | Cost of tender | Time allowed. |
| 1. | NIT No. 17EE/SWD-5/DDA/07-08. M/o Various green area under South East Zone. SH:- Construction of two nos.Rain Shelter with Fibre glass roof in parks at Sunlight Colony. | Rs.1,50,711/- | 12.10.2007. |
|  |  | Rs.3,014/- | 16.10.2007 |
|  |  | Rs.500/- | 45 days. |

Executive Engineer

SWD-5/DDA

Copy to:-

1. 	CE(SEZ)DDA.			2.	SE/CC-15/DDA

3.	Director System DDA 			4.	Director (PR), DDA

5.	F.O. to CE(SEZ)DDA.			6.	Sr.A.O(CAU)SEZ/DDA.

7.	All EE’s of SEZ/ DDA.		8.	Executive Engineer SED –11, DDA

9.	Jt.Director (Hort.)-I & VI/DDA      10.	All AE’s,  AAO, HC/SWD-5/DDA

11.	Chief Security Officer, DDA.

12.	Tender Clerk/ CAU (SEZ)/ DDA,  with the direction to make arrangement for sale

of tender forms supplied by the Division Office.

13.	Tender Clerk/ Centralised Tender Sale  Unit/DDA, Ist Floor, Press Building, Vikas

sadan, New Delhi-23-  with the direction to make arrangement for sale of tender

forms as supplied by the Division Office.

14	DDA Contractors welfare Association, Block-A, Vikas Kuteer, New Delhi.

15.	DDA Contractors Association (Regd.), 40-A/E-18, Vikas Kuteer, New Delhi

16.	Secy. CPWD Contractors Association, Y-Shape Building, IP Estate, New Delhi

17	Delhi Contractors Association (Regd.), 2618, Gali Dharamshala Wali, Kali Masjid

Turkman Gate, Delhi.

18.	Delhi Contractors & Builder  Association (Regd.), 5503, Prem Raj Bhawan, New

Chandrawal, Ch. Bhim Singh Road, New Delhi.

19.	Trans Yamuna DDA Contractors Association (Regd.), 11-12 Vir Swarkar Market

(Budg Bazar), Gandhi Nagar, Delhi-110031.

20.	All Delhi DDA & MCD Contractor Welfare Association (Regd.) ,253, Partap

Khand, Vishvakarma Nagar, Delhi –110095.

21.	Notice Board of Division Office

Executive Engineer /SWD-5/DDA

Schedule of Quantity

Name of work:-  M/o Various green area under SEZ.

SH:- Construction of (2) Two Nos. Rain Shelter with Fibre glass roof in parks at Sunlight Colony.

Estimated Cost: Rs.1,50,711/-	EMD:- Rs.3,014/-

Time allowed: 45 days.

S.No.  Description of Item.		Qty.	Unit    Rate           Amount

1.      Earth work in excavation in foundation or drains (not exceeding1.5m

in width or 10 Sqm. on plan) including  dressing of sides and ramming of

bottoms lifts upto 1.5metre including getting out the excavated soil and

disposal of surplus excavated soil as directed within a  lead of  50metre.

(a) All kind of soil.

13.00m3 Cum.

2.      Providing and laying in position cement concrete of specified grade

excluding the cost of centring and shuttering – All work upto plinth level.

(a) 1:5:10  (1cement : 2 coarse sand : 10 graded stone aggregate 40mm

nominal size).									        		                                               5.40m3	Cum.

b) 1:2:4 (1cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size).						                                               1.70m3	 Cum.

3.      Brick work with cement flyash lime, bricks of class designation 75

with mixture 1:3:6 (1 cement : 3 coarse sand : 6 graded fly ash) in

foundation  and plinth in    cement mortar 1:6 (1Cement : 6 coarse

sand)                                          12.25m3	  Cum.

4.     12mm cement plaster of mix. 1:6 (1cement :6 fine sand)

8.00m2	  Sqm.

5.     15mm cement plaster on the rough side of  single or half brick wall of

mix 1:6 (1  cement : 6 fine sand).

2.00m2 	Sqm.

6.     Centring and shuttering including strutting,  propping etc. and   removal          of form for. (a) Foundation, footings, bases of coloumns etc. for mass concrete.

13.40m2    Sqm.

7.      Reinforcement for RCC work including straightening, cutting, bending, placing in position and binding all complete. A)T.M.T bars.

55.00Kg.    Kg.

8.    Providing and laying in position specified grade of reinforcement cement concrete excluding     the cost of centring,  shuttering, finishing and reinforcement  all work upto   plinth level. (a) 1:1.5:3   (1cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size).

0.66m3    Cum.

9.   Dismantling stone slab flooring in cement  mortar  including disposal of unserviceable material within 50metre lead.

44.00m2	Sqm.

10.  30mm thick rubbed stone flooring over 20mm (average) thick base with joints 5mm thick including pointing with cement mortar 1:2 (1 cement: 2 stone dust) with an admixture of pigment to match the shade of stone with base 1:5 (1 cement: 5 coarse sand) a) Red sand stone

44.00m2         Sqm.

11.	Supplying and filling in plinth with Jamuna sand under floors including watering ramming consolidating and dressing complete.

1.80m3        Cum.

12.	Kota stone slab flooring over 20mm average thick base laid over and jointed with grey cement slurry mixed with pigments to match the shades of the slab including rubbing and polishing complete with base of 1:4  (1 cement: 4 coarse sand).  (a) 25mm thick.			 64.70m2	Sqm.

13.	Kota stone slabs 25mm thick in risers or steps skirting dado and pillars laid on 12mm (average) thick cement mortar 1:3(1 Cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and

polishing complete.

14.50m2	Sqm.

14.	Steel work in built up tubular trusses including cutting hoisting, fixing

in position  and applying a priming coat of approved  steel  primer welded

and bolted including special shaped washers etc. complete flat (a) Hot

finished welded type tubes.

787.00Kg.	        Kg.

- Providing and fixing fibre glass 3mm thick plain sheet coloured as required shade roofing and fixing with polymer coated J or L hooks bolts and nuts 8mm dia. G.I. plain and bitumen washer complete, excluding the cost of purlines, rafters and trusses. (a) upto 60 degree pitch                                   42.20Sqm.        Sqm.

16.Finishing walls with textured exterior paint “sandtex Matt” of M/s. Snowcem India Ltd. Or equavalent of required shade. (a) New work (two or more coats applied @ 3.08 Liter/10sqm.) over and including base coat of water proofing cement paint “ Snowcem Plus” or equvalent applied @ 2.20Kg./10 Sqm.

10.00Sqm.     Sqm.

- Painting with synthetic enamel paint of approved brand andmanufacture to give an even shade. (a) Two or more coats on New Work.                       30.00m2            Sqm.

18.    Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement: 3 Coarse sand: 6 graded stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with fine sand including finishing the top smooth.

20.00m2           Sqm.

# STIPULATED MATERIAL:-

1.                  Cement: 4.10 MT @ Rs.4600/- per M.T.

Place of Delivery: Any stone of DDA New Delhi/Delhi.

Executive Engineer

SWD-5/DDA

Unlimited freedom, unlimited storage. Get it now