DELHI DEVELOPMENT AUTHORITY

DWARKA SPORTS COMPLEX

SECTOR-11, DWARKA, NEW DELHI-75

NOTICE INVITING QUOTATION NO. 23/DSC/DDA/2012-13

Sealed item rate quotations are re-invited on behalf of Delhi Development Authority by the Secretary/DSC for the following works. The quotation should reach the office of the Secretary of Dwarka Sports Complex on or before 6.10.2012 upto 3.00 P.M. and will be opened on the same day at 3.30 P.M in the presence of intending quotationers. Only those Agencies /Firms/Persons having undertaken three similar works during the last three years in Govt. Deptt./Public Sector Undertakings are entitled to apply. A proof in this regard is necessary to be enclosed with quotation. The Earnest Money in the form of Pay Order/ Demand Draft / of any schedule Bank approved by R. B. I. drawn in  favour of “Dwarka Sports Complex, DDA” to be submitted with the quotation. Any quotation which is not accompanied by the earnest money in the prescribed manner shall be rejected summarily and not accounted for at all.

Estimated Cost :- Rs.38,656/-		 		Earnest Money :- Rs. 5,000/-

Name of Work: - M/o Dwarka Sports Complex, DDA.

SH: - Supply & laying of 2x16 Sq. MM cable for bollard fitting at DSC/ DDA.

| Sl. No. | Description of Items | Qty | Unit |
| --- | --- | --- | --- |
| 1. | Supply and testing of 2x6 Sq. mm Al. Conductor Armoured/ XLPE power cable 1.1 KV grade etc as complete as required. | 164 meter | Per meter |
| 2. | Laying of One no. PVC insulated, PVC sheathed/ XLPE power cable upto 35 Sq. mm 1.1 KV grade direct in ground i/c excavation, and refilling the trench but without sand and protection coverage etc as required. | 152 meter | Per meter |

TERMS & CONDITIONS:-

- The  work  shall  be  carried  out  as  per  specification  of  work  order /  satisfaction  of  Secretary/ DSC & JE (E).

- All  material  used  at  Site shall  be  got  approved  before  execute  the  work at site from Secretary/DSC & JE (E).

- Quoted rate should be inclusive of all taxes / levies including service tax, payable under respective statutes, DDA is not entertained any claim, whatsoever in this regard.

- The payment will be made after entire satisfaction of JE(E)/Secretary/DSC, DDA.

- No T & P will be issued by Department.

- The Agency should be registered with the Sales Tax Department, GNCT of Delhi & supposed to furnish a copy of Sales Tax Registration & Sales Tax Clearance Certificate and attach the same along with the quotation otherwise the quotation may not be considered and liable to be rejected.

- No advance payment will be made to the agency.

- Commissioner (Sports) reserves the right to accept or reject any bid / quotation without assigning any season.

- Conditional quotation will not be accepted.

- The agency have completed two similar nature of work are entitled to quoted the rate.

- Necessary statutory deductions as applicable will be made.

- Debarred agency / or individual shall not be permitted to participate in the tendering process.

- Any individual who has been debarred is not permitted to take part in any negotiations or represent an agency even if he holds a power of attorney on the agencies behalf. Any agency engaging debarred persons is also liable to debarring.

- The experience of agencies should be taken into account rather than individuals incorporated with the agency, this does not include proprietorship.

- Time allowed is 15 days for the completion of work.

- The agency shall be fully responsible for the watch & ward of the material brought / work at sites.

- Any damage caused to the existing installation of building during the course of execution of work the same shall be made good by the agency within the quoted rates.

Secretary

Dwarka Sports Complex, DDA

No.F11 (60) DSC/DDA /12-13/1549						Dt.29/08/2012

Copy to :-

- Commissioner (Sports)/DDA.

- Director (System)/DDA through E.Mail.

- A.O. (Sports), DDA.

- All Secretaries of the DDA Sports Complexes i/c Secretary (Coordn.).

- The Secretary, DDA Contractor’s Welfare Association, Vikas Kutir, New Delhi.

- The Secretary, DDA Contractor’s Welfare Association, E-18, Vikas Kutir, New Delhi.

- AAO/DSC/DDA.

- Asstt. Manager/DSC/DDA.

- JE(E)/DSC/DDA

- Notice Board.

Secretary

Dwarka Sports Complex, DDA