DELHI DEVELOPMENT AUTHORITY

# HARI NAGAR SPORTS COMPLEX

BERI WALA BAGH, HARI NAGAR, NEW DELHI- 110064.

No. F5 (24)2012/HNSC/DDA/418			  		   		Dt.: 03.09.2012

# NOTICE INVITING QUOTATION NO. 39 /2012-13

Sealed item rate quotations are hereby invited on behalf of DDA by the Secretary, HNSC for the following work. The quotation should reach in the office of the undersigned on or before 13.09.2012 up to 3.00 p.m. and the same shall be opened on the same day at 3.30 p.m. in the presence of the intending quotationers & their representatives. The quotationers are required to deposit Rs 5,000/- (Rs Five Thousand only) in the form of pay order/ demand draft of any nationalized bank approved by RBI drawn in favour of  “Hari Nagar Sports Complex, DDA”. Any quotation which is not accompanied by the Earnest Money in the prescribed manner shall be rejected summarily and not accounted for at all.

NAME OF WORK:  UPGRADATION / RENOVATION OF EXISTING FACILITY AT HNSC, DDA

SH: PROVIDING AND LAYING SEWER LINE FOR CONNECTING TOILETS DISPOSAL OF MAIN SEWER LINE BEHIND BILLIARDS & T.T HALL AT HARI NAGAR SPORTS COMPLEX, DDA

(SCHEDULE OF QUANTITY IS ATTACHED.)

Conditions:

- The work/ supply should be done at HNSC.

- The Agency should be professional.

- The work/ supply should be done as per specification.

- Nothing extra shall be paid.

- The payment will be made to the agency after the entire satisfaction of

Secretary (HNSC)/ JE (Civil) (HNSC).

- The undersigned reserves the right to reject/ accept the lowest quotations without assigning any reason.

- The Agency will be responsible for any loss of material/ damage due to negligence.

- Conditional quotation will not be entertained.

- The time allowed for execution of the work is 30 days.

- The rates shall be inclusive of all taxes/ levies including statutory liabilities.

- Agency should be register with Trade & Taxes GNCT of Delhi and supposed to furnish a copy of Tin and clearance certificate on quarterly basis otherwise quotation may not be considered.

- Validity of quotation shall be 60 days from the date of opening.

Secretary (HNSC)

Copy to:

- Commissioner(Sports), DDA.

- Director (System) with the request to bring the NIQ on DDA’s Web-site through Email – ddatender@dda.org.in

- A.O (Sports).

- Secretary all Sports Complexes.

- A.A.O (HNSC)

- Manager (HNSC).

- DDA Contractor Welfare Association, Room no. 12, Barrack no.1,Block- A, Vikas Kuteer, New Delhi.

- DDA Contractor Association E-18 Vikas Kuteer, New Delhi.

- Delhi Contractor’s Welfare Association (Regd.), 306, Masjid Moth, N.D.S.E., Part-II,

New Delhi-110049.

- Notice Board.

- Guard file

Secretary (HNSC)

| N.O.W. | UPGRADATION /RENOVATION OF EXISTING FACILITY AT HNSC, DDA |  |  |
| --- | --- | --- | --- |
| SH:- | PROVIDING AND LAYING (RCC PIPE) SEWER LINE FOR CONNECTING TOILETS DISPOSAL TO MAIN SEWER LINE BEHIND BILLIARDS & T.T HALL AT HNSC. |  |  |
| S.No. | Description of Item | Qty. | Unit |
| 1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :.a) Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 80 | Metre |
| 2 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 250 mm dia. R.C.C. pipe | 80 | Metre |
| 3 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round R.C.C. pipes including bed concrete as per standard design : a) 250 mm diameter R.C.C. pipe. | 80 | Metre |
| 4 | Constructing brick masonry circular type manhole 0.91 m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement :4 coarse sand), in side cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design 0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation) 560 mm internal diameter conforming to I.S. 12592, total weight of cover and frame to be not less than 182 kg., fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering shuttering all complete. (Excavation, foot rests and 12mm thick cement plaster at the external surface shall be paid for separately) : With common burnt clay F.P.S. (non modular) bricks of class designation 75. | 2 | Each |
| 5 | Extra depth for circular type manhole 0.91m internal dia (at bottom) beyond 0.91 m to 1.67 m With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | Metre |
| 6 | Providing M.S. foot rests including fixing in manholes with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) as per standard design : With 20x20 mm square bar | 4 | Each |
| 7 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 30 | Cum |
| 8 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 5.5 | Cum |
| 9 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : a) For pipes 250 to 300 mm diameter | 2 | Each |
| 10 | Desilting and taking out silt / debris / rubbish etc from partially discharged sewer lines / manholes with the help of sewer cleaning bucket machine i.e. the cost of labour, material, T&P, watch and ward, caution board, diesel, mobil oil, crane etc and wear and tear of machine all complete the silt / debris / rubbish etc taken out from manholes / sewer lines shall be carried / disposed off to the approved dumping ground or low lying area all complete as per direction of Engineer-in-charge. ( Nothing extra shall be paid for any damage to the sewer line / manholes shall be rectified by the agency at his own cost) | 10 | Cum |