DELHI DEVELOPMENT AUTHORITY

# HARI NAGAR SPORTS COMPLEX

BERI WALA BAGH, HARI NAGAR, NEW DELHI- 110064.

No. F6 (18)/HNSC/Elect./DDA/12-13/436	   					Dt.: 14.09.2012

# NOTICE INVITING QUOTATION NO.  44   /2012-13

Sealed item rate quotations are hereby invited on behalf of DDA by the Secretary, HNSC for the following work. The quotation should reach in the office of the undersigned on or before 24.09.2012  up to 3.00 p.m. and the same shall be opened on the same day at 3.30 p.m. in the presence of the intending quotationers & their representatives. The quotationers are required to deposit Rs 5,000/- (Rs Five Thousand only) in the form of pay order/ demand draft of any nationalized bank approved by RBI drawn in favour of  “Hari Nagar Sports Complex, DDA”. Any quotation which is not accompanied by the Earnest Money in the prescribed manner shall be rejected summarily and not accounted for at all.

NAME OF WORK: - UPGRADATION OF  HARI NAGAR SPORTS COMPLEX, DDA

SH: - SUPPLY AND LAYING OF CABLE FROM D.G. SET TO RECEPTION & T.T HALL FOR

EMERGENCY LIGHTING AT HNSC, DDA.

| SL NO. | DESCRIPTION OF ITEM | QTY | UNIT |
| --- | --- | --- | --- |
| 1. | Supply and testing of 2 x 35 Sq.mm Al. Conductor Armoured /XLPE power cable 1.1 KV grade etc as complete as required. | 185 meter | Per meter |
| 2. | Laying of One no. PVC insulated, PVC sheathed/ XLPE power cable upto 35 Sq.mm 1.1 KV grade direct in good i/c excavation, sand cushioning, protecting covering and refilling the trench etc as required. | 180 meter | Per meter |
| 3. | Supply and laying of 6 SWG as wire alongwith existing cable etc as complete as required. | 180 meter | Per meter |

Conditions:-

- The work shall be carried out as per specification.

- Nothing extra shall be paid to the agency.

- No T & P shall be issued to the agency.

- The agency having electrical contractor licence is entitle to submit the quotation.

- The cable shall be used Grandley, Skytone or Polycab make.

- The work shall be complete within 15 days.

- The Agency will be responsible for any loss of material/ damage due to negligence.

- Conditional quotation will not be entertained.

- The rates shall be inclusive of all taxes/ levies including statutory liabilities.

- Agency should be registered with Trade & Taxes GNCT of Delhi and supposed to furnish a copy of Tin and clearance certificate on quarterly basis otherwise quotation may not be considered.

- Validity of quotation shall be 60 days from the date of opening.

- The payment shall be made after entire satisfaction of Secretary (HNSC)/JE (Elect.)/HNSC.

- The undersigned reserves the right to reject/ accept the lowest quotations without assigning any reason.

Secretary (HNSC)

COPY TO:

- Commissioner (Sports), DDA.

- Director (System) with the request to bring the NIQ on DDA’s Web-site through

Email – ddatender@dda.org.in

- A.O (Sports).

- Secretary all Sports Complexes.

- A.A.O (HNSC)

- Manager (HNSC).

- DDA Contractor Welfare Association, Room no. 12, Barrack no.1,Block- A, Vikas Kuteer,

New Delhi.

- DDA Contractor Association E-18 Vikas Kuteer, New Delhi.

- Delhi Contractor’s Welfare Association (Regd.), 306, Masjid Moth, N.D.S.E., Part-II, New Delhi-110049.

- Notice Board.

- Guard file

Secretary (HNSC)