DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

No.F.5(Misc.)EE/Eld.11/DDA/12-13/909					Dated : 06-09-2012

NOTICE

NAME OF WORK:  Renovation of Badminton Hall & RECEPTION Hall at Vikas Sadan

(SH: Installation of Air Conditioning System & other electrical work.)

NIT NO. 04/EE/EL.D.11/12-13/DDA

In continuation of e - tender Press Notice No.07/FO to CE(Elect)Advt./2012-13/59 dt.07.08.2012

through which a NIT No.4/EE/Eld.11/DDA/12-13 was published with due date of opening of Technical Bids was 24.08.2012 . As per terms and conditions of the NIT Technical bid conference was held on 05.09.2012 which was attended by the intending tenderers .  The minutes of the meeting were circulated among  the contractors vide No.68(12)Pt.II/EE(P)/EC-3/DDA/2012-13/221 dt.5.09.2012 vide which Item No.12,13 & 14 mentioned

below  is corrected and other terms and conditions are the same . As on all the intending tenderer are requested to submit their rates  as per revised schedule attached for the below mentioned item upto 3.00 PM on 10.09.2012 which will be opened on 10.09.12 at 3.30. PM. Along with original price bid as already submitted In  the office of Executive Engineer, electrical division No.11, Vikas Sadan, New Delhi.

Other terms and conditions of the NIT   will remain unchanged.

S.No.		As per NIT						Changes/corrections in BOQ.

___________________________________________________________________________________________

| Item No. | Qty. | Unit | Qty. | Unit |
| --- | --- | --- | --- | --- |
| 12 | 2 Nos. | Each | 2 | Sq.Mtrs. |
| 13 | 4 Nos. | Each | 4 | Sqm.Mtrs. |
| 14 | 2 Nos. | Each | 2 | Sq.Mtrs. |

Sd/-

Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan.N.Delhi.

Copy to :

1). SE(E)-3/DDA/ for kind information.

2). EE(E)Plg./EC-3 .

3). M/s.Spacae Age Engineers, M-25, Diwan Complex, Ajay Enclaave, New Delhi-18.

4). M/s.Comfort Systems, 260 , Defence colony, Flyover Mkt. New Delhi.24.

Sd/-

Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan.N.Delhi.

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	BGDA 9 (Works & Development ).

2. Sub. Head.                                                           :                Renovation of Badminton Hall & reception Hall at

Vikas Sadan. SH: Installation of Air Conditioning

System & other electrical Works.

3.  Code No.                                                             :  	44006619

4. Reference to A/A & E/S                                     :       	A/A & E/S approved by EM,DDA, vide

1.Amount			            :	    	 No.FM.6(14)2012/’Est./Pt./1929 dt.18.05.2012

2.No. & date				     	for Rs.2,48,51,604/-

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:							b).Allocation to the Div.			:	90.00 LAC

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	    NIL

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  by SE(E)-3 Vide

DDA TS No. 49 /12-13 for Rs.37,56,629/-

2. Authority				:             SE(E)-3/DDA

3.No. & Date				:	91    dt. 30.03.2012

3. Prov.of sub.head				:              37.57 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	37.57 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	 D/o Parks and green for providing lighting

under South Zone.

2.SUB.Head.                                                            :	Providing and installation of path lights in

recreation complex park in Zone II, Tuglakabad.

3.  Code No.                                                             :  		 24088617

4. Reference to A/A & E/S                                     :

1.Amount			            :

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	50.00 Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	     NIL   6/2012

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  by EE/ED-11

TS No. 08/AE)P_/ED-11/DDA/TS/2012-13

For Rs.11,53.126/-

2. Authority				:          EE/ED-11,DDA

3.No. & Date				:	639 dt.17.7.2012 102  dt.09.04.2012

3. Prov.of sub.head				:               11.53 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	10.98 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	9 C Maintenance

Sub.Head.	M/o Various colonies under SZ SH: ARMO

Water supply P/Set and compound lighting

etc. at Tughlakabad  Institutional area.

3.  Code No.                                                             :  	44081550

4. Reference to A/A & E/S                                     :

1.Amount			            :	     Not required being a maintenance work.

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	125.00 lac 						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	14.09 lac upto 7/12

2.Against allocation			:	    NIL

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  by SE(E)-3 Vide

DDA TS No.      /12-13 for Rs.

2. Authority				:             SE(E)-3/DDA

3.No. & Date				:	             dt.

3. Prov.of sub.head				:

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	35.78 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  : M/o Various Scheme under NA II (SZ).

Sub.Head.                                                                   M/o ARMO  of sub. Station DG Set Submersible P/Set,

fountain and lighting system at Millennium Park zone

1 to 5 Supply and replacement of rusted poles, fittings

and XLPE cables.

3.  Code No.                                                             :  24400769

4. Reference to A/A & E/S                                     :

1.Amount			            :	     Not required being a maintenance work.

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	350.00 lac 					b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	71.71 lac upto 7/12

2.Against allocation			:	    NIL

8. Ref. to ARMO Estimates:			:Estimates  Technically sanctioned  by SE(E)-3 Vide

1. Amount 					 No.28/SE(E)/DDA/12-13 dt.2.4.2012 for

Rs.79,20,364/-

2. Authority				:   SE(E)-3/DDA

3.No. & Date				:  104 dt.9.4.2012

3. Prov.of sub.head				:    20.00 lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	3.47 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	9 C Maintenance

M/o Completed scheme finishing &

Furnishing  of Vikas Sadan.

2.Sub.Head                                                             :                 SH: Annual operation and maintenance

contract of road lighting around Vikas Sadan.

3.  Code No.                                                             :  	44006600

4. Reference to A/A & E/S                                     :

1.Amount			            :	     Not required being  a maintenance work.

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	144.00 lac 						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	110.23 Lac

2.Against allocation			:

8. Ref. to ARMO Estimates:			: Estimates  Technically sanctioned  by CE(E) vide TS

No.W-27/SE(P) EE(P)I/DDA/12-13/596 dt.14.5.2012

or Rs. 3,46,23,666/-.

1. Authority				:   CE(E)/DDA

2.No. & Date				: 596 dt.14.5.2012

3. Prov.of sub.head				:  5.57 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against	:  	NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	2.47Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	9 C Maintenance

M/o Completed scheme finishing &

Furnishing of Vikas Sadan.

2. Sub. Head                                                             :               SH: M/o E.I.& Fans- Providing and fixing of Computer

Points at various locations Vikas Sadan.

3.  Code No.                                                             :  	44006600

4. Reference to A/A & E/S                                     :

1. Amount			            :	     	Not required being a maintenance work.

2. No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	144.00 lac 						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	110.23 Lac

2.Against allocation			:

8. Ref. to ARMO Estimates:			:  Estimates  Technically sanctioned  by CE(E) vide TS

No.W-27/SE(P) EE(P)I/DDA/12-13/596 dt.14.5.2012

or Rs. 3,46,23,666/-.

1. Authority				:   CE(E)/DDA

2. No. & Date				:   596 dt. 14.5.2012

3. Prov.of sub.head				:   3.86 Lac

9. Expdr. Already incurred

i).Total Maint. Expdr. Against 		:	NIL

ARMO  Estt.

ii). Expdr. Incurred during the year against	:	NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	3.86  Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  NIQ

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

1/N

1.	Name of Work			:

2.	Estimated Cost 		:  Rs.

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.

6.	Lowest Quoted Amount	: Rs.

7.	Time Allowed 		:

8.	No. of  tender sold		:          Nos.

9.	No. of tender Received	:          Nos.

10.	Last date of sale of tender:     	      .2011

11.	Date of opening 		:        	    .2011

12.      Ref. of NIT No.      		:       	  /EE/ED-11/DDA/12-13

ITEM RATE TENDER

Online item rate tender were invited and opened at 3.30 PM on

--------------in the office of Executive Engineer, Electrical Division No.11, press Building INA, New Delhi in the presence of intending renderers and their authorized representatives.

M/s .                                                                  has quoted the tender and rates worked out amount to Rs._____________i.e. _____    the estimated cost put to tender.  Original N.I.T.  &    No. tender in the shape of comparative Statement through

e tendering along with hard copies submitted by the agencies  and EMD & Tender sale money transfer in the Account of Sr.AO/CAU/SZ through RTGS attached in the file for onwards transmission to AE(P),ED-11   for preparation of justification please.

Submitted please.

DA

AAO/ED-11

Ex. Engineer, ED-11

Asstt. Engineer (P)/ED-11

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)/EE/ED-11/2012-13/DDA/				Dated :

To

Sr.AO (CAU/SZ),

Shahpurjat, New Delhi.

SUB :  Medical allowance paid to the Staff in the salary.

REF : F.1(Misc.)Dy.CAO(SZ.02.08.2012.

In continuation of this office letter No.F.5(Misc.)EE/ED-11/2012-13/DDA /798 dt.8.8.2912 on the above cited subject . As per telephonic massage received from your

office, as desired  the required/additional information are as under :-

Medical allowance paid to staff in the Salary :-

year.		Expdr. on W/C Staff	Expdr. on Regular staff.

2010-11	Rs.1,90,200/-			Rs.1,47,900/-

2011-12	Rs.1,93,200/-			Rs.1,32,600/-

Executive Engineer (E)

Electrical Divn.NO.11/DDA

6/N

1.	Name of work 			: Renovation of Badminton Hall & reception Hall at Vikas Sadan .

SH: Installation of Air- Conditioning system & other electrical

work.

2.	Estimated Cost 		: Rs.35,77,742/-

3.	Earnest Money		: Rs.71,555/-

4.	Date of Tech. Bids		: 24.08.2012

5.	No. of tender sold		: 2 Nos.

6.	Nos.  of Bids received		: 2 Nos.

7.	Late date of received bids	: 17.08.2012

8.	Opening of bids		: 24.08.2012.

9.	Reference of NIT No.		: 04/EEED-11DDA/12-13.

The above said NIT was invited by FO to CE(E) ,DDA on 7.8.2012 with due date of received  of Technical bids  and opening of bids  are 17.08.2012 & 24.08.2012 respectively.  The above Tech. bids are opened on line on due date i.e. 24.08.2012 in the office of Executive Engineer, Electrical Division No.11.  The following bidders are participates in the Tech. Bids are as under:-

1. M.s. Comfort System 	EMD deposited through NEFT/RTGS No.SBINH12229492 710

dt.16.8.2012 For Rs.71,555/- & Tender sale Money for Rs.525/-

NEFT/RTGS No. SBINH122294922709  from SBI  which was confirmed  in

the  name of  agency i.e. M/s Comfort System from the Bank Statement

received from CAU/SZ ,but  as per hard copy Submitted by the agency they have transfer the EMD and tender sale money from the account of  Sh. Rajendra Kumar Talwar, before opening of bids  we have also contact the agency  they have replied  that  Comfort system  is a Proprietorship  Firm and proprietor  is Sh. Rajindra  Kumar Talwar. They have completed the 100 % value of work .

| Comport System | Reg. CPWD MES | Class B Class C |  |
| --- | --- | --- | --- |

2.	M/s.	Space Age 	EMD deposited through NEFT/RTGS No.BKIDN12224127348 dt.11.8.2012

For Rs. 71,555/- & Tender sale money for Rs.525/- vide NEFT/RTGS

BKIDN1222412722 dt.11.08.2012 from Bank of India Tilak Nagar, New

Delhi, which was confirmed from  the Bank Statement from the CAU/SZ.

They have completed 40 % of 3 works for current costing level by

Enhancing the value of work done @ 7% .

| M/s. Space Age | Specialized firm |  |  |
| --- | --- | --- | --- |

In view of above,  2 Nos. Tech. Bids have been received through online on 24.08.2012.

File is submitted for checking of Tech. Bids to AE(P) and after that  onwards transmission to

SE(E)-3

Submitted please.

AAO/ED-11

Executive Engineer,ED-11

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

Finalization of accounts of 2011-12.

1. (a& b) Details of expenditure on various scheme of BGDA

under 9A,9C,10A & 10 B enclosed .

c). Material at site Register-   No material at site issued,

hence NIL report may be considered.

d). Not applicable in view of (c) above.

e). Contractor’s ledger.No advance Payment given

to the contractor .

2. Photo copy of supply order register for the year

2011-12 attached.

3. Water charges  - No  payment of water charges paid

during 2011-12.

4. Arbitration  cases- No  Arbitration cases pending in

this division upto 31.3.2012.

Executive Engineer (E)

Electrical Divn.No.11/DDA

MOST URGENT

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)/EE/ED-11/2012-13/DDA/				Dated :

To

M/s.K.N.Goyal & Co.

Vikas Sadan C Block

New Delhi-110023.

SUB : Finalisation of accounts of 2011-12.

REF : F.(5)CAU/SZ/DDA/2012-13/141 dated 9.07.2012

Please refer on the above cited subject and reference, addressed

to Sr. AO(CAU/SZ),DDA.  In this connection the required report in respect

of Electrical Division No.11 is enclosed for further necessary action please.

Encl: As above.

Executive Engineer (E)

Electrical Divn.No.11/DDA

Copy to :

1). Sr.AO(CAU/SZ),DDA , for information w.r.t. his letter dt.9.07.2012.

along with report.

Executive Engineer (E)

Electrical Divn.No.11/DDA

To

The Executive Engineer (E),

Delhi Development Authority,

Press Building , Vikas Sadan,

New  Delhi.

SUB  :-  Permission for  further study.

Sir,

Most humbly and respectfully say, that I want to continue for further studies in BA (Correspondence course). You are requested to kindly give me Permission for admission in BA (Correspondence course).

Thanking You,

Your’s faithfully,

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)/EE/ED-11/2012-13/DDA/				Dated :

To

Sr.AO (CAU/SZ),

Shahpurjat, New Delhi.

SUB : PAN  of staff of Electrical Division No.11/DDA

A telephonic massage received from Sr.AO(CAU/SZ) , regarding PAN of  regular and W/C (R) staff presently  working in  Electrical Division No.11/DDA.  As desired required report are enclosed for ready reference please.

Encl: As above.

Executive Engineer (E)

Electrical Division No.11/DDA

ANNEXURE - I

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

INFORMATION AND INSTRUCTIONS FOR CONTRACTORS FOR  e-TENDERING FORMING PART OF NIT AND

TO BE POSTED ON WEBSITE

(Applicable for inviting open tenders)

The Executive Engineer (E) Electrical Division-11, on behalf of Delhi Development Authority  re-invites online Item rate tenders in Two-bid system  on 20.09.2012 from the Specialized Firms who meet the following specialized conditions and shall be opened of Technical Bids on the same day at 3.30.PM.

The applicant shall submit the self attested following documents in support of their eligibility for issue of tenders:-

i). 	The intending tenders should have executed and completed satisfactorily similar nature/class of

work(s) each costing as below in the central /State Govt. Deptt. or in Public Sector undertaking/Govt.

Autonomous Bodies during  the last seven years.

ii). 	At least one work of similar nature of 80 % of estimated cost or two works of similar nature of 60% of

estimated cost or three work of similar nature of 40 % of estimated cost in last seven years ending

April, 2012.

iii). 	The intending tenderers shall produce proof from the appropriate authority not below the rank of

Executive Engineer or equivalent.

Iv). 	The value of work executed by a firm sometime earlier shall be brought to current costing level by

enhancing the value of work done @ 7% per annum(calculated from date of actual completion to the

current date without compounding) for eligibility criteria for  above mentioned works :-

| Sl. No. | NIT___________ Name of Work & Location | Estimated Cost put to tender In Rs. | Earnest Money Cost of Tender document Tender Processing Fee | Period of Completion | Last Date & time of submission of tender | Period during which UTR/-NEFT against EMD, Cost of Tender Document, E- mode ITI Ltd. Towards cost of Processing Fee and other Documents shall be submitted in Divn. Office | Time & date of Opening of Technical Bids. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | NITNo.11/EE/ELD.11/DDA/12-13 M/o Completed Scheme finishing & furnishing Vikas Sadan. SH: Utilization of CCTV Camera & accessories at Vikas Sadan. (Re-Invited) | 1,44,13,196/- | 2,88,264/-1,575/-8,098/- | 45 Days | 13.09.2012 Up to 3.00 p.m. | 14.09.2012 Up to 3.00 P.M. | 20.09.2012 at 3.30 PM |

The tender document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org.in free of cost.

The enlistment of contractor should be valid on the last date of submission of tenders.  In case the last date of submission of tender is extended, enlistment of contractor should be valid on the original date of submission of tenders.

Those contractors not registered on the website mentioned above, are required to get registered beforehand.  The intending bidder must have valid class II digital signature to submit the bid.

Note: Earnest Money and Cost of tender shall be deposited through RTGS/NEFT in the Saving Account of  Sr. AO,CAU, South Zone, DDA having Account No. 13940110008584 with UCO Bank, Shahpurjat,  New Delhi-110016 and UGF Branch (IFSC code UCBA0001394)																sd/-

ECUTIVE ENGINEER (E)						            					 ELECTRICAL DIVISIOIN NO.11/DDA

2/-

F.5(Misc.) EE/Eld.Divn.No.11/DDA/12-13/900                   		Dated : 5/9/2012

Copy to:-

1.	The Chief Engineer (Elect.), DDA,

2.	The Suptdg. Engineer (Elect.) Circle-3, DDA.

3.	The Suptdg, Engineer/Quality Control Cell, DDA.

4.	Director System, DDA, with the request to put on DDA “Website.

5.	Finance Officer, to Chief Engineer(Elect.), DDA

6.	Executive Engineer/Western Division No. 5,Vikas Minar, DDA

7.	Executive Engineer (Elect.) Div. No. 1,3,4,5,6,78,9,10 &12/DDA.

8.	Sr.Accounts Officer, CAU/South Zone /DDA.

9.	The Secy.Contractor Welfare Association (Regd.)Y-shape Building IP Estate, New Delhi.

A.O.(Work),DDA

10.	Asstt. Engineer (Elect.)1,2,3,4 & AE (P)Dv. No.11/DDA.

11.	Asstt. Accounts Officer, Elect. Div. No. 11 .DDA.

12.	Head Clerk, Elect. Div. No.11 /DDA

13.	The Association of Electrical Contractor (Regd.) Chamber No.103,Laxmi Complex,

B-6, Subhash Chowk, Laxmi Nagar, Delhi

14.	DDA Contractor Association,. E-18, Vikas Kutteer New Delhi.

Secretary, Contractor Association. Block-11, 946, Kirti Nagar, Ware Housing Scheme, New Delhi.

15.	DDA Contractor Welfare Association. Room No. 12, Barrack No.1, Vikas Kutteer, New

Delhi.

16.	E-Mail address : ddatender@dda.org.in

17. M/s.ITI Ltd. Tender Wizard help desk centre, C-9, New Krishna Park, Vikas Puri,

New Delhi -110018.

18.	Notice Board.

sd/-

EXECUTIVE ENGINEER (E)

ELD. DIVN.NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)/EE/ED-11/2012-13/DDA/				Dated :

To

The SE(E)-3,

DDA, Vikas Minar,

New Delhi.

SUB : Award of work without call of tender.

REF : CE(SZ)FO/18(98)07-08/2277 dated 17.04.2009.

Please refer on the above cited subject and reference.  In this connection, it is to

inform you that this office has awarded one work without call of tender in the Month

of August 2012 , the details are as under :-

| S.No. | Name of Work | Agency | Amount | Competency of W.O. |
| --- | --- | --- | --- | --- |
| 1. | M/o Various colonies under south zone SH: ARMO clear water supply P/Set, DG set at plotted area Mandakini. Dismantling and re-installation of D.G. Set of 10 KVA from Mandakini clear water pump house to Civil Circle 18 at Sirifort AGVC. | M/s. Llyods Enterprises. | Rs.28,500/- | EE/Eld.11 |
| 2. | M/o Completed Scheme finishing & furnishing Vikas Sadan .SH: M/o EI & Fans electrical wiring and replacement of lights fitting in computer cell. | M/s. M. S. Electrical | Rs.1,99,800/- | Approved by SE(E)-3. |

Executive Engineer (E)

Electrical Divn.No.11/DDA

DELHI DVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO:-                F.5(Misc.) EE/El.Divn.11/DDA/pt.1/	      Dt:

Name of Work  :   M/O Completed scheme finishing & furnishing Vikas  SADAN

SUBJECT    :-	       Re-appropriation of funds.

----------------------------

Electrical division No.11 is maintaining the office of Vikas Sadan, DDA for electrical essential services.  Various emergent payments such as electricity consumption charges maintenance expenditure & staff salaries etc. has to be made by this division to function the electrical services smoothly.

An amount of Rs.400 lacs was proposed by this division for Budget   provision   for the year 2012-13 (copy enclosed), but inadvertently an amount of Rs.44.00 lacs was allocated to this division for maintenance of Vikas Sadan DDA. This amount of Rs. 44 lacs is insufficient to meet the electrical expenditure for the year 2012-13.  As such a case of re-appropriation has been prepared. The scheme from which the fund is being re-appropriated pertains to this division and an amount of Rs.400 lacs is proposed for re-appropriation from the scheme as per Performa   placed opposite.

E.E.(E)El.Divn.11/DDA.

SE(E)/EC-3

CE(Elect)

CAO,DDA

1/N

1.	Name of Work		: Renovation of Badminton Hall & reception Hall at

Vikas Sadan SH: Installation of Air- Conditioning

system & other electrical work.

2.		Estimated Cost 		:  Rs.35,77,742/-

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.71,555/-

6.	Date for Tech.Bids		: 26.06.2012

7.	Time Allowed 		: 2 Months

8.	No. of  tender sold		:  01 No.

9.	No. of tender Received	:  01 No.

10.	Last date of sale of tender: 20.06.2012

11.	Date of opening for Tech. Bids:  26.06.2012

12.      Ref. of NIT No.      		:  04/EE/ED-11/DDA/12-13.

ITEM RATE TENDER

Online item rate tender was invited for Tech. Bids and opened at 3.30 PM on 26.06.2012 in the office of Executive Engineer, Electrical Division No.11, press Building INA, New Delhi in the presence of intending renderers and their authorized representatives.

M/s. S.K. Engineers & Consultants has quoted the single tender/bids and technical bids have been received on 26.06.2012 in the shape of hard copies, copies enclosed in the file.  File is onward transmission to AE(P) for checking of Tech. Bids etc.

Submitted please.

DA

AAO/ED-11

Ex. Engineer, ED-11

1/N

1.	Name of Work		: Renovation of Badminton Hall & reception Hall at

Vikas Sadan SH: Installation of Air- Conditioning

system & other electrical work.

2.		Estimated Cost 		:  Rs.35,77,742/-

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.7,310/-

6.	Lowest Quoted Amount	: Rs.3,24,600/-

7.	Time Allowed 		: 12 Months

8.	No. of  tender sold		:  01 No.

9.	No. of tender Received	:  01 No.

10.	Last date of sale of tender: 21.06.2012(Re-invited)

11.	Date of opening 		:  25,06.2012

12.      Ref. of NIT No.      		:  09/EE/ED-11/DDA/12-13.

ITEM RATE TENDER

Online item rate  tender was re-invited and opened at 3.30 PM on           25.06.2012 in the office of Executive Engineer, Electrical Division No.11, press Building INA, New Delhi in the presence of intending renderers and their authorized representatives.

M/s. Gupta Electricals has quoted the single  tender and rates has been worked out amounting  to  Rs.3,24,600/- i.e.11.19 % below against the estimated cost put to tender.  Original N.I.T.  & one No. tender in the shape of comparative Statement received through e tendering along with tender applications attached for onwards transmission to AE(P),ED-11   for preparation of justification .

DA

AAO/ED-11

Ex. Engineer, ED-11

ELECTRICAL DIVISION NO.11

DELHI DEVELOPMENT AYTHORITY

NAME OF WORK :-    	M/O   Completed scheme finishing & furnishing  Vikas Sadan.

(     Re-appropriation of Funds.  )                     (Figures are in  lacs )

| S. No. 1. | Name of work 2. | Code No. 9 C Maintt.. 3. | AA&ES/ARMO No. 4. | BE-2012-13 5. | Progressive Upto 5/12 6. | Physical progress 7. | Amt. of re-appropriation reqd.(in lacs) 8. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | M/O Completed furnishing & furnishing Vikas Sadan. | 44006600 | T.S No. 1W 27/SE(P)/EE(P)-1/DDA/2012-13/596 dt.14.5.12 Rs.346.23 | 44.00 | 31.56 | N/A | 356.00 |

| Reasons for re-appropriation 9. | Name of work with equivalent saving from which re-appropriation is purpose 10. | Scheme code no. 11. | BE-2012-13 12. | Amt. of saving re-appropriation 13. | Reasons for saving 14. | Will this adverse effect on the works. 15. |
| --- | --- | --- | --- | --- | --- | --- |
| Short allocation in BE-2012-13 | S/I of central Air conditioners Vikas Sadan. | 9A works 44006613 | 760.00 | 356.00 | The work is yet to be taken up | No. |

CERTIFICATE  :-

1.   Certified that re-appropriation of fund is due to short allocation in BE-2012-13.

2.   Due to re-appropriation of fund the work at column no. 10 will not suffer.

3.  Certified that the funds are re-appropriated in the same of head accounts.

Executive Engineer (E)		         SE(E)-3/DDA                            F.O.(SZ)	                     CE(E)

Electrical Divn.No.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.(Misc.)EE/ELD.11/DDA/12-13/					Dated :

To

The Manager,

Central Bank of India,

INA,Vikas Sadan,

New Delhi-110023.

SUB :   Salary for the month of May 2012.

Sir,

A cheque bearing No.                 dt. 30.05.2012 for Rs.11,89,552/- was sent to your bank for payment of Salary in the month of May 2012 to the staff of Electical Division No.11/DDA under ECS payment through Bank.

In this connection , it is to inform you that in the Bank statement  account No.127211400  of Sh.Puspat Nath  was  inadvertently wrongly mentioned for Rs.19,496/-

You are therefore, requested to correct the Account  number of Sh.Puspat Nath vide No.1272117400  and credit the Salary amount for Rs.19,496/- in his account.

Thanking You,

Executive Engineer (E)

Electrical Division No.11/

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

INFORMATION AND INSTRUCTIONS FOR CONTRACTORS FOR e-TENDERING FORMING PART OF NIT AND TO BE POSTED ON WEBSITE

(Applicable for inviting open tenders)

The Executive Engineer (E) Electrical Division – 11, on behalf of Delhi Development Authority invites online Item Rate tenders on 16.06.2012 from approved and eligible contractors of DDA, CPWD and those of appropriate list of MES, BSNL, and Railway for the following works and shall be opened on the same day at 3.30.PM.

| Sl. No. | NIT___________ Name of Work & Location | Estimated Cost put to tender In Rs. | Earnest Money Cost of Tender Processing Fee | Period of Completion | Last Date & time of submission of tender | Period during which UTR/-NEFT against EMD, Cost of Tender Document, E- mode ITI Ltd. Towards cost of Processing Fee and other Documents shall be submitted | Time & date of Opening of tending |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| 1 |  |  |  |  |  |  |  |

The tender document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen from website www.tenderwizard.com/DDA or www.dda.org.in free of cost.

The enlistment of the last date of submission of tender is extended, the enlistment of contractor should be valid on the original date of submission of tenders in case only the last date of submission of tender is extended, enlistment of contractor should be valid on the original date of submission of tenders.

Those contractors not registered on the website mentioned above, are required to get registered beforehand.  The intending bidder must have valid class II digital signature to submit the bid.

Note: Earnest Money and cost of tender shall be deposited through RTGS/NEFT in the account of Sr. AO,CAU, South Zone,DDA having account No.13940110008584 with Uco Bank, Shahpurjat,New Delhi-110016 and UGF Branch(IFSC code UCBA0001394).

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVISIOIN NO.11/DDA

Press building, Vikas Sadan, INA, N.Delhi-23

THE SAILANT FEATURES OF THE TENDER ARE GIVEN BELOW :-

1. Name of work	: 	D/o Green Area Near Vijay Mandal Begampur

(Area between Sarvodya  Enclave & Begampur).

2. Ref. to A/A & E/S :

| 1.Authority 2.No.& Date 3. Amount. | EM/DDA. EM.6(32)2003/Estt./Pt./1670-82 dated 11.03.2005 Rs.5068.81 Lacs. |
| --- | --- |

3.Ref. of Tech. Sanction :

1. Authority	:  SE(E)-3/DDA.

2. No.& Date 	: T.S. No.36/SE(E)-3/DDA/2011-12 dt.22.12.2011

3.Amount 	: Rs.43,18,731/-

4. Ref. of approval of NIT.

1. Authotrity	: Approved by SE(E)-3/DDA

2. No. & Date	: 13/SE(E)-3/DDA/20111-12

3. Amount   	: Rs.40,63,077/-

5. Ref of date of publicity:

1. Date on which notice inviting tenders

was placed on the notice board of 	: 16.02.2012

Division office.

Cont..2/-.

2/-..

2. Date on which it was circulated to

other offices.					:16.02.2012

3.Name of Newspaper with		            : i) Hindustan Times

Date in which the notice inviting	: ii) Navbharat Times

Tender was actually advertised		: iii) Hindu.

6.	i)  The date & time by which tender

Were due to be received through	17.05.2012 at 3.00 PM

e-tending .

7.	Particulars of contractor to whom

Tenders were sold quoting authority

For issue of tenders and eligible to

Tender:-

| 1. | M/s.Gurnam Bros. | DDA, Class-II(E) |
| --- | --- | --- |
| 2. | M/s.Continental Electricals | CPWD-Class II (E) |
| 3. | M/s.Subham Electricls | DDAA Class I (E) |
| 4. | M/s.Goel Electricals | DDA,Class I(E) |
| 5. | M/s.Kuka Enterprises | CPWD Class II (E). |
| 6. | M/s.Goel Electric Works | CPWD Class I (E). |
| 7. | M/s.N.K. Engineering Works | CPWD Class I (E). |

9.	Opening of tenders:

1). Date & time by which tender were due 	: 18.05.2012 at 3.30 PM

to be opened

2). Date and time when tender were actual	: 18.05.2012 at 3.30 PM

opened

3). Name and desgn. of officer who	       :Sh.B.B.Guruwara,EE/Eld.11,

Actually opened the tender

4). Name and desgn. of any other person  1). Sh.S.S.Saini,AAO.

Present	.				       2). Pradeep Kumar,UDC

5. Have all the contractor , if not exempt

Deposited earnest money in prescribed form	:Yes

10.	 list of person who tendered and their

Tendered amount	.

1). M/s.Gurnam Bros.			Rs.28,15,230/-

2). M/s.Goel Electric Works		Rs.34,53,200/-

3). M/s.N.K.Engineering Works		Rs.33,21,650/-

4). M/s.Goel Electricals			Rs.30,41,700/-

5). M/s.Kuka Enterprises.			Rs.34,36,500/-

11.	Justified item rate as worked  out by

Division office.	11.19 % above the estimated cost

Contd..3/-..

3/-..

12).	Remarks and recommendation of EE

1). Availability of site					: Available

2). Availability of stipulated material			: Available

3). Approval of layout plan				:  Available

4). Approval to building plan clearance from		: N.A.

DUAC

5). Availability of funds				: Funds available for

Rs.50.00 Lacs.

13.	Call of tender 					: Ist Call

14.	Recommendation			:Total 5 Nos. tenders have been

received and out of which

M/s. Gurnam Bros. has quoted

the lowest rates i.e.

Rs.28,15,230/- i.e. 30.71 % below the

estimated cost and justification of the

tender has been worked out as per

market rates supplied by Delhi Govt.

worked out Rs.45,74,977 which is

11.19 % above the estimated cost. It is

recommended that work may be

awarded to M/s.Gurnam Bros. at its

quoted rates amounting to

Rs.28,15,230/-  are reasonable  and

justified.

Encl: As above:-

1). All 5 Nos. Original tenders .

2). Comparative Statement

3). Justification

4). NIT in original.

5). Tender Notice.

Executive Engineer,(E)

Electrical Divn.No.11/DDA

ELHI DEVEOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.3 (31) EE(E)/Elect.Divn.No.11/DDA/07-08/		Dated :

To

M/s.M.D.Cable Network,

Shop No.64 Ring Road Market,

Sarojini Nagar,New Delhi-110023.

Sub :       Installation of 2 Nos. Additional set Top Box.

Ref :        F.3(31)EE(E)Elect.Divn.NO.11/DDA/07-08/330 dt.4.7.08

This has reference to your letter/offer dated 19.03.2012 , wherein you have

been ready to   provide  2 Nos.  additional set top Box ,fresh connection in the existing

rates.  Your quoted rates have already been accepted by the Competent Authority on

the  terms and conditions . You are requested to install two Nos. additional set top

box connections in the office of Shri Jitender Kumar Kochar Authority Member & Mrs.

Varsha Sinha Director (H)II in Vikas Sadan, on the same rates & terms and conditions

as contained in the above mentioned acceptance letter dated 04.07.2007.

Executive Engineer,(E)

Electrical Division No.11

D.D.A.,Vikas Sadan.

Copy to :-

1).SE(E)Circle-3,DDA for information please

2).AE(E)IV,Elect.DivisionNo.11, for taking necessary  action.

3).AE(P)Elect.Divn.No.11/DDA

4).AAO/Elect.Divn.No.11/DDA

Executive Engineer (E)

Electrical Divn.No.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)EE(E)/El.Divn.-11/DDA/2012-13/			Dated :

TO WHOM IT MAY CONCERN

This is to certified that M/S. Prominent Electric Works,2205, Rajguru Road, Chuna Mandi, Pahar Ganj, New Delhi-110055  has completed the following works satisfactorily as per details given below:-

Sl.No.	Name of work

Date of Start(Agmt.)               Estimated Cost 		                                                               Date of compl.(Agmt.)             Tendered Cost

Date of start (Actual)              Total Value of

Date of compl.(Actual)                   Work done.

1.	M/O Completed Scheme finishing & furnishing 	11.03.2010              Rs.10,00,561/-

Vikas Sadan SH: Annual operation & maintt. of	10.03.2011              Rs.9,99,940/

all equipment of sub. Station and  D.G. Sets.	20.03.2010              Rs.12,94,540/-

No.53/EE(E)/Eld-11/DDA/2009-10.	19.08.2011

Executive Engineer (E)

Electrical Divn. No.11, D.D.A.

Vikas Sadan, Press Building,

I.N.A., New Delhi-110023

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

No.F.5(Misc.)EE/Eld.11/DDA/12-13/					Dated :

NOTICE

In continuation of  e - tender Press Notice No.17/FO to CE(Elect)Advt./2011-12/11

Dated 16.02.2012 through which a NIT No.44/EE/Eld.11/DDA/11-12 was published with due date of opening 06.03.2012 .  The schedule of opening of NIT was postponed vide letter even No. dated 5.03.2012 .

As per terms and conditions (4.1) of the NIT pre-bid conference was held on 05.03.2012 which was attended by the intending tenderers.  The minutes of the meeting were circulated among  the contractors vide No.68(12)Pt.11/EE(E)/DDA/2011-12/59 dt.12.03.2012  and corrigendum vide No.68(12)Pt.II/EE(E)P/DDA/2011-12/72 dt.14.03.2012 and the revised schedule  along with drawings, terms & conditions Minutes of meeting held on 5.3.2012 and its corrigendum as discussed in the meeting is being uploaded on the tenderer web site of the DDA.  As on all the intending tenderer are requested to submit their rates upto 3.00 PM on 17.05.2012 which will be opened on 18.05.2012 at 3.30. PM. In  the office of Executive Engineer, electrical division No.11, Vikas Sadan, New Delhi.

Other terms and conditions of the NIT   will remain unchanged.

Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan.N.Delhi.

Copy to :

1). SE(E)-3/DDA/ for kind information.

2). M/s.N.K.Engineering Works

3). M/s.Subham Electricals

4). M/s.goel Electrical Works

5). M/s.Gurnam Bros.

6). M/s.Continental Electricals.

7). M/s.Kuka Enterprises.

8). M/s.Goel Electricals.

9). AAO/Elect.11/DDA.

Executive Engineer (E)

Electrical Division No.11

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

No.F.5(Misc.)EE/Eld.11/DDA/12-13/					Dated :

NOTICE

Renovation of Badminton Hall & RECEPTION Hall at Vikas Sadan

SH: Installation of Air Conditioning System & other electrical work.

In continuation of e - tender Press Notice No.07/FO to CE(Elect)Advt./2012-13/59 dt.07.08.2012

through which a NIT No.4/EE/Eld.11/DDA/12-13 was published with due date of opening of Technical Bids was 24.08.2012 . As per terms and conditions of the NIT pre-bid conference was held on 05.09.2012 which was attended by the intending tenderers .  The minutes of the meeting were circulated among  the contractors vide No.68(12)Pt.II/EE(P)/EC-3/DDA/2012-13/221 dt.5.09.2012 vide which Item No.12,13 & 14 mentioned the Unit in  each which is corrected in BOQ  is Sq.mtrs. and other terms and conditions are the same . As on all the intending tenderer are requested to submit their rates upto 3.00 PM on 1009.2-12 which will be opened on 10.09.12 at 3.30. PM. In  the office of Executive Engineer, electrical division No.11, Vikas Sadan, New Delhi.

Other terms and conditions of the NIT   will remain unchanged.

S.No.		As per NIT						Changes/corrections in BOQ.

___________________________________________________________________________________________

| Item No. | Qty. | Unit | Qty. | Unit |
| --- | --- | --- | --- | --- |
| 12 | 2 Nos. | Each | 2 | Sq.Mtrs. |
| 13 | 4 Nos. | Each | 4 | Sqm.Mtrs. |
| 14 | 2 Nos. | Each | 2 | Sq.Mtrs. |

Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan.N.Delhi.

Copy to :

1). SE(E)-3/DDA/ for kind information.

2). EE(E)Plg./EC-3 .

3). M/s.Spacae Age Engineers, M-25, Diwan Complex, Ajay Enclaave, New Delhi-18.

4). M/s.Comfort Systems, 260 , Defence colony, Flyover Mkt. New Delhi.24.

Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan.N.Delhi.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)EE(E)/El.Divn.-11/DDA/2011-12/			Dated :

TO WHOM IT MAY CONCERN

This is to certified that M/S. G.S. Enterprises, Gali No.3,New Govind Pura, Delhi-110051

has completed the following works satisfactorily as per details given below:-

Sl.No.	Name of work	Date of Start(Agmt.)	Estimated Cost 			Date of compl.(Agmt.)	Tendered Cost

Date of start (Actual) 	Total Value of

Date of compl.(Actual)	Work done.

1.	M/O Completed Scheme finishing & furnishing 		02.11.2008	Rs.1,91,700/-

Vikas Sadan SH: M/o Intercom System – Annual 		01.11.2009	Rs.1,90,800/-

maintenance contract of telephone wiring of Vikas 		30.10.2008	Rs.1,96,800/-

Sadan Agg. No.36/EE(E)/Eld-11/DDA/2008-09.		29.10.2009

2.	M/O Completed Scheme finishing & furnishing 		15.09.2009	Rs.90,000/-

Vikas Sadan SH: M/O Intercom System – Annual		14.09.2010	Rs.1,03,200/-

Maintt. of KTS installed at VC,FM & FM office. 		08.09.2009	Rs,1,34,000/-

Agg. No.24/EE(E)/Eld-11/DDA/2009-10.		09.12.2010

3.	M/O Completed Scheme finishing & furnishing 		08.11.2009	Rs.1,93,476/-

Vikas Sadan. SH: Annual Maintt. Contract of 		07.11.2010	Rs.1,98,600/-

Telephone wiring  at Vikas Sadan. 		30.10.2009	Rs.2,34,931/-

Agg. No.36/EE(E)/Eld-11/DDA/2009-10.		09.12.2010

4.   M/O Completed Scheme finishing & furnishing 		18.12.2010	Rs.1,09,000/-

Vikas Sadan. SH: Annual Maintt. Contract of 		17.12.2011	Rs.1,05,300/-

KTS installed at VC,EM & FM office. 		10.12.2010	Rs.1,29,484/-

Agg. No.34/EE(E)/Eld-11/DDA/2010-11		16.01.2012

5.   M/O Completed Scheme finishing & furnishing 		18.12.2010	Rs.2,42,124/-

Vikas Sadan. SH: Annual Maintt. Contract of 		17.12.2011	Rs.2,36,400/-

Telephone wiring at Vikas Sadan. 		10.12.2010	Rs.2,79,747/-

Agg. No.35/EE(E)/Eld-11/DDA/2010-11		23.01.2012

6.   M/O Completed Scheme finishing & furnishing 		10.12.2011	Rs.2,34,510/-

Vikas Sadan. SH: Intercom system supply & fixing of 	24.12.2011	Rs.2,28,000/-

DP Box at A,B,& D Block & DP for 1000 Lines EPBX		07.12.2011	Rs.2,28,744/-

Installed at Vikas Sadan.  		19.12.2011

Agg. No.44/EE(E)/Eld-11/DDA/2011-12

Executive Engineer (E)

Electrical Divn. No.11, D.D.A.

Vikas Sadan, Press Building,

I.N.A., New Delhi-110023

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)EE(E)/El.Divn.11/DDA/2011-12/			Dated :

TO WHOM IT MAY CONCERN

This is to certified that M/S. Cholia Electric Works,1418 - B, 3rd floor, Rani Bagh,

Delhi-110034, has completed the following works satisfactorily as per details given below:-

Sl.No.	Name of work	Date of Start(Agmt.)	Estimated Cost 			Date of compl.(Agmt.)	Tendered Cost

Date of start (Actual) 	Total Value of

Date of compl.(Actual)	Work done.

1.	M/O Scheme under Nazul A/C II(SEZ), SH:		17.01.2009	Rs.13,97,031/- 	Annual operation Maintt. of sub. P/Sets		16.01.2010	Rs.13,92,433/-

fountain and lighting at Millennium Park,          			Rs.13,14,607/-

Zone I & IV.	          09.06.2010

Agg. No.52/EE(E)/Eld-11/DDA/2008-09.

2.    M/O Scheme under Nazul A/C II(SEZ),

SH: A/R & M/o Sub.Station,D.G.Sets,fountain		19.06.2010	Rs.13,72,273/-

Sub.P/Set and lighting at Millennium Park, 		18.06.2011	Rs.6,15,322/-

Zone 1 to 5 for the year 2009-10- Annual 		10.06.2010	Rs.11,04,030/-

Operation and M/o Sub.P/Sets, fountains &		03.10.2011

Lighting at Millennium Park Zone 1 to 5.

Agg.No.09/EE/Eld.11/DDA/10-11

Executive Engineer (E)

Electrical Divn. No.11, D.D.A.

Vikas Sadan, Press Building,

I.N.A., New Delhi-110023

Please  refer the note of worthy Dy.CAO(F&E) dt.10.05.2012 may kindly be gone through, vide which dealing assistant  Sh. Jaipal has  exercise and put up the whole case after thoroughly examine  of Sh.Amrik Singh Wire Man, who has retired on  31.08.2009  .  In which the opinion of Dy.CAO(F&E)  is  “DDO concerned to re-examine the issue in light on above submissions of Shri Singh on humanitarian grounds “ . The anomaly arises due to non submission of option for pay fixation as per provisions of FR-22(1)a(1) by Shri Amrik Singh.  Shri Amarik Singh was accident and could not submit required option within time limit .

In the instant case ,the above case  was already  examine ,I think  this is a case of policy matter and yet to be decided by the competent authority, whether competent authority allow the financial benefits to Shri Amrik Singh on humanitarian grounds  or not. File is put up on the basis of NP 57 submitted for further line of action.

1.	Certificate of reconciliation of figures with accounts  		:	Does not pertains to this office

Main upto  Feb. 2011.

2.	TE for crediting interest on   GPF					:	Does not pertains to this office, being

Credited by Sr.AO(CAU/SZ).

3.	TE for levying department charges.					:	Does not pertain to this office.

4.	Certificate that OTEOs upto the month of March 2011

Have been adjusted in the monthly A/C of March 2011		:	No OTEO’s  are prepared in this office.

5.	Certificate of closing balance that the closing balance 		: 	No cash book is maintained in this office.

Shown in the accounts tally with the balance in cash Book.

6.	Certificate regarding Theft/Loss					:	Certified that no theft/loss case has been reported.

7.	Certificate in respect f physical availability of assets/

Properties in the zone duly signed by Chief Engineer/-		:	 Does not pertain to this office.

Director(MM)Dir.(Hort.).

8.	Bank Reconciliation statement in duplicate				:	Does not pertain to this office.

9.	Interest accrued on each saving bank account upto 31.3.2011	:	Does not pertain to this office.

10.	Statement of moveable assets purchased during the year

2010-11 have been booked under contingencies indicating	: 	No moveable assets purchased and booked

Particular of item No . of items purchased voucher no. and		under contingencies.

date and amount	.

Contd…2/-.

..2/-..

11.	In case any moveable assets purchased during the year

2010-11 have been booked under works/schemes 			:	No purchase made during 2010-11

Necessary TE may be prepared to book the same under

Contingencies instead of that work/scheme.  This TE may be

Adjusted in March 2011 monthly A/C itself information of such

assets may also be given as per item No.11 above.

12.	Mobilization and secured advances outstanding with		:	No mobilization advance paid and no

Contractors as on 31.03.2011							secured advance is outstanding.

13.	Material outstanding with the contractors as on 			:	No material is outstanding with the contractor

31.3.2011										as on 31.3.2011.

14.	Statement of works in progress Houses, shops as on

31.3.2011									:	No such works carried out in this division.

15.	Pending liabilities in respect of pay & allowances/Exgratia	    Pay & All.      Ex.Gratia        Arrear of DA         Total

Contingences Expdr. etc. as  on 31.3.2011.				        1.57 Lac         NIL                 4.54 lac                 6.11   lac

16.	Pending liabilities of works housing & shops as on			: 	NIL

31.3.2011.

17.	pending   liabilities of stores as on 31.3.2011 (from Store

Divn. No.1& 2 Only) indicating GR No. Dak   Name of 		:	NIL

Agency and amount .

18.	Working of closing stock- stores as on 31.03.2011

(from store Divn.no. I & II only ).					:	Does not pertain to this office.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)EE/Eld.11/DDA/12-13/				Dated :

To

The FO to CE(SZ),

DDA, Shahpurjat,

New Delhi.

SUB :   PREPARATION OF ANNUAL ACCOUNTS FOR THE YEAR 2011-12

This has reference to the endorsement No.F.5(5)CAU/SZ/11-12/DDA/63 dated 30.03.2012 on the subject cited above.  As desired, the reports/information are given as detailed below:-

1.	Details of pending liabilities as on 31.3.2012 (Pay & allowances).

(Fig. in lacs).

| Particulars | Opening balance as on 1.4.11 | Less Liabilities met during the year 2011-12 | Balance liabilities to be met | Add:- Pending liabilities 2011-12 | Total liabilities as on 31.3.2012. |
| --- | --- | --- | --- | --- | --- |
| Pay & allowances | 6.11 | 6.11 | NIL | 10.46 | 10.46 |
| Arrear of DA/TA | 1.57 | 1.57 | NIL | 1.40 | 1.40 |
| Ex-Gratia | NIL | NIL | NIL |  |  |
| Contingent Expenditure | NIL | NIL | NIL | 0.50 | 0.50 |
| TOTAL | 7.68 | 7.68 | Nil | 12.36 | 12.36 |

2.	Details of pending liabilities as on 31.3.12 (Arrear of Property Tax.

| Particulars | Opening balance as on 1.4.11 | Less Liabilities met during the year 2011-12 | Balance liabilities to be met | Add:- Pending liabilities 2011-12 | Total liabilities as on 31.3.2012. |
| --- | --- | --- | --- | --- | --- |
| Arrear of Property Tax (Staff flats at AGVC | NIL | NIL | NIL | NIL | NIL |

3.	Details of pending liabilities in Respect of Houses & shops as on 31.3.2012.

| Particulars | Opening balance as on 1.4.11 | Less Liabilities met during the year 2011-12 | Balance liabilities to be met | Add:- Pending liabilities 2011-12 | Total liabilities as on 31.3.2012. |
| --- | --- | --- | --- | --- | --- |
| Houses & shops | NIL | NIL | NIL | - NIL | NIL |

Contd..2/-

2/-

4. Statement of Sundry Debtors as on 31.3.2012.

| Particulars | Opening balance as on 1.4.11 | Less Liabilities met during the year 2011-12 | Balance liabilities to be met | Add:- Pending liabilities 2011-12 | Total liabilities as on 31.3.2012. |
| --- | --- | --- | --- | --- | --- |
| NIL | NIL | NIL | NIL | NIL | NIL |

5.	Statement showing work in Progress (Houses/shops) during the year 2011-12.

| Particulars | Opening balance as on 1.4.11 | Less Liabilities met during the year 2011-12 | Balance liabilities to be met | Add:- Pending liabilities 2011-12 | Total liabilities as on 31.3.2012. |
| --- | --- | --- | --- | --- | --- |
| NIL | NIL | NIL | NIL | NIL | NIL |

6.	It is certified that there was no case of theft or losses upto 31.3.12 so far as Eld.11 is concerned.

7.	It is certified that there was no pending OTEOs as on 1.4.2012.

8.	No material out standing with the contractors as on 31.3.2012.

Executive Engineer (E)

Electrical Divn.No.11/DDA

Copy to :

1. The SE(E)-3/DDA, for information please.

Executive Engineer (E)

Electrical Divn.No.11/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	BGDA (9-AWorks).

2.Sub.head.		M/o   Completed Scheme finishing &

Furnishing at Vikas Sadan SH: Annual operation

and maintenance of all equipments of Sub.

Station  and D.G. Set.

.

3.  Code No.                                                             :  		44006600

4. Reference to A/A & E/S                                     :

1.Amount			            :

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	144.00 Lacs					b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	     110.23 lac upto 7/2012

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  by SE(E)-3

ARMO/27/12-13 for Rs.3,46,23,666/-

2. Authority				:             SE(E)-3/DDA

3.No. & Date				:	596 dt.14.5.2012

3. Prov.of sub.head				:              12.00 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	12.93 lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  : BGDA . (9-A Works)

S/I  of Central Air-condition at Vikas Sadan.

2.Sub.head.                                                            :   SH: Consultancy services, designing the complete Air

Conditioning at Vikas Sadan building i/c utilization of

existing air conditioning equipment /machinery

installed   at CWG village, Akshrdham).

3.  Code No.                                                             :  		44006613

4. Reference to A/A & E/S                                     :

1.Amount			            :

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	760.00Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	     NIL

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  by EE/ED-11

/TS No.09/AE(P)ED.11/DDA/TS/2012-13 dt.

9.8.2012

2. Authority				:             EE/ED-11/DDA

3.No. & Date				:	799 dt.9.8.2012

3. Prov.of sub.head				:              15.36 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	15.36 lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	M/o Scheme under Nazul A/C- II(SZ).

S/I/R & M of lights bore well, pump sets,

Fountain, G/C machine etc. in DDA parks/greens under SD No. II /HD-1 – Preventive maintenance of electrical control panels, park/path lights and accessories installed in different parks

3.  Code No.                                                             :  		24400769

4. Reference to A/A & E/S                                     :

1.Amount			            :

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	350.00 Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	    71.71 Lac 7/2012

8. Ref. to ARMO Estimates:	:	ARMO/40/SE(E)-3/ DDA/12-13 dt.23.4.2012

1. Amount 	: 	Rs.96,85,000/-

2. Authority	: 	SE(E)-3/DDA

3.No. & Date				:	        dt.23.04.2012

3. Prov.of sub.head				:  	4.37 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		   Nil

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.37 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	    				  Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)/EE/ED-11/2012-13/DDA/					Dated :

To

The  SE(E)-3,

DDA,Vikas Minar,

New Delhi.

SUB : Award of work without call of tender.

REF : CE(SZ)FO/18(98)07-08/2277 dated 17.04.2009.

Please refer on the above cited subject and reference.  In this connection. It is to

inform you that this office has not warded any work without call of tender in the Month

of April 2012 .  Hence report may please be treated as NIL for this Division is concerned.

Executive Engineer (E)

Electrical Divn.No.11/DDA

SCHEDULE OF WORK

Name of work:   	M/O scheme under N/A-II(SZ).(SH: Supply and installation of

Submersible pump set at B block Govind Puri (Transit camp).

| S.NO | Description of item | Qty | Unit | Rate | Amt. |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying of submersible pump duly coupled with suitable rating of 3phase 415 volts ,50HZ ,2900 r.p.m. submersible induction motor. The pump set shall be suitable for the following duties. a) Discharge –10.8 Cu mtr/hrs b) Head ---82Mtrs. c) Liquid ---clear water. | 2set. | p/set. | Rs.28,000/-(Rs. Twenty eight thousand only). | Rs.56,000=00 |
| 2. | Supplying of following size of G.I. pipe B-class pipe including GI flanges duly screwed and welded on the both end of G.I. pipe bend , tee , nipple, rubber gasket G.I. nuts, bolts and washers etc. as reqd. a) 50 mm dia | 81Mtr. | P/mtr. | Rs.400/-(Rs. Four hundred only). | Rs.32,400=00 |
| 3. | Supply of PVC sheathed PVC insulated copper conductor submersible cable , testing etc as reqd. a) 3X2.5 sqmm. | 90mtr. | p/mtr. | Rs.60/-(Rs. Sixty only). | Rs.5,400=00 |
| 4. | Lowering, testing, commissioning of submersible pump set along with double flanged G.I. pipe, submersible cable including jointing and accessories up to the required depth, providing and fixing 2 Nos. M.S. clamps made of MS flat 75mmX10mmX500mm long, with nuts, bolts, washers, cutting the existing bore cover, making suitable removable cover and fixing of submersible cable with insulated wire with GI pipe complete as reqd. | 1job. | P/job. | Rs.1,500/-(Rs.One thousand five hundred only). | Rs.1,500=00 |

| 5. | Supplying errection, testing and commissioning of L.T. feeder pillar size 1000X1000X250mm fabricated out of 14 SWG (2mm thick nominal) CRCA sheet with size50X50X6 mm M.S angle iron legs as per drawing attached and suitable to accommodate three phase energy meter and compartmentalized, supply and fixing the following accessories there in i/c connection, inter connection with suitable size of copper conductor cable , earth connection and numbering & spray painted after applying a coat of zinc chromate primer as reqd. a) 32 Amp TP&N MCB 10 KA (c- series) -1No. b) 20Amp TP MCB 10 KA (c-series) -2No. c) Control panel factory fabricated accommodate in feeder pillar with voltmeter ,amp meter, S.P. P. and DOL starter suitable for above p/set-1No. d)shunt capacitor suitable to above p/set.-1no e) 4 Nos. strip 300 mm long Aluminum bus bar 100 Amp capacitor duly PVC taped/sleeved having drilled holes 6mm dia nut , bolts and washers-1 set f) MV danger notice plate-1No. g) Wooden board for energy meter -1No. h) 32 Amp kitk at -3No. | 1 set. | p/set | Rs.8,800/-(Rs. Eight thousand eight hundred only). | Rs.8,800=00 |
| --- | --- | --- | --- | --- | --- |
| 6. | Supply testing of the following size of XLPE insulated PVC sheathed 1.1 KV grade Al. conductor armoured power cable etc. as reqd. a) 4X25 sqmm. | 180 mtr, | p/mtr. | Rs.148/-(Rs.One hundred forty eight only). | Rs.26,640=00 |
| 7. | Laying of one number PVC insulated PVC sheathed/XLPE power 1.1 KV grade cable of size not exceeding 25 sqmm direct in ground i/c excavation sand , cushioning, protective covering and refilling the trench etc. as reqd. | 170 mtr. | p/mtr | Rs.80/-(Rs.Eighty only). | Rs.13,600=00 |
| 8. | Supply and laying 25mmX6mm G.I. strip at 0.5 mtr. below ground as strip earth electrode i/c soldering etc. as reqd. | 30 mtr. | p/mtr. | Rs.85/-(Rs.Eighty five only). | Rs.2,550=00 |
| 9. | Providing and fixing 25mmX5mm G.I. strip on surface or in recess for connection etc. as reqd. | 5 mtr. | p/mtr | Rs.85/-(Rs.Eighty Five only). | Rs.425=00 |
|  |  |  |  | TOTAL | Rs.1,47,315=00 |

Rs.1,47,315/-(Rs. One lac forty seven thousand fifteen only).

Executive Engineer (E)

Electrical Divn.No.11/DDA

Reminder

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(Misc.)EE/ELD.11/DDA/11-12/			Dated :

To

Smt.Charanjit Ghai

W/o Lt.F.R.Singh

House No.1544 , Sector 15-II,

Gurgaon (Haryana).

SUB :  Recovery of over payment of Rs.90,493/-.

Madam,

Please refer this office letter No.F.5(Misc.)EEEld.11/DDA11-12/       dated

vide which you are requested to deposit  a sum of Rs.90,493/- on account of  excess payment of Grade pay and leave encashment, due to revised fixation of Late  Sh.F.R. Singh, JE(E). The details of the said recoveries has already been given in the letter (copy enclosed), but you have not yet deposited the demanded excess amount.  You are requested to please deposit a sum of Rs.90,493/- .

It is therefore, once again request you to deposit the amount of Rs.90,493/- (Rs. Ninty thousand four hundred ninety three only) on account of excess payment with A.O.(Cash)Main, DDA, within 15 days, so that your case could be  finalized accordingly.

Executive Engineer (E)

Electrical Division No.11/DDA

Copy to  :-

1). Sr.A.O.(Pension),DDA,Vikas Sadan, New Delhi, for information please.

Executive Engineer (E)

Electrical Division No.11/DDA

Sub :- 	Grant of Provisional   Extension of time for the work  M/o Various Scheme under NA II (SZ) SH: A/R & M/O Sub. Station, D.G.Sets, Fountain, Sub. P/Sets & Lighting at Millennium Park Zone 1 to 5 for the year 2009-10, Annual operation & M/o Sub. P/Sets, fountains, & lighting at Millennium Park Zone 1 to 5.

Agg.No.09/EE/El.Divn.No.11/2010-11.

Sir,

Your case has been forwarded by Asstt. Engineer (E)-3/ED-11 in connection with the grant of Provisional Extension of time for completion of the above said work. The date of completion for the above cited work was 18.06.2010 as stipulated in the agreement No.09/EE/Elect. Division No.11/DDA /2010-11.

Extension of time for completion of above mentioned work is provisionally granted up to 03.10.2011 without prejudice to the right of DDA to recover liquidates damages in accordance with the provision of Clause 2 of the said agreement.

Provided that notwithstanding of extension is hereby granted, time is and shall still continue to be the essence of the said agreement.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.3(152)EE/ED-11/DDA/11-12/				Dated :

To

The Executivie Engineer (El.)HQ,

Electrical Circle No.3,

19th Floor, Vikas Minar,

New Delhi.

SUB :     RTI application  of Sh. Yogash Kumar, regarding

details of Sh.N.K.Goel,Ex.Engineer,Eld.No.11 .

REF : F.23(154)S.E.(E)3/Pt./994  dt.10.10.2011

The Para-wise reply of the above  RTI are as under:-

1.  Not known to this office.

2.  Sh.N.K. Goel, Ex.Engineer,ED-11 has retired on 30.09.2011

3.  The details of Supply order /Work Order in the month of August 2011 to

Sept.2011 are as under :-

a). Supply orders w.e.f. 1/8/11 to  30/9/11.

| Sl.No. | Name of work | Agency | Item | Amount |
| --- | --- | --- | --- | --- |
| 1. | M/o Completed Scheme finishing and furnishing at Vikas Sadan. | M/s.Luxmi Super Services S.O.No.5 dt.11.8.11 | 950 Ltrs.H.S.Diesel | Rs.39,226/- |
| 2. | M/o EI & Fans & D.G. Set at D.G. Set at CE(SZ),CE(CWG) & QC, Shahpurjat SH: Supply of H.S. Diesel | M/s.Evergreen Service Station S.O.No.6 dt.23.8.11 | 200 Ltrs. HS Diesel | Rs.8,258/- |
| 3. | M/o Completed Scheme finishing & furnishing Vikaks Sadan SH: Supply of HS Diesel. | M/s.Luxmi Super Services. S.O.No.7 dt. dt.27.09.11 | 950 Ltrs. HS Diesel | Rs.39,226/- |

b). Details of Work order w.e.f. 1/8/11 to 30/ 9/11 :-

| Sl.No. | Name of work | Agency | Item | Amount |
| --- | --- | --- | --- | --- |
|  | NIL | - NIL | NIL | NIL |

Executive Engineer(E)

Electrical Division No.11/DDA

1). M/o Completed Scheme finishing & furnishing Vikas Sadan SH: Supply of

1000 Ltrs. H.S.Diesel, for Rs.39,

Please refer the above RTI application, in which details of Sh.K.N.Goel Ex.Engineer ED-11 was shou DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(09)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

ght in this connection it is to informed you that no Executive Engineer posted in Electrical Divisioin No.K.N.Goel The Para-wise reply of the above RTI are as under :-

1/N

1.		Name of Work		: M/o Scheme under NA II (SZ) SH: S/I/R & M of

lights, bore well submersible pump set, fountain,

G.C. Machine etc. in DDA park/green under Sub.

Divn.no.1/Hort. Divn.No.6,DDA – Supplying

& installation of path lights in lift out portion in

Sirifort Area.

2.		Estimated Cost 		:  Rs.15,33,232/-

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.30,665/-

6.	Lowest Quoted Amount	: Rs.11,81,100/-

7.	Time Allowed 		: Two Months

8.	No. of  tender sold		:   one No.

9.	No. of tender Received	:   One No.

10.	Last date of sale of tender: 11.06.2012

11.	Date of opening 		:   16.06.2012

12.      Ref. of NIT No.      		:    06/EE/ED-11/DDA/12-13.

ITEM RATE TENDER

Online item rate tender were invited and opened at 3.30 PM on  16.06.2012 in the office of Executive Engineer, Electrical Division No.11, press Building INA, New Delhi in the presence of intending renderers and their authorized representatives.

Total One No. tender was sold and out of which one No. tender have been received at the time of opening in which M/s. M/s. Goel Electricals has quoted the  lowest rates and  worked out amount to Rs.11,81,100/- i.e. 22.96 % below  the estimated cost put to tender.  Original N.I.T.  & one No. tender in the shape of comparative Statement received through e tendering along with tender applications attached for onwards transmission to AE(P),ED-11.for preparation of justification please.

Submitted please.

DA

AAO/ED-11

Ex.Engineer, ED-11

1/N

1.		Name of Work		: D/o Green Area near4 Vijay Mandal

Begampur(Area Between Sarvodya

Enclave & Begampur).

2.		Estimated Cost 		:  Rs.40,63,077/-

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.81,262/-

6.	Time Allowed 		: 2 Months.

8.	No. of  tender sold		:  7 Nos.

9.	No. of tender Received	:   5 Nos.

10.	Last date of sale of tender: 17.05.2012 (Revised)

11.	Date of opening 		:  18.05.2012(Revised)

12.      Ref. of NIT No.      		:    44/EE/ED-11/DDA/12-13

ITEM RATE TENDER

The above said NIT has been published by FO to CE(E) 16.02.2012 with due date of opening on 06.03.2012 .  The schedule of opening of NIT was postponed on 05.03.2012 , due to administrative reason /technical bids not incorporated in the notice of  NIT .  A  Pre-bid meeting for the above mentioned work was held in the chamber of SE(E)-3 on 05.03.2012 and during the meeting issues were discussed and decided and conveyed to the intending bidders/tenderers  , who had participated in the tenders. The  Minutes of the meeting  was also circulated on 12.03.2012 to intending tenderers through e –male.  A corrigendum to this effect was also   issued by SE(E)-3 on 14.03.2012 to issue correction   and also stated  that rates may be quoted accordingly in the revised BOQ.

In the letter dt.12.03.2012 issued by SE(E)-3, wherein SE(E)-3 has  stated that tender shall now be quoted by all intending tenderers considering above changes.  This letter shall form part of tender documents.  This letter duly stamped and signed by the tenderer shall be submitted to the EE before date of opening.

In the light of above instruction ,this office has issued a Notice on 04.05.2012 as on all the intending tenderer(7 Nos.)  are requested to submit their rates upto 3.00 PM on 17.05.2012 and will  be open on 18.05.2012 at 3.30 PM in the office of EE/ED-11,Vikas Sadan, and other terms and condition of NIT will remain unchanged.

2/-

From Pre-Page :-

In view of above, out of 7 Nos. tender only 5 Nos. tenderers have been appeared before EE/ED-11 and submitted /accepted documents on revised schedule on 17.05.2012, duly stamped and signed which was opened on 18.05.2012 at 3.30 PM , out of which M/s.Gurnam Bros. has quoted the lowest rates i.e. Rs.28,15,230/- i.e. 30.71 % below the estimated cost. 5 Nos. Original tender received through E-tending and original NIT has been enclosed and send to AE(P), for making/preparation  the justification.

Submitted please.

DA

AAO/ED-11

Ex.Engineer, ED-11

1/N

1.	Name of Work	:M/o Scheme under NA II(SZ) SH: :S/I of Solar water

Heating system in DDA Flats at AGVC, Sirifort.

Piping work  & allied work.

2.	Estimated Cost 		:  Rs.5,17,716/-

3.	Security Deposit		: 5 % of the tendered value of work

4.	Performance Guarantee	: 5 % of the tendered value of work

5.	Earnest Money		: Rs.10,354/-

6.	Lowest Quoted Amount	: Rs.5,17,610/-

7.	Time Allowed 		: One Month

8.	No. of tender sold		:  01 No.

9.	No. of tender Received	:  01 No.

10.	Last date of sale of tender:  23.09.2011

11.	Date of opening 		:   27.09.2011

12.      Ref. of NIT No.      		:   21/EE/ED-11/DDA/11-12

ITEM RATE TENDER

Online item rate tender were re-invited on 22.09.2011 with due date of sale and opening was 23.09.2011/27.09.2011 respectively. The tender was opened at 3.30 PM on 27.09.2011 in the office of Executive Engineer, Electrical Division No.11, press Building INA, New Delhi in the presence of intending renderers and their authorized representatives. Only one tenderer M/s. Aditi Referigeration has quoted the tender and rates worked out amount to Rs.5,17,610/- against the estimated cost put to tender.  Original N.I.T.  & one tender in the shape of comparative Statement received through e tendering along with tender applications attached for onwards transmission to AE(P).

Submitted please.

DA

AAO/ED-11

NIT- 24/2011-12

SCHEDULE OF WORK

Name of work:- 	M/O Completed Scheme finishing & furnishing Vikas Sadan.(SH: Supply and installation LDP phone with direct subscriber station and wiring at LG secretariat  at Raj Bhawan).

| S.No. | Description of item | Qty | Unit | Rate | Amt. |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying installation ,testing & commissioning of line display digital key Telephone with direct subscriber station (DSS) i/c connection testing etc as reqd. | 3 set | p/set |  |  |
| 2. | Supplying & fixing of following sizes of PVC conduit alongwith accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as reqd. - 25 mm dia PVC conduit. | 60 mtr | p/mtr |  |  |
| 3. | Supply and installation of following pair telephone cable with annealed tinned electrolytic grade copper conductor, PVC insulated and PVC sheathed etc as reqd. - 5 pair- - 20pair | 300 mtr 100 mtr | p/mtr p/mtr |  |  |

ADDITIONAL & CONDITIONS:-

1.	The work shall be carried out as per Specifications and to the entire satisfaction of Engineer-In-charge.

2.	No. T & P  shall be  issued to the department.

3.	The instrument shall be LG Arid  and match with existing exchange.

4.	Guarantee letter of one year from the date of supply shall be submitted by the agency.

5.	The telephone cable shall be of following make.

1.	Skytone		2. Ecko		3. Plaza make.

6.	The PVC conduit shall be of following make and shall be ISI marked.

1. AKG			2. Satia		3. Kalinga

7.	Time allowed 7 days.

PROFORMA – B

Requisition for issue of Revised Budget SLip for payment of contractor

Ref. F & E Circular No.21 dated 19.6.1995.

F. 59(misc.)EE/Eld.Divn.No.11/DDA/						Dated :

1.	Name of account 				:  M/o Various Scheme under NA II(SZ).								SH: Annual running maintt. of sub. Station,

D.G.Set fountain, submersible pump set and

flighting system at millennium park- Aannual

running m/o of Sub. Station & D.G.Set.

3.	Code No.					:  24400769

4.	Reference of A/A & E/S

1. Amount 					:   Not required being a

Maintenance work.

2. No. & Date

5.	Total Progressive

a). Expdr. Against A/A & E/S upto

b). Against Sub. Head

6.	Budget Provision ( i/c re-appropriation )

1. B.E./R.E.

2. Allocation to the Division 			:  350.00Lacs

7.	Expdr. During the year

1. Against BE /RE				:  31.81  Lacs

2. Against allocation

8.	Ref. of ARMO Estimates

( In case of maintenance work only )		:  ARMO /28/SE(P)3 /EE(P)I/DDA/- dt.2.4.12

For Rs.79,20,364/-

a) Total amount of estimate sanctioned	:  79,20 Lac.

b). Authority.					:  SE(E)-3/DDA

c). No. & Date					:  104 dt.9.4.2012

d). Provision of Sub. Head.			:  9.98  Lac

9.	Expdr. Already incurred.

1. Total maintenance Expdr. Against 	:

A R & MOs estimate			:   NIL

2. Expdr. Incurred during the year against the

Sub. Head 8(iv) above. 			:2.90 lac

10. 	Amount of budget slip is required (i/c

Anticipated tendered cost).	:   0.12 Lac ,Budget Slip has already been

sanctioned vide No :-

1). BS No. 62 dt.30.05.11 for Rs.4.39 Lac.

2). Revised  prepared & submit Rs.0.12 Lac

11.	Name of Agency				:   M/s.P.K.Pump Engineering Enterprises.

12.        Name of work	: 				:   As Sl.No.2 above.

13.	a). Tendered Amount 				:   Rs.4,16,845/-

b). Gross work done 				:   Rs.4,50.837/-

AAO/Eld-11						Executive Engineer, Eld-11

Recommended

Superintending  Engineer (E)-3.

PROFORMA – B

Requisition for issue of Revised Budget SLip for payment of contractor

Ref. F & E Circular No.21 dated 19.6.1995.

F. 59(misc.)EE/Eld.Divn.No.11/DDA/			Dated :

1.	Name of account 				:  9 C Maintt.

2.	Sub.Head					:  M/O Various colonies under SZ SH: AR& MO clear

water supply P/Set , D.G. Set at Plotted area in

Mandakini.

3.	Code No.					:   44081550

4.	Reference of A/A & E/S

1. Amount 					:   Not required being a

Maintenance  work.

2. No. & Date

5.	Total Progressive

a). Expdr. Against A/A & E/S upto

b). Against Sub. Head

6.	Budget Provision ( i/c re-appropriation )

1. B.E./R.E.

2. Allocation to the Division 			:  144.00 Lacs

7.	Expdr. During the year

1. Against BE /RE				:  125.00  Lacs

2. Against allocation

8.	Ref. of ARMO Estimates

( In case of maintenance work only )		:  ARMO sanctioned vide .TS No.02/AE(P)ED-

11/DDA/TS-12-13 for Rs.11,30,454/-

a) Total amount of estimate sanctioned	:  11.31 Lac.

b). Authority.					:  EE(E)11/DDA

c). No. & Date					: 351 dt.17.4.2012

d). Provision of Sub. Head.			:  11.31 lac

9.	Expdr. Already incurred.

1. Total maintenance Expdr. Against 	:

A R & MOs estimate			:   NIL

2. Expdr. Incurred during the year against the

Sub. Head 8(iv) above. 			:  NIL

10. 	Amount of budget slip is required (i/c

Anticipated tendered cost).	:    0.15 Lac, following Budget Slip has already been  sanctioned vide No :-

1). BS No.1422 dt.30.3.2012 for Rs.2.96 lac

2). Revised

11.	Name of Agency				:     M/s. Lloyds Enterprises.

12.        Name of work	: 				:     As Sl.No.2 above.

13.	a). Tendered Amount 				:    Rs.2,96,700/-

b). Gross work done 				:    Rs.3,10,900/-

AAO/Eld-11						Executive Engineer, Eld-11

Recommended

Superintending  Engineer (E)-3

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(50)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

M/s.Gurnam Bros.

45,Mehar Chand Market,

Lodhi Road,

New Delhi-110003.

Sub :- 	Grant of Provisional Extension of time for the work  M/o Scheme under Nazul A/C II SZ SH: M/o EI & Fans & D.G. Set at Various offices, of DDA Staff Qtrs. at Shahpurjat, Sarita Vihar Kalkaji Extn. AGVC, Chirag Enclave & Saket etc. Annual operation of two Nos. submersible pumps at CE(SZ) & SE(Civil) at Shahpurjat.

Agg.No.50/EE/El.Divn.No.11/2010-11.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (50)EE/El.Divn.No.11/DDA/10-11/DDA/295 dated 25.03.2011 .  The stipulated date of completion of the above work as per agreement was 50/EE/Eld.11/10-11.  Provisional Extension of time for completion of the above work is granted upto 08.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time.  This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(50)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

M/s.Gurnam Bros.

45,Mehar Chand Market,

Lodhi Road,

New Delhi-110003.

Sub :- 	Grant of Provisional Extension of time for the work  M/o Scheme under Nazul A/C II SZ SH: M/o EI & Fans & D.G. Set at Various offices, of DDA Staff Qtrs. at Shahpurjat, Sarita Vihar Kalkaji Extn. AGVC, Chirag Enclave & Saket etc. Annual operation of two Nos. submersible pumps at CE(SZ) & SE(Civil) at Shahpurjat.

Agg.No.50/EE/El.Divn.No.11/2010-11.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (50)EE/El.Divn.No.11/DDA/10-11/DDA/295 dated 25.03.2011 .  The stipulated date of completion of the above work as per agreement was 08.04.2012.  Provisional Extension of time for completion of the above work is granted upto 08.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time.  This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(49)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

M/s.Gurnam Bros.

45,Mehar Chand Market,

Lodhi Road,

New Delhi-110003.

Sub :- 	Grant of Provisional Extension of time for the work  M/o Scheme under Nazul A/C II SZ SH: M/o EI & Fans & D.G. Set at Various offices under SZ at Shahpurjat, Sarita Vihar Kalkaji Extn. DDA Staff Qtrs. at AGVC, Chirag Enclave Saket . Annual operation and maintenance contract for 3 Nos. D.G. Set at Shapurjat office  complex.

Agg.No.49/EE/El.Divn.No.11/2010-11.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (49)EE/El.Divn.No.11/DDA/10-11/DDA/278 dated 18.03.2011 .  The stipulated date of completion of the above work as per agreement was 01.04.2012.Provisional Extension of time for completion of the above work is granted upto 01.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time.  This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(49)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

M/s.Gurnam Bros.

45,Mehar Chand Market,

Lodhi Road,

New Delhi-110003.

Sub :- 	Grant of Provisional Extension of time for the work  M/o Scheme under Nazul A/C II SZ SH: M/o EI & Fans & D.G. Set at Various offices under SZ at Shahpurjat, Sarita Vihar Kalkaji Extn. DDA Staff Qtrs. at AGVC, Chirag Enclave Saket . Annual operation and maintenance contract for 3 Nos. D.G. Set at Shapurjat office  complex.

Agg.No.49/EE/El.Divn.No.11/2010-11.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (49)EE/El.Divn.No.11/DDA/10-11/DDA/278 dated 18.03.2011 .  The stipulated date of completion of the above work as per agreement was 01.04.2012.Provisional Extension of time for completion of the above work is granted upto 01.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time.  This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(48)EE/ EL. Div.11/DDA/2010-11/				Dated :

To

M/s.Gurnam Bros.

45,Mehar Chand Market,

Lodhi Road,

New Delhi-110003.

Sub :- 	Grant of Provisional Extension of time for the work  M/o  Various Scheme under SZ.

SH: ARMO Water supply P/Set and compound lighting etc. at Tuglakabad institutional area.

Agg.No.48/EE/El.Divn.No.11/2010-11.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (48)EE/El.Divn.No.11/DDA/10-11/DDA/277 dated 18.03.2011 .  The stipulated date of completion of the above work as per agreement was 01.04.2012. Provisional Extension of time for completion of the above work is granted upto 01.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time.  This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (P)-/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(02)EE/ EL. Div.11/DDA/2011-12/				Dated :

To

M/s. Lloyds Enterprises,

E-252, Greater Kailash-I,

New Delhi -110048.

Sub :- 	Grant of Provisional Extension of time for the work  M/o Scheme under Nazul A/C II SZ SH: M/o EI & Fans & D.G. Set at Various offices under SZ at Shahpurjat, Sarita Vihar Kalkaji Extn. DDA Staff Qtrs. at AGVC, Chirag  Enclave Saket etc. M/o E.I.  & Fans & operation of D.G.Sets at various offices  at DDA Sarita Vihar.

Agg.No.02/EE/El.Divn.No.11/2011-12.

Dear Sirs,

The above noted work was awarded to your vide award letter No.F.5 (02)EE/El.Divn.No.11/DDA/11-12/DDA/418 dated 25.04.2011.  The stipulated date of completion of the above work as per agreement was 09.05.2012.Provisional Extension of time for completion of the above work is granted upto 09.06.2012 at present without prejudice to the right of Delhi Development Authority, to recover the liquidated damages under Clause-2 of the agreement.

However, the matter shall be considered on merits in details subsequently, at the time of grant of extension of time. This extension is purely provisional to keep the essence of the agreement alive.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 3/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

PROFORMA – B

Requisition for issue of Revised Budget SLip for payment of contractor

Ref. F & E Circular No.21 dated 19.6.1995.

F. 59(misc.)EE/Eld.Divn.No.11/DDA/						Dated :

1.	Name of account 				:  M/o SchemeunderNA II (SZ).

2.	Sub.Head					:  Rewiring of Janta Huts at Dear Park,

Hauz Khas.

3.	Code No.					:  24400769

4.	Reference of A/A & E/S

1. Amount 					:   Not required being a

Maintenance work.

2. No. & Date

5.	Total Progressive

a). Expdr. Against A/A & E/S upto

b). Against Sub. Head

6.	Budget Provision ( i/c re-appropriation )

1. B.E./R.E.

2. Allocation to the Division 			:  300.00 Lacs

7.	Expdr. During the year

1. Against BE /RE				:  228.19  Lacs

2. Against allocation

8.	Ref. of ARMO Estimates

( In case of maintenance work only )		:  ARMO sanctioned vide TS-9/SE(E)P/DDA/2011-12

dt.28.3.2011 for Rs.57,95,899/-

a) Total amount of estimate sanctioned	:  357.96 Lac.

b). Authority.					:  SE(E)3/DDA

c). No. & Date					:  50 dt.28.03.2011

d). Provision of Sub. Head.			:  1.23 Lac

9.	Expdr. Already incurred.

1. Total maintenance Expdr. Against 	:

A R & MOs estimate			:   NIL

2. Expdr. Incurred during the year against the

Sub. Head 8(iv) above. 			:  NIL

10. 	Amount of budget slip is required (i/c

Anticipated tendered cost).	:   0.13 Lac.

following Budget Slip has already been

sanctioned vide No :-

1). BS No. 61 dt. 30.5.11 for Rs. 1.23 lac.

2). Revised  prepaired & submit Rs.0.13 Lac

11.	Name of Agency				:   M/s. Jasvinder Electric Works.

12.        Name of work	: 				:   As Sl.No.2 above.

13.	a). Tendered Amount 				:   Rs.1,06,480/-

b). Gross work done 				:   Rs.1,35,235/-

AAO/Eld-11						Executive Engineer, Eld-11

Recommended

Superintending  Engineer (E)-3.

Most Urgent

By Special Messenger

DELHI DEVELOPMENT AUTHORITY

EXECUTIVE ENGINEER: ELD.DIVN.NO.11

I.N.A.VIKAS SADAN, NEW DELHI-23.

No.F.5(Misc.),EE/ED-11/DDA/2011-12/				Dated :

To

Lt.Col.Baldev Singh,

SBSO for Chief Engineer,

Delhi Cant,(Delhi Zone)

New Delhi.

SUB : Confirmation for Registration of Firm .

REF :  No.32234/Registration/206/E3 dated 18 Oct.2010.

Please refer on the above cited subject and reference.

In this connection, it is to inform you that M/s.Aditi Refrigeration ,M-210A

Sarita Vihar New Delhi 110076 has quoted the rates the tender in DDA and his

tender comes lowest .But as per your Registration under Index No.LP/DZ/09/2010-11 issued by your office the ceiling limit for acceptance the tender. Kindly intimate in which Category   you had registered the above said agency and what is his ceiling limit for participating the tender.  You are also requested to please give copy of ceiling limit for accepting the tender.

Encl: As above.

Executive Engineer (E)

Electrical Division No.11/DD

DELHI DEVELOPMENT AUTHORITY

EXECUTIVE ENGINEER: ELD.DIVN.NO.11

I.N.A.VIKAS SADAN, NEW DELHI-23.

No.F.5(Misc.),EE/ED-11/DDA/2011-12/				Dated :

To

FO to CE(SZ),

DDA,Shahpurjat,

New Delhi.

SUB :  Revised Budget Estimates for the year 2011-12 &

Budget Estimates for the year 2012-13.

Enclosed please find herewith Revised Budget Estimates for the year 2011-12 &

Budget Estimates for the year 2012-13 in respect of Electrical Division No.11.

Enc: As above.

Executive Engineer(E)

Electrical Division No.11/DDA

Copy to :-

1). The Suptdg. Engineer(E),C-3/DDA, for information please.

2). FO to CE(E), DDA, for information please .

Executive Engineer(E)

Electrical Division No.11/DDA

`ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		Dated:

- Head of account                                                  :	NA-II (SZ).

- Name of work/ Scheme                                     : 	SH: ARMO of Sub. Station D.G. Set, submersible

P/Set, fountain and lighting system at

Millennium Park Zone 1 to 5- ARMO Sub.

Station  and  D.G.Set.

- 3.  Code No.                                                          :  		 	24400769

4. Reference to A/A & E/S                                        :

- Amount				:

- No. & date				:

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	350.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:	--

- Against allocation			:	71.71 Lac upto 7/12

8. Ref. to ARMO Estimates:			ARMO Sanctioned BY SE(E)-3 vide TS No.28/SE(E)-3

DDA./12-13 dt.9.4.12 for Rs.79,20,364/-

Sanctioning authority			: SE(E)-3/DDA

Prov.of sub.head				:  5.04 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head

iii).above.

10. Amount of Budget Slip Required 		: 	5.03 Lacs

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		Dated:

- Head of account                                                  :		M/o  Various colonies  under   (SZ)

2.    Name of work/ Scheme                                     : 	SH: ARMO  clear water supply P/Set, D.G. Set at

plotted area Mandakini – Dismantling and

re-installation of D.G.Set of 10 KVA from

Mandakini  clear water pump house to civil circle 18

at Sirifort AGVC.

3.  Code No.                                                                 :  		 	44081550

4. Reference to A/A & E/S                                        :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	125.00 lac

7. Expdr. During the year			:

- Against B.E. /R.E.			:	--

- Against allocation			:	10.01 Lac upto 6/12

8. Ref. to ARMO Estimates:			:   ARMO estimates sanctioned vide  EE/ED-11/TS

No.3/AE(P)/ED-11/DDA/TS/12-13 dt.17.4.2012 for

Rs.8,47,581/-

Sanctioning authority			:EE/ED-11

No. and Date				: 582 dt. 29.6.2012

Prov.of sub.head				:    0.29 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		    NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	0.29 Lacs

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of  Work order

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	  M/o Scheme under Nazul A/C II (SZ)

2. Name of work/ Scheme                                    : 		SH: S/I/ R & M of lights, bore well   pump sets,

fountain, G/C Machine etc. in DDA parks/greens

under SD -IV/HD.I/DDA- Lifting lowering, rewinding

and repairing of submersible pump set.

3.  Code No.                                                             :  		 24400769

4. Reference to A/A & E/S                                     :

1.Amount			            :		 Not applicable being a maintenance work

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	350.00 Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	    Nil

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  vide  TS

No.38/SE(E) DDA/201-13 dt.23.4.2012  for

Rs.1,10,10,000/-

1. Amount 					: 	Rs.1,10,10,000/-

2. Authority				:             SE(E)-3

3.No. & Date				:	122 dt.23.04.2012

3. Prov.of sub.head				:            2.93 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	46.35 Lacs

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	2.31Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	      Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	  M/o Scheme under Nazul A/C II (SZ)

2. Name of work/ Scheme                                    : 		SH: S/I/ R & M of lights, bore well   pump sets,

fountain, G/C Machine etc. in DDA parks/greens

under SD III/HD.6/DDA- Lifting lowering, rewinding

and repairing of submersible pump set.

3.  Code No.                                                             :  		 24400769

4. Reference to A/A & E/S                                     :

1.Amount			            :		 Not applicable being a maintenance work

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	350.00 Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	    Nil

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  vide  TS

No.36/SE(E) DDA/201-13 dt.23.4.2012  for

Rs.1,35,,50,000/-

1. Amount 					: 	Rs.1,35,50,000/-

2. Authority				:             SE(E)-3

3.No. & Date				:	118 dt.23.04.2012

3. Prov.of sub.head				:            2.93 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	46.35  Lac

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	1.67 Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	      Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		 Dated:

1.Head of account                                                  :	  M/o Various Scheme under Nazul A/C II (SZ)

2. Name of work/ Scheme                                    : 		SH: ARMO  sub. Station  D.G. Set, submersible

P/Set, fountain and lighting system at Millennium

Park- redevelopment bore wells.

3.  Code No.                                                             :  		 24400769

4. Reference to A/A & E/S                                     :

1.Amount			            :		 Not applicable being a maintenance work

2.No. & date

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

a).B.E./R.E				:	350.00 Lacs						b).Allocation to the Div.			:

7. Expdr. During the year			:

1.Against B.E. /R.E.			:	--

2.Against allocation			:	    Nil

8. Ref. to ARMO Estimates:			:	Estimates  Technically sanctioned  vide  TS

No.28/SE(E) DDA/201-13 dt.09.4.2012  for

Rs.79,20,364/-

1. Amount 					: 	Rs.79,20,364/-

2. Authority				:             SE(E)-3

3.No. & Date				:	104 dt.09.04.2012

3. Prov.of sub.head				:            4.65 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	46.35 Lacs

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.65Lac

(i/c anticipated tendered cost )			:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11 	      Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

Dated :

To

The Executive Engineer (E)

Electrical Division No.11,

DDA, Vikas Sadan,

New Delhi-110023.

SUB: Reimbursement of Children Education allowances.

Sir,

Please find enclosed herewith a cash receipt of children education

Allowances for the Block Year 2011-12 for two children Studying in Kendriya Vidyalaya, Pushp Vihar , New Delhi 110017.

Kindly reimbursed the children education allowances paid by me during

the Block year 2011-12 . The fees receipt and others bills in original enclosed for Payment please.

Thanking you.

Encl: As above.					Your’s faithfully,

(PRADEEP KUMAR)

UDC/ELD.11/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	  M/o Various Scheme under NA II SZ

2.    Name of work/ Scheme                                     : 	SH: Supply and installation of submersible pump set 								in Park near Sanatan Dharam Mandir Chirag Delhi.

3.  Code No.                                                               :  		 	24400769

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	200.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:	--

- Against allocation			:	157.08 Lac

8. Ref. to ARMO Estimates:			:	sanctioned ARMO  estimates for the year 11-12

(In case of maintenance work only)		  	for Rs.57,95,899/- by SE(E)-3/DDA vide TS No.9/

Dt.28.03.2011 .

dt.23.3.3011

1. Authority					:	SE(E)-3

2. Total amt.  				:             Rs.57.96 Lacs

3.No. & Date				:	50 dt.28.3.2011

4. Prov.of sub.head				:         	2.18 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		 NIL    Lacs

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	2.18 Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO.F.5(Misc.)EE/Eld.11/DDA/11-12/					Dated :

To

Sr.A.O.(CAU/SZ),

DDA, Shahpur Jat,

New Delhi.

SUB :  	Deposit/Remittance of Labour Cess under BOCW (RE & CS),

Act, 1996 and BOCWW Cess Act, 1996.

REF :    (i). WC ©No.1624/07

(ii). WC 	   No.524 of 2010.

______

Please refer to your office endorsement No. AO/CAU/SZ/DDA/11-12 dated 23.06.2011 on the captioned subject.  The requisite report in regard to labour Cess for the period 2005-06 to 2010-11 on the prescribed Performa is enclosed herewith for this division for taking further necessary action.

Encl: As above.

Executive Engineer (E)

Electrical Divn.No.11/DDA

Copy to : -

1. SE(E)-3,DDA, for kind information .

2. SE(HQ),(El),  for  kind information.

Executive Engineer (E)

Electrical Divn.No.11/DDA

ANNEXURE    A

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		Dated:

- Head of account                                                  :	9 C Maintenance

2.    Name of work/ Scheme                                     : 	M/o Completed Scheme finishing and

Furnishing Vikas  Sadan. SH:M/o Lifts-

Annual

comprehensive maintenance contract of 3 Nos. Kone Make Lifts.

3.  Code No.                                                               :  		 	44006600

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	44.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:	--

- Against allocation			:	14.15 Lac

8. Ref. to ARMO Estimates:			: Sanctioned  ARMO  estimates  by CE(E)vide  No.

W-27/SE(P)/EE(P)I2012-13/596 dt.14.05.2012 for

Rs.3,46,23,666/-

1)Total amount  				:346.24 LAC

2). AUTHORITY				: CE(E)/DDA

2).No. & Date				:596 dt.14.05.2012

3). Prov.of sub.head				:  5.01 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against     :  NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		:  4.61 Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:By Call of   Tender

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO.F.5(Mic.)EE/ED-11/DDA/11-11/				Dated

To

M/s.I.T.I. Ltd.

Tender Wizard help desk Centre,

C-9 New Krishna Park,

Vikas Puri New Delhi.

Sub :     Deposit of  Processing Fee received on 07.03.2012 :-

| Sl.No. | Name of work | Agency & Pay Order No. | Amount |
| --- | --- | --- | --- |
| 1. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: M/o E.I. & Fans- Annual operation and comprehensive maintenance of CCTVC, Surveillance system..NIT No.46/ED-11/11-12 | 1). M/s.Gupta Electrical Pay order No.860404 dt.16.02.12 from Bank of Baroda Vikas Marge,New Delhi-92. 2). M/s.G.S.Enterprises, Pay Order No.354354 dt.22.02.2012 from UCO Bank, Krishan Nagar, Delhi.51. | Rs.552=00 Rs.552=00 |
| 2. | -do- SH: Supply & replacement of condenser, MS Chanel & pumps of central A.C. Plant for VIP floor. | 1). M/s.S.K.Engineers & Consultants PO No.702712 dt.2.3.2012 from PNB Mayur Vihar New Delhi.110091. 2). m/S.Clymate Control PONO.791754 dt. 2.3.2012 from Indian overseas Bank,Mayur Vihar. 3). M/s,.Shyam Electricals,PO No.739614 dt.23.2.2012 From HDFC Bank Ltd. | Rs.552=00 Rs.552=00 Rs.552=00 |

TOTAL Rs.2,760=00

Encl : Fiveos. Pay Order.

EXCUTIVIE ENGINEER (E)

Electrical division no.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

VIKAS SADAN: INA,NEW DELHI-23.

NO.F.5(Mic.)EE/ED-11/DDA/11-12/				Dated

To

Sr.A.O.(CAU/SZ),DDA,

Shahpurjat , Khel Gaon,

DDA,New Delhi.

Sub :     Deposit of Earnest Money after qualifying the pre-bid

Received on 03.03.2012 .

The above earnest money was received on 03.03.2012 along with tender sale money, tender sale money was deposited in your office on 18.03.2012 .  The above tender was postponed till further order due to administrative reason.  After issue corrigendum tech. bid was received by SE(E) and after qualifying the pre-bid by SE(E)-3. A corrigendum was again issued for scheduled date of opening of tender on 18.05.2012 . Copy of corrigendum enclosed for ready reference .

| Sl.No. | Name of work | Agency & Pay Order No. | Amount |
| --- | --- | --- | --- |
| 1. | D/o Green area near Vijay Mandal B egampur (Area between Sarvodya Enclave & Begampur. NIT No.44/ED-11/11-12 | 1). M/s.Gurnam Bros. Pay Order No.025129 dt.29.02.2012 from Axis Bank Ltd. Defence Colony , New Delhi 24. | Rs.81,262=00 |

(Rs. Eighty one thousand two hundred sixty two only).

Encl:  One Nos. Pay Order.

EXCUTIVIE ENGINEER (E)

Electrical division no.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO.F.5(Mic.)EE/ED-11/DDA/11-12/				Dated

To

Sr.A.O.(CAU/SZ),DDA,

Shahpurjat , Khel Gaon,

DDA,New Delhi.

Sub :     Deposit of Tender Sale Money received on 07.03.2012:-

| Sl.No. | Name of work | Agency & Pay Order No. | Amount |
| --- | --- | --- | --- |
| 1. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: M/o E.I. & Fans- Annual operation and comprehensive maintenance of CCTVC, Surveillance system..NIT No.46/ED-11/11-12 | M/s. | Rs.525=00 |
| 2. | -do- SH: Servicing of window/split type Air conditioners & Water coolers. NIT NO.53/EE/Eld.11/11-12 | M/s. | Rs.525=00 Rs.525=00 |
| 3. | -do- SH: Supply & replacement of condenser, MS Chanel & pumps of central A.C. Plant for VIP floor. NIT No.56/EE/ED.11/11-12 | M/S. | Rs.525=00 Rs.525=00 |
|  |  |  | Rs.525=00 Rs.525=00 |

TOTAL Rs.3,675=00

Encl : Seven Nos. Pay Orders.

EXCUTIVIE ENGINEER (E)

Electrical Division no.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

VIKAS SADAN; INA,NEW DELHI-23

NO.F.5(Mic.)EE/ED-11/DDA/11-12/				Dated

To

M/s. I.T.I. Ltd.

Tender Wizard help desk Centre,

C-9 New Krishna Park,

Vikas Puri New Delhi.

Sub :     Deposit of Processing Fee received on 28.12.2011 :-

| Sl.No. | Name of work | Agency & Pay Order No. | Amount |
| --- | --- | --- | --- |
| 1. | M/o Scheme under NA II (SZ) SH: Supply and installation of submersible pump set at Park Vijay Mandal Begumpur. NIT No.35/EE/ED-11/11-12 | 1). M/s.Gurnam Bros. Pay Order No.473062 dt.27.12.2012 from Dena Bank, Lodhi Road ,New Delhi-110003. | Rs.552=00 |

TOTAL 	Rs.552=00

Encl: One Pay order

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.NO.11/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/12-13/		Dated:

- Head of account                                                  :	Nazul A/C II

2.    Name of work/ Scheme                                     : M/o Scheme under Nazul A/C II (SZ).

SH: ARMO of pumps & street/path light at Aastha Kunj- Redevelopment of bore wells at Aastha Kunj.

3.  Code No.					:  	24400769

4. Reference to A/A & E/S                                         :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:	350.00 Lacs

- Allocation to the Div.		:

- 7. Expdr. During the year		:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:ARMO Sanctioned by SE(El)-3 vide TS

No.26/SE(E)3DDA/2012-13              dt.9.4.12 for

Rs.50,04,633/-

(In case of maintenance work only)

1).   Authority .  				:	SE(E)-3

2).   No. & Date				:                dt.9.04.2012

3). Prov.of sub.head				:        4.28 Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.28 Lac

Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of  Tender

AAO/ED-11  	        		 Executive Engineer, ED.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	Nazul A/C II

2.    Name of work/ Scheme                                     : D/o District Centre at Saket SH: Supply and installation

of submersible pump set at Saket.

3.  Code No.                                                                 :  	24400769

4. Reference to A/A & E/S                                        :

- Amount				:

- No. & date				:

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:	200.00 Lacs

- Allocation to the Div.		:

- 7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:ARMO Sanctioned by SE(El)-3 vide TS

No.9/SE(E)3DDA/2011-12 dt.28.3.2011 for

Rs.57,95,899/-.

(In case of maintenance work only)

1).   Authority .  				:	SE(E)-3

2).   No. & Date				:          dt.28.3.2011

- Prov.of sub.head			:	Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	6.01 Lacs

Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

AAO/ED-11  	        		 Executive Engineer, ED.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	9 C Maintenance

2.    Name of work/ Scheme                                     : M/o Various colonies under SZ SH: AARMO clear water

supply P/Set Sub. Pump Set D.G. Set at Plotted area at

Mandakini.

3.  Code No.                                                               :  	44081550

4. Reference to A/A & E/S                                      :

- Amount				: Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:

- 7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:TS sanctioned vide No.F.2/EE/ED-11/DDA/10-11/185

dt. 10.3.10 dt.10.3.10 for Rs.7,70,365/-

(In case of maintenance work only)

Total amt.

- No. & Date				: 185. Dt.7.70 lacs.

- Prov.of sub.head			:7.70  Lac

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:90.67 Lac upto 2/2011

ARMO Estt.

ii). Expdr. Incurred during the year against:	NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 2.96  Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:By Call of Tender

AAO/ED-11  	        		 Executive Engineer, ED.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	Nazul A/C II

2.    Name of work/ Scheme                                     : D/o South Delhi Green- Beautification of Bara Pullah

Nallah from Jawahar Lal Nehru Stadium to Sarai Kale

Khan SH: Supply and installation of submersible pump

set at Sun Dial Sarai Kale Khan

3.  Code No.                                                                 :  	24600816

4. Reference to A/A & E/S                                        : EM6(14)2010/Estt./Pt./1370 dt.15.04.2010 for

Rs.1735.00 Lacs

1.  Amount				:  1735.00 Lacs

2.  No. & date				:  1370 dt.15.4.2010

5. Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:	     Lacs

- Allocation to the Div.		:

- 7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			: TS No.05/AE(P)/ED-11/DDA/TS/2011-12 dt.21.4.2011.

(In case of maintenance work only)

1).   Authority .  				:	EE/ED-11

2).   No. & Date				:          410 dt.21.4.2011

- Prov.of sub.head			:	1.43 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against:		NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	1.43 Lacs

Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

AAO/ED-11  	        		 Executive Engineer, ED.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DEPOSIT/REMITTANCE OF LABOUR CESS w.e.f. 8/05 to July 2011

MONTH _ _ _ _ _ _

| Sl.No. | Name of work | Total cost of Project | Date of start Date of compl. | Gross work done | Amount of Labour Cess. | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

CONFIDENTIAL

DELHI   DEVELOPMENT AUTHORITY

ELECTRICAL  DIVISION NO.11.

No.F.5(Misc.)/EE/ED-11/10-11/DDA/				Dated :

To

SH. C.S.PATEL,

Executive Engineer (E),

Electrical Divn.No.1,

Shakarpur Office Complex,

Delhi - 110091.

SUB : Regarding submission of a copy of office copy certificate dated 26.11.2010.

REF : F.5(1)Misc./ELD.1/DDA/1789 dated 19.08.2011.

Please refer on the above cited subject and reference. In this connection, a copy of experience certificate dt. 26.11.2010 has been enclosed , earlier  issued by this office vide letter No.F.5(Misc.)EE/ED-11/10-11/DDA/983 dt.26.11.2010 to M/s. Hindustan Enterprises, 16 Kotla Village, Mayur Vihar Ph.I, Delhi -110091, for the work M/o Completed Scheme finishing & furnishing Vikaks Sadan SH: Annual operation/maintenance of water supply P/Sets, fire fighting system equipment sewage/rain water P/Sets in Basement, sewage P/Set and fountain in Vikas Sadan.

Agg. No.10/EE/ED-11/2009-10.

Encl: As above.

Executive Engineer (E)

Electrical Divn.No.11/DDA

Vikas Sadan, INA, N.Delhi.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F. 3/                  /EE/ED-11/11-12/DDA/					Dated :

To

The Superintending Engineer,(E)-3,

DDA ,Vikas Minar,

New Delhi.

SUB :  	 Reply of Parliament Question.

A telephonic massage has been received from Electrical Circle-3/
DDA  on 28.07.2011 at 3.30 PM. As desired, the para wise reply of the question is as under:-

| Sl.No. | Question | Answer |
| --- | --- | --- |
| a). | The details of funds earmarked by DDA for M/o Green cover in NCT of Delhi. | Does not pertain to Electrical wing. |
| b). | The fund allocated for development of Aastha Kunj and Mall Park in adjoining Kailash Hills | The budget allocated for development of Aastha Kunj for the year 2011-12 is Rs.100.00 Lacs. No funds for Mall Park adjoining Kailash Hills have been allocated to this division. |
| c). | The time by which these projects are likely to be completed. | It pertains to Civil Wing. |

Executive Engineer (E)

Electrical Divn.No.11/DDA.

The tenders for the above work were opened on 16.11.2010 and the Earnest money was deposited on 22.11.2010.  However, on scrutiny of the work file, it  has been found that the earnest money for the above said work was  erroneously deposited vide pay order no.209308 dt.15.11.2010 for Rs.3240/- drawn on ICICI Bank ,Nehru Place, New Delhi 110019 in the name of M/s.M.S.Electricals  which was  the 2nd lowest  and the earnest money of the   L-1  i.e. M/s. Cholia Electric Works was  left in the division office .

Therefore, the earnest of M/s. Cholia Electric Works bearing Pay order no.80808 dt.16.11.2010 for Rs.3,250/-Drawn  on The Kangra Co-Operative Bank ltd., Jagtpuri,Delhi – 110051 , is forwarded to your office  for taking into account and necessary encashment .

Encl : Pay order no.80808

Dt.16.11.10 Rs.3,250/-

Executive Engineer(E)

Electrical Divn.No.11/DDA

DELHI   DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

No.F.5(Misc.)/EE/ED-11/10-11/DDA/				Dated :

To

Shri  G.C.Shaini,

Asstt. LAB(Industrial),

A Block, Ist  Floor,

New Delhi.

SUB :  Handing over Charge.

You were relieved from this office on 21.12.2010 .  However, as reported to me You have not yet handed over the charge of your seat of electrical division No.11 to your successor Shri Pradeep Kumr UDC. This is a serious issue since in the absence of proper handing over /taken over of charge, this office is not able to linkup the connected records of the accounts branch.

You are, therefore, directed to handover the charge to  Shri Pradeep Kumar UDC within 3 days from the issue of this letter.

Executive Engineer (E)

Electrical Divn.No.11/DDA

Copy to :

1). Dy. Director (industrial), 1st floor, A Block, Vikas Sadan, for information

and necessary action please.

2). Sh. Pradeep Kumar , UDC , directed to take over the charge from Sh.G.C.

Saini ,Asstt.

Executive Engineer (E)

Electrical Divn.No.11/DDA

DELHI   DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

No.F.5(Misc.)/EE/ELD-11/12-13/DDA/				Dated :

To

The FO to CE( Electrical )

DDA office Complex,

Vasant Kunj, New Delhi

SUB :  Press Tender Notice.

Please find enclosed herewith NIT No.04/EE/ELD-11/12-13 Press Notice to be published

In the New Papers. Photo copy of Budget Slip is also attached. The NIT must be published in the    New Papers before 15.06.2012 as per Schedule enclosed please. Press Clipping may be

sent to this office for records please.

Encl: As above.

Executive Engineer (E)

Electrical  Divn. No.11/DDA

Review of Revised Budget Provisions  kept in RE under Development of

Land and construction of Houses and shops

Kindly refer to the discussion held in your chamber on 4.2.2011 on the subject cited above.  As  desired  enclosed please find a list of 4 works in which provision in RBE 2010-11 & BE 2011-12 is to be made for taking further necessary action at your end.

Encl: As above.

Executive Engineer ( E)

Electrical Divn.No.11/DDA

Copy to :-

1). FO to CE(E), along with enclosure ,  w.r.t. his letter No.Fo to CE(E) /-

Misc./Budgt/20-11/535 dt.31.1.2011.

2). FO to CE(SZ) ,alongwith enclosure, w.r.t. his  letter No.CE/SZ/FO/18(23)

Budget/10-11 329 dt.2.2.2011.

Executive Engineer ( E)

Electrical Divn.No.11/DDA

DELHI   DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11.

(NEW SCHEME )

| Sl.No. | Name of Scheme | RBE | BE | Remarks |
| --- | --- | --- | --- | --- |
| 1. | Srifort Sport Complex. Installation of sprinkling system of watering at cricket, football , Hockey Fields, Mini Golf Course and Golf Driving range/Air- Conditioning of Shooting Range/Conversion of one tennis Court which has been modified into a lawn on account of commonwealth games 2010 into synthetic Court. | 50.00 120.00 | 50.00 120.00 |  |
| 2. | Saket Sports Complex Reducing the depth of swimming pool/re-development/re-boring of tube-well/up-gradation of houses riding area canteen | 35.00 | 35.00 |  |
| 3. | Qutub Golf Course Golf facility centre (Club House ) Shifting of the driving range/flood lighting of the 9 hole and driving range will be taken upto after the commencement of club building | 40.00 | 40.00 |  |
| 4. | Payment of eclectic consumption charges of Sir fort Sports Complex. | 80.00 | 100.00 |  |
|  | TOTAL | 325.00 | 345.00 |  |

Executive Engineer ( E)

Electrical Divn.No.11/DDA

----       -----

SUB :   D/o land at Aastha Kunj Distt. Green Kalkaji

SH: S/Laying  of DWC Piple.

Agency: 	: M/s. Goel Eectrical.

Agg. No.	: 57/EE/ED-11/DDA/07-08.

Estt.Cost.	: Rs.6,98,368/-

Tendered

Amount 	Rs.8,80,000/-

Value of

work done	Rs.9,31,095/-

________

Please refer the 3rd and final bill of M/s. Goel Electrical , submitted by AE(E)-I/ED-11 on 31.12.2010 , which was received in account branch on  25.1.2011 may kindly be seen.

In the instant case, it is seen that the above said work was awarded to M/s. Goel Electrical on 19.10.2007 and date of completion of the said work was three months i.e. 28.01.2008.  During the checking in account branch, the following points/observation were seen as under;-

1.	Ist Provisional EOT was granted upto 28.2.08 on 18.3.08(After 28.2.08).

2.	IInd Provisional EOT was granted upto 30.4.2008 on 2.4.08 (but as per External Audit party’s report this was not shown to audit party)

3.	No Final EOT letter was issued to the contractor as yet.

4.	Secured Advance paid to the contractor, but secured advance

Of Rs.42,525/-  has not  been adjusted till date , reasons for the same may please be elaborated.

5.	Work has been Deviated from Rs.8,80,000/- to Rs.9,31,095/- but no  deviation has been approved by the competent authority as yet.

6.	Test Check details of AE/EE not submitted by sub-division.

7.	MB No. 9879  in which work has been measured has not been submitted with final bill .

8.	The contractor has not accepted the bill in full & final settlement of claim in MB as well as in final bill form.

9.	Reasons for not deducting the full amount   of secured advance in 2nd R/A bill may also be given.

In this case , It is also seen that this work was selected by External Audit Party for checking, during checking they  have pointed out during  inspection that the work has not been shown completed so far(upto March 2010) and also pointed out that Provisional EOT granted to the contactor upto 2.4.2008 and no further  extension of time  has been granted after that and department has not take  any action against the contractor , upto 2nd R/A bill  Rs.7,57,460/- has been paid to the contractor, but Rs.42,525/-as a secured advance has not been recovered from the contractor RA bill  and also not completed the work within extended period.

AE-I may be requested to reply the above quarries, so that further action can be taken to pass the 3rd and final bill of M/s. Goel Electrical .

DA

AAO/ED-11

Executive Engineer,ED-11

Asstt.Engineer(E)-1.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL  DIVISION NO. 11.

No.F.5 (Misc.)EE/ED-11/12-13/DDA/				Dated :

To

The SE (E)-C-3,

DDA , Vikas Minar ,

New Delhi.

SUB:       Award of work without call of tender.

REF :      CE(SZ)FO/18(98)07-08/2277 dt.17.4.09

Please refer on the above cited subject and reference. In this connection, It is to inform you that this office has not awarded any work

without call of tender In the month of  July  2012. Hence report may please be treated as NIL for this Division is concerned.

Executive Engineer (E)

Electrical Divn.No.11/DDA

NOTICE INVITING TENDER

THROUGH e Tendering System

ELECTRICAL DIVISION NO.11

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO.F.5(Mic.)EE/ED-11/DDA/10-11/				Dated :

To

Sr.A.O.(CAU/SZ),DDA,

Shahpurjat , Khel Gaon,

DDA,New Delhi.

Sub : Deposit of Earnest Money  received on  17.06.2011.

Details of Earnest Money are as under :-

_____	______________________________________________________________

Sl.No.		Name of Work		           Pay order No.& Amount

1.D/o District centre at Saket 		           Pay order 707006 dt.11.4.2011

SH:  Supply & Installation of      	           for Rs.8,117/- from Dena Bank,

Submersible  pump set at Saket.	           Lodhi Road  New Delhi.

Agency : M/s.Gurnam Bros

2. M/o Scheme under NA II (SZ)			pay order No.732959 dt.15.6.11

M/o EI & Fans and D.G.Sets at		for Rs.3,316/- from Syndicate Bank,

Various offices at DDA & Staff  qtrs. 	Malviya Nagar, New Delhi.

SH: Wiring of new constructed rooms

at QC,SED-9, Sarita Vihar DDA offices

Agency : M/s.Rishabh Electricals.

3.D/o South Delhi Green, beautification	Pay Order No.706081 dt.21.2.11

Of bara Pulla Nallah from Jawahar Lal          for Rs.3,050/- from Dena Bank,

Nehru Stadium to Sarai Kale Khan                 Lodhi Road, New Delhi.

SH: Supply & installation of submersible

Pump set at sun dial sarai kale Khas.

Agency M/s.Gurnam Bros.

4.

OFFICE OF THE

EXECUTIVE ENGINEER, ELECT.DIVN.NO.11

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO 11

Sr.A.O.( CAU/SZ) may please be arrange a cheque of Rs.8,76,944/-

(Rs. Eight lac seventy six thousand nine hundred forty four only ) on account of Salary for the Month of January 2011 for class III & IV staff of Electrical Division no.11 in favour of CBI/- Vikas Sadan.  The details of Works chargeable are as under :-

Sl.No.  Name of works                             Gross                    Net                           Bank

1.        8Admn.B (Staff)   a).		Rs.5,62,376/-     Rs.3,12,487/-	      CBI/VS

2.      a) M/o Scheme under NA-II

S.Z.Rs. 25043/-

b) M/O Completed Scheme	Rs.6,22,963/-     Rs.3,65,389/-	     CBI/VS

Vikas Sadan.Rs.5,97,784/-

3.	M/O Scheme NA-II(SZ)

a)  Rs. 92365/-			Rs.2,17,171/-     Rs.1,12701/-	   CBI/VS

b)M/O various colonies

Under South Zone

Rs. 124806/-

4.	M/O Scheme under NA-II

a) (Sl.No. 1 & 5 )Rs.122617/-	Rs.142865/-     Rs.86,367/-	  CBI/VS

b)M/O various colonies

Aastha Kunj, Kalkaji.

Rs.20248/- __________________________________________________________________

TOTAL                      Rs.15,45,375/-    Rs.8,76,944/-

__________________________________________________________________

(Rs. Eight lac seventy six thousand nine hundred forty four only).

Executive Engineer

Electrical Division-11/DDA.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 11

No.F.5 (Misc.)EE/ED-11/10-11/DDA/				Dated :

To

The SE (E)-C-3,

DDA , Vikas Minar ,

New Delhi.

SUB :  Furnishing of information in respect of directions issued by Hon’ble High

Court of Delhi vide order dated 10.11.2010 in connection with the

case W.P.(C) 524/2010, titled as people union for Democratic Rights

and others v/s Union of India and Others.

REF :   F.23(107)SE(E)-3/DDA/87 dt.19.1.2011.

Please refer on the above cited subject and reference.  In this connection, it is

stated that labour cess deducted from the contractors is being deposited every month

along with Cheque  by  AO(CAU/SZ). Hence the matter pertains to CAU/SZ please.

Executive Engineer (E)

Electrical Division No.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 11

No.F.5 (Misc.)EE/ED-11/10-11/DDA/				Dated :

To

Sr. A.O.(CAU/SZ),

DDA,Shahpur jat,

New Delhi.

SUB :  Excess deduction from GPF.

Sh. Richh Pal Singh ,ALO presently working in this division and he had drawn salary in the month of August -2009 for Rs.9,126/- (Net),in this salary bill GPF advance deducted 2 installments @ Rs.2000/- for Rs.4000/- instead of Rs.2000/- but in advertently as per GPF schedule GPF was shown only Rs2,000/- for one installment only.

You are requested to credit GPF advance Rs.4000/- in the month of 8/09 paid in 31.08.2009 in favour of Sh. Richh Pal Singh,ALO.

Asstt. Account Officer,		         Electrical Division No.11/DDA

The item rate tenders for the above cited work were invited vide tender

Notice No.F.5(Misc.)/EE/El.Divn. No./DDA/10-11/598 dt.15.07.10.  After making the wide publicity through DDA website, all divisional offices and contractors

Associations DDA and through various leading News papers, only single tender

was sold and  the same was received at the time of opening i.e. 27.07.2010.

THE SAILANT FEATURES OF THE TENDER ARE GIVEN BELOW :-

1. Name of work	: 	Completed Scheme finishing and furnishing Vikas

Sadan. SH: M/o Lifts- Annual comprehensive

Maintenance contract of 3 Nos. Kone Make Lifts.

2. Ref. to A/A & E/S :

| 1.Authority 2.No.& Date 3. Amount. | Not applicable being a maintenance work |
| --- | --- |

3.Ref. of Tech. Sanction :

1. Authority	:  CE(E)/DDA.

2. No.& Date 	: T.S. No. 3 dt.21.04.10

3.Amount 	: Rs.5,03,604/-

4. Ref. of approval of NIT.

1. Authotrity	: Approved by EE(Electrical )11/DDA

2. No. & Date	: 11/EE(E)-11/NIT/DDA/2010-11

3. Amount   	: Rs.5,03,604/-

5. Ref of date of publicity:

1. Date on which notice inviting tenders

was placed on the notice board of 	: 15.07.10

Division office.

2. Date on which it was circulated to

other offices.					:15.07.10

2/-

3.Name of Newspaper with		: i)

Date in which the notice inviting	:ii)

Tender was actually advertised		: iii)

6.	i)  The date & time by which tender

Were due to be received in tender	3.30 PM on 17.08.2010

Counter,  Vikas Minar.

7.	Particulars of contractor to whom

Tenders were sold quoting authority

For issue of tenders and eligible to

Tender:-

| 1. | M/s. Kone Elevator India Private Limited. | CPWD Class I |
| --- | --- | --- |

9.	Opening of tenders:

1). Date & time by which tender were due to be opened 	:27.7.10at 3.30PM

2). Date and time when tender were actual opened 	:27.7.10at 3.30PM

3). Name and desgn. of officer who		    :    	1. P.K.Arora,  AE(E)(P)

Actually opened the tender 		     :       2. B.D.Kukreti, AAO

4). Name and desgn. of any other person

Present							:Sh. G.C.Saini  UDC

5). Have all the contractor , if not exempt

Deposited earnest money in prescribed form	:Yes

10.	 list of person who tendered and their

Tendered amount				: M/s Kone Elevator India (P)Ltd.								  Rs.5,00,400/-

11.	Justified item rate as worked  out by

Division office.					:  AT PAR with

the estimated cost

12).	Remarks and recommendation of EE

1). Availability of site					: Available

2). Availability of stipulated material			: Available

3). Approval of layout plan				:  Available

4). Approval to building plan clearance from

DUAC							: N.A.

3/-

5). Availability of funds				: Being a maintenance work

Funds available for

Rs.5.00 Lacs.

14.	Call of tender 					: Ist Call

15.	Recommendation		Only single tender has been received, the rates

quoted by single tenderer of M/s. Kone Elevator

India private Limited are Rs.5,00,400/- and are 0.64 % below  the estimated cost and justified amount .  It is recommended that work may be awarded to M/s. Kone Elevator India Pvt. Ltd. at its quoted rates amounting to Rs.5,00,400/- as the rates are reasonable  and justified.

Encl: As above:-

1).Performa for forwarding the tender

2). Comparative Statement

3). Justification

4). Tender of M/s. Kone Elevator India Pvt. Ltd.

5). NIT in original

6). Tender Notice.

Executive Engineer,(E)

Electrical Divn.No.11/DDA

DETAILS OF WORK RELATED TO COMMON WEALTH GAMES 2010 IN

RESPECT OF ELECTRICAL DIVN.NO.11

| Sl. No. | Name of work & Contract value (In lac) | Name of Contractor Contract no. & date | Date of Start of work_________________ Schedule Actual | Date of completion of work Schedule Actual | Payment Status of work in percentage Phy. Fin. | Payment made till date ( Rs. in lac) | Liability of Deptt.for this work. |
| --- | --- | --- | --- | --- | --- | --- | --- |

The Para wise replies of Six ( 6 ) outstanding external audit

paras for the Inspection report from 2/05 to 3/06.

| Sl.No.Paras | Details of para | Reply |
| --- | --- | --- |
| Para II-A 1. | Avoidable expenditure of Rs.205.37 lakhs on repair and maintenance and electricity bills for Bhikaji Cama Place. | The total expenditure incurred during 2001,2002 to 2005-2006 by electrical division no.11 was as under ;- 1. Up gradation of services at Bhikaji cama place Rs.53.95 lacs 2. Repair /maintenance of common services Rs.60.17 lacs At Bhikaji Cama Bhawan TOTAL : Rs.114.12 lacs It is further submitted that the building was completed on 15.6.1989 and maintenance of electrical services were carried out according to the terms & conditions of allotment i.e. “For the initial period of one year or earlier till common agency take over maintenance.The allottee shall have to pay 1.5 % of the cost of the flat to DDA for maintenance per year and thereafter in case there is any delay in the formation of the common agency “. So it was the requirement of allotment condition and it cannot be termed as ‘ avoilable expenditure “. The maintenance of electrical services is still being continued as the services are for the whole building and not for any individual allottee. Commercial estate Branch of DDA looks after the collection of maintenance charges from the allottees. |
| Para II-B 2. | Avoidable expenditure of Rs.7,67,863/- due to price escalation | The electrical works are carried out with the pace of civil work and allotment of flats is made by housing department. Since the progress of civil work along with allotment of flats was slow, this office has no other alternate but to accord EOT without levy of compensation as there was no fault of the electrical contractor. It is therefore, requested that para may be dropped. |
| Para No.3 | Delay in handing over the completed schemes | The electrical works are carried out with the pace of civil work and allotment of flats is made by housing department. Since the progress of civil work was slow and as already stated the electrical work is to pace with civil work, the delay is not due to electrical wings. It is therefore, requested that para may be dropped. |
| Para No.4 | Irregularity in execution of work | As per CPWD Manual Vol. II works Manual 2003 , SE(E)was required to inspect the works costing more than 10.00 lacs. In the instant case the estimated cost of the work was Rs.9,53,992/- and the total value of work done was Rs.7,23,288/-. As such the inspection of SE was not required in this case. So far as obtaining the Guarantee bond on stamp paper of Rs.10.00 is concerned, it is stated that no dispute arose during the maintenance/guarantee period. However the instruction has been noted for compliance in future As such para may please be dropped.. |
| Para No.5 | Staff in excess of sanctioned strength | This office is handling maintenance of electrical work at Vikas Sadan, L.G.office,CE ‘s office at different places. The work is to be carried out on urgent /emergency basis and accordingly staff has been engaged for carried out misc. works without sanctioned strength. However the instruction has been noted for compliance in future. Para may please be drooped. |
| Para No.6 | Splitting of supply order | Six supply order for 12 LEAD acid batteries for amount of Rs.4,900/- for each work were placed by the then EE(E) ,ED-11 due to requirement of battery at different sites/location & accordingly separate supply order were placed for different name of work. However instructions have been noted for compliance in future. It is therefore requested that para may be dropped. |

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.NO.11/DDA

Para wise replies of External audit paras for the period   4/08  to 3/09

| Para No. | Description of para | Repy of paras |
| --- | --- | --- |
| Part II-B 0.1 | Extra expenditure of Rs.18.83 lakh due to awarding of work L-2 Agency; | The reply of the para shall be submitted in due course . |
| Para 02 | Irregular extension of the contract | The final extension of time for a period of 4 months & 24 days has been granted by the competent authority i.e. (SE(E)-3) next higher authority to EE/ED-11,Photo copy enclosed. 1). Recovery on account of non functioning of light points for more than three days has been prepared by this office amounting to Rs. . And the same shall be recovered from the amount with held in the final bill of the agency photocopy of the page of MB showing withheld amount is enclosed. Para may please be dropped. 2).The contractor has returned the dismantled material to the department. Register of dismantled material showing quantity of dismantled material received has been completed. Photo copy of the dismantle material is enclosed for ready reference Para may kindly be dropped. 3). Approval register showing specific make of the electrical items has been completed. Futher it is certified that the item used by the contractor were of specific make, photo copy of the same is enclosed. The para may kindly be dropped. 4). Photo copy of the deviation statement duly approved by the Competent authority is enclosed. Para may kindly be dropped. |
| Para 3 | Extra ordinary delay in completion of work unfruitful exp. of Rs.7.57 lakh | The work of supply and laying of DWC pipe for development of land at Aastha Kunj was awarded to M/s. Goel Electricals on 19.10.07 The above work was completed on 30.4.08 and completion certificate was recorded on the same date . photo copy of the MB showing completion certificate is enclosed .The Provision Extension was taken time to time and final extension was granted by the then EE/ED-11 (copy of the provisional extension and final extension is enclosed ). |
| Para No.4 | Wrong pay fixation of JEs | The reply of the para shall be submitted in due course. |
| Para No.5 | Non Deduction of FTA of JEs | An amount of Rs.1184/- has been recovered from the salary of Sh.om Prakash JE mentioned at S.No.1 |
|  |  | Regarding officials at Sl.No. 2 & 3 the proposed recovery is being pursued with the concerned section i.e. Pension cell for Sh.F. R. Singh JE Electrical (since retired) & with EE, Electrical 1 in respect of Sh.R.S. Rathi J.E (since transferred). |
| Para No.6 | Non renewal /release of performance guarantee | The matter regarding lapsed FDR in the shape of P.G. is being taken up with the concerned agencies. |
| Para no.7 | Security deposit register | Efforts are being made to minimize the amount lying in deposit register Part II & V. Para may please be dropped. |

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.NO.11/DDA

irector (Cluster-4 Shooting (KSSR) vide his letter No.NIL dated 22.6.10  requested to illuminate the whole DDA parking area including peripheral fencing from 22.09.2010 till 15.10.2010 for above mentioned site (copy enclosed ).  Since the work pertains to Commonwealth Games 2010, tenders for the above work was called and awarded to M/s.M. Chhibba & Co. on 15.09.10 (copy enclosed).  As the work were to be carried out on urgent basis, approval for executing the work of parking light & security light near Dr.Karni Singh shooting range Tughlakabad on hire basis could not be taken inadvertently from the VC, DDA.

It is, therefore, requested that ex-post facto approval for providing parking light on hire basis of above work may kindly be accorded.

Executive Engineer (E)

Electrical Division No.11

Office of the Executive Engineer (E)

Electrical Division No. 11/DDA.

Vikas Sadan, New Delhi

No.F.5(Misc)EE/ED-11/DDA/B.G./10-11/                Dt:-

To

The Manager,

Standard Chartered Bank,

H-2, 2nd floor,

Connaught Circus, New Delhi-110001

Sub:- Renewal of Bank Guarantee No. 171020242161-AP

Dt. 16.7.2009 for Rs. 22891/- in r/o M/O completed

Scheme finishing and furnishing Vikas Sadan

SH:- M/O lifts- Comprehensive annual maint. of KONE

Make lifts.

Agmt. No. F.5(misc)EE/ED.11/DDA/08-09/594 dt. 2.7.09

The above stated Bank Guarantee was issued by your bank

For the above mentioned work towards performance

Guarantee. The said Bank Guarantee is expiring on 31.12.2010.

You are therefore  requested to extend the above stated

Bank Guarantee for One year at an early date.

Executive Engineer(E)

Electrical Div.No.11/DDA.

Copy to:-

M/s, Kone Elevator India (P) Ltd, 7th floor, Aggarwal

Corporate heights, A-7, Netaji Subhash Place,

Delhi-110034 with the request to persue the matter

With the bank.

Executive Engineer(E)

Electrical Div.11/DDA.

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 11

No.F.5 (Misc.)EE/ED-11/DDA/10-11/				Dated :

To

A.O. (CAU/SZ),

DDA Office Complex,

Shahpurjat,

New Delhi.

SUB :    Issue of Budget Slip.

Please find enclosed herewith Provisional Budget Slip   No.55 to 58 (4 Nos. )

for issue of budget Slip, after countersigned from Superintending Engineer (E)-3.

You are requested to issued Budget Slip, so that tender may be called through

E-tendering  system.

Encl;  4 Nos.

Budget Slip

Executive Engineer (E)

Electrical Divn.No.11/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	9 C Maintenance

2.    Name of work/ Scheme                                     : 	M/o Completed Scheme finishing and furnishing

Vikas Sadan: SH: Servicing & painting , rewinding of pump motors of desert coolers at Vikas Sadan.

3.  Code No.                                                               :  		 	44006600

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	400.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:	sanctioned ARMO  estimates for the year 10-11

(In case of maintenance work only)		  	for Rs.364.67 lac by CE(E)/DDA vide W-7/SE(E)P

Total amt.  					:              DDA/09-10/117 dated 21.04.10

- No. & Date				:	117 dt.21/4/10

- Prov.of sub.head			:	        11.50 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	212.52 Lac up to 12/2010

ARMO Estt.

ii). Expdr. Incurred during the year against:		3.81Lacs

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.48  Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	9 C Maintenance

2.    Name of work/ Scheme                                     : 	M/o Completed Scheme finishing and furnishing

Vikas Sadan: SH: M/o Supply & replacement repair of Compressor of Package unit at Central A.C. Plant

3.  Code No.                                                               :  		 	44006600

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	400.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:	sanctioned ARMO  estimates for the year 10-11

(In case of maintenance work only)		  	for Rs.364.67 lac by CE(E)/DDA vide W-7/SE(E)P

Total amt.  					:              DDA/09-10/117 dated 21.04.10

No. & Date				:	117 dt.21/4/10

- Prov.of sub.head			:	 14.00 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	237.67 Lac up to 1/11

ARMO Estt.

ii). Expdr. Incurred during the year against:		 6.79Lacs

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	2.03  Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.      Head of account                                                  :	Nazul Account II (SZ)

2.      Name of work/ Scheme                                     : M/o Completed scheme under Nazul A/C II SZ SH: D/o Spitual park

At Kalkaji adjacent at Nehru Place (Revised name as Aastha Kunj SH:     Providing path lights from Kailashewar Mahadev mandir Path Area at Aastha Kunj.

3.  Code No.                                                               :  		 	24503003

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	150.00 Lac.

7. Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:	sanctioned ARMO  estimates for the year 10-11

(In case of maintenance work only			TS /01/SE(E)-3/DDA/58 dt.13.1.2011 for Rs.38,20,987/-

1). Total Amount 				: 	38,20,987/-

2).  No. & Date				:	58 dt.13.1.2011

3). Prov.of sub.head				:	      Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	            Lac up to 12/2010

ARMO Estt.

ii). Expdr. Incurred during the year against:		   7.91 Lac

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	3.58  Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.      Head of account                                                  :	Nazul Account II (SZ)

2.      Name of work/ Scheme                                     : M/o scheme under Nazul A/C II SZ SH: S/I/R & M of

lights, bore well, pump sets, fountain G/C Machine

etc. in DDA Parks/green under SD No. II /Hort.I

DDA fitting, lowering rewinding and repairing of

submersible pump sets.

3.  Code No.                                                               :  		 	24400769

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	350.00			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:ARMO/35 /SE(E)3/DDA/12-13 dt.20.04 12 for

Rs.98.05 lacs

1). Total Amount 				: 	98.05 lacs

2).  No. & Date				:	116 dt.23.04.2012

3). Prov.of sub.head				:	4.37 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	1.92.05 lAC

ARMO Estt.

ii). Expdr. Incurred during the year against:		   NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.37   Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.      Head of account                                                  :	Nazul Account II (SZ)

2.      Name of work/ Scheme                                     : M/o scheme under Nazul A/C II SZ SH: S/I/R & M of

lights, bore well, pump sets, fountain G/C Machine

etc. in DDA Parks/green under SD No. II /Hort.I

DDA fitting, lowering rewinding and repairing of

submersible pump sets.

3.  Code No.                                                               :  		 	24400769

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	350.00			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:ARMO/40 /SE(E)3/DDA/12-13 dt.23.04 12 for

Rs.96.85lacs

1). Total Amount 				: 	96.85 lacs

2).  No. & Date				:	776 dt.1.8.2012

3). Prov.of sub.head				:	4.37 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		   NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.37   Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.      Head of account                                                  :	Nazul Account II (SZ)

2.      Name of work/ Scheme                                     : M/o scheme under Nazul A/C II SZ SH: S/I/R & M of

lights, bore well, pump sets, fountain G/C Machine

etc. in DDA Parks/green under SD No. 1 /Hort.6

- Preventive maintenance of electrical control Panel  Park/path lights & accessories installed in different park.                                                                                          submersible pump sets.

3.  Code No.                                                               :  		 	24400769

4. Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

5. Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

6. Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	350.00			:

- Against B.E. /R.E.			:

- Against allocation			:

8. Ref. to ARMO Estimates:			:ARMO/34 /SE(E)3/DDA/12-13 dt.23.04 12 for

Rs.1,00,10,000/-

1). Total Amount 				: 	100.10 lacs

2).  No. & Date				:	113  dt.23.4.2012

3). Prov.of sub.head				:	4.49 Lacs

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ARMO Estt.

ii). Expdr. Incurred during the year against:		   NIL

Sub.head(iv) above.

10. Amount of Budget Slip Required 		: 	4.49  Lac.

(i/c anticipated tendered cost )		:

:

11. Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISI0N NO.11

NO.F.5(mise.)/EE/ED-11/DDA/12-13/				Dated :

To

FO to CE (Electrical),

DDA, Office Complex,

Vasant Kunj, New Delhi.

SUB : Press Tender Notice.

Please find enclosed herewith NIT No.06/EE/Eld.11/12-13/DDA along with Budget Slip  to be published in the New papers.  Press Clipping may be sent to this office for records please.

Encl: As above.

Executive Engineer (E)

Electrical Division No.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5 (Mis.)EE/ED-11/DDA/10-11/				Dated :

TO WHOM IT MAY CONCERN

This is to certified that M/s. S.K. Air-conditioning & Engineers ,333,PKT.II,

Mayur Vihar phase. I , Delhi-110091have completed the following works satisfactorily

as under :-

Sl.No. 		Name of work 				Estt. Cost		    Dt.of Start

Agg. No.				Tendered Cost		    Date of Completion

Value of Work Done	    Actual Date of Completion

1.	M/o Completed Scheme finishing &

Furnishing Vikaks Sadan SH: M/o Central 	Rs.29,420/-		15.08.2004

A.C. Plant & package type  unit & D.G.Sets	Rs.29,415/-		21.08.2004

Removal of leakage in section side & supplying Rs.29,415/-		20.08.2004

&  Charging M-22 Gas.

Agg. No.52/EE(E)ED-11/DDA/2004-05.

2.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: M/o Central A.C. Plant & D.G.	Rs.5,06,005/-		25.12.2004

Sets- Annual operation & maintenance and 	Rs.5,18,795/-		24.12.2005

Service contract for 120 Ton Central A.C. Plant 	Rs.5,87,981/-		10.02.2006

& 12.5 Ton Package type A.C. unit & D.G.Sets.

Agg.No.94/EE(E)ED-11/DDA/2004-05

3.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: Supplying & refilling of M-22	Rs.27,877/-		30.07.2005

Gas (Refrigerant Cylinders)			Rs.27,816/-		13.08.2005

Agg. No.40/EE(E)ED-11/DDA/2005-2006	Rs.27,816/- 		27.07.2005

4.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: M/o Central A.C. Plant  & D.G.	Rs.64,877/-		23.09.2005

Sets-Repairing of leakage chiller pipe line	Rs.64,000/-		29.09.2005

of unit No.2.					Rs.64,000/-		26.09.2005

Agg. No.54/EE(E)ED-11/2005-06

5.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: M/o Central   A.C. Plant & D.G.	  Rs.5,61,100/-		12.02.2006

Sets – Annual  operation & maintt. & service 	  Rs.5,86,335/-		11.02.2007

contract of 120 Ton A.c. Plant & 15 Ton package Rs.6,70,155/-		10.04.2007

type A.C.Unit & D.G.Sets.

Agg. No.105/EE(E)/ED-11/2005-06

6.	M/o Completed Scheme finishing & furnishing 	Rs.79,940/-		30.12.2006

Vikas Sadan SH: M/o Central A.C.Plant  S/o 	Rs.82,940/-		29.01.2007

Remove temperature & relative humidity	Rs.85,723/-		11.04.2007

Indicators

Agg. No.60/EE/ED-11/2006-07.

Contd..2/-

2/-

7.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: M/o Central A.C. Plant  & D.G.	Rs.6,41,280/-		13.04.2007

Set- Annual operation, maintt. & Service 	Rs.6,46,760/-		12.04.2008

Contract  of 120 Ton A.C. Plant & 15 Ton 	Rs.7,57,860/-		25.06.2008

Package  unit & D.G. Sets.

Agg. No.01/EE(E)ED-11/DDA/2007-08

8.	M/o Completed Scheme finishing & 		Rs.1,30,443/-		30.04.2007

furnishing Vikas  Sadan SH: M/o Central 	Rs.1,40,215/-		29.05.2007

A.C. Plant & D.G.Sets repairing of 		Rs.1,41,266/-		22.05.2007

Cooling tower AHU No.3

Agg. No. 09/EE(E)ED-11/DDA/2007-08

9.	M/o Completed Scheme finishing & 		Rs.1,13,587/- 		15.05.2008

Furnishing Vikas Sadan SH: Supply & 		Rs.1,12,350/-  	               29.05.2008

Replacement of G.I. pipe & MS pipe of		Rs.1,24,195/-		28.05.2008

central A.C. Plant & package  unit .

Agg. No.10/EE(E)ED.11/DDA/08-09.

10.	M/o Completed Scheme finishing & furnishing

Vikas Sadan SH: Annual operation –Maintt. &	Rs.6,55,280/- 		27.06.2008

Service contract of 120 Ton A.C. Plant package	Rs.7,12,430/- 		26.06.2009

& unit &  D.G. Set.				Rs.8,41,832		03.09.2009.

Agg. No.17/EE(E)/ED11/08-09

11.	M/o Completed Scheme finishing & furnishing	Rs.1,80,237/-  		27.04.2009

Vikas Sadan SH: Rewinding of 50 HP Motor	Rs.1,81,050/-		26.05.2009

Supplying /replacement of fire dampers in the 	Rs.1,79,737/-		25.05.2009

Existing  A.C. duct at   Vikas Sadan.

Agg. 03/EE(E)ED-11/09-10

12.	M/o Competed Scheme finishing & furnishing

Vikas Sadan SH: M/o Central A.C.  Plant & D.C.	Rs.1,55,035/-  		25.07.2009

Sets Supplying & replacement of spare parts	Rs.1,88,216/-  		24.08.2009

And accessories of cooling   tower AHU.	Rs.1,88,298/-		04.08.2009

Agg. No.12/EE(E)ED-11/DDA.2009-10

13.	M/o Completed   scheme finishing & furnishing

Vikas Sadan SH: M/o Central A.C. Plant & D.G.	Rs.1,91,545/-  		30.07.2009

Sets- Over hauling  of 3 Nos.  40 TR compressor	Rs.1,95,500/- 		29.08.2009

Agg. No.14/EE(E)/ED-11/DDA/2009-10		Rs.1,95,500/-		28.08.2009

Executive Engineer (E)

Electrical Division No.11/DDA

Press Building, Vikas Sadan,

INA, New Delhi-110023

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.Head of account                                                  :		Nazul Account II

2.Name of work/ Scheme                                     : 			Improvement of as Walk way, parking gates at						 R.K. Khanna Stadium for Common Wealth Games – 					2010 SH: Supplying & Laying of underground Cable at 					Distt.Park Hauz Khas.

3.Code No.                                                               :  			24600818

4.Reference to A/A & E/S                                      :

Amount				Not required being a maintt. work 					:

5.Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6.Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:

7.Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8.Ref. to ARMO  Estimates:			: No.WAC-14 (329) 10/DDA/09/Est.10 dt.2.2.10

1).Total amt.  					: 	for Rs.111.18 Lacs EO  II to EM /DDA

2)No. & Date

3)Prov.of sub.head				:	14.26 Lacs (Revised PE submitted for Rs.19.74lacs)

Expdr.

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ii). Expdr. Incurred during the year against:

Sub.head(iv) above.

10.Amount of Budget Slip Required 		: 	10.00 Lac .

(i/c anticipated tendered cost )		:

:

11Mode of execution of work(tender/work-	:	By Call of Spot Quotation

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

1.Head of account                                                  :		Nazul Account II

2.Name of work/ Scheme                                     : 			Improvement of as Walk way, parking gates at						 R.K. Khanna Stadium for Common Wealth Games – 					2010 SH: Providing & fixing of Temp. lighting at Distt.					 Park Hauz Khas on Hire basis.

3.Code No.                                                               :  			24600818

4.Reference to A/A & E/S                                      :

Amount				Not required being a maintt. work 					:

5.Total progressive Expdr. Against 		:

The A/A & E/S upto___________	:

6.Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:

7.Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

8.Ref. to ARMO  Estimates:			: No.WAC-14 (329) 10/DDA/09/Est.10 dt.2.2.10

1).Total amt.  					: 	for Rs.111.18 Lacs EO  II to EM /DDA

2)No. & Date

3)Prov.of sub.head				:	14.26 Lacs (Revised PE submitted for Rs.19.74

lacs)

Expdr.

9. Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:	NIL

ii). Expdr. Incurred during the year against:

Sub.head(iv) above.

10.Amount of Budget Slip Required 		: 	7.00 Lac .

(i/c anticipated tendered cost )		:

:

11Mode of execution of work(tender/work-	:	By Call of Spot Quotation

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

DETAILS OF EXPENDITURE W.E.F. JUNE 2008 TO MAY 2010.

Figures in lacs

Sl.No.		Month		Expdr. In Works	Expdr. In Salary

1.		5/08			29.81			7.98						2.		6/08			29.24			7.01

3.		7/08			28.56			5.69

4.		8/08			28.11			9.73

5.		9/08			33.92			7.48

6.		10/08			34.78			22.84

7.		11/08			29.36			9.76

8.		12/08			27.44			9.42

9.		1/09

10.		2/09			31.99			7.35

11.		3/09			40.08			0.46

12.		4/09			36.34			i/c salary

13.		5/09			19.97			10.97

14.		6/09			43.14			16.61

15.		7/09			49.29			i/c salary

16.		8/09			36.50			10.50

17.		9/09			49.74			i/c salary

18.		10/09			24.19			12.03

19.		11/09			23.78			10.23

20.		12/09			20.18			8.80

21.		1/10			27.65			8.96

22.		2/10			30.16			8.80

23.		3/10			58.84			0.55

24.		4/10			41.43			8.49

25.		5/10			54.24			8.50

List of work executed more than 5.00 lacs during  6/08  to  05/10  :-

| S.No. | Name of work with sub.head | Agg. No. | Name of Agency | Estt. Cost | Tend. Cost | Gross work done | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | M/o Completed scheme finishing and furnishing vikas Sadan SH: M/o Lifts – comprehensive maintt. contract of Kone make lifts. | 01/08-09 | Kone Elevator (I)Pvt.Ltd. | Rs.3,60,000/- | Rs3,87,972/- | Rs.5,07,910/- paid on 15.10.09 |  |
| 2. | -do- SH: Annual operation Maintt. & service contract of 120 Tone AC Plant package & unit & DG Set | 17/08-09 | M/s.S.K.Air conditioning Engineers | Rs.6,55,280/- | Rs.7,12,430/- | Rs.8,41,832/- |  |
| 3. | -do- SH: providing & fixing of Scale Guard in the existing 3x40 TR capacity centralized plant and 2x7.5 package unit in vikas Sadan. | 43/08-09 | M/s.Aqua Treat (Pvt.)Ltd. | Rs.4,65,510/- | Rs.5,21,000/- | Rs.5,21,000/- |  |
| 4. | -do- SH: Annual operation and maintt. of all equipment of sub. station and D.G.Sets. | 48/08-09 | M/s.Kuka Enterprises. | Rs.7,83,172/- | Rs.8,07,178/- | Rs.9,42,080/- |  |
| 5. | M/o Scheme under Nazual A/C II (SEZ) SH: Annual operation maintt. of sub. P/Sets fountain and lighting at Millennium Park Zone 1 to IV. | 52/08-09 | M/s.Cholia Electric works | Rs.13,97,031/- | Rs.13,92,433/- | -- |  |
| 6. | M/o Completed Scheme finishing & furnishing Vikas Sadan SH: Supplying laying M.S.Pipe line for existing fire fighting wet riser system | 54/08-09 | M/s.S & K Electronic service | Rs.7,58,044/- | Rs.7,86,370/- | Rs.8,25,686/- |  |
| 7. | -do- SH: m/o Central AC Plant and D.G.Set annual operation maintt. and service control for 120 TR plant and 12.5 package unit and D.G.Sets. | 20/09-10 | M/s.S.K.Engineers & consultant | Rs.7,09,700/- | Rs.7,99,480/- | -- |  |
| 8. | -do- SH:Annual operation & Maintt. of all equipment of sub. Station and D.G.Sets. Prominent Electric works | 53/09-10 | M/s.Prominent Electric works | Rs.10,00,561/- | Rs.9,99,940/- | -- |  |

| S.No. | Name of work with sub.head | Agg. No. | Name of Agency | Estt. Cost | Tend. Cost | Gross work done | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | M/o Completed scheme finishing and furnishing vikas Sadan SH: M/o Lifts – comprehensive maintt. contract of Kone make lifts. | 01/08-09 | Kone Elevator (I)Pvt.Ltd. | Rs.3,60,000/- | Rs3,87,972/- | Rs.5,07,910/- paid on 15.10.09 |  |
| 2. | M/o Various colonies under SEZ SH: :M/o AR & MO of water supply pump set and compound lighting etc. at Tuglakabada Institutional area | 02/08-09 | M/s.Gurnam Bros. | Rs.1,93,205/- | Rs.1,92,666/- | Rs.2,94,594/- Paid on 31.3.10 |  |
| 3. | M/o Completed scheme finishing and furnishing Vikas Sadan SH: M/o Lifts comprehensive annual maintt. contract of OTIS make lifts. |  |  |  |  |  |  |

Delhi Development Authority

Electrical Division no.11

No.									Dated :

SUB:            Payment of electricity bill for

Siri fort Sports Complex.

The SE (Elect.) HQ, vide No.F.8 (12)CE(E)/08/1070 dated 8.6.10 has conveyed instruction of CE(Elect.) that the energy consumption of Siri Fort Sports Complex to be borne by Electrical Division No.11/DDA.

Further Secy. (SFSC)  has sent a bill of BSES (Electricity consumption) amounting to Rs.11,06,583/- for the month of May 2010 for payment with the request to release the payment as bill for April 2010 has yet not been paid and the arrear of the same has been included in the above stated bill.  There is no budget provision in respect of M/o Siri Fort Sports Complex against electrical division No.11.

It is therefore, requested that Secretory Siri Fort Sports Complex may be asked to allocate an amount of Rs. 70.00 lacs for the year 2010-11 so that payment of electric consumption bill may be  made.

Executive Engineer (E)

Electrical Divn.no.11

SE (Elect.)-3/DDA

Name of work : M/o Completed Scheme finishing and furnishing Vikas

Sadan SH: Servicing and painting, rewinding of pumps

motors of Desert Coolers at Vikas Sadan.

| Sl.No. | Name of work | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Servicing & replacement of desert cooler wood pad ( 3 Nos.) set suitable for 18”/20” size desert cooler i/c removing of old pads cleaning of dust after removing cooler from the window and re-installation of the same at window after greasing, oiling, testing of fan motor water pumps, connection etc. complete as reqd. | 500 Nos. | Each | Rs.140/- (Rs. one hundred forty only ) | Rs.70,000=00 |
| 2. | Painting, cleaning of 18”/20” desert cooler outer body after, removing the existing paint/rest & repainting the all parts of desert cooler ( except water pump & from portion grill i/c painting of tank with black Japan etc. complete as reqd. | 200 Nos. | Each | Rs.200/- ( Rs. Two hundred only ) | Rs.40,000=00 |
| 3. | Painting, cleaning of 24” desert cooler i/c removing the existing paint / rust & repainting the all parts of desert cooler( except water pump & front grill ) painting of tank water with (black japan, supply & replacement of desert cooler wood wool pads ( 3Nos.) suitable for the same re-installation at window after greasing, oiling, testing of fan motor, water pump, connection etc. as reqd. | 15 Nos. | Each | Rs.435/-(Rs. Four hundred thirty five only) | Rs.6,525=00 |
| 4. | Supplying & replacement of front grill made out 22 SWG GI sheet suitable for 18”/20 size desert cooler i/c nuts boilts, screws & removing the existing grill testing etc. as reqd. | 20 Nos. | Each | Rs.200/- (Rs. Two hundred only ) | Rs.4,000=00 |
| 5. | Rewinding & repairing of 1”/20” desert cooler fan motor of 900/1400 r.p.m. of different make i/c connection, testing complete etc. as reqd. | 100 Nos. | Each | Rs.450/-(Rs.Four hundred fifty only) | Rs.45,000=00 |
| 6. | Supplying & fixing of 500 mm sweep 1400 r.p.m. (Approx.) industrial fan ( 3 sped) complete with motor blade & mounting accessories suitable for 18 ‘/2’ desert cooler, providing 7 fixing GI nut, bolts of suitable size, legs, connections, testing etc. complete as reqd. | 25 Nos. | Each | Rs.800/-(Rs.Eight hundred only ) | Rs.20,000=00 |
| 7. | Supplying & fixing of 900 r.p.m.(approx.) industrial fan ( 3 speed ) complete etc. with motor blade & mounting accessories suitable for 24’ desert coolers. | 5 Nos. | Each | Rs.1600/-(Rs. One thousand six hundred only ) | Rs.8,000=00 |
| 8. | Supplying & fixing electric power driven cooler pump 1400 r.p.m.( approx.) having motor submersible type ) lead discharge 5.5 ltr. P/minutes /app.) fixing nut bolts of suitable size for 24” coolers ) connection, testing etc. complete etc. as reqd. | 5 Nos. | Each | Rs.560/-(Rs. Five hundred sixty only) | Rs.2,800=00 |

2/-

| 9. | Supplying & fixing electric power driven cooler pump (submersible type ) 1400 r.p.m. (approx.) having one mtr. Lead discharge 5.5 ltrs. p/minute ( approx.) proving & fixing nut bolts of sub | 150 Nos. | Each | Rs.320/-(Rs.Three hundred twenty only ) | Rs.48,000=00 |
| --- | --- | --- | --- | --- | --- |
| 10. | Supplying & replacement of desert cooler connection cord 25/76 thre core & flexible copper wire of 2 mtrs. Length with 15 Amp top, connection, testing etc. complete as reqd. | 250 Nos. | Each | Rs.80/-(Rs. Eighty only ) | Rs.20,000=00 |
| 11. | Supplying of following capacitor suitable for 18”/20” & 24” desert cooler fan motor. a). 4 MFD b). 6 MFD c). 10 MFD | 200 Nos. 10 Nos. 5 Nos. | Each -do- -do- | Rs.45/-(Rs. forty five only) Rs.Rs.70/-(Seventy only ) Rs.90/-(Rs. Ninety only ) | Rs.9.000/- Rs.700=00 Rs.450=00 |
| 12. | Painting/numbering following letter of 1’width on desert cooler fan motor (DDA/VC/DC/1 to …… | 500 Nos. | -do- | Rs.5/-(Rs. Five hundred only 0 | Rs.2,500/- |
| 13. | Supplying & replacement of 18’/20” desert cooler body of size : H-86 , W-86 and D-65 cum (+/-3%) made out of 18 SWG GI sheet (Tank legs ) & 22 SWG GI sheet grill, top, front & side louvers ) with distributor PVC pipe ½” dia, wood wool pads control plate with 2 Nos. 5 AMP, Switch, numbering etc. as reqd. | 40 Nos. | -do- | Rs.2,400/-(Rs. Two thousand four hundred only ) | Rs.96,000=00 |
| 14. | Providing & fixing desert cooler stand fabricated with MS angle iron of size 30 mm x680x790 mm i/c P/F red oxide primer etc. complete as reqd. | 10 Nos. | -do- | Rs.750/-(Rs. Seven hundred fifty only | Rs.7,500=00 |
|  | Less amount to be deducted, for work already executed (-) (Rs. Three lac forty one thousand nine hundred fifty only ) |  |  | TOTAL ( --) G.TOTAL | Rs.3,80,475=00 Rs. 38,525=00 Rs.3,41,950=00 |

Executive Engineer (E)

Electrical Divn.No.11/DDA

SCHEDULE OF WORK

Name of work : M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: M/o E.I. & Fans- Renovation of Toilets in c Block

| Sl.No. | Name of work | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying & drawing of following size of PVC insulated copper conductor, single core cable in existing surface/recessed PVC/Steel conduit/PVC casing & capping as required. a). 2x1.5 sq. mm. b). 3x1.5 Sq.mm. c). 4x1.5 Sq.mm. d). 3x2.5 Sq,.mm. | 500 mtrs. 150 Mtrs. 150 Mtrs. 100 Mtrs. | Per Mtr. -do- -do- -do- | Rs.32/- Rs.43/- Rs.57/- Rs.60/- | Rs.16,000=00 Rs.6,450=00 Rs.8,550=00 Rs.6,000=00 |
| 2. | Providing & fixing of 4.00 mm dia copper wire on surface or in recess for loop earthing as required. | 500 Mtrs. | Per Mtr. | Rs.112/- | Rs,56,000=00 |
| 3. | Supplying & fixing of 1xTL-5,28 W Box type industrial batten fitting suitable for single TL-528watt lamp connection, testing etc. as required. | 112 Nos. | Each | Rs.750/- | Rs.84,000=00 |
| 4. | Supplying & fixing exhaust fan of size 300 mm and 1400 RPM operating on 230 V.AC supply provided with nut, bolts washers and painting etc. as required. | 40 Nos. | Each | Rs.2800/- | Rs.1,12,000=00 |
| 5. | Supplying & fixing of following size of PVC casing & capping on surface as required. a). ¾”x ½” Sq.mm | 400 mtrs. | Per Mtr. | Rs.25/- | Rs.10,000=00 |
| 6. | Supplying & fixing of 200mm x150mmx3mm thick laminated Phenolic sheet i/c existing accessories switches complete as required. | 150 Nos. | Each | Rs.55/- | Rs.8,250=00 |
| 7. | Supplying & fixing of following plano type switches, socket, on the existing switch box/cover i/c connection etc. as required. a). 5/6 AMP Switch b). 5/6 AMP Socket c). 15/16 Amp Switch d). 15/16 AMP Socket | 250 Nos. 32 Nos. 16 Nos. 16 Nos. | Each -do- -do- -do- | Rs.28/- Rs.38/- Rs.75/- Rs.90/- TOTAL | Rs.7,000=00 Rs.1,216=00 Rs.1,200=00 Rs.1,440=00 Rs.3,18,106=00 (Rs.Three lac eighteen thousand one hundred six ony ) |

Executive Engineer (E)

Electrical Divn.No.11/DDA

85/-

F.25(48)75/LAB®

PUC placed opposite received from Sh.Pawan Soni, R/0  J-134 Saket may kindly be seen vide which he has intimated that when he has already submitted the  documents of House Tax Assessment  from MCD and Permanent Electrical connection receipt on 7.8.08 at Page 164-167 /c and due to this composition fee was waived off by the competent authority at Page 66/N .

In the instant case, conversion application was applied by GPA holder Sh.Pawan Soni on 24/12/1999  at Page  at 113/C ,  due to non submission of House Tax assessment and permanent electric connection receipt , composition fee was worked out & comes Rs. 2,73,785/- & demand notice was raised on 9.10.07 & 19/2/08 at page 153-153/C.  Due to non-payment of demanded amount and no response was given by the applicant then case was refer to Dir.(RL) for rejection of conversion application on 23.05.08 at page 61/N, which was rejected on 3.6.08 by the Dir.(RL), only on nonpayment of composition fee at page.

In this connection, applicant submitted attested copy of Houses Tax Assessment from MCD and Permanent Electric connection on 7.8.08 at Page 164-167/C.  The case and facts was put   to the competent authority on 23.9.08 for consider the date of permanent electric connection i.e. 29.4.1987 at Page 164/c. As per documentary evidence, original documents also seen by AD (LA) in the Public Hearing on 28.8.08 at Page 64/N.

The case was put up for waiver of composition fee notice raised on 8.10.07 & 12.2.08  for Rs.,2,73,785/- which was waived by worthy Commissioner (LD) on 30.9.08  at page 66/N.

86/N

The case was also put up for restoration of conversion application on 17.10.08 which was also allowed by the competent authority on 27.10.08 at P-67/N.

The conversion application was rejected only for nonpayment of composition fee which also waived by the worthy Commissioner (LD) on 30.9.08 at Page 66/N.  The demand of new/revised rate of conversion   charges does not arise and not payable by the applicant, because demand of composition fee was already waived off.

In view of facts explained above, it is submitted that the revised conversion charges and processing fee as demanded dt.13.5.10 & 11.09 & 13.5.2010 does not justified, because conversion application was rejected only due to nonpayment of composition fee and same was waived off by the competent authority at P-66. Hence case is resubmitted to worthy Commissioner (LD) for waiver of demand of revised rates of conversion charges and processing fee.

Submitted  please.

DA

AD(LA)

DD(LA)

Dir.(RL)

Commissioner (LD)

Schedule of Work

| Sl.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Servicing & replacement of desert cooler wood wool pad ( 3 Nos.) set suitable for 18”/20” size desert cooler greasing, oiling, testing of fan motor water pump connection etc. complete as reqd. | 225Nos. | Each | Rs.120/-(Rs. One hundred twenty only ) | Rs.27,000=00 |
| 2. | Supply & fixing electric power driven cooler pump 1400 rpm (approx) having motor submersible type) lead 1.5 mtr. Discharge 5.5 ltr. minutes/app.) fixing nut bolts of suitable size for 24” coolers ) connection , testing etc. complete etc. as reqd. | 5 Nos. | Each | Rs.595/-(Rs. Five hundred ninety five only) | Rs.2.975=00 |
| 3. | Supplying & fixing electric power driven cooler pump (submersible type) 1400 r.p.m. (approx) having 1.5 mtr. Motor lead- discharge 5.5 ltr. minutes /approx.) providing & fixing nut bolts of suitable size for 20 “ cooler connection, testing etc. complete as reqd. | 18 Nos. | Each | Rs.320/-(Rs. Three hundred twenty only ) | Rs.5,760=00 |
| 4. | Supplying & replacement of desert cooler connection cord.25/76 three core & flexible copper wire 40x76 three core & flexible cooper wire 40x76 of 2 mtrs. Length with 15 Amp top, connection, testing etc. complete as reqd. | 18 Nos. | Each | Rs.80/-(Rs. Eighty only ) | Rs.1,440=00 |
| 5. | Supplying of following capacitor suitable for 18”/20” & 24 “ desert cooler fan motor . a). 4 m.f.d. b). 6 m.f.d. | 20 Nos. 5 Nos. | Each Each | Rs.50/-(Rs. Fifty only ) Rs.70/- (Rs. Seventy only ) | Rs.1,000=00 Rs.350=00 |

(Rs. Thirty eighty thousand five hundred twenty five only)          	                TOTAL   =   RS.38,525=00

EXECUTIVE ENGINEER (E)

ELECTRICAL DIV.NO.11/DDA

ADDITIONAL CONDITIONS :-

1.	The work shall be carried out as per specifications and to the entire satisfaction

of Engineer – in – charge.

2.	All the material shall be got approved from Engineer – in – charge before use at site

3.	15 Amp and 6 AMP plug top shall be ISI market.

4.	Pump shall be ISI Marked only

5.	No T & P shall be issued to the contractor.

6.	The material used for other parts shall confirm to relevant is specification if ISI marked Material is not available.

7.	Any damage caused to the desert coolers, building shall be made good by

Contractor free of cost.

8.	Condenser/capacitor shall be of any following makes:-

a). USHA     (b) ASIAN  (c) NIPPON   (d) 	ZEMAR.

9.	40x76, 3 core copper wires shall be of National /Ecko/Nicco /sky tone make.

10.	Replacement of wood wool pad set against item No.1 should be complete within 5 days from the date of start.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIV.NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5(Misc.)EE/ED-11/DDA/10-11/			 		Dated :

TO WHOM IT MAY CONCERN

This is to certified that  M/s. Kuka Enterprises, 2205-XV , Gali No.5 Rajguru Road, Pahar Ganj, new Delhi 110055,  has completed the work satisfactory  as per details given below :-

Sl.No.	Name of work 				Date of Start	Estimated Cost

Date of compl.	Tendered Cost

Actual Date of 	Total Value of

Completion.		done.

1. Completed Scheme finishing &

Furnishing Vikas Sadan SH: Annual 		28.12.08		Rs.7,83,172/-

Operation and Maintt. of all 			27.12.09		Rs.8,07,178/-

equipment of Sub. Station and D.G.		19.03.10		Rs.9,42,080/-

Sets.

Agg. No.48/EE/ED-11/DDA/2008-09

Executive Engineer (E)

Electrical Divn. NO.11.

D.D.A., Vikas Sadan , N.Delhi.

NAME OF WORK; - 	       M/o Completed Scheme furnishing and furnishing Vikaks Sadan

SH: Servicing & repainting, rewinding of motor pump motors of desert   Coolers at Vikas Sadan.

Name of Agency : M/s. M & R Air-conditioners 		Date of Start  	=26.04.2010

Time  allowed 	; 7 Days				Date of Completion= 02.05.2010

Estt. Cost 	Rs.39,629/-			W.O. Amount    	=Rs.38,525/-

Constractor Enhancment= 2.79 % below

DETAILS OF ANNUAL MAINTENANCE WORK IN ELECTRICAL DIVISION NO.11 FOR THE YEAR 2009-10.

| Sl.No. | Name of work | Name of Agency | Date of Start | Date of completion | Present Status. |
| --- | --- | --- | --- | --- | --- |
| 1. | M/o Scheme under NA II SH: Operation/Maintenance of Parking light at Parking lot 1 & 2 Sirifort Complex. | M/s.Gurnam Bros. Agg.04/09-10 | 02.05.09 | 01.05.10 | In progress |
| 2. | M/o Completed Scheme finishing and furnishing Vikaks Sadan SH: Annual operation Maintenance of water supply P/Sets, fire fighting system /equipment sewage/rain water P/Sets in Basement sewage P/sets and fountain at Vikas Sadan. | M/s. Hindustan Enterprises Agg.10/09-10 | 03.07.09 | 04.07.10 | In Progress |
| 3. | M/o Completed scheme finishing & furnishing Vikas Sadan SH: M/o lifts annual comprehensive maintenance contract of OTIS make lifts. | M/s. OTIS Elevator Co.(I)Ltd. Agg.No.13/09-10 | 25.07.09 | 24.07.10 | In Progress |
| 4. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: M/o Lifts annual comprehensive maintenance contract of 03 Nos. Kone Make lifts | M/s. Kone Elevator (I) Pvt. Ltd. Agg.No.16/09-10 | 07.08.09 | 06.08.10 | In Progress |
| 5. | -do- SH: Comprehensive Maintt. of Data Transfer system from conference Hall BV Block to Auction Hall | M/s.G.S. Enterprises Agg.17/09-10 | 22.08.09 | 21.08.10 | In Progress |
| 6. | -do- SH: M/o Lifts-Operation of OTIS make lifts installed in ‘C’ Block Vikas Sadan. | M/s. Skylark(India) Agg.19/09-10 | 05.09.09 | 04.09.10 | In Progress |
| 7. | -do- SH: M/o Central AC plant and DG Set annual operation Maintt. and service control for 120 TR AC Plant and 12.5 Package unit and D.G.Sets. | M/s. S.K.Engineers & Consultant Agg.No.20/09-10 | 05.09.09 | 04.09.10 | In Progress |
| 8. | -do- SH: M/o Intercom system –annual Maintt. of KTS installed at VC, FM & EM office. | M/s. G.S. Enterprises Agg.No.24/09-10 | 15.09.09 | 14.09.10 | In Progress |
| 9. | -do- SH: M/o EI & Fans- Repairing and cleaning of ceiling Fans and Exhaust Fans. | M/s. Jasvinder Electriic Works Agg.25/09-10 | 15.09.09 | 14.09.10 | In Progress |
| 10. | -do- SH: Comprehensive maintt. of KTS system installed at L.G.(Chairman DDA office Raj Niwas and residence at Vasant Vihar | M/s.Cromptech System Agg.,No.35/09-10 | 08.11.09 | 07.11.10 | In Progress |
| 11. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: Annual Maintt. contract of Telephone wiring at Vikas Sadan. | M/s.G.S.Enterprises Agg.36/0-9-10 | 08.12.09 | 07.11.10 | In Progress |
| 12. | M/o Various colonies under (South Zone) SH: ARMO Water supply P/Set and compound light etc. at Tughlabad institutional area. | M/s.Gurnam bros. Agg.38/09-10 | 20.11.09 | 19.11.10 | In Progress |
| 13. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: :EI & Fans- Annual operation and comprehensive maintt. of CCTV surveillance system | M/s.Gupta Electicals Agg.41/09-10 | 13.12.09 | 12.1.2.10 | In Progress |
| 14. | M/s. Scheme under NA II SZ SH: M/ EI & Fans & D.G.Sets at various office under south Zone at Shahpur Jat Sarita Vihar, Kalkaji Exn. ?DDA Staff qtr. At AGVC, Chirage Enclavae , Saket – Annual Operation & & Maintt. contract of 3Nos. D.G.Sets at Shahpurjat office complex. | M/s.Gurnam Bros. Agg.42/09-10 | 18.01.10 | 17.01.11 | In Progress |
| 15. | M/o Completed Scheme finishing & furnishing Vikas Sadan SH: Annual operation and maintt. of road lighting around Vikas Sadan. | M/s.M.S.Electricala Agg.,No.44/09-10 | 18.01.10 | 17.01.11 | In Progress |
| 16. | N/o Various colonies under South Zone SH: M/o Clear Water supply P/Sets D.G.Sets & Street lighting in Mandakini – Annual operation & Maintt. contract for clear water supply P/sets, sub P/sets D.G.Set at plotted area in Mandakini | M/s.Lloyds Enterprises. Agg.46/09-10 | 01.02.10 | 31.01.11 | In Progress |
| 17. | M/o Scheme under NA II South Zone SH: M/o EI & Fans & D.G.set at various office under SZ at Shahpurjat, Sarita Vihar, Kalkaji Extn. DDA Sarita Vihar at AGVC, Chirag Enclave etc. Maintt. of EI & fans & Operation of D.G.Sets at Varaious office of DDA at Sarita Vihar. | M/s.48/09-10 | 01.02.10 | 31.01.11 | In Progress |
| 18. | M/s. Completed Scheme finishing & Furnishing Vikas Sadan SH: Fire alarm system annual maintt. contract of fire alarm system. | M/s.Prakash Suraksha Device Agg.No.49/09-10 | 21.02.10 | 20.02.11 | In Progress |
| 19. | -do- SH: Servicing and replacement of bodies of window split ACs and water cooler | M/s.M & R Air-conditioners Agg.51/09-10 | 8.03.10 | 07.03.11 | In Progress |
| 20. | -do- SH: Annual Operation & Maintt. of all equipment of sub. Station and D.G.”Sets | M/s. Prominent Electric Works Agg.53/09-10 | 21.03.10 | 20.03.11 | In Progress |

| 21. | M/o Scheme under NA II SZ SH: M/o EI & Fans & D.G.Sets at Various office under SZ at Shahpurjat, Sarita Vihar, Kalkaji Exn. DDA Staff Qtr.at AGVC Year 2009-10- Annual operation and maintenance of sub. P/sets (Sewage) at Shambhu Dayal Park. | M/s.Gurnam Bros. Agg.57/09-10 | 01.04.10 | 31.03.11 | In Progress |
| --- | --- | --- | --- | --- | --- |
| 22. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: M/o EI & Fans operation and annual comprehensive maintt. Contract of LCD Multimedia system with all allied accessories and PA system installed in VC’s conference Hall at Vikas Sadan surveillance system. | M/s. Gupta Electrical Agg.58/09-10 | 02.04.10 | 01.04.11 | In Progress |
| 23. | -do- SH: Annual Maintt. of goods lifts in Press Building | M/s. Skylark (India ) Elevator Co. | 10.04.10 | 09.04.11 | In Progress |
| 24. | M/o Various colonies under South Zone SH: M/o of clear water supply P/Set & Street lighting in Nehru Place etc. under south zone – Annual operation and Maintt. of high mast street lighting Parking light , at Kalkaji Temple & Nehru Place | M/s. M.S. Electricals | 10.4.10 | 09.04.11 | In Progress |

DETAILS OF ANNUAL MAINTENANCE WORK IN ELECTRICAL DIVISION NO.11 FOR THE YEAR 2008-09.

| Sl.No. | Name of work | Name of Agency | Date of Start | Date of completion | Present Status. |
| --- | --- | --- | --- | --- | --- |
| 1. | M/o Scheme under NA II /SEZ SH: Operation & Mantt. Of Sub. Pump Sets Park light and path lights at D Block Park E Block & Distt. Park in Saket. | M/s.Delight Trading Co. Agg.06/08-09 | 01.05.08 | 30.04.09 | Not yet finalized |
| 2. | M/o Various Scheme under NA II SEZ SH: RMO at Submersible pump set and Path at Distt. Centre Jasola | M/s.Alliance Consultant & Engineers Agg.22/08-09 | 09.03.07 | 08.03.08 | -do- |
| 3. | M/o Completed Scheme finishing and furnishing Vikas Sadan SH: Refilling of fire Extinguishers | M/s.Advance Firetech systems Agg.29/08-09 | 13.09.08 | 12.09.09 | -do- |
| 4. | -do- SH: Annual Maintt. of goods lifts installed in Press Building | M/s.Sky Lark (India ) Elevator Co. Agg.No.40/08-09 | 10.11.08 | 09.11.09 | -do- |
| 5. | -do- SH: Annual Operation and maintt. of all equipment of sub. Station and D.G.Sets. | M/s.Kuka Enterprises. Agg.No.48/08-09 | 28.12.08 | 27.12.09 | -do- |
| 6. | M/o Various scheme under NA II SEZ SH: Annual operation and Maintt. of sub. Station and D.G.Sets at Millennium Park | M/s.P.K. Pumps Engineering Enterprises Agg.49/08-09 | 12.01.09 | 11.01.10 | -do- |
| 7. | M/o Various colonies under SEZ SH: Annual operation Maintt. of High Street Light at Kalkaji Temple /Nehru Place. | M/s.M.S.Electicals Agg.No.50/08-09 | 15.01.09 | 14.01.10 | -do- |
| 8. | M/o Scheme under Nazul A/C II (SEZ) SH: Annual Operation Maintt. of sub. P/Sets fountain and lighting at millennium Park Zone 1 to IV. | M/s.Cholia Electric Works Agg.52/08-09 | 17.01.09 | 16.01.10 | -do- |

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5 (Misc.)EE/ED-11/11-12/DDA/S.O.No.    /				Dated :

To

M/s. SHANTIi  SERVICE STATION,

Mathura Road,Madanpur Khadar

New Delhi.110044.

SUB:   M/o Scheme under NA II (SZ).SH: EI & Fans & D.G.Sets at various office under

south zone at Shahpurjat

Kalkaji Extn. & Sarita Vihar & AGVC, Staff Qtrs. Supply of H.S. Diesel Oil at CC-15, Sarita Vihar.

Sir,

With reference to your quotation dated  14.10.11 for the above

mentioned  work.  You are, requested to supply the material to Assistant

Engineer ( Eld)-3/ED-11,  Sarita Vihar, DDA office complex and submit Performa

invoice in triplicate for payment :-

| Sl.No. | H.S.Diesel | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | H.S.Diesel | 240 Ltrs. | Rs.40.91(Rs.Forty & paisa ninety one only ) | Per Liter | Rs.9,818.40 |

TOTAL   = Rs.9,818=40

(Rs. Nine thousand eight hundred eighteen &  Paisa forty only).

Executive   Engineer (Eld.)

Electrical Division No.11/DDA

TERMS AND CONDITIONS:-

1). Rate is inclusive of all Taxes and Duties.

2). Cartage shall be paid extra.

Copy to:-

1).  Sr. A.O.(CAU) South Zone, DDA.

2). AE(E)-3,ED-11.

Executive Engineer ( Eld.)

Electrical Divn.No.11/DDA

DELHI DEVELOPMENT AUTHORITY					    ELECTRICAL DIVISION NO.11

No.F.5 (Misc.)EE/ED-11/11-12/DDA/S.O.No. 				Dated :

To

M/s. Luxmi Super Services,

Luxmi Bai Nagar, Opp. INA Market,

New Delhi-110023.

SUB:   M/o Completed Scheme finishing & furnishing at Vikas Sadan.

SH: Supply of  950 Ltrs. H.S. Diesel.

Sir,

With reference to your quotation dated 19.09.2011 for the above mentioned work.

You are, requested to supply the material to Assistant Engineer ( elect)-4/ED-11, INA, Vikas Sadan,

DDA, Building, and submit Performa invoice in triplicate for payment :-

| Sl.No. | H.S.Diesel | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | H.S. Diesel | 950 Ltrs. | Rs.41.29 (Rs. Forty one & paisa twenty nine only ) | Per Liter | Rs.39,225=50 |

(Rs. Thirty nine thousand two hundred twenty six only)      	                      Say        TOTAL  = Rs.39,226/-

Executive   Engineer  (Eld.)

Electrical Division No.11/DDA

TERMS AND CONDITIONS:-

1). Rate is inclusive of all Taxes and Duties.

2). Cartage shall be paid extra.

Copy to:-

1).  Sr. A.O.(CAU) South Zone, DDA.

2). AE(E)-4,ED-11.

Executive Engineer ( Eld.)

Electrical Divn.No.11/DDA

NAME OF WORK; - 	       M/o Completed Scheme furnishing and furnishing Vikaks Sadan

SH: Servicing & repainting, rewinding of motor pump motors of desert

Coolers at Vikas Sadan.

Name of Agency : M/s. M & R Air-conditioners 		Date of Start  	=26.04.2010

Time  allowed 	; 7 Days				Date of Completion= 02.05.2010

Estt. Cost 	Rs.39,629/-			W.O. Amount    	=Rs.38,525/-

Constractor Enhancment= 2.79 % below

Schedule of Work

| Sl.No. | Description of item | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Servicing & replacement of desert cooler wood wool pad ( 3 Nos.) set suitable for 18”/20” size desert cooler greasing, oiling, testing of fan motor water pump connection etc. complete as reqd. | 225Nos. | Each | Rs.120/-(Rs. One hundred twenty only ) | Rs.27,000=00 |
| 2. | Supply & fixing electric power driven cooler pump 1400 rpm (approx) having motor submersible type) lead 1.5 mtr. Discharge 5.5 ltr. minutes/app.) fixing nut bolts of suitable size for 24” coolers ) connection , testing etc. complete etc. as reqd. | 5 Nos. | Each | Rs.595/-(Rs. Five hundred ninety five only) | Rs.2.975=00 |
| 3. | Supplying & fixing electric power driven cooler pump (submersible type) 1400 r.p.m. (approx) having 1.5 mtr. Motor lead- discharge 5.5 ltr. minutes /approx.) providing & fixing nut bolts of suitable size for 20 “ cooler connection, testing etc. complete as reqd. | 18 Nos. | Each | Rs.320/-(Rs. Three hundred twenty only ) | Rs.5,760=00 |
| 4. | Supplying & replacement of desert cooler connection cord.25/76 three core & flexible copper wire 40x76 three core & flexible cooper wire 40x76 of 2 mtrs. Length with 15 Amp top, connection, testing etc. complete as reqd. | 18 Nos. | Each | Rs.80/-(Rs. Eighty only ) | Rs.1,440=00 |
| 5. | Supplying of following capacitor suitable for 18”/20” & 24 “ desert cooler fan motor . a). 4 m.f.d. b). 6 m.f.d. | 20 Nos. 5 Nos. | Each Each | Rs.50/-(Rs. Fifty only ) Rs.70/- (Rs. Seventy only ) | Rs.1,000=00 Rs.350=00 |

(Rs. Thirty eighty thousand five hundred twenty five only)	 	     TOTAL   =   RS.38,525=00

(Executive Engineer (E)

Electrical Div.No.11/DDA

ADDITIONAL CONDITIONS :-

1.	The work shall be carried out as per specifications and to the entire satisfaction

of Engineer – in – charge.

2.	All the material shall be got approved from Engineer – in – charge before use at site

3.	15 Amp and 6 AMP plug top shall be ISI market.

4.	Pump shall be ISI Marked only

5.	No T & P shall be issued to the contractor.

6.	The material used for other parts shall confirm to relevant is specification if ISI marked Material is not available.

7.	Any damage caused to the desert coolers, building shall be made good by

Contractor free of cost.

8.	Condenser/capacitor shall be of any following makes:-

a). USHA     (b) ASIAN  (c) NIPPON   (d) 	ZEMAR.

9.	40x76, 3 core copper wires shall be of National /Ecko/Nicco /sky tone make.

10.	Replacement of wood wool pad set against item No.1 should be complete within 5 days from the date of start.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIV.NO.11/DDA

ADDITIONAL CONDITIONS :-

1.	The work shall be carried out as per specifications and to the entire satisfaction

of Engineer – in – charge.

2.	All the material shall be got approved from Engineer – in – charge before use at site

3.	15 Amp and 6 AMP plug top shall be ISI market.

4.	Pump shall be ISI Marked only

5.	No T & P shall be issued to the contractor.

6.	The material used for other parts shall confirm to relevant is specification if ISI marked Material is not available.

7.	Any damage caused to the desert coolers, building shall be made good by

Contractor free of cost.

8.	Condenser/capacitor shall be of any following makes:-

a). USHA     (b) ASIAN  (c) NIPPON   (d) 	ZEMAR.

9.	40x76, 3 core copper wires shall be of National /Ecko/Nicco /sky tone make.

10.	Replacement of wood wool pad set against item No.1 should be complete within 5 days from the date of start.

EXECUTIVE ENGINEER (E)

ELECTRICAL DIV.NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

NO.F.5(MISC.)EE/ED-11/DDA/2010-11/					DATED ;

To

F.O. to CE(SZ),

DDA, Shahpurjat,

New Delhi.

SUB :  Development of Community Hall cum Library at Community Centre

Kalkaji (Alaknanda) SH: Removal of Malba, S/o CDM, S/o Plants and

S/o Water through Water Tankers.

Ref :    F.3(10)10/Hort.Divn.No.1/DDA/96 dt.23.04.10

Please refer on the above cited subject and reference. In this connection, it is

to informed that this office has no objection  if Rs.1.00 lac ( Ruppes one lac only ) are

transferred to Dy.Director Hort.Division No.I under the code No.24027202 .

Executive Engineer (E)

Electrical Division No.11/DDA

Copy to :

1). Dy.Dir.Hort. Divn.No.1/DDA , w.r.t. his letter dt.23.4.10

Executive Engineer (E)

Electrical Division No.11/DDA

To

The Executive Engineer (E)

Electrical Division No.11

Vikas Sadan,New Delhi

SUB : M/o Completed Scheme finishing & furnishing Vikas Sadan. SH: M/o E.I.

Fans	Providing and fixing focus lighting on top floor B Block for illuminating

Signages.

Sir,

With reference to our tender opened on 2nd February at Vikas Minar for the above said Work.  I hereby extend the validity period for one month from 1.4.2010.

You are requested to kindly award the above work at the earliest please, so that work can be taken up.

Yours sincerely

To

The Director (P),

DDA,Vikas Sadan,

New Delhi.

SUB : Request for  transfer .

Sir,

Most humbly and respectfully says that I have been presently working

in Rohini Division No.6 . It is brought to your kind notice that Last one and half year my mother is suffering from arthritis and treatment is taken from deferent hospital. I am only the person to look after her. You are requested to kindly post me near my residence Prittampura office complex .

Thanking you,

Your’s faithfully,

(Ravinder Sharma)

UDC/RPD-6

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.5 (Misc.)/EE/El. Div. No.11/DDA/12-13/                                          Dated:

NOTICE  INVITIING   QUOTATION

Sealed item rate quotations are invited  on behalf of Delhi Development Authority by Executive Engineer (El.) Electrical Divn.No.11/DDA, Press Building, Vikas Sadan, New Delhi 110023 from the approved and eligible contractors of DDA & CPWD and those of enlisted contractors of appropriate class of MES, MTNL/Railways/ dealing with E/M works .

The quotation should reach in the office of undersigned upto 3.00 PM on immediately i.e. 06.09.2012 which shall be opened  same day at 3.30 PM in the presence of intending quotationers or their authorized representatives for carrying out the following works : -

1).	M/o Completed Scheme finishing & furnishing Vikas Sadan.

SH: M/o E.I.& Fans- Providing and fixing  of Computer

points at various locations in Vikas Sadan.

Estimated Cost   Rs. 3,85,400/-

Time allowed      = 15 Days.																Sd/-

Executive Engineer (El.)

Electrical Division No.11//DDA

Copy to :-

1). The SE(El.)-3/DDA, for kind information please.

2). DDA, web site/www.dda.org.in

3). Notice Board, ED-11/DDA.

4). AE(E)-4,ED-11/DDA

Sd/-

Executive Engineer (El.)

Electrical Division No.11//DDA

- The Chief Engineer(Elect.), DDA,

- The Suptdg. Engineer (Elect.) Circle-3, DDA.

- The Suptdg, Engineer/Quality Control Cell, DDA.

- Director System, DDA, with the request to put on DDA “Website.

- Finance Officer, to Chief Engineer Elect., DDA

- Executive Engineer/Western Division No. 5,Vikas Minar, DDA

- Executive Engineer (Elect.) Div. No. 1,3,4,5,6,78,9,10 &12/DDA.

- Accounts Officer, CAU/SEZ/DDA.

- Asstt. Engineer (Elect.)1,2,3,4 & AE (P) El.Div. No.11/DDA.

- Asstt. Accounts Officer, Elect. Div. No. 11 .DDA.

- Head Clerk, Elect. Div. No.11 /DDA.

- The Association of Electrical Contractor (Regd.) Chamber No.103,Laxmi Complex,

B-6, Subhash Chowk, Laxmi Nagar, Delhi

- DDA Contractor Association,. E-18, Vikas Kutteer New Delhi.

- Secretary, Contractor Association. Block-11, 946, Kirti Nagar, Ware Housing Scheme, New Delhi.

- DDA Contractor Welfare Association. Room No. 12, Barrack No.1, Vikas Kutteer, New Delhi.

- N.I.T. Copy.

- Notice Board.

EXECUTIVE  ENGINEER (E)						                           ELECT.DIVN.NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(61)EE/ EL. Div.11/DDA/09-10/				Dated :

To

M/s. M.S.Electrical,

G-6(Basement-ground floor),

Osian building, 12 Nehru Place,

New Delhi 110019.

Sub :- 	Grant of Provisional   Extension of time for the work  M/o  Various  Colonies under South Zone SH: M/o Clear water supply P/Sets & Street lighting in Nehru Place etc. under South Zone  – Annual Operation and maintt. of high mast street lighting/parking light at Kalkaji  Temple and Nehru Place.

Agg.No.61/EE/El.Divn.No.11/2009-10.

Sir,

Your case has been forwarded by Asstt. Engineer (E)-1/ED-11 in connection with the grant of Provisional Extension of time for completion of the above said work. The date of completion for the above cited work was 09.04.2011 as stipulated in the agreement No.61/Elect.Division No.11/DDA /2009-10.

Extension of time for completion of above mentioned work is provisionally granted up to 30.09.2011 without prejudice to the right of DDA to recover liquidates damages in accordance with the provision of Clause 2 of the said agreement.

Provided that notwithstanding of extension is hereby granted, time is and shall still continue to be the essence of the said agreement.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 1/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTICAL DIVISION-11

VIKAS SADAN: INA: NEW DELHI-23

NO: F.5(19)EE/ EL. Div.11/DDA/10-11/				Dated :

To

M/s.Rohit Enterprises,

N-55, Vijay Vihar, Gali No.6,

Uttam Nagara, New Delhi-110059.

Sub :- 	Grant of Provisional   Extension of time for the work  M/o  Completed Scheme finishing  and furnishing Vikas Sadan SH: Annual operation & minor maintenance of   all type of pumps sets such as water supply, fire fighting, submersible, sewage, dewatering and fountains, P/sets at Vikas Sadan.

Agg.No.19/EE/El.Divn.No.11/2010-11.

Sir,

Your case has been forwarded by Asstt. Engineer (E)-IVED-11 in connection with the grant of Provisional Extension of time for completion of the above said work. The date of completion for the above cited work was 24.09.2011 as stipulated in the agreement No.19/Elect.Division No.11/DDA /2010-11.

Extension of time for completion of above mentioned work is provisionally granted up to 24.11.2011 without prejudice to the right of DDA to recover liquidates damages in accordance with the provision of Clause 2 of the said agreement.

Provided that notwithstanding of extension is hereby granted, time is and shall still continue to be the essence of the said agreement.

EXECUTIVE ENGINEER (E)

ELECT.DIVN.NO.11/DDA.

Copy to :-

1). AE (E)- 4/ED-11 for information along with hindrance

Register (In original)

EXECUTIVE ENGINEER (E)

Elect. Division NO.11/DDA

AGREEMENT NO  ____EE/EL.DIVISIOIN NO.11/DDA/08-09

Name of Work	M/o Completed Scheme finishing and furnishing Vikas Sadan SH: E.I. & Fans- Renovation of Table Tennis Hall at6 Vikas Sadan

Estimated Cost 		Rs.1,63,720/-

Quoted Amount		Rs.166,720/-

Accepted Amount		Rs.1,66,720/-

Contractor Enhancement	1.81 % Above

Earnest Money		Rs.3275/-

Performance Guarantee	Rs.8,336/-

Security Deposit		Rs.8,336/-

Time Allowed			1 Month.

Date of Start			10.04.2010

Date of completion		09.05.2010

This is to certify that this Agreement has contained ______ pages from Sl.No.1 to _____ pages and correction slips _____ nos.

Signature of Contractor					Executive Engineer

Elec.Division No.11/DDA

F.5 (Misc.)EE/ED-11/10-11/DDA

SUPPLY ORDER REGISTER

2010-11

AGREEMENT

An Agreement is made this day of 31st, 2010, between the Delhi Development Authority (hereinafter called the ‘Authority ‘a body Corporate under Delhi Development Act. (Which expression shall include its successors and assigns of the first part) and M/s.M.S.Electrical,G-6(Basement-Ground Floor), Osian Building 12 Nehru Place, New Delhi – 110019.

Whereas the contractor has submitted the tender for carrying out the work of M/o

M/o Completed Scheme finishing and furnishing Vikas Sadan SH:E I & Fans

Renovation of Table Tennis Hall at Vikas and the same has been accepted by

the ‘Authority’ on the terms and conditions contained in the tender form

and conditions of the contract  attached therewith and in the letter of acceptance

dated 31st March 2010.

NOW THIS DEED WITNESSES AS UNDER :-

That the terms and condition contained in the tender form and conditions of the contract attached to this deed and also the letter dated 31st March 2010 of acceptance of tender shall be binding between the parties whereas the parties have this day of  31st , 2010 affixed their signature.

Signature of Contractor						Executive Engineer

Electrical Dvn.No.11/DDA

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 11

No.F.5 (Misc.)EE/ED-11/10-11/DDA/				Dated :

To

The SE (E)-C-3,

DDA , Vikas Minar ,

New Delhi.

SUB:       Award of work without call of tender.

REF :      CE(SZ)FO/18(98)07-08/2277 dt.17.4.09

Please refer on the above cited subject and reference. In this connection,

It is to inform you that this office has award one work without call of tender

In the month of July 2010. The details of work order is as under:-

______________________________________________________________________________

S.No.	Name of work 			  Agency		Estt . Cost             W.O.No. & Amount

_____________________________________________________________________________________

1. M/o Completed Scheme finishing &

Furnishing Vikas Sadan SH: Supply	   M/s. National 	             Rs.3,00,000/-	No.04/EE/Eld.11/10-11

And fixing of 250 KVA D.G. Set along –     Engineers				for Rs.2,99,000/-

-with change over cable and accessories

on hire basis at Vikas Sadan.

_____________________________________________________________________________________

Executive Engineer (E)

Electrical Divn.No.11/DDA

HI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 11

No.F.5 (Misc.)EE/ED-11/09-10/DDA/					Dated :

To

F.O.to CE(SZ),

DDA,Shahpur Jat,

New Delhi.

SUB:   Regularization of the Account of CAU/SZ attached in Respect of 3 Separate Court Cases.

Please refer to your letter No. CE(SZ)FO/18(212)09-10/720 dated 4.3.10

on the above mentioned subject.  The report regarding Court attachment as

mentioned in the above letters may please be treated as NIL.

Executive Engineer (E)

Electrical Division No.11/DDA

ELECTRICAL DIVISION NO.11

BUDGET PROVSION OF 2009-10

EXPENDITURE  UPTO FEBRUARY 2010

ZONE: SOUTH

NAZUL ACCOUNT- II		                                                        FI

G. IN  LAC.

|  | S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.08-09 | EXPEND-TURE FROM 1.4.09 to 31.3.09 | BALANCE Provision from 01.3.09 to 31.3.09 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
|  | 1. | 24013203 | D/o Facilities Centre at Begumpur | 0.10 | NIL | 0.10 | 0.10 |  |
| 3. |  | 24401829 | D/o Distt.Centre at Sat Pulla Lake near Chirag Delhi. | 30.00 | NIL | 30.00 | 30.00 |  |
| 4. |  | 24401875 | D/o Green belt between ISBT Sarai Kale Khan, Bhairan Temple Road(Millennium Park) | 15.00 | 1.94 | 13.06 | 15.00 |  |
| 5. |  | 24401876 | D/o Park at Vinoba Puri/Lajpat Rai Memorial Park Lajpat Nagar | 2.00 | NIL | 2.00 | 4.00 |  |
| 6. |  | 24401878 | D/o Park at National Park at Lajpat Nagar | 0.10 | NIL | 0.10 | 0.10 |  |
| 7. |  | 24401879 | D/o Ashoka Rock Garden, East of Kailash | 1.00 | NIL | 1.00 | 1.00 |  |
| 8. |  | 24400769 | M/o Scheme under NA-II(SEZ) | 200.00 | 101.11 | 98.89 | 200.00 |  |
|  |  |  | TOTAL | 248.10 | 103.05 | 145.15 | 250.20 |  |

Ccontd

-2-

| 9. | 24013615 | D/o Golf Course at Lado Sarai i/c procurement of additional equipment machinery | 30.00 | NIL | 30.00 | 30.00 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10. | 24013623 | D/o Children Park at Golf Course at Lado Sarai | 1.00 | NIL | 1.00 | 1.00 |  |
| 11. | 24088617 | D/o Tuglakabad Recreational Complex | 40.00 | NIL | 40.00 | 40.00 |  |
| 12. | 24090511 | Additional Facilities in Village under SEZ | 15.00 | NIL | 15.00 | 15.00 |  |
| 13. | 24503003 | D/o Spiritual park at Kalkaji adjacent Nehru Place(Revised name as Aastha Kunj) | 100.00 | 35.95 | 64.05 | 100.00 |  |
| 14. | 24099626 | Procurement of machinery for maintenance of Siri Fort Sports Complex. | 5.00 | NIL | 5.00 | 5.00 |  |
| 15. | 24004101 | Up-gradation of district centre at Nehru Place Ph.I | 10.00 | 1.91 | 8.09 | 10.00 |  |
| 16. | 24064153 | Resettlement of Badarpur Traders Opp. Appolo Hospital | 0.50 | NIL | 0.50 | 0.50 |  |
| 17. | 24027202 | D/o Community Centre at Alaknanda | 50.00 | 0.86 | 49.14 | 50.00 |  |
| 18. | 24013106 | D/o Green area Begumpur | 20.00 | NIL | 20.00 | 20.00 |  |
| 17. | 24090511 | Additional Facility in Village in SEZ | 70.00 | NIL | 70.00 | 70.00 |  |
| 20. | 24099635 | D/o Mini Sports Complex at C.R. Park | 30.00 | NIL | 30.00 | 30.00 |  |
| 21. | 24013636 | Lighting of Qutab Golf Course at Lado Sarai Electrical works | 500.00 | 6.23 | 493.77 | 500.00 |  |
| 22. | 24503016 | D/o Water bodies in SEZ | 15.00 | NIL | 15.00 | 15.00 |  |
|  |  | TOTAL | 1134.60 | 148.00 | 986.70 | 1136.70 |  |

3/-

3/-

BGDA(10-A Houses)

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.08-09 | EXPEND-TURE FROM 1.4.09 TO 31.3.09 | BALANCE Provision from 01.3.09 to 31.3.09 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 44081015 | C/o 888 MIG/Cat.I /SFS at Kilokri Sidhartha Extn.SH: C/o 144 MIG Cat.II/SFS | 10.00 | NIL | 10.00 | 10.00 |  |
| 3. | 44013151 | C/o 240 LIG houses (5 storeyed) at Lado Sarai | 0.10 | NIL | 0.10 | 0.10 |  |
|  |  | TOTAL | 10.10 | NIL | 10.10 | 10.10 |  |

9 A Works & Dev.

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.08-09 | EXPEND-TURE FROM 1.4.09 TO 31.3.09 | BALANCE Provision TOTAL from 01.3.09 to 31.3.09 | TOTAL |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | 44006611 | C/o Press Building at Vikas Sadan C/o Additional Floor | 5.00 | 4.37 | 0.63 5.00 | 5.00 |

4/-

9 C MAINTENANCE

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.08-09 | EXPEND-TURE FROM 1.4.09 TO 31.3.09 | BALANCE Provision from 01.3.09to 31.3.09 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 44006600 | M/o Completed Scheme finishing and furnishing of Vikaks Sadan. | 350.00 | 290.87 | 59.13 | 350.00 |  |
| 2. | 44081549 | M/o Divisional office at Sarita Vihar | 3.00 | 1.80 | 1.20 | 3.00 |  |
| 4. | 44081550 | M/o Various colonies under SEZ | 100.00 | 41.46 | 58.54 | 100.00 |  |
| 5. | 44600753 | M/o Jeep/ED-11 | 3.00 | 2.38 | 0.62 | 3.00 |  |
| 6. | 44081549 | M/0 Divn. office Jasola | 1.00 | 0.50 | 0.50 | 1.00 |  |
|  |  | TOTAL | 457.00 | 337.01 | 119.99 | 457.00 |  |

Executive Engineer (E)

Electrical Divn.No.11/DDA

DEFICIENCY CHARGES.

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.09-10 | EXPEND-TURE FROM 1.4.09 TO 28.02.10 | BALANCE Provision from 01.3.10 to 31.3.10 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 44700010 | Deficiency charges | 5.00 | NIL | 5.00 | 5.00 |  |
|  |  | TOTAL | 5.00 | NIL | 5.00 | 5.00 |  |

5/-

ARBITRATION   AWARD

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.09-10 | EXPEND-TURE FROM 1.4.09 TO 28.02.10 | BALANCE Provision from 01.3.10 to 31.3.10 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 44700004 | Arbitration Award | 8.00 | NIL | 8.00 | 8.00 |  |
|  |  | TOTAL | 8.00 | Nil | 8.00 | 8.00 |  |

FINAL BILL

| S.NO | BUDGET COLD NO. | NAME OF SCHEME | Allocation for B.E.09-10 | EXPEND-TURE FROM 1.4.09 TO 28.02.10 | BALANCE Provision from 1.3.10 to 31.3.10 | TOTAL | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 44700018 | FINAL BILL | 10.00 | NIL | 10.00 | 10.00 |  |
|  |  | TOTAL | 10.00 | NIL | 10.00 | 10.00 |  |

EXECUTIVE ENGINEER (E)

ELECTRICAL DIVN.NO.11/DDA

Executive Engineer (E)

Electrical Divn.NO.11.

DELHI DEVELOPMENTY AUTHORITY

ELECTRICAL DIVISION NO.11

YEAR WISE EXPENDITURE OF MPLAD FUNDS

w.e.f. 2004-05 to 2009-10

Sl.No. Year		Name of work			MPLAD 	Value of 	Dt. of 		Agency          Remarks

FUND		work done	Payment

- 2004-05      Covering of channelization of 	     5.00		Rs.3,27,180/-	20.01.06	M/s.Gurnam	--

Out fall drain at National Park        25.00					Bros.

Lajpat Nagar SH: Providing &

Installation of treet light Poles.

Agg.No.78/EE/ED-11/05-06

- 2005-06		Nil				--		--	--			--	--

- 2006-07		NIL				--		--	--			--	--

- 2007-08		NIL				--		--	--			--	--

- 2008-09		NIL				--		--	--			--	--

- 2009-10	Addl. Accomodation in Choupal

Kirlokari Village, Pandit Ki Choupal

SH: I.E.I.

Agg.No.01/EE/ED-11/09-10	        1.32	Rs.1, 12,893/-	 11.05.09	M/s. Vidyut 	__

13.30					Powers Engineers

_____________________________________________________________________________________________________

Executive Engineer (E)

Electrical Divn.No.11/DDA

PROFORMA -  A

REQUISITION OF ISSUE OF BUDGET SLIP FOR INVITING TENDER:-

Ref: F & E Circular No.21 dated 19.06.1995

No.F.5 (Misc.) EE/ED Xl/DDA/09-10/		Dated:

- Head of account                                                  :	9 C Maintenance

- Name of work/ Scheme                                     : 			M/o Completed Scheme finishing and furnishing

Vikas Sadan: SH: intercom system – Supplying

and installation of digital Key Telephone system

in commissioner cum Secretary office at Vikas

Sadan.

- Code No.                                                               :  		 	44006600

- Reference to A/A & E/S                                      :

- Amount				:	 Not applicable being a maintenance work

- No. & date				:

- Total progressive Expdr. Against 		:	-Do-

The A/A & E/S upto___________	:

- Budget provision(i/c  re-appropriation);

- B.E./R.E				:

- Allocation to the Div.		:	400.00 Lac.

- Expdr. During the year			:

- Against B.E. /R.E.			:

- Against allocation			:

- Ref. to ARMO  Estimates:			:W-27/SE(P)EE(P)I/DDA-12-13/TS No.1.

case of maintenance work only)	for Rs.346,23,666/-dt,14.5.12 by SE(E)-3/DDA 2).

1). Total amt.  				: DDA/12-13/596 dt.14.5.2012.

2).No. & Date				:596 dt.14.5.2012.

3).Prov.of sub.head			:8.13 Lacs

- Expdr. Already incurred

i).Total Maintt. Expdr.Against 		:

ARMO Estt.

ii). Expdr. Incurred during the year against     : 38.19 Lac

Sub.head(iv) above.

- Amount of Budget Slip Required 		: 	1.34 Lac.

(i/c anticipated tendered cost )		:

:

- Mode of execution of work(tender/work-	:	By Call of Tender

Order/supply order .

AAO/ED-11  	         Executive Engineer, Eld.Divn.No.11

RECOMMENDED

SUPTDG.ENGINEER (E)-3/DDA

AGREEMENT

An agreement is made this day of 27th April 2009 between ‘the Delhi Development Authority (hereinafter called the ‘Authority’ a body Corporate under Delhi Development Act. (Which expression shall include its successors and assigns of the first part) and M/s.Lloyds Enterprises,E-252,Greater Kailash-I, New Delhi-110048.

Whereas the contractor has submitted the tender for carrying out the work of M/o Scheme under Nazul A/C II Sh: Servicing repairing of Desert Coolers at various office of DDA at Shahpur Jat, Sarita Vihar and Kalkaji Extn and the same has been accepted by the ‘Authority’ on the terms and conditions contained in the tender form and conditions of the contract attached therewith and in the letter of acceptance dated 25.04.09.

NOW THIS DEED WITNESSES AS UNDER:-

That the terms and condition contained in the tender form and conditions of the contract attached to this deed and also the letter dated 25.04.09 of acceptance of tender shall be binding between the parties.  In witness whereof the parties have this day of 27th April 2009 affixed their signatures.

Signature of Contractor						    Executive Engineer											Elect.Divn.NO.11/DDA

To

The Executive Engineer (E)

Electrical Division No.11

DDA,Vikas Sadan,

New Delhi.

SUB : Joining Report

Sir,

Most humbly and respectfully says that I have applied E.L. application w.e.f. 18.5.09 to 30.5.09, but due to unavoidable circumstances I could not attend duty in time and I extend earned leave from 31.5.09 to 6.6.09,which was already communicate to the competent authority .  I hereby submit my joining report today i.e. 8.6.09 and also submit earned leave application extended period from 31.5.09 to 6.6.09.  Kindly grant me earned leave as above.

Thanking you,

Dated : 08.06.09						Your’s faithfully,

(Pradeep Kumar)

UDC/ED-11

DELHI DEVEOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

No.F.3 (31) EE(E)/Elect.Divn.No.11/DDA/07-08/		Dated :

To

M/s.M.D.Cable Network,

Shop No.64 Ring Road Market,

Sarojini Nagar,New Delhi-110023.

Sub :       Installation of 2 Nos. Additional set Top Box.

Ref :        F.3(31)EE(E)Elect.Divn.NO.11/DDA/07-08/330 dt.4.7.08

This has reference to your letter/offer dated 19.03.2012 ,wherein you have

been ready  provide  2 Nos. fresh connection in the existing rate.  Your quoted rates

have already been accepted by the Competent Authority and   same terms and

conditions. You are requested to install two Nos. additional set top box connections in

the office of Shri Jitender Kumar Kochar Authority Member & Mrs. Varsha Singh

Director (H)II in Vikas Sadan, on the same rates & terms and conditions as contained in

the above mentioned acceptance letter dated 17.04.2009, 22.12.2009,25.10.2010 &

19.03.2012.

Executive Engineer,(E)

Electrical Division No.11

D.D.A.,Vikas Sadan.

Copy to :-

1).SE(HQ),Elect.DDA,Vasant Kunj for information please.

2).SE(E)Circle-3,DDA for information please

3).AE(E)IV,Elect.DivisionNo.11, for taking necessary  action.

4).AE(P)Elect.Divn.No.11/DDA

5).AAO/Elect.Divn.No.11/DDA

Executive Engineer (E)

Electrical Divn.No.11/DDA

Schedule of work

Name of work:  Installation of Set Top Box for TV’s installed at Vikas Sadan.

Sl.No. Description of items.		Qty.	       Rates	unit		Amount	-___________________________________________________________

- Rent of set Top Box                   28 Nos.   Rs.51/-    Per Month   Rs.1428=00

- Rent of Free to Air Cannels     28 Nos.   Rs.107/-  Per Month    Rs.2996=00

- Rent of 20 Paid channel           28 Nos.   Rs.5.60    Per Month    Rs.3136=00

(Rs.Seven thousand five hundred sixty only)                    Total Rs.7560=00

TERMS AND CONDITIONS :-

- No security charges for set top boxes shall be paid by DDA.

- All the charges are inclusive of taxes and nothing extra shall be paid on this account.

- Minimum 65 channels shall be provided under ‘Free to Air’ arrangement.

- Subsequent benefits, if any allowed by TRAI shall be passed on to the department.

- The service shall be maintained within the quoted cost.

- Repair/replacement of any component/ equipment/ cable shall be done within the quoted cost and reasonable time.

- Complaint centre shall be maintained properly for recording any complaint regarding no/scramble service.

- Payment shall be released monthly against bills raised by the agency.

Executive Engineer (E)

Electrical Division-11

D.D.A, Vikas Sadan, N.D.

To

67/N

F.25 (102)71/LSB(R) /

To

The Director ( Nazarat),

DDA,Vikas Sadan,

New Delhi.

Sub : Humble request for change of Staff Quarter.

Respected Sir,

Respectfully, I am to submit that I have been allotted a Staff Qtr.No.26-C

at Pittampura  vide order dated 06.03.09.

The above said flat is situated at 2nd floor and my mother whose age is about

80 years is also living with me and who is deaf and so weak to move and set up so high staircase.  My mother who is so aged is unable to move because there are knee pain in her both legs.  In these unavoidable circumstances, it is pray to allot me any flat at ground floor or Ist floor in the same locality on humanitarian ground.

I shall be highly thankful to you.

Encl: As above.

Your’s faithfully,

(Ravinder Sharma)

LDC/RPD-6/Rohini/DDA

Reference observation of Sr.A.O.(R) dt.16.10.08 on pre-page may kindly be seen.  In the instant case conversion application was rejected by the competent authority due to nonpayment of outstanding dues, now applicant has deposited the outstanding dues vide challan  No. 173056 dt.10.9.08  for Rs.18,403/- on account of Ground Rent.

Earlier  case was processed for restoration of conversion application to worthy  Director(RL) on 25.8.08 at page 62/N , which was allowed by the worthy Director(RL) on 29.8.08 at page 62/N, but F/Wing has again and again pointed out that full approval was not given by the Director(RL).

In view of above, if agreed, we may re-submit the case to worthy Director(RL) for restoration of conversion application, as asked by the F/Wing at page 66/N .

Submitted please.

DA

AD(LA)

DD(LA)

Director (RL)

Executive Engineer (E)

Electrical Divn.NO.11

DELHI DEVELOPM ENT AUTHORITY

ELECTRICAL DIVN.NO.11

NO.F.5(Misc.)EE/El.Divn.NO.11/DDA/07-08/		Dated :

To

M/s.M.S.Electricals,

G-6,(Basement Ground floor),

Ossian Building,12 Nehru Place,

New Delhi-19.

Sub : M/o Various colonies under SEZ SH: Annual operation maintenance

Of high Mast Street light, parking light at Kalkaji Temple/Nehru Place.

Ref  :  F.5(Misc.)EE/Elect.Divn.No.11/DDA/08-09/1938 dt.31.10.08

Dear Sirs,

WHEREAS it appears to the undersigned that you have not deposited the

5 % performance guarantee within the prescribed period for the above mentioned work, which was already informed the acceptance  of the competent authority for successful tender vide letter dated 31.10.08 .  It seems that you have not interested to deposit the required performance guarantee.

Therefore, I in exercise the powers conferred on me to  inform the successful tender for the decision of the competent authority to accept your tender, for and on behalf of the DDA,  I ,hereby give you notice that if the required performance guarantee is not deposited  within three days of the receipt of this letter action shall be taken under Clause 1(a) and sub-clause 1(i),(ii), of PWD-8  to forfeit the earnest money and case will be  referred  to competent authority to debar for further tendering in DDA . Please note that in case no cause is shown by you within 3 days or the cause shown is not to my satisfaction action shall be taken under Clauses.

Your’s faithfully

(P.Bhattacharjee)

Ex. Engineer (E), ED-11/DDA

DELHI DEVELOPM ENT AUTHORITY

ELECTRICAL DIVN.NO.11

NO.F.3(157)EE/El.Divn.NO.11/DDA/07-08/		Dated :

To

Dy.Director(Estt.)W/C,

DDA,Vikas Minar,

New Delhi.

Sub : General Election of Legislative Assembly, Delhi 2008,

Deployment of DDA officers/officials for Election Duty.

Please refer to your letter No.F.CE.6 (48) DDA/625 dated 31.10.08

on the subject cited above.  In this connection, as desired the required information/list of work-charge( R ) employees for deployment for election duty 2008 is enclosed herewith for further necessary action please.

Executive Engineer (E)

Electrical Divn.NO.11.

Encl: As above.

Copy to :-

1).  Asstt. Director (Electrical) Circle-3,DDA

Vikas Minar, for information along with list of W/C     (R ) employees w.r.t. his letter No.23(35)SE(E)-3/944 dt.4.11.08.

Executive Engineer (E)

Electrical Divn.NO.11

DELHI DEVELOPM ENT AUTHORITY

ELECTRICAL DIVN.NO.11

NO.F.5(Misc.)EE/El.Divn.NO.11/DDA/07-08/		Dated :

To

M/s.M.S.Electricals,

G-6,(Basement Ground floor),

Ossian Building,12 Nehru Place,

New Delhi-19.

Sub : M/o Various colonies under SEZ SH: Annual operation maintenance

Of high Mast street light, parking light at Kalkaji Temple/Nehru Place.

Ref  :  F.5(Misc.)EE/Elect.Divn.No.11/DDA/08-09/1938 dt.31.10.

Dear Sirs,

WHEREAS it appears to the undersigned that by reason of your wrongful delay or suspension of work or slow progress of work entrusted to you under the award  of work referred to above will not be completed/has not been completed within the stipulated/extended date of completion.

Therefore, I in exercise the powers conferred on me by the aforesaid award, for and on behalf of the DDA, hereby give you notice to show cause within seven days to my satisfaction why an action under Sub Clause 3(a) and /or 3(c) of the above award of work will not be taken against you on account of the breach of contract on your part.  Please note that in case no cause is shown by you within the stipulated period or the cause shown is not to my satisfaction.  I shall take such actions against you as recontemplated under Clause 3 and sub. Clauses there under of the said award and /or other clauses thereof, without further notice.

Your’s faithfully

(P.Bhattacharjee)

Ex. Engineer (E), ED-11/DDA

The above matter was again discussed with EE/ED-11 on 3.3.09 in which he has opined that payment of 40 % arrears of VIth pay Commission has not been including  by this division in the ARMO  which was sanctioned by the worthy CE(E) for Rs.263.60 lacs on 3.4.08 .

In this connection, it is submitted that the 40 % payment of arrears for VIth pay Commission has been worked out and comes for Rs.9.33 lakhs which was paid in the month of September 2008 and also enhanced salary w.e.f. Sept.2008 to Feb.2009 worked out to Rs.9.24 lakhs. So that total amount has been exceeded/-enhanced against ARMO for   (9.33 +9.24=18.57 lakhs). It is also intimated that total ARMO estimates prepared by this division are 263.60 Lakhs  and out of which an amount of Rs.53.43 lakhs shown for salary of staff during the period of 2008-2009, so that the difference for payment  made to staff against are i.e. 5.25 lakhs .

In view of above, if agreed we may requested to Dy.CAO(South Zone) to please issued Budget Slip only for call  of tender and amount of Budget Slip will be charged to next financial year i.e. 2009-2010, so that  tender process can be finalized  please.

Submitted please.

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference.

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference.

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference

On immediate next date of the sale of tender, a Pre-bid Conference shall be taken by SE(E)-3 in Circle Office at 19th Floor, Vikas Minar. All the tenderers must participate in that Pre-bid Conference