F-4(156)/VKSC/DDA/Civil/2008-09/W.O. No.50				        Dated : 28/08/2009

Name or work :-   Up- gradation / Renovation of existing facilities at Vasant Kunj Sports Complex, DDA

S. H.	               :-    Zero-leveling of floor in T.T. Hall.

Name of Agency  :      M/S Azad Costruction Co.

RZ-F-826, Rajnagar – II,

Palam Colony, Delhi - 45

Amount             :  Rs. 76452.00  (Rupees seventysix thousand four hundred fiftytwo)

Time  allowed  :   7 days

| SL. | DESCRIPTION | QTY. | UNIT | RATE | AMT |
| --- | --- | --- | --- | --- | --- |
| 1. | Levelling of floor in T.T. Hall before vinyle flooring by preparing the existing surface dust, dirt, loose particles and oil stains free. After cleaning the surface with moping with water Ardex P-51 or equibalent primer is to be applied in two coats for porous surface. On the primed surface Arder CL-II mootar or equivalent mortar as applicable to achieve an average thickness of 4mm and finishing property to make the surface levelled and sufficient strong. | 1662.0 | Sq.ft. | 46/- | 76452.00 |
|  | Total |  |  |  | 76452.00 |

### TERMS CONDITIONS :-

- The work  should be done as per specification & direction of complex- in-charge

- No extra charges shall be paid .

- That the decision of the Secretary of the Complex regarding  the quality of the works  shall be final and binding on the contractor and shall not be called in question before any Forum.

- If the entire work  are not done within the stipulated period  from the date of receipt of the order,  the order shall automatically lapse and it shall be sole discretion of the Secretary of the Vasant Kunj Sports Complex to allow the extension  the Secretary deems fit and proper. The decision of the Secretary in this behalf shall be final and shall not be called in question before any Forum

- Necessary statutory deductions will be made as applicable.

- Work  should be completed within 7 days.

- No T & P shall be issued to the contractor.

- No minor labour should be engaged at site.

- The contractor will be fully responsible during excavation of work if any damage done at site during excavation of work the same shall be made good free of cost with in quoted rates.

(Lt. Col. (Retd.) N. S. Yadav)                             Secretary/ VKSC