Estimated Cost:- Rs. 1,79,787/-

Earnest Money:- Rs. 3596/-

Date of Sale:- 21.09.2007

Date of Opening:- 25.09.2007

DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO. 8

SCHEDULE OF WORK

| Name of work | : | M/o Completed Scheme of North Zone Under Nazul A/c-II (SH : R.M.O. of Musical Fountain at Sarswati Vihar). |
| --- | --- | --- |

| S.No. | Description of Item |  | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Operation of Musical Fountain as per inventory and terms & conditions attached. |  | 1 job for 12 month |  | P. Month |  |
| 2. | Supply and replacement of the following items in the existing fittings, gear box etc. as required. |  |  |  |  |  |
|  | (a) | 150 watt Reflector type lamp | 8 Nos. |  | P. Nos. |  |
|  | (b) | 250 watt HPSV lamp | 2 Nos. |  | P. Nos. |  |
|  | (c) | 250 watt copper ballast suitable for 250 watt HPSV lamp | 2 Nos. |  |  |  |
|  | (d) | Ignitor suitable for HPSV 250 watt fittings. | 3 Nos. |  | P. Nos. |  |

INVENTORY

Musical Fountain Comprising of Following Accessories

1.	15 H.P. Submersible Pump Set				-	1 No.

2.	Water tight fittings						-	30 Nos.

3.	Electrical Panel with all accessories 			-	1 No.

4.	Master Control Console 					-	1 No.

5.	Amplifier, Speaker & Nozzles				-	1 Nos.

6.	250 Watt HPSV fitting mounted on G.I. Pole		-	8 Nos.

7.	20 KVA voltage stabilizer					-	1 No.

8.	Ceiling Fan							-	2 Nos.

9.	1 x 40 watt flu. Tube light fitting.				-	6 Nos.

10.	Exhaust Fan							-	1 No.

TERMS AND CONDITIONS

| 1. | The work comprises of running and operation of pump sets, D.G. Set and general lighting as per the inventory attached. |  |  |
| --- | --- | --- | --- |
| 2. | The contractor shall depute the following staff under the contract- |  |  |
|  | a. | Operator – 1 No. from 2:00 PM to 10:00 PM. |  |
|  | b. | Khallasi – 2 No. from 10:00PM to 6:00AM & 6:00AM to 2:00PM |  |
|  | c. | Wireman Grade-I shall attend the site of work between 9:00AM to 5:00PM at least once in a fortnight and as and when required. |  |
| 3. | The contractor shall employ trained and competent staff to the satisfaction of Engineer-in-charge having two years experience on operation of pump/D.G. Set. |  |  |
| 4. | The contractor shall supply the list of staff along with experience certificates to be engaged on the installation within 7 days of award of work. Engineer-in-Charge shall have the right to reject any staff employed by the contractor. |  |  |
| 5. | The staff employed by the contractor shall wear proper uniform and wear badges displaying their name and designation. The staff shall also be given photo identity cards by the contractor displaying their name, father’s name, address, date of birth, name of the agency with address and telephone No., site for which employed and period of validity. A copy of the identity cards shall be given to the Engineer-in-charge within 15 days of award of work. |  |  |
| 6. | The contractor shall employ staff throughout the period of contract including Saturdays, Sundays, Gazetted holidays and National holidays. |  |  |
| 7. | Following records are to be kept at site of work. |  |  |
|  | a. | Printed log book for recording operation. |  |
|  | b. | Attendance register for staff deployed. |  |
|  | c. | Complaint/Inspection register. |  |
|  | Note : |  | The contractor shall got the registers authenticated from Engineer-in-Charge before use at site. |

| 8. | The following minor maintenance including preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the log book : |  |  |
| --- | --- | --- | --- |
|  | a. | Servicing and greasing of pumps/motors once in 3 months. |  |
|  | b. | Replacement of rubber packings of valves and worn out nuts and bolts etc. |  |
|  | c. | Replacement of gland dori as and when required. |  |
|  | d. | Replacement of HRC fuses as and when required. |  |
|  | e. | Replacement of FI. Tubes, incandescent lamps and starters. |  |
|  | f. | Adjustment, alignment/tightening of nuts and bolts as and when required. |  |
|  | g. | Replacement of burnt out thimbles, wire terminals etc. |  |
|  | h. | Top up of battery water. |  |
|  | i. | Daily cleaning of equipments/pump house. |  |
|  | Note : |  | The material required for carrying out above jobs shall be supplied by the contractor within quoted rates. |
| 9. | Co-ordination and follow up action with electric supply agency shall be done by the contractor in case of failure/fault in supply/fluctuation in voltage. |  |  |
| 10. | The contractor shall intimate the Engineer-in-Charge about the major breakdown or failure of electric supply in time. |  |  |
| 11. | Watch and ward shall be responsibility of the contractor. Any loss due to theft or pilferage etc. shall be borne by the contractor. |  |  |
| 12. | The payment to the contractor shall be made bi-monthly or at other suitable intervals desired by the contractor but not less than one calendar month. |  |  |
| 13. | Proper handing/taking over of all the E&M installations shall be carried out by JE(E) in charge of the work and the contractor in writing immediately after award of work/before start of work. |  |  |
| 14. | The Engineer-in-Charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice. |  |  |
| 15. | If any staff employed by the contractor is found absent on a particular time and date, an amount proportionate to per shift shall be recovered from the contractor’s bill. |  |  |
| 16. | All allied accessories/installations shall be kept in working order and in case any damages/loss is done to the pumping installations due to the negligence of the operational staff deployed by the contractor, the contractor shall have to make good the damages/loss at his own cost. In case the contractor fails to rectify the damages/loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor. |  |  |
| 17. | The contractor shall keep all the necessary spares and T&P at site required for operation and maintenance to be carried under his contract. |  |  |
| 18. | In case of any disobedience or misbehaviour by the operational staff of the contractor, the Engineer-in-Charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously. |  |  |
| 19. | The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt. levies etc. |  |  |
| 20. | Pumping installation shall be painted (excluding control panel) once during the contract period. |  |  |
| 21. | Any injury to the operational staff, in case of any mishap, during duty hours will be the liability of contractor. |  |  |
| 22. | Make of ballast and ignitor shall be one of the following make. |  |  |
|  | (a) | Philips |  |
|  | (b) | Bajaj |  |
|  | (c) | Crompton Greaves |  |
|  | (d) | Havels |  |
| 23. | Make of Reflector type lamp and HPSV lamp shall be of Philips / Havells / Osram make only. |  |  |