DELHI DEVELOPMENT AUTHORITY

SCHDULE OF WORK

Name of Work: D/o Main lan i/c C/o 60 mtr. & 45 mtrs master plan roads at Dwarka project Ph.II

(SH: R/M/O of street light at SPS-3 to link road and sector 23 Dwarka to Najafgarh

| S.No | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Maintenance of street lightning as per inventory & terms and conditions attached – 1 job | 12 months |  |  |  |
| 2. | - Supplying and replacement of 250 watt. HSPV (SONT Plus) lamp in the existing street light fittings mounted on 11 mtr. Long street light poles i/c testing etc. as reqd. | 40 Nos |  |  |  |
| 3. | Supplying and replacement of ballast / choke for 250 watt HSPV (SONT) lamp in the existing light fittings mounted on 11 mtr. Long street light poles i/c testing etc. as reqd. | 20 Nos |  |  |  |
| 4. | Supplying & replacement of ignitor for 250 Watt. HPSV (SONT) plus lamp in the exsisting street light fitting mounted on 11 mtr. Long street light pole i/c testing etc. as reqd.watt. HSPV street lightning fitting mounted on 10 mtr. Long (above road level) street 25 nos light pole i/c teesting etc.as requd. | 25 Nos |  |  |  |

TERMS & CONDITIONS

- The work comprises of maintenance of street lightning as per the inventory attached.

- Scope of work is as under: -

- To keep all street lightning points and all allied installations in working order.

- To keep the street lightning functional during the timings fixed by the Engineer –in –charge

- Street lightning should be switched ON /OFF at appropriate time fixed by department.

- 90% of the street lightning should remain in working order & functional through out the period of contract failing which proportionate recovery shall be made from the contractor’s bill.

- No street lightning points should remain our of order for more than 3 days. Beyond 3 days, a recovery of Rs. 50/- per point, per day, shall be made from the contractor’s bill

- Deleted

- Proper handling / taking over of all the E&M installations shall be carried out by JE(E) / AE(E) in-charge of the work and the contractor is writing immediately after award of work and before start of work. The same shall be handed over to the department in proper working condition after expiry of the contract.

- The contractor shall depute the following staff under the contract

a) 	Wireman Grade-I		4 Hours a Day

b)	Khallasi			1 No. per day

- The duty timings of the staff can be changed as and when required by the Engineer –in-Charge

- The contractor shall deploy trained & competent staff to the satisfaction of the Engineer-in-charge.

- The contractor shall supply the list of staff along with details i.e. Name, father’s Name, Date of Birth, Experience Certificate to be engaged on the installation within7 days of award of work.. Engineer –in-charge shall have the right to reject  any staff deployed by the contractor.

- The staff deployed by the contractor shall wear proper uniform and badges displaying their name and designation.

- The contractor shall deploy staff throughout the period of contract i/c Saturdays, Sundays, Gazetted Holidays and National holidays and shall maintain attendance which shall be kept at the office of J.E (E) concerned.

- The contractor shall submit the log sheet as per the Performa enclosed regarding the status of street lightning points and other allied installations of the proceedings day, daily to the Engineer –in-charge in the division office duly signed by him or his authorized representative whose particulars shall be furnished by the successful tenderer within 7 days after award of work.

- If any staff deployed by the contractor is found absent on a particular time and date, an amount equal to minimum wages fixed by Delhi administration from time to time shall be recovered by the contractors bill.

- In case of any disobedience or misbehavior by the operational staff of the contractor, the Engineer-in-charge may ask the contractor to dispense with the services of such staff with immediate effect. The contractor shall provide suitable substitute simultaneously.

- The contractor shall take all safety measures at site during maintenance of the installations

- Any injury / mishap to the maintenance staff during duty hours will solely be the liability of the contractor.

- The contractor shall maintain the street lightning luminaries with wheel ladder / motorized ladder only.

- Co-ordination and follow up action with Electric Supply Agency shall be done by the contractor in case of failure / fault in supply.

- The contractor shall intimate the Engineer-in-Charge about the major breakdown or failure of electric supply immediately.

- The following minor maintenance i/c preventive maintenance shall be carried out by the contractor. The details of work carried out shall be recorded in the register.

- Supplying & replacement of kit kats and MCB’s as and when required.

- Supplying & replacement of thimbles and ferrules as & when required.

- Supplying & replacement of copper wire of size 2.5 mm as and when required.

- Supplying & replacement of HRC fuses as and when required.

- All electric connections shall be checked atleast once in a month and set right

if required.

## 23	Deleted

- The contractor has to return the dismentalled material to the department

after replacing the defective items at site

- In case any damages/loss is done to the installations during the contract period, the contractor shall have to make good the damages / loss at his owne cost except the damages to the installations by accident. In case the contractor fails to rectify the damages / loss within reasonable time, the same shall be got rectified / replaced by the department at the risk and cost of the contractor.

- If at any stage, the timer switch provided in the feeder pillar does not function, the contractor shall make immediate arrangements for ON/OFF operation manually till the timer switch is got repaired / replaced. Nothing extra shall be paid on this account.

- Items at Sl. No. 2,3,4 shall be executed as & when required and these shall be execututed in the presence of authorized representative of the Engineer-in-charge.

- The following makes of the materials are acceptable:

a)	HPSV Lamp		Phillips / Osram

b)	Ballast		As per fittment of manufacturer of existing luminaire

c)	Ignitor			as per 	fittment of manufacturer if exsisting luminarire.

d)  	MCBs			MDS / Standard / Action / L&T / Indokopp

e) Copper Wire		National / Ecko. Havells / Skytone

- Deleted

g)	Deleted

29.	The contractor shall also be responsible for removal of unauthorized hoardings, banners, if any, on the poles during the contract period for which

the Engineer-in-charge / Authorized representatives shall render their assistance, if required.

30.	Testing of earth continuity and earth electrodes shall be carried out once in a year by the contractor in the presence of authorized representatives of the Engineer-in-charge.

- The rates quoted by the contractor shall be inclusive of all taxes, duties and Govt., levies etc.

- The Engineer-in-charge, if so desire, may extend the contract upto 2 months or terminate the contract at any time after giving 15 days notice for which no compensation shall be paid.

DELHI DEVELOPMENT AUTHORITY

PERFORMA OF LOG SHEET

Name of Work:

Date:

| S.No | Details of street lightning points | No. of points functional | No. of points not functional | Location / details of non functional points |
| --- | --- | --- | --- | --- |
| 1. | i)…. Watts ii)… watts iii)…watts | Nil | Nil | Nil |

Remarks:

Signature of Contractor or

his authorized representatives

# INVENTORY

- 250 Watt HSPV (SON-T) Lamp with fitting mounted on 10 mts high pole-

-	35 Nos

- 150 Watt HSPV fitting mounted on 10 mts.	-	90 Nos

- Feeder Pillars with accessories		-	 2 Nos