DELHI DEVELOPMENT AUTHORITY

ELECTRICAL DIVISION NO.11

VIKAS SADAN:INA: NEW DELHI-23.

### NIT NO.   35, 36, 37 & 38/EE/El.Div.No.11/DDA/07-08

# NOTICE INVITING TENDER

Sealed item rate tenders are invited for the following works on behalf of DDA from approved contractors of appropriate class of DDA, CPWD, MES, P&T, Railway and specialized firms on the date of opening (mentioned below) upto 3.00 P.M. which shall be opened on the same day at 3.30 P.M. at Ground Floor, Vikas Minar, IP Estate, New Delhi by the undersigned in the presence of the contractors/their authorized representatives.

The annual financial turn over (gross) in one of the preceding three financial years shall not be less than 100% of the estimate cost (gross) of the works (duly audited by the Charted Accountant) on specialized basis (depending upon the time allowed for completion i.e. total estimate value divided by the time of completion).

A certificate of “Satisfactory Completion” of two works of similar nature (to be issued by the organization under whom the work has been executed) during the last five years and each costing not less than 50% of the estimated cost shall be furnished by the intending tenderer at the time of making application for issue of tender documents.

Tender documents can be had on any working day between 10.00 A.M. to 3.00 P.M. on payment of the amount mentioned against the work (non dependable) along with earnest money on production of valid Enlistment Registration Certificate and valid Registration with Works Contract Cell of Sales Tax Deptt. Of NTC and Tax Clearance certificate issued by Works Contract Cell in Form XI or option regarding deduction of composite (Sales) Tax @ 4%, from the Division office i.e. EE/ED-XI 1st Floor, Press Bldg., Vikas Sadan, INA, New Delhi.

Earnest money shall be submitted along with application in the form of CDR/Demand Drat of scheduled Bank guaranteed by the Reserve Bank of India in favour of concerned Accounts Officer/CAU (SEZ)/DDA.

| Sl. No. | Name of work | ## Estt. Cost Earnest money | Cost of tender Time allowed | Last Dt. of sale Date of opening |
| --- | --- | --- | --- | --- |

- M/O Various colonies under SEZ. SH: M/O Common Electrical services at Bhikaji Cama Bhawan – Repair/Replacement of Fire Fighting pipe and accessories..

NIT No.35/EE//ED-11/DDA/07-08	     Rs1, 92,345/-          Rs.500/- 	              24.9.07

Rs.3,847/-	       Two month                  28.9.07

2.    M/O Various colonies under SEZ. SH: M/O Common Electrical services at Bhikaji Cama

Bhawan – S/I of LED Aviation fittings.

NIT No.36/EE/ED-11/DDA/07-08	      Rs.1,13,520/-	       Rs.500/-		24.9.07

Rs.2,270/-         One month                  28.9.07

3.    M/O Various colonies under SEZ. SH: M/o Common Electrical Services at Bhikaji Cama

Bhawan – S/Fixing of LED Lit Laser Etched Acrylic Signages.

NIT No.37/EE/ED-11/DDA/07-08              Rs1,89,320/-   	          Rs.500/-		24.9.07

Rs.3,786/-	           One month	28.9.07

4.   M/O Completed Scheme finishing and furnishing Vikas Sadan. SH: M/O Intercom system -

Supplying and installation of Push Button Telephone Instruments.

NIT NO.38/EE/ED.11/DDA07-08                Rs.1,35,000/-		Rs.500/-		24.9.07

Rs.2,700/-		One month	28.9.07

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/DDA

NOTE: Please note that Schedule of quantities along with terms and condition also available on DDA Web site.

SCHEDULE OF QUANTITIES FOR NIT NO.35/EE/EL.DIV.NO.11/DDA/07-08

NAME OF WORK:		M/o various colonies under SEZ. SH: M/O Common electrical services at Bhikaji Cama Bhawan -

Repair/replacement of the fire fighting pipe and accessories.

ESTIMATED COST		Rs.1,92,345/-

EARNEST MONEY		RS.3,847/-

COST OF TENDER		RS.500/-

LAST DATE OF SALE	24.9.07

DATE OF OPENING		28.9.07

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT. | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of the following existing M.S. accessories with Nut & Bolts as requied. - 300mm M.S. pipe ‘C’ class - 200mm M.S. pipe ‘C’ class - 150mm M.S. pipe ‘C’ class - 100mm M.S. pipe ‘C’ class - 250mm Sluice valve - 200 mm Sluice valve - 150 mm Sluice valve - 150mm N.R.V. - 100 mm N.R.V. | 1 Job. | Per/Job. |  |  |
| 2. | Dismantling of the existing suction header system comprising of 300mm and 200mm dia M.S. pipe ‘C’ class (as per drawing attached) as required. | 1 job. | Per/job |  |  |
| 3. | Dismantling of the existing delivery header system comprising of the 200mm, 150mm, 100mm dia M.S. pipe ‘C’ class (as per drawing attached) as required. | 1 Job. | Per/job. |  |  |
| 1. | 2. | 3. | 4. | 5. | 6. |
| 4. | Supplying fabrication and errection M.S. suction header i/c welding, cuttings jointing the pipe etc. as per drawing attached comprising of 300mm & 200mm dia M.S. pipe i/c painting, commissioning etc. as required. | 1 Job. | Per/job. |  |  |
| 5. | Supplying, fabrication and errection M.S. delivery line i/c welding, cutting, jointing the pipe etc. comprising of 200mm, 150mm. 100mm, M.S. pipe i/c re-fixing of sluice valve, non-return valve, dismantled joint, bend tees, flanges i/c painting, testing, commissioning etc. as required. (as per drawing attached) | 1 Job. | Per/Job. |  |  |

EXECUTIVE ENGINEER(E)

ELECT. DIV.NO.11/DDA.

# ADDITIONAL CONDITIONS

- Contractor shall get acquainted with the site before tendering.

- Work shall be carried out as per direction of Engineer-in-Charge and as

per drawing

- Installation shall be in order as before repair it was.

- No T & P shall be issued.

- Contractor shall arrange electricity and water for carrying out the work.

- M.S. pipes ‘C’ class shall be of Tata, Jindal, Surya make have IS: 3589 GR.330.

- Nothing extra shall be paid on a/c of taxes/ cartage etc.

- Test certificate of M.S. pipe shall be submitted to department.

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/DDA

SCHEDULE OF QUANTITIES FOR NIT NO.36/EE/EL.DIV.NO.11/DDA/07-08

NAME OF WORK :		M/o Various colonies undere SEZ. SH: M/o common electrical services at Bhikaji Cama Bhawan-

Supply and installation of LED Aviation fittings.

ESTIMATED COST:		RS.1,13,520/-

EARNEST MONEY		RS.2,270/-

COST OF TENDER		RS.500/-

LAST DATE OF SALE	24.9.07

DATE OF OPENING.	28.9.07

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying and installation, testing and commissioning weather proof low intensity Dual LED Aviation warning light (with photo cell) suitable for operation on 80 to 270 volt A.C. with casing made out of special aluminum alloy, painted with red U.V. paint, with ON/OFF arrangement based on ambient illumination level, power consumption should be less than 7 watts using LPM technology on the existing light frame etc. as required. | 04 Nos. | Each. |  |  |

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/D

# TERMS AND CONDITIONS

- The work shall be carried out as per CPWD specification to the entire

satisfaction of the Engineer-in-charge.

- The material shall be got approved from Engineer-in-charge before use at site

- Existing fittings shall be dismantled with in the quoted rate and shall be handed over to the department.

- No T & P shall be issued by the department.

- The Firm shall stand guarantee of the smooth functioning of the LED aviation light system for one year.

- Nothing shall be paid for any taxes, duties, and cartages etc.

- Make of item/Aviation light shall be of Insta power/Sedna Micro systems make.

EXECUTIVE ENGINEER (E)

ELECT.DIV.NO.11/DDA

SCHEDULE OF QUANTITIE FOR NIT NO.37/EE/EL.DIV.NO.11/DDA/07-08

NAME OF WORK:		M/o various colonies under SEZ.

SH: M/O Common Electrical services at  Bhikaji Cama Bhwan –S/F of LED lit laser etched

Acrylic signage’s

ESTIMATD COST:		RS.1,89,320/-

EARNEST MONEY:		RS.3,786/-

COST OF TENDER:		RS.500/-

LAST DATE OF SALE	24.9.07

DATE OF OPENING		28.9.07

| S.NO. | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT. |
| --- | --- | --- | --- | --- | --- |
| 1. | Providing and fixing of LED lit laser etched single sided acrylic signage’s with reflectors (EXIT written on it) for hanging it on the ceiling/wall using minimum 5000 med super Bright LEDs (Green/Red) having power consumption of less than 3 watts, minimum 5 hour battery backup operating between 80V-270V A.C. Current through LEDs under all conditions-20mA +/-20% Voltage across LEDs under all conditions: 3.5V +/-10% Expected life : minimum 100000 Hrs. International Standard SMPS power supplies. LPM technology for enhances LED life. Dimensions: Length: 350 mm Width: 220 mm Thickness: 8 mm. I/c connection testing etc. complete as required. | 28 Nos. | Each. |  |  |
| 1. | 2. | 3. | 4. | 5. | 6. |
| 2. | Providing and fixing of LED lit laser etched double sided acrylic signage’s with reflectors (EXIT written on it) for hanging it on the ceiling/wall using minimum 5000 med super bright LEDs (Green/Red) having power consumption of less than 3 watts, minimum 5 hour battery backup operating between 80V-270V A.C. Current through LEDs under all conditions: 20mA +/-20%. Voltage across LED under all conditions: 3.5V +/- 10% Expected lift minimum 100000 hrs. International Standard SPMS power supplies LPM technology for enhances LED life. Dimensions: Length: 350 mm Width: 220 mm Thickness: 16 mm. I/c connection testing etc. complete as required. | 1 No. | Each. |  |  |

.

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/D

TERMS AND CONDITIONS;

- The work shall be carried out as per CPWD specification.

- No T & P shall be provided by the department.

- Rates shall be inclusive of all taxes.

- Time allowed for carrying out for this work is one month.

- Make of material: Insta Power/ Sedna Micro Systems/ Luz light.

- The agency shall stand Guarantee for 12 months on the products.

- The LEDs used should be Aglient/ Nichia/ Lumiled make for better illumination and performance.

- All material shall be got approved from Engineer-in-charge before use at site.

- The Contractor shall provide a certificate from the LED manufacture.

EXECUTIVE ENGINEER (E)

ELECT. DIV. NO.11/DDA.

SCHEDULE OF QUANTITIES FOR NIT NO.38/EE/EL.DIV.NO.11/DDA/07-08

NAME OF WORK:-		M/o Completed Scheme finishing and furnishing Vikas Sadan.

SH: M/O Intercom system – Supply and installation of Push Button Telephone Instruments.

ESTIMATED COST;		RS.1,35,000/-

EARNEST MONEY		RS.2,700/-

COST OF TENDER		RS.500/-

LAST DATE OF SALE	24.9.07

DATE OF OPENING		28.9.07

| S.NO. | DESCRIPTION OF ITEM. | QTY | UNIT | RATE | AMOUNT. |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying, installation of push button telephone instruments with following features i/c testing, commissioning etc. complete as required. - Redial - Flash - Ringer volume control - Pulse/tone dialing (DTMF) | 225 Nos. | Each |  |  |

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/DDA

TERMS AND CONDITIONS:

- Work shall be completed within one month.

- No. T & P shall be issued by the department.

- Work shall be carried out as per direction and to the satisfaction of Engineer-in-charge.

- Push Button Telephone instrument shall be Beetal/ Coral/ Panasonic/ Telesound/ BPL make.

- Telephone instrument shall be guaranteed for one year.

- Telephone instrument shall have screened printed “DDA VIKAS SADAN” on front side to the instrument.

- Dismantled telephone instrument shall be returned to the department.

- Work shall be carried out in such a way that minimum hindrance be made to the existing working system.

- Material brought at site shall be got approved from Engineer-in-charge before use..

- Quoted rates shall be firm and inclusive of all taxes/ cartage etc. and nothing extra shall be paid on this account.

EXECUTIVE ENGINEER (E)

ELECT. DIV.NO.11/DDA.